## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
UV Visible Spectrophotometer |  | Ct lab | Shimadzu | UV-1900i | A125359 | Trust Fund | Trust Fund |  | Determine the Concentration of substances using the Beer- Lambert Law.UV Absorption spectra help identity fuctional groups or molecules.Small changes in absorbance indicate impurities in a sample.Measurements of pollutants ,such as Nitrates,Phosphates,or heavy metals in water.Analysis of food additives ,preservatives ,and colorants.Quality control of Oils,vitamins and beverages. | Chemical Engineering Dept |  | 5,61,750 | www.shimadzu.com | Good |  |  |  |  | Thoshvin Analytical Ltd,Mumbai | mumbai@toshvin.com | Thoshvin Analytical Ltd,Mumbai | service@toshvin.com
Particle Size Analyzer |  | Ct lab | Analytical Technologies Ltd | Laser Type | AT-3930H | TEQUIP | TEQUIP |  | Size Range:0.1-340 Micro meter (H),0.1-716 Micro meter,Repeatabvility :<1 % Testing Time :1-3 minutes /test Light source:Semiconductor laser device,Application: Fields of production ,application and reasearch of nonmetal powder:such as calcium carbonate,talcum powder,kaolin,zirconium silicate,graphite,quartz,diamond,tremolite,clay,garnet,titanium dioxide etc | Chemical Engineering Dept |  | 771750 | www.analyticalgroup.net | Good |  |  |  |  | Analytical Technolgies | support@hplctechnologies.com | ATL service Mittal particle size Analyzer
UV Visible Spectrophotometer |  | Ct lab | Systronics India Ltd | Double Beam | 2202 TS | TEQIP | TEQIP |  | Determine the Concentration of substances using the Beer- Lambert Law.UV Absorption spectra help identity fuctional groups or molecules.Small changes in absorbance indicate impurities in a sample.Measurements of pollutants ,such as Nitrates,Phosphates,or heavy metals in water.Analysis of food additives ,preservatives ,and colorants.Quality control of Oils,vitamins and beverages. | Chemical Engineering Dept |  | 295585 | www.systronicsindia.com | Good |  |  |  |  | Systronics India Ltd | sales@systronicsindia.com | Systronics India Ltd | service.ahd@systronicsindia.com
Water Quality Analyser |  | Ct lab | Elico,Hyderabad | PE 138 | PE 138 | Govt | Govt |  | Microprocessor based Multi parameter Water quality Analyzer.Measures directly pH,Emf,,Conductivity,Total Dissolved solids,Dissolved Oxygen,Salinity and Turbidity in water Sample one at a time. | Chemical Engineering Dept |  | 81000 |  | Good |  |  |  |  | Elico | support@elico.co | Elico | support@elico.co