## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Grid Connected roof top solar system with Battery | . | . | BLN | BLN_SERB | DFCS45 | Ministry of Education | IMPRINT-SERB Project fund | . | 2KW, 230V, Grid tie Solar Inverter, 12-48V/20A MPPT Charge Controller 12V/ 200Ah, Solar Tubular Batteries | Electrical and Electronics Engineering | . | 1000000 | . | . | . | . | . | . | BLN | blnraju@nitw.ac.in | BLN | blnraju@nitw.ac.in | blnraju@nitw.ac.in
1kW Fuel cell Includes (Horizon Educational & FCS C1000) | . | . | M/s Ademtek Chandranagar Hyderabad | PEM | HKREUTY | Ministry of Education | Internal Funding | . | Type of fuel cell :PEM Number of cells :48 ,Rated Power :1000W Performance :28.8V @ 35A ,H2 Supply valve voltage :12V Purging valve voltage :12V ,Blower voltage :12V Reactants :Hydrogen and Air ,External temperature :5 to 30ºC Max. stack temperature :65ºC ,H2 Pressure :0.45-0.55bar Hydrogen purity :≧99.995﹪ dry H2 Humidification self-humidified Cooling Air (integrated cooling fan) | Electrical and Electronics Engineering | . | 480000 | . | . | . | . | . | . | M/s Ademtek Chandranagar Hyderabad | nagubhukya@nitw.ac.in | M/s Ademtek Chandranagar Hyderabad | nagubhukya@nitw.ac.in | nagubhukya@nitw.ac.in
6kW Programmable DC Power Supply with Solar Simulator | . | . | M/s Scientific Mes-Technik Pvt Ltd Indore M.P | Mes-Technik | 5654Y | Ministry of Education | Internal Funding | . | input:373-456V AC , 47-63Hz, 3-phase output: 0-600V , DC Variable -0-9.99Amps, | Electrical and Electronics Engineering | . | 600000 | . | . | . | . | . | . | M/s Scientific Mes-Technik Pvt Ltd Indore M.P | nagubhukya@nitw.ac.in | M/s Scientific Mes-Technik Pvt Ltd Indore M.P | nagubhukya@nitw.ac.in | nagubhukya@nitw.ac.in
Scope Corder with Accessories | . | . | YOKAGAWA | HGVI87 | 36489 | Ministry of Education | Internal Funding | . | . | Electrical and Electronics Engineering | . | 900000 | . | . | . | . | . | . | M/s YOKAGAWA India Ltd Bengaluru | sekhar@nitw.ac.in | M/s YOKAGAWA India Ltd Bengaluru | sekhar@nitw.ac.in | sekhar@nitw.ac.in
Rapid Control Prototyping System | . | . | OPAL RT Technologies, Bangalore | HF5476 | 87946524VD | Ministry of Education | Internal Funding | . | . | Electrical and Electronics Engineering | . | 1200000 | . | . | . | . | . | . | M/s OPAL RT Technologies, Bangalore | ssr@nitw.ac.in | M/s OPAL RT Technologies, Bangalore | ssr@nitw.ac.in | ssr@nitw.ac.in
L641 BAS Base Unit Multi Channel Precision Power Analyzer and Harmonic Analyzer | . | . | M/s Technocomm Instrumeents Pvt,Ltd Bengaluru | L641 BAS | JBH8C7 | Ministry of Education | Internal Funding | . | . | Electrical and Electronics Engineering | . | 400000 | . | . | . | . | . | . | M/s Technocomm Instrumeents Pvt,Ltd Bengaluru | blnraju@nitw.ac.in | M/s Technocomm Instrumeents Pvt,Ltd Bengaluru | blnraju@nitw.ac.in | blnraju@nitw.ac.in
SPPP On grid 10kw Solar PV panels Installation | . | . | M/s Technocomm Instrumeents Pvt,Ltd Bengaluru | SPPP | 51NILRGE | Ministry of Education | Internal Funding | . | . | Electrical and Electronics Engineering | . | 80000 | . | . | . | . | . | . | M/s Greentek India Pvt Ltd Hyderabad | shekar@nitw.ac.in | M/s Greentek India Pvt Ltd Hyderabad | shekar@nitw.ac.in | shekar@nitw.ac.in
4 channel digital Oscilloscope , Current probes, Differential Voltage Probes | . | . | TEKTRONIX | MDO3024 | 678977 | Ministry of Education | Internal Funding | . | Digital Oscilloscope (TEKTRONIX MDO3024) Analog Channels: 4, Bandwidth:≥200MHz,Analog Sample Rate: 2.5 GS/s , Record Length: 10 Mp, Spectrum Analyzer Frequency: 9 kHz - 200 MHz Current Probes (TEKTRONIX TCP0030A) Bandwidth: DC to 120 MHz or more, Maximum current capability: 30 A, Peak pulse current capability: 50A Differential Voltage Probes (Tektronix THDP0200 & Tektronix TMDP0200) Bandwidth: DC to 200 MHz or more, 750 V, 1500 V | Electrical and Electronics Engineering | . | 200000 | . | . | . | . | . | . | M/S Peridot Technologies, Secunderabad | selvi@nitw.ac.in | M/S Peridot Technologies, Secunderabad | selvi@nitw.ac.in | selvi@nitw.ac.in
Oscilloscope,Differential Voltage Probes | . | . | RIGOL | MSO7024/ MSO7000 | 1898ER43 | Ministry of Education | Internal Funding | . | Digital Oscilloscope (Model No.: MSO7024/ MSO7000. Make: RIGOL): • Four channel • Band Width >= 200-500MHz • Sampling rate >=5 GSPS • Memory record length >= 10M Points • Waveform Generator • USB and LAN communication Differential Voltage Probes (Model No.: RP1100D Make: RIGOL): •Band Width >= 50 MHz & Peak Voltage Rating >= 1000V. •Power supply Adapters Current Probes (Model No.: RP1002C Make: RIGOL): •Bandwidth,>= 1MHz & Peak Current Rating>=50A •Power supply Adapters | Electrical and Electronics Engineering | . | 255000 | . | . | . | . | . | . | M/s Scientech tech Pvt.Ltd Indore | blnraju@nitw.ac.in | M/s Scientech tech Pvt.Ltd Indore | blnraju@nitw.ac.in | blnraju@nitw.ac.in
Programmable DC power Supply 750V 40A 10000W with PV Simulation | . | . | ELEKTRO – AUTOMATIK | EA-PSI 9750-40 3U | 647T3R | Ministry of Education | Internal Funding | . | Programmable DC Supply with PV Simulator (Model: EA-PSI 9750-40 3U Make: ELEKTRO – AUTOMATIK) | Electrical and Electronics Engineering | . | 80000 | . | . | . | . | . | . | M/s Technocomm Instrumeents Pvt,Ltd Bengaluru | blnraju@nitw.ac.in | M/s Technocomm Instrumeents Pvt,Ltd Bengaluru | blnraju@nitw.ac.in | blnraju@nitw.ac.in
Baseline Realtime Target Machine Rapid control prototyping system | . | . | Trident Infosol Pvt Ltd Bangalore | MRCPS | 203RGNHI | Ministry of Education | Internal Funding | . | . | Electrical and Electronics Engineering | . | 850000 | . | . | . | . | . | . | M/S Trident Infosol Pvt Ltd Bangalore | rkrishan@nitw.ac.in | M/S Trident Infosol Pvt Ltd Bangalore | rkrishan@nitw.ac.in | rkrishan@nitw.ac.in
DC-DC converter | . | . | Silosolution | Silosolution | 55401 | Ministry of Education | Internal Funding | . | . | Electrical and Electronics Engineering | . | 2000 | . | . | . | . | . | . | Silosolution | rkrishan@nitw.ac.in | Silosolution | rkrishan@nitw.ac.in | rkrishan@nitw.ac.in
Power Quality Analyzer | . | . | Yogogawa | Yogogawa | 7843UR | Ministry of Education | Internal Funding | . | . | Electrical and Electronics Engineering | . | 80000 | . | . | . | . | . | . | Yogogawa | rkrishan@nitw.ac.in | Yogogawa | rkrishan@nitw.ac.in | rkrishan@nitw.ac.in
3-Ph Inverter | . | . | Pragna | Pragna | 2145598J | Ministry of Education | Internal Funding | . | 3-Phase 240 V AC | Electrical and Electronics Engineering | . | 25000 | . | . | . | . | . | . | Pragna | rkrishan@nitw.ac.in | Pragna | rkrishan@nitw.ac.in | rkrishan@nitw.ac.in
Industrial Plant Emulator Model ECP 220 | . | . | M/s Educational Control Products, USA | ECP 220 | 4486F743 | Ministry of Education | Internal Funding | . | Power supply 210/240 AC | Electrical and Electronics Engineering | . | 450000 | . | . | . | . | . | . | M/s Educational Control Products, USA | jey@nitw.ac.in | M/s Educational Control Products, USA | jey@nitw.ac.in | jey@nitw.ac.in
D Space (ACE1104 CLP USB) DS 1104 20Conditional Board 418431. CLP1104-LEP Panel SNO.383502. Software CDP-1104 Controller | . | . | Dspace | D Space (ACE1104 CLP USB) | 2.14e+80 | Ministry of Education | Internal Funding | . | . | Electrical and Electronics Engineering | . | 500000 | . | . | . | . | . | . | M/s Dyna Fusion , Bangalore |  | M/s Dyna Fusion , Bangalore
MT MAT LAB 8.2 | . | . | MATLAB | 8.2 | 18279RE | Ministry of Education | Internal Funding | . | . | Electrical and Electronics Engineering | . | 190000 | . | . | . | . | . | . | M/s Capricot Technologies Ltd, Hyd | srinudee@nitw.ac.in | M/s Capricot Technologies Ltd, Hyd | srinudee@nitw.ac.in | srinudee@nitw.ac.in
Fluke 435 series II (power quality Analyser) | . | . | FLUKE | 435 | 87549TKJNB | Ministry of Education | Internal Funding | . | . | Electrical and Electronics Engineering | . | 310000 | . | . | . | . | . | . | M/s Peridot Technologies, Hyd. | gsivakumar@nitw.ac.in | M/s Peridot Technologies, Hyd. | gsivakumar@nitw.ac.in | gsivakumar@nitw.ac.in
Oscilloscope DP03034 | . | . | M/s Peridot Technologies, Hyd. | DP03034 | HJYT09 | Ministry of Education | Internal Funding | . | . | Electrical and Electronics Engineering | . | 200000 | . | . | . | . | . | . | M/s Peridot Technologies, Hyd. | gsivakumar@nitw.ac.in | M/s Peridot Technologies, Hyd. | gsivakumar@nitw.ac.in | gsivakumar@nitw.ac.in
Variable Speed Double fed induction Generator (DFIG) | . | . | M/s Integrated Electric Comp Ltd, Bangalore | DFIG | 15758714 | Ministry of Education | Internal Funding | . | . | Electrical and Electronics Engineering | . | 120000 | . | . | . | . | . | . | M/s Integrated Electric Comp Ltd, Bangalore | nvn@nitw.ac.in | M/s Integrated Electric Comp Ltd, Bangalore | nvn@nitw.ac.in | nvn@nitw.ac.in
HIL real time simulator with real time congtroller | . | . | M/s Opol RT Technologies ,Canada | op4500 & 8660 | 7618425 | Ministry of Education | Internal Funding | . | . | Electrical and Electronics Engineering | . | 1800000 | . | . | . | . | . | . | M/s Opol RT Technologies ,Canada | nvn@nitw.ac.in | M/s Opol RT Technologies ,Canada | nvn@nitw.ac.in | nvn@nitw.ac.in
Programmable DC Power Supply with solar array simulation | . | . | M/s MEL Systems & Services Ltd, Secunderabad | PDCPS-SOLAR | 4825DERT | Ministry of Education | Internal Funding | . | . | Electrical and Electronics Engineering | . | 150000 | . | . | . | . | . | . | M/s MEL Systems & Services Ltd, Secunderabad | ssr@nitw.ac.in | M/s MEL Systems & Services Ltd, Secunderabad | ssr@nitw.ac.in | ssr@nitw.ac.in
Inverter module | . | . | M/s Semikron Electronics, Mumbai | SEMINVERTER | 5646RGT | Ministry of Education | Internal Funding | . | Inverter module:  Four leg inverter,  Three phase bridge rectifier, i/p AC voltage=415V, 45A  Clamped capacitor, Vdc1=Vdc2=650 V charged by a three phase diode bridge rectifier.  Provision to measure the two capacitor voltages  IGBT: 1200V, 30A, Switching frequency= 20 kHz  Forced air  Ambient temperature= 40Deg  Driver circuit Encapsulated inverter module: Bridge rectifier, IGBT modules, heat sink, Fan, IGBT snubbers, IGBTdrivers, thermal trip etc. | Electrical and Electronics Engineering | . | 6500 | . | . | . | . | . | . | M/s Semikron Electronics, Mumbai | vinaykumar@nitw.ac.in | M/s Semikron Electronics, Mumbai | vinaykumar@nitw.ac.in | vinaykumar@nitw.ac.in
Digital Storage Oscilloscope | . | . | M/s Synergy Measurement Technologies Ltd, Secunderabad | DSO-778 | FVGI4U8T6 7 | Ministry of Education | Internal Funding | . | DIGITAL STORAGE OSCILLOSCOPE (100MHz, 2 channel With Built-in Wavegen-20MHz): 100MHz, 2 Channel, Sampling rate of 2GSa/s,Memory depth of 1Mpts,Display size of 7-Inch TFT LCD with wide viewing,standard | Electrical and Electronics Engineering | . | 85000 | . | . | . | . | . | . | M/s Synergy Measurement Technologies Ltd, Secunderabad | vinaykumar@nitw.ac.in | M/s Synergy Measurement Technologies Ltd, Secunderabad | vinaykumar@nitw.ac.in | vinaykumar@nitw.ac.in
ACE 11401 PCIE CLP-USB ACE KITs | . | . | M/s Dyna Fusion Technologes Ltd, Bengalore | ACE 11401 | GRGH4697 | Ministry of Education | Internal Funding | . |  | Electrical and Electronics Engineering | . | 230000 | . | . | . | . | . | . | M/s Dyna Fusion Technologes Ltd, Bengalore | rnitchinthamalla@nitw.ac.in | M/s Dyna Fusion Technologes Ltd, Bengalore | rnitchinthamalla@nitw.ac.in | rnitchinthamalla@nitw.ac.in
PID Controller Trainer, AC Servo Motor Speed,Lead lag Compensation,Stepper Motor Control,Temperature Control,2 Channel Mixed Signal | . | . | M/s Vastek Engineering Tech. Ltd., Hyderabad | PID-01 | 541587 | Ministry of Education | Internal Funding | . | PID :PID-01 Propotional Gain:0-20 Sec,Integral Time Constant:5-100 msec,Derivative control:0-20 msec,AC Servo Motor:15 W servo motor,operating at 12V/50Hz,Power supply:220V/50Hz,Lead-Lag:CD-02 (a) Sine wave:25Hz-800Hz ,Amplitude0-1 volts p-p(variable),(b) Square wave:25Hz-800Hz ,Amplitude0-1 volts p-p(variable),(c) Trigger:At the frequencies set above.,Stepper motor:Step angle:1.8 +-5%,,steps per revolution:200,Operating voltage 12 volts DC,current per phase 0.5A,Temperature Control:TCS-302 maximum temperature 90 degree celcius,10 mV/C. | Electrical and Electronics Engineering | . | 200000 | . | . | . | . | . | . | M/s Vastek Engineering Tech. Ltd., Hyderabad | swatikjm@nitw.ac.in | M/s Vastek Engineering Tech. Ltd., Hyderabad | swatikjm@nitw.ac.in | swatikjm@nitw.ac.in
PSSE Basic Software for universtiites Single user with 25 Network Licenses to 50 modules | . | . | M/s OPAL-RT Technologies India Pvt, Ltd, Bangalore | PSSE35 | 21657641 | Ministry of Education | Internal Funding | . | POwer system simulation study Ver 35 | Electrical and Electronics Engineering | . | 500000 | . | . | . | . | . | . | M/s OPAL-RT Technologies India Pvt, Ltd, Bangalore | rkrishan@nitw.ac.in | M/s OPAL-RT Technologies India Pvt, Ltd, Bangalore | rkrishan@nitw.ac.in | rkrishan@nitw.ac.in
Pic Development system 8473 withone set of Interface modules including LCD Display graphics LCD Touch panel 12Bit DAC board | . | . | M/s Galaxy Technology Systems, Pune | Pic Development system 8473 | VFDFUYH49865674 | Ministry of Education | Internal Funding | . | . | Electrical and Electronics Engineering | . | 5000 | . | . | . | . | . | . | M/s Galaxy Technology Systems, Pune | giridhar@nitw.ac.in | M/s Galaxy Technology Systems, Pune | giridhar@nitw.ac.in | giridhar@nitw.ac.in
8051 Micro controller Development with one set of Interface cards DAC Cards DC Motors contral study card Bipolar Stepper motor Driver Board Relay 4 Board serial 7 display board | . | . | M/s Galaxy Technology Systems, Pune | 8051MC | 3455798751 | Ministry of Education | Internal Funding | . | . | Electrical and Electronics Engineering | . | 20000 | . | . | . | . | . | . | M/s Galaxy Technology Systems, Pune | giridhar@nitw.ac.in | M/s Galaxy Technology Systems, Pune | giridhar@nitw.ac.in | giridhar@nitw.ac.in
8086 Mi9ocroprocessor Trainee ,Inter Fasecard Trainee | . | . | M/s PM Enterprises, Ahmedabad | 8086MC | 135453 | Ministry of Education | Internal Funding | . | . | Electrical and Electronics Engineering | . | 10000 | . | . | . | . | . | . | M/s PM Enterprises, Ahmedabad | mnalam@nitw.ac.in | M/s PM Enterprises, Ahmedabad | mnalam@nitw.ac.in | mnalam@nitw.ac.in
ACE MLBX1302T Advance Control Education Kit Microlab kits etc., | . | . | M/s Dyna Fusion Technologies, Pvt, Ltd, Bangalore | ACE MLBX1302T | RTYT567567 | Ministry of Education | Internal Funding | . | . | Electrical and Electronics Engineering | . | 300000 | . | . | . | . | . | . | M/s Dyna Fusion Technologies, Pvt, Ltd, Bangalore | mnalam@nitw.ac.in | M/s Dyna Fusion Technologies, Pvt, Ltd, Bangalore | mnalam@nitw.ac.in | mnalam@nitw.ac.in
OP4510RT Simulator with additional communication interfaces and prototcols | . | . | M/s OPAL-RT Technologies India , Bangalore | OP4510RT | 45574854FRET | Ministry of Education | Internal Funding | . | . | Electrical and Electronics Engineering | . | 2500000 | . | . | . | . | . | . | M/s OPAL-RT Technologies India , Bangalore | mnalam@nitw.ac.in | M/s OPAL-RT Technologies India , Bangalore | mnalam@nitw.ac.in | mnalam@nitw.ac.in
Time Synchronization card | . | . | M/s OPAL-RT Technologies India , Bangalore | TSC-RT | DF254GRT5 | Ministry of Education | Internal Funding | . | . | Electrical and Electronics Engineering | . | 90000 | . | . | . | . | . | . | M/s OPAL-RT Technologies India , Bangalore | mnalam@nitw.ac.in | M/s OPAL-RT Technologies India , Bangalore | mnalam@nitw.ac.in | mnalam@nitw.ac.in
ETS 600x17 D-PVF 10KW programmable DC power Supply | . | . | M/s Convergent Technologies India td, Bangalore | ETS 600x17 D-PVF | 4575GRTY98 | Ministry of Education | Internal Funding | . | output Voltage: 600 V Output Current (Isc): 8.3, 16.7, 7.25 A Output Power(W):4250, 8500, 12750 High Bandwidth upto 30 KHz Low Output Capacitance I-V Curve Resolution: 1024 MPP Curve tracking Speed(Hz2): 200 Input Frequency: 47-63 Hz Power Factor: >0.99 typical Output voltage noise: <0.6 Vpp Output current Noise: <200 mA | Electrical and Electronics Engineering | . | 400000 | . | . | . | . | . | . | M/s Convergent Technologies India td, Bangalore | mnalam@nitw.ac.in | M/s Convergent Technologies India td, Bangalore | mnalam@nitw.ac.in | mnalam@nitw.ac.in
Programmable AC-DC power Supply 2250 VA (High performance power supplies) | . | . | M/s Convergent Technologies India Pvt, Ltd, Bangalore | 2250VA | 32R5H4RTH | Ministry of Education | Internal Funding | . | 1. Input: Single phase 230V L-N ±10% 2. Input side power factor: ≥ 0.98 3. Output type: Single Phase &amp; 3 Phase (user selectable through built in control) 4. Output Modes: AC, DC, AC+DC 5. Output Voltage AC Ranges: Dual Range Range 1: Variable from 0 to 200 V ph (L-N) Range 2: Variable from 0 to 400 V ph (L-N) Output Voltage DC Ranges: Dual Range Range 1: Variable from 0 to 250 V Range 2: Variable from 0 to 500 V 6. Voltage Programming Accuracy: at least ±(0.1% of actual + 0.2% of full-scale) 7. Voltage Programming &amp; Digital Meter read back resolution: at least 50 mV 8. Output Current (maximum): In AC Voltage range 1: at least 7.5A (per phase) @ 100 Vph (L-N) In AC Voltage range 2: at least 3.75A (per phase) @ 200 Vph (L-N) In DC Voltage range 1: at least 18.0A @ 100 VDC In DC Voltage range 2: at least 9.0A @ 200 VDC | Electrical and Electronics Engineering | . | 100000 | . | . | . | . | . | . | M/s Convergent Technologies India Pvt, Ltd, Bangalore | gsivakumar@nitw.ac.in | M/s Convergent Technologies India Pvt, Ltd, Bangalore | gsivakumar@nitw.ac.in | gsivakumar@nitw.ac.in
3 HP Induction Motor coupled to a DC generator | . | . | Benn Electricals, Mumbai | 3 HP IM-BENN | VEFUIE8T4 | Ministry of Education | Internal Funding | . |  | Electrical and Electronics Engineering | . | 300000 | . | . | . | . | . | . | Benn Electricals, Mumbai | jey@nitw.ac.in | Benn Electricals, Mumbai | jey@nitw.ac.in | jey@nitw.ac.in
3-Phase Voltage Source Inverter | . | . | Prgana Microdesigns, Bangalore | 3P VSI | 41341554 | Ministry of Education | Internal Funding | . |  | Electrical and Electronics Engineering | . | 35000 | . | . | . | . | . | . | Prgana Microdesigns, Bangalore | jey@nitw.ac.in | Prgana Microdesigns, Bangalore | jey@nitw.ac.in | jey@nitw.ac.in
5 HP Induction Motor coupled to a DC generator | . | . | Crompton Greaves | Crompton Greaves | V2R5FG | Ministry of Education | Internal Funding | . | 3-ph, 5-hp Induction motor (Crompton Greaves), DC generator (Bharath Electric Motors, Coimbatore) | Electrical and Electronics Engineering | . | 250000 | . | . | . | . | . | . | Bharath Electric Motors, Coimbatore | spradabane@nitw.ac.in | Bharath Electric Motors, Coimbatore | spradabane@nitw.ac.in | spradabane@nitw.ac.in
3-Ph, 4-leg IBGT based Inverter | . | . | Semikron Electronics, Mumbai | 3PHIGBT | 15745C1VR | Ministry of Education | Internal Funding | . | Inverter module:  Four leg inverter,  Three phase bridge rectifier, i/p AC voltage=415V, 45A  Clamped capacitor, Vdc1=Vdc2=650 V charged by a three phase diode bridge rectifier.  Provision to measure the two capacitor voltages  IGBT: 1200V, 30A, Switching frequency= 20 kHz  Forced air  Ambient temperature= 40Deg  Driver circuit Encapsulated inverter module: Bridge rectifier, IGBT modules, heat sink, Fan, IGBT snubbers, IGBTdrivers, thermal trip etc. | Electrical and Electronics Engineering | . | 65000 | . | . | . | . | . | . | Semikron Electronics, Mumbai | spradabane@nitw.ac.in | Semikron Electronics, Mumbai | spradabane@nitw.ac.in | spradabane@nitw.ac.in
3-Ph, AC drive system (Invector AC drive) | . | . | IE Power Technologies. Pvt. Ltd, Bangalore | IEPT | 545754545 | Ministry of Education | Internal Funding | . | 9kVA | Electrical and Electronics Engineering | . | 40000 | . | . | . | . | . | . | IE Power Technologies. Pvt. Ltd, Bangalore | spradabane@nitw.ac.in | IE Power Technologies. Pvt. Ltd, Bangalore | spradabane@nitw.ac.in | spradabane@nitw.ac.in
3-Ph Inverter | . | . | Pragna | 3PHIN | 76T8567UCG | Ministry of Education | Internal Funding | . | . | Electrical and Electronics Engineering | . | 300000 | . | . | . | . | . | . | Pragna | eee_hod@nitw.ac.in | Pragna | eee_hod@nitw.ac.in | eee_hod@nitw.ac.in
Scopecorder | . | . | Yokogawa | YOK-SCOP | 4579JKGFGU94 | Ministry of Education | Internal Funding | . | . | Electrical and Electronics Engineering | . | 400000 | . | . | . | . | . | . | Yokogawa | eee_hod@nitw.ac.in | Yokogawa | eee_hod@nitw.ac.in | eee_hod@nitw.ac.in
PMSM | . | . | Benn | BENN-PMSM | CVSDF868780 | Ministry of Education | Internal Funding | . | . | Electrical and Electronics Engineering | . | 250000 | . | . | . | . | . | . | Benn | eee_hod@nitw.ac.in | Benn | eee_hod@nitw.ac.in | eee_hod@nitw.ac.in
BLDC Motor | . | . | Benn | BENN-BLDC | 254879JHUTVD | Ministry of Education | Internal Funding | . | . | Electrical and Electronics Engineering | . | 10000 | . | . | . | . | . | . | Benn | eee_hod@nitw.ac.in | Benn | eee_hod@nitw.ac.in | eee_hod@nitw.ac.in
320F28069 Processors | . | . | TI | 320F28069 | 51476914314 | Ministry of Education | Internal Funding | . | . | Electrical and Electronics Engineering | . | 3000 | . | . | . | . | . | . | TI | eee_hod@nitw.ac.in | TI | eee_hod@nitw.ac.in | eee_hod@nitw.ac.in
dSPACE DS-1104 RTDS | . | . | dSPACE | DS-1104 | 46176565854 | Ministry of Education | Internal Funding | . | . | Electrical and Electronics Engineering | . | 140000 | . | . | . | . | . | . | dSPACE | spradabane@nitw.ac.in | dSPACE | spradabane@nitw.ac.in | spradabane@nitw.ac.in
48 V, 3-Ph IM | . | . | Benn | 3PIM | 54163736 | Ministry of Education | Internal Funding | . | . | Electrical and Electronics Engineering | . | 5000 | . | . | . | . | . | . | Benn |  | Benn
3-Ph multiwinding Interfacing Isolation Transformer for low voltage high current traction IM Motor | . | . | Benn | 3PMIIT | 354687645 | Ministry of Education | Internal Funding | . | . | Electrical and Electronics Engineering | . | 80000 | . | . | . | . | . | . | Benn | eee_hod@nitw.ac.in | Benn | eee_hod@nitw.ac.in | eee_hod@nitw.ac.in
3-Ph, 10 KVA isolation transformer | . | . | Procon Controls, Coimbatore | 3PHIT | 541657 | Ministry of Education | Internal Funding | . | . | Electrical and Electronics Engineering | . | 55000 | . | . | . | . | . | . | Procon Controls, Coimbatore | spradabane@nitw.ac.in | Procon Controls, Coimbatore | spradabane@nitw.ac.in | spradabane@nitw.ac.in
dSPACE DS-1104 | . | . | M/s Dyna Fusion Technologies, Pvt, Ltd, Bangalore | DS-1104 | 8795687946 | Ministry of Education | Internal Funding | . | . | Electrical and Electronics Engineering | . | 150000 | . | . | . | . | . | . | M/s Dyna Fusion Technologies, Pvt, Ltd, Bangalore | spradabane@nitw.ac.in | M/s Dyna Fusion Technologies, Pvt, Ltd, Bangalore | spradabane@nitw.ac.in | spradabane@nitw.ac.in
Contact Angle Measuring System | . | . | Apex | Apex | VFD758 | Ministry of Education | Internal Funding | . | Dynamic Contact Angle | Electrical and Electronics Engineering | . | 340000 | . | . | . | . | . | . | Apex | pmishra@nitw.ac.in | Apex | pmishra@nitw.ac.in | pmishra@nitw.ac.in
Opal-RT 4500 | . | . | M/s OPAL-RT Technologies India , Bangalore | Opal-RT 4500 | SJK9856987 | Ministry of Education | Internal Funding | . | Opal-RT 4500 (RT-LAB-RCP/HIL SYSTEMS) | Electrical and Electronics Engineering | . | 20000 | . | . | . | . | . | . | M/s OPAL-RT Technologies India , Bangalore | spradabane@nitw.ac.in | M/s OPAL-RT Technologies India , Bangalore | spradabane@nitw.ac.in | spradabane@nitw.ac.in
Loading Rheostat 1-ph, 230V, 5kW/20A | . | . | SP | SPPP | 165R7568 | Ministry of Education | Internal Funding | . | . | Electrical and Electronics Engineering | . | 15000 | . | . | . | . | . | . | SP | spradabane@nitw.ac.in | SP | spradabane@nitw.ac.in | spradabane@nitw.ac.in
3-Ph, Auto-transformer | . | . | Sabtron Transformers and Electro Equipments, Bangalore | STEE | 35XSCGUT78 | Ministry of Education | Internal Funding | . | 3-Ph, 10 KVA, (415 / 0-470)V, Auto-transformer | Electrical and Electronics Engineering | . | 150000 | . | . | . | . | . | . | Sabtron Transformers and Electro Equipments, Bangalore | spradabane@nitw.ac.in | Sabtron Transformers and Electro Equipments, Bangalore | spradabane@nitw.ac.in | spradabane@nitw.ac.in
Reguated Power Supply | . | . | Scientific Mes-Technik Pvt. Ltd., Indore | PSD3005 | 6546878567 | Ministry of Education | Internal Funding | . | 30V, 5A Power Supply PSD3005 | Electrical and Electronics Engineering | . | 6500 | . | . | . | . | . | . | Scientific Mes-Technik Pvt. Ltd., Indore | spradabane@nitw.ac.in | Scientific Mes-Technik Pvt. Ltd., Indore | spradabane@nitw.ac.in | spradabane@nitw.ac.in
Regulated Power Supply | . | . | Scientific Mes-Technik Pvt. Ltd., Indore | Delta SM100-AR-75 | 467414SDFEYG | Ministry of Education | Internal Funding | . | High Power Regulated DC Supply Make and Model: Delta SM100-AR-75 0-50V, 0-75A / 0-100V, 0-37.5A | Electrical and Electronics Engineering | . | 7000 | . | . | . | . | . | . | Scientific Mes-Technik Pvt. Ltd., Indore | selvi@nitw.ac.in | Scientific Mes-Technik Pvt. Ltd., Indore | selvi@nitw.ac.in | selvi@nitw.ac.in
Regulated Power Supply | . | . | Tektronix | Keithley 2230G-30-6 | VJKB4644657 | Ministry of Education | Internal Funding | . | Programmable 3 Channel DC Power supply Make & Model: Tektronix Keithley 2230G-30-6 0-30V 6 A, 0-30V 6A, 0-5V 3A | Electrical and Electronics Engineering | . | 6000 | . | . | . | . | . | . | M/s. Peridot Technologies, Secunderabad | selvi@nitw.ac.in | M/s. Peridot Technologies, Secunderabad | selvi@nitw.ac.in | selvi@nitw.ac.in
3-ph, 1-hp induction motor | . | . | Siemens | Siemens-IM | CSD54VRT587 | Ministry of Education | Internal Funding | . | 3-phase, 1 HP induction motor | Electrical and Electronics Engineering | . | 10000 | . | . | . | . | . | . | Siemens | spradabane@nitw.ac.in | Siemens | spradabane@nitw.ac.in | spradabane@nitw.ac.in