## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Rapid Control Prototyping System | . | . | OPAL RT Technologies, Bangalore | HF5476 | 87946524VD | Ministry of Education | Internal Funding | . | . | Electrical and Electronics Engineering | . | 1200000 | . | . | . | . | . | . | M/s OPAL RT Technologies, Bangalore | ssr@nitw.ac.in | M/s OPAL RT Technologies, Bangalore | ssr@nitw.ac.in | ssr@nitw.ac.in
L641 BAS Base Unit Multi Channel Precision Power Analyzer and Harmonic Analyzer | . | . | M/s Technocomm Instrumeents Pvt,Ltd Bengaluru | L641 BAS | JBH8C7 | Ministry of Education | Internal Funding | . | . | Electrical and Electronics Engineering | . | 400000 | . | . | . | . | . | . | M/s Technocomm Instrumeents Pvt,Ltd Bengaluru | blnraju@nitw.ac.in | M/s Technocomm Instrumeents Pvt,Ltd Bengaluru | blnraju@nitw.ac.in | blnraju@nitw.ac.in
SPPP On grid 10kw Solar PV panels Installation | . | . | M/s Technocomm Instrumeents Pvt,Ltd Bengaluru | SPPP | 51NILRGE | Ministry of Education | Internal Funding | . | . | Electrical and Electronics Engineering | . | 80000 | . | . | . | . | . | . | M/s Greentek India Pvt Ltd Hyderabad | shekar@nitw.ac.in | M/s Greentek India Pvt Ltd Hyderabad | shekar@nitw.ac.in | shekar@nitw.ac.in
4 channel digital Oscilloscope , Current probes, Differential Voltage Probes | . | . | TEKTRONIX | MDO3024 | 678977 | Ministry of Education | Internal Funding | . | Digital Oscilloscope (TEKTRONIX MDO3024) Analog Channels: 4, Bandwidth:≥200MHz,Analog Sample Rate: 2.5 GS/s , Record Length: 10 Mp, Spectrum Analyzer Frequency: 9 kHz - 200 MHz Current Probes (TEKTRONIX TCP0030A) Bandwidth: DC to 120 MHz or more, Maximum current capability: 30 A, Peak pulse current capability: 50A Differential Voltage Probes (Tektronix THDP0200 & Tektronix TMDP0200) Bandwidth: DC to 200 MHz or more, 750 V, 1500 V | Electrical and Electronics Engineering | . | 200000 | . | . | . | . | . | . | M/S Peridot Technologies, Secunderabad | selvi@nitw.ac.in | M/S Peridot Technologies, Secunderabad | selvi@nitw.ac.in | selvi@nitw.ac.in