## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Equipment Description | Department/Lab Name | Project Title | Rate/Hr | Refernce Website | Category | Equipment Status
Ultraviolet-visible/Near ir spectrometer | UV-Vis/NIR | Room No.006 | M/s. Perkin Elmer, USA | Lambda 750 |  | Institute | Institute grant | Measure all kind of samples | SSCU general lab |  |  |  | Public Funded | Up
Fourier transform infrared spectrometer | FT-IR/FIR | Room No.012 | M/s. Perkin Elmer, USA | Frontier IR |  | Institute | Institute grant | Measure all kind of samples | SSCU general lab |  |  |  | Public Funded | Up
Modular Glove Box in stainless steel ( US 304L) | Glove box | Prof. Satish Patil Lab | M/s. Jacomex Rue du Bicentenair zone, France |  |  | Government | DST | Modular Glove box in stainless steel (US 304L) used for inert atmospheric work | SSCU/Prof. Satish Patil Lab |  |  |  | Public Funded | Up
Electron-Beam Evaporator with turbo pump for integrating with glove box | E-beam Evaporator | Prof. Satish Patil Lab | M/s. Givana Tech LLC, USA |  |  | Government | DST | Deposition technology for producing dense, high purity coatings and glove box is for inert atmospheric work | SSCU/Prof. Satish Patil Lab |  |  |  | Public Funded | Up
Computer Node-Dell power-edge open source cluster |  | Dr. Govardhan Reddy Lab | M/s. S. S. Informations System, Singapore |  |  | Government | DST | Computer Node-Dell power-edge open source cluster | SSCU/ Dr. Govardhan Reddy |  |  |  | Public Funded | Up
Modular Glove Box | Glove box | Dr. Nagaphani Lab | M/s. MBRAUN Intergas System Gmbh, China | LABmaster pro |  | Institute | Institute grant | Inert atmospheric work | SSCU/ Dr. Naga Phani |  |  |  | Public Funded | Up
Atomic Force Microscopy System | AFM | Room No.006 | M/s. Asylum Research | Cypher Es |  | Government | DST-FIST | Kind of Scanning Probe Micro Scope which measures local properties such as height, friction, magnetism, with a probe. | SSCU general lab |  |  |  | Public Funded | Up
Glove Box | Glove box | Dr. Abhishake Mondal Lab | M/s. MBRAUN Intergas System Gmbh, China | UNIlab pro |  | Institute | Institute grant | Inert atmospheric work | SSCU/ Dr. Abhishake Mondal |  |  |  | Public Funded | Up
Single Crystal X-ray diffraction | SCXRD | Room No. 13 | M/s. Oxford Diffraction ( M/s. Rigaku Corporation) | X-Calibur Mova |  | Government | DST | Characterization of organic and inorganic samples | SSCU/Prof. T. N. Guru Row lab |  |  |  | Public Funded | Up
X-ray diffraction System | XRD | CCD Facility, Chemical Sciences | M/s. Bruker AXS GMBH, Germany | Kappa apex II |  |  | Special Grant from Director Under CER | Characterization of organic and inorganic samples | CCD Facility/Prof. T. N. Guru Row |  |  |  | Public Funded | Up
Vibrating Sample Magnetometer system | VSM | Room No. 004 | M/s. Lake shore Cryotronics Inc. | Model 7404 |  | Government | DST | Measurement of all samples having magnetic properties | SSCU |  |  |  | Public Funded | Up
X-Ray Crystallography | XRD | Prof. Gautam Desiraju Lab | M/s. Rigaku Corporation | Xta lab mini |  | Institute | Institute plan grant | Characterization of organic and inorganic samples | SSCU/Prof. G. R. Desiraju |  |  |  | Public Funded | Up
Super computer | HPC(TUE-CMS) | SSCU Annex | M/s. HCL Infosystems, Bangalore | nx360 m5 |  | Government | DST | Intel xeon E5-2670 – 140 in number, 24 cores in each blade | TUE-CMS/SSCU/Prof.D. D. Sarma |  |  |  | Public Funded | Up
DATA Center support | HPC-DC (TUE-CMS) | SSCU Annex | M/s. HCL Infosystems, Bangalore | HPC-DC (TUE-CMS) |  | Government | DST |  | TUE-CMS/SSCU/Prof.D. D. Sarma |  |  |  | Public Funded | Up
Physical Property Measurement System | PPMS | Physics | M/s. Quantum Design, |  |  | Government | DST-FIST | Measure DC resistivity, AC transport and heat capacity for samples under user controlled B, P, T & G | Trensferred to Physics from SSCU |  |  |  | Public Funded | Up
Nano Partical Size analyzer with Zeta potential Measurement | Zeta potential | Room No. 006 | M/s. Microtrac, India | Nanotrac |  | Government | DST-FIST | Measurement of colloidal systems across wide concentration range | SSCU/Prof. Aninda J. B. |  |  |  | Public Funded | Up
Optical Cryosystems & Turbo pumping station | Cryosystems | Room No.101 | M/s. Jenis Research Co., USA | GN2 & GLD-051 |  |  | UGC-CAS | Low temperature measurements | SSCU general lab |  |  |  | Public Funded | Up
Oxford Cryosystems Contra plus | Cryosystems | Room No. 013 | M/s. Oxford Diffraction, UK | Cryodrive 2.0 |  | Government | DST | Low temperature measurements | SSCU/Prof. T. N. Guru Row lab |  |  |  | Public Funded | Up
X-Ray Diffracto meter system | Powder XRD | MRC building | M/s. Spectris Pte. Ltd., Singapore | Empyrean |  |  | UGS-CAS | Characterization of organic and inorganic samples | SSCU general lab |  |  |  | Public Funded | Up
Thermo Gravimetric analyzer & Differential scanning calorimeter | TGA&DSC | ROOM No. 012 | M/s. Mettler-Toledo, Switzerland | TGA-SDTA 851e & DSC823e |  |  | UGS-CAS | Determination of phase transition of Solid Samples | SSCU general lab |  |  |  | Public Funded | Up
High frequency Impedence Analyzer | Impedence Analyzer | SSCU Annexe | M/s. Keysight Technologies, Singapore | E4991B |  | Government | DST | Measurement of dielectric properties of the samples | SSCU/Prof. Aninda J. B. |  |  |  | Public Funded | Up
Brunauer-Emmett-teller instrument | BET | ROOM No.012 | M/s. BEL, Japan | Belsorp max |  | Institute | Institute grant | Specific surface area and porosity measurement of solid sample | SSCU general lab |  |  |  | Public Funded | Up
A magneto-optical Cryofree superconducting magnet system | Superconducting magnet system | SSCU Annex | M/s. Oxford Instruments, UK | Spectromag PT |  | Government | DST | To study optical properties in the presence of magnetic field in low temperature | SSCU Annex/ Magnet lab |  |  |  | Public Funded | Up
Time-resolved Confocal Fluorescence Microscope with unique single molecule sensitivity | Fluorescence Microscope | SSCU Annex | M/s. PicoQuant, Germany | MicroTime 200 |  | Government | DST | To study the single molecule fluorescence dynamics of the samples | SSCU Annex/ Microscope lab |  |  |  | Public Funded | Up
Fluorescence up conversion spectrometer | Fluorescence spectrometer | SSCU Annex | M/s. Ultrafast Systems, USA | HALCYONE |  | Government | DST | To measure fluorescence decays with femtosecond time scale | SSCU Annex/Laser lab |  |  |  | Public Funded | Up
Closed Cycle cryostat for low vibrations | Cryostat | SSCU Annex | M/s. Advanced Research Systems, USA | CS204PF-DMX-20 |  | Government | DST | To study the optical properties & behavior of the sample in low temperature | SSCU Annex/Laser lab |  |  |  | Public Funded | Up
Cryostation with Accessories | Optical cryostat | SSCU Annex | M/s. Montana Instruments, USA | Cryostation® |  | Government | DST | To study the optical properties & behavior of the single molecule in low temperature | SSCU/Annex/Microscope lab |  |  |  | Public Funded | Up
X-ray photoelectron spectrometer and inverse photoelectron spectrometer | Photoelectron spectrometer | MRC building, Room No. 012 | VSW scientific instruments |  |  |  |  | Photoelectron spectroscopy ( XPS, UPS and BIS ) | MRC building |  |  |  | Public Funded | Up
X-ray photoelectron spectrometer | Photoelectron spectrometer | MRC building, Room No. 012 | Own assembled |  |  |  |  | Photoelectron spectroscopy ( XPS, UPS ) | MRC building |  |  |  | Public Funded | Up
Temperature depended scanning tunneling microscope | STM | MRC building, Room No. 001 | Own assembled |  |  |  |  | Surface imaging and mapping in the atomic resolution | MRC building |  |  |  | Public Funded | Up
Magneto-dielectric setup |  | MRC building, Room No.012 | Own assembled |  |  |  |  | Dielectric, magneto-dielectric and transport measurements | MRC building |  |  |  | Public Funded | Up