## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Trinocular Microscope |  | Dept of Zoology, DAV College Amritsar | Labex K.K., International, Ambala Cantt., Haryana | i4000 | 3189179 | DBT | Department of Biotechnology, Govt of India, New Delhi | Under Star College Scheme | Labovision Trinocular Compound Microscope with infinity Optical System (IOS), Model SENSE, i4000 |  |  | 73,200/- | labo.vision | working | Characterization Equipment |  |  |  | Vinny Scientific Store, 585/VI Kucha Lala Bughi Mal, Near Mahavir Dhoop Factory, Tunda Talab, Amritsar | vinnyscientific@yahoo.com | Labex KK International, 128, HSIDC, Industrial Estate, Ambala | sales@labo.vision.
Automated Micropipette Reader (ELISA READER) |  | Dept of Zoology, DAV College Amritsar | Biotek | EL 800 | 1665 | Star College Scheme | Star College Scheme | Star College Scheme | Single Channel, automated benchtop, enzyme immunoassay analyzer which performs in vitro diagnostic analyses of a variety of samples. |  |  | 91,500/- | [6 empty] | RS Traders, Kangra Colony, Amritsar
UV-VIS Digital Spectrophotometer (200-1000nm) |  | Central Instrumentation Lab, DAV College, Amritsar. | Systronics, Ahmedabad, Gujarat | 118 | 1619 | DBT | Star College Scheme | Star College Scheme | Systronics UV–Visible Spectrophotometer 118 is a good resolution, single beam, manual instrument with 200-1000 nm range. |  |  | 90,691.96/- | www.systronicsindia.com | working | Characterization and Testing Equipment |  |  |  | Sanjay Biological Museum, Opp. Hindu Sabha Sr. Sec. School, Dhab | sbmasr@yahoo.com | Systronics India Ltd. ,Ahemdabad, Gujarat | sales@systronicsindia.com
Sense i 4000 Trinocular Microscope |  | Botany Lab. 1, DAV College, Amritsar | Labex K.K. International, Ambala Cantt., Haryana | i 4000 | 3189179 | DBT | Star College Scheme | Star College Scheme | Labovision Trinocular Compound Microscope with infinity |  |  | Rs, 73,200/- | labo.vision | working | Characterization Equipment |  |  |  | Vinny Scientific Store, 585/VI Kucha lala Buggi Mal, Near Mahavir | Vinnyscientific@yahoo.com | Labex KK International, 128, HSIDC, Industrial Estate, Ambala | Sales@labo.vision
Benchtop pH Meter - 4 | Oakton pH 550 | DAV College, Amritsar | Indiamart | pH 550 | pH550X20121080 | DBT | Department of Biotechnology, Govt of India, New Delhi | Star College Scheme | Digital microprocessor based with automatic temperature compensation, data storage, parameter setup and Max/Min reading display. | chemistry |  | 30,700/- | www.indiamart.com | working | Analytical and Testing Equipment |  |  |  | Meenakshi Trading Co. | mtcvss@gmail.com | indiamart, Noida, UP | sales@indiamart.com
Benchtop Conductivity meter | Oakton CON550 | DAV College, Amritsar | Indiamart | CON550 | CON550X20061O17 | DBT | Department of Biotechnology, Govt of India, New Delhi | Star College Scheme | Digital microprocessor based with automatic calibration, automatic temperature compensation, data storage, parameter setup, and Max/Min reading display | chemistry |  | 35,000/- | www.systronicsindia.com | working | Analytical and Testing Equipment |  |  |  | Meenakshi Trading Co. | mtcvss@gmail.com | indiamart, Noida, UP | sales@indiamart.com
Flame photometer 128 |  | DAV College, Amritsar | Systronics | 128-151280 | 4964 | DBT | Department of Biotechnology, Govt of India, New Delhi | Star College Scheme | micro-controller based instrument with Na and K filters | chemistry |  | 48,230/- | www.systronicsindia.com | working | Analytical |  |  |  | Meenakshi Trading Co. | mtcvss@gmail.com | Systronics India Ltd. ,Ahemdabad, Gujarat | ahd@systronicsindia.com
Digital Photoelectric colorimeter |  | DAV College, Amritsar | Systronics | Photoelectric colorimeter 113 | 7834 | FIST | Department of Science and Technology, New Delhi. | Under DST FIST Scheme | Digital with LED light source, 8 filters, wavelength range 400-700 nm | chemistry |  | 10,800/- | www.systronicsindia.com | working | Analytical |  |  |  | Meenakshi Trading Co. | mtcvss@gmail.com | Systronics India Ltd. ,Ahemdabad, Gujarat | sales@systronicsindia.com
Digital Polarimeter | Zeal Tech 09161 | DAV College, Amritsar | Zeal Tech | Zeal Tech 09161 | 9161 | FIST | Department of Science and Technology, New Delhi. | Under DST FIST Scheme | Digital with fast and accurate measurement | chemistry |  | 35,750/- | www.zeal-tech.co.in | working | Analytical |  |  |  | Meenakshi Trading Co. | mtcvss@gmail.com | Zeal Tech, Coimbatore, Kerala | zealtecheng@yahoo.co.in.
Spectrophotometer | Spectrophotometer 169 | DAV College, Amritsar | Systronics | µC Spectrophotometer 169 | 1020 | UGC | University Grants Commission (UGC), New Delhi. | Research project | Digital microcontroller based with four modes measurement i.e. %T, ABS, Concentration and K factor | chemistry |  | 49,024/- | www.systronicsindia.com | working | Analytical |  |  |  | Meenakshi Trading Co. | mtcvss@gmail.com | Systronics India Ltd. ,Ahemdabad, Gujarat | sales@systronicsindia.com
Industrial furnance | NSW 102 | DAV College, Amritsar | Narang Scientific works Pvt. Ltd. | NSW 102 | 102 | UGC | University Grants Commission (UGC), New Delhi. | Research project | Digital Industrial furnance with Temp. range of up to 1000 C | chemistry |  | 57,614/- | www.nsw-india.com | working | Fabrication of nanomaterials |  |  |  | Meenakshi Trading Co. | mtcvss@gmail.com | Narang Scientific Works Pvt Ltd, New Delhi | sales@nsw-india.com
Water analysis kit | NPC 3630 | DAV College, Amritsar | Naina Solaris Ltd. | NPC 3630 | 1572 | Basic Science Research | Department of Science and Technology, New Delhi. | BSR Scheme | Digital microprocessor based system | chemistry |  | 36,000/- | www.nainasemi.com | working | Analytical |  |  |  | Meenakshi Trading Co. | mtcvss@gmail.com | Naina Solaris, New Delhi | anilarchitkhanna@yahoo.com
Turbidity meter | µC Turbidity meter 135 | DAV College, Amritsar | Systronics | µC Turbidity meter 135 | 1070 | DBT | Department of Biotechnology, Govt of India, New Delhi | Star College Scheme | Microcontroller based digital with range 0-1000 NTU | chemistry |  | 23,205/- | www.systronicsindia.com | working | Analytical and testing equipment |  |  |  | Meenakshi Trading Co. | mtcvss@gmail.com | Systronics India Ltd. ,Ahemdabad, Gujarat | ahd@systronicsindia.com
Digital melting point Apparatus | Stuart smp 10 | DAV College, Amritsar | Stuart equipment | SMP10 | R113001333 | Basic Science Research | Department of Science and Technology, New Delhi. | BSR Scheme | Digital with 1℃ resolution | chemistry |  | 42,000/- | www.coleparmer.in | working | Analytical |  |  |  | Meenakshi Trading Co. | mtcvss@gmail.com
Vernier LABQUEST | LABQUEST 2 | DAV College, Amritsar | Vernier Software Technology in Oregon assembled in China | Vernier LABQUEST 2 | 12023155 | Basic Science Research | Department of Science and Technology, New Delhi. | BSR Scheme | Digital equipped with sensors with graphing and analysis application | chemistry |  | 2,58,398/- | www. Vernier.com | working | Analytical |  |  |  | Meenakshi Trading Co. | mtcvss@gmail.com | Vernier Software Technology | support@vernier.com
Potentiometer | Equiptronics EQ602 | DAV College, Amritsar | Indiamart | EQ602 | 50119 | DBT | Department of Biotechnology, Govt of India, New Delhi | Star College Scheme | Microprocessor based digital within built standard cell and magnetic stirrer | chemistry |  | 12,000/- | www.indiamart.com | working | Analytical and testing equipment |  |  |  | Meenakshi Trading Co. | mtcvss@gmail.com | indiamart, Noida, UP | sales@indiamart.com
Distillation Unit |  | Department of Physics DAV College Amritsar | Riviera Glass Pvt. Ltd, C/ 2116, Oberoi Garden Estates, Chandivili, Studio Road, Andheri (East), Mumbai | Riviera 72223 | RGPC/1617/187 | FIST | Department of Science and Technology, New Delhi. | Under DST FIST Scheme | Distillation Unit with quartz boiler, Borosilicate glass condenser and water softener for boiler feed and auto cut off system with audio alarm | Physics |  | 66916/- | info@rivieraglass.co.in | working | Characterization Equipment |  |  |  | Sanjay Biological Museum | sbmasr@yahoo.com
Thermo-luminescence |  | Department of Physics DAV College Amritsar | SES Instruments Pvt. Ltd. H.O. 452, Adarsh Nagar, Roorkee | TLX02 |  | FIST | Department of Science and Technology, New Delhi. | Under DST FIST Scheme | Peak wave length = 300 to 650(nm), Photo Cathode Material = Sb-Cs | Physics |  | 190281/- | https://www.sesinstruments.in | working | Characterization Equipment |  |  |  | SES Instruments | info@sestechno.com
UV-Vis Spectrometer |  | Department of Physics DAV College Amritsar | Shimazu Corporation 1 NishinokyuKuwabara –cho, Nakagyo-ku, Kyotu, Japan | Model UV 1800 | A11635480263 | FIST | Department of Science and Technology, New Delhi. | Under DST FIST Scheme | 50-60 Hz, 144 Amp, 220-240 V, | Physics |  | 429450/- | https://www.shimadzu.com/about/offices.html | working | Characterization Equipment |  |  |  | Toshvin Analytical Pvt. Ltd. | chandigarh@toshvin.com
Magnetic Stirrer with hot plate |  | Department of Physics DAV College Amritsar | IKA 2635 Northchase Pkwy SE, Wilmington, NC 28405, USA | RH Basic 2 |  | FIST | Department of Science and Technology, New Delhi. | Under DST FIST Scheme | Magnetic Stirrer with hot plate | Physics |  | 26775/- | http://www.ikausa.com/contact/questionnaire/ | working | Characterization Equipment |  |  |  | Prisim Automation Pvt. Ltd. | deepakverma@prismautomation.in
pH Meter |  | Department of Physics DAV College Amritsar | Mettlo Trodo GmbH lm Langacher, Greifensee, Switzerland,448606 | 7 compact S210 |  | FIST | Department of Science and Technology, New Delhi. | Under DST FIST Scheme |  | Physics |  | 135880/- | https://www.dnb.com/business-directory/company-profiles.mettler-toledo_(schweiz)_gmbh.0051463e81ff306bf25a8d624134129e.html | working | Characterization Equipment |  |  |  | The Bharat Instruments & Chemicals
Impedance Analyzer |  | Department of Physics DAV College Amritsar | Keysight Technologies India Private Limited, Unit Nos.101-102, 105-108, First FloorSplendor Forum, Plot no. 3,District Center, Jasola | E4990A |  | FIST | Department of Science and Technology, New Delhi. | Under DST FIST Scheme | Impedance Analyzer 20 Hz to 10 MHz test leads (BNC)v 1m Kelvin clip leads | Physics |  | 986508/- |  | working | Characterization Equipment |  |  |  | M/S Agmatel India Pvt. Ltd.
Brookfield Viscometer |  | Department of Physics DAV College Amritsar | Brookfield Technical Centre, Stadium Way, Harlow CM19 5GX, UK | DV2TLV | 8734187 | FIST | Department of Science and Technology, New Delhi. | Under DST FIST Scheme | Digital viscometer, 5-7 inch full color touch screen display, | Physics |  | 4,73,025/- | https://www.brookfieldengineering.uk/contactus/brookfieldoffices | working | Characterization Equipment |  |  |  | Centurion Scientific | centurionscientific@vsnl.net
Etching bath |  | Department of Physics DAV College Amritsar | Polltech instruments Pvt. Ltd. Mumbai | PS1-CTB1 |  | BRNS | Department of Atomic energy, board of research in nuclear sciences, Govt. Of India | comprehensive study on natural radiation level |  | Physics |  | 23900 | https://polltechinstruments.com/ | working | Characterization Equipment |  |  |  | Polltech Instruments | polltech@vsnl.com
Spark counter |  | Department of Physics DAV College Amritsar | Polltech instruments Pvt. Ltd. Mumbai | PS1-SC1 |  | BRNS | Department of Atomic energy, board of research in nuclear sciences, Govt. Of India | comprehensive study on natural radiation level | microprocessor based 5 digit counter, sparking head, high voltage supply | Physics |  | 37500 | https://polltechinstruments.com/ | working | Characterization Equipment |  |  |  | Polltech Instruments | polltech@vsnl.com
Radiation monitor |  | Department of Physics DAV College Amritsar | Sarad Dosimeter International envronment counslting, new Delhi | MKS-03D |  | BRNS | Department of Atomic energy, board of research in nuclear sciences, Govt. Of India | comprehensive study on natural radiation level | bluetooth interface and software for data transfer | Physics |  | 75000 | https://www.indiamart.com/international-enviroment-consulting/nuclear-power-plant.html | working | Characterization Equipment
Source metre |  | Department of Physics DAV College Amritsar |  |  | 2450 | FIST | Department of Science and Technology, New Delhi. | [7 empty] | Characterization Equipment
RAD 7 |  | Department of Physics DAV College Amritsar | Durridge Co. USA | 2706 |  | CPE | University Grants Commission (UGC), New Delhi. |  | soilgas probe, dry stickpassive moisture exchanger | Physics |  | 551500 |  | working | Analytical and Testing Equipment