## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs)
DC Microgrid test bench |  | Delhi | Ecosense | [5 empty] | 6.5 kW | Electrical Engineering Department | M.P.Varshney Lab |  | www.ecosenseworld.com | Working | Research Equipment
ZedBoard |  | Taiwan | DIGILENT | [9 empty] | www.zedborad.org | Working | Research Equipment
Solar Panel |  | Delhi | Ecosense | [5 empty] | 2 Kw, 50 V, 20 A |  |  |  | www.ecosenseworld.com | Working | Research Equipment
Fuel Cell |  | Delhi | Ecosense | [5 empty] | 1kW, 28.8 V, 35 A |  |  |  | www.ecosenseworld.com | Working | Research Equipment
Wind Emulator |  | Delhi | Ecosense | [5 empty] | 3.5 kW, 150 V, 10 A |  |  |  | www.ecosenseworld.com | Working | Research Equipment
PV Emulator |  | Delhi | Ecosense | [5 empty] | 2 kW, 50 V, 20 A |  |  |  | www.ecosenseworld.com | Working | Research Equipment
Battery (Lead Acid) |  | Delhi | Ecosense | [5 empty] | 26 Ah, 96 V |  |  |  | www.ecosenseworld.com | Working | Research Equipment
Real time power system simulator |  | CANADA | RTDS-Technologies | [5 empty] | Racks-6; Nodes per rack-75; GTAO/GTAI-10 V peak; GTDO/GTDI-5-30V | Electrical Engineering Department |  |  |  | Working | Research Equipment
DSP controller |  | Germany | dSPACE DS1104 | [5 empty] | ADC-10 V number -8; DAC 10 V-number-8 |  |  |  |  | Working | Research Equipment
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs)
MATLAB | MATLAB | PSS LAB | MATHWORKS INC. | VERSION 2019 a | - | INTERNAL | PROVIDED BY ICC | - | SOFTWARE | ELECTICAL ENGINEERING | PSS LAB |  | https://www.mathworks.com/products.html?s_tid=gn_ps | IN USE | Analytical/Simulation Equipment
PSCAD | PSCAD | PSS LAB | MONITOBA HYDRO INTERNATIONAL LIMITED, CANADA | VERSION 4.5 | - | INTERNAL | INSTITUTION FUND | - | SOFTWARE | ELECTICAL ENGINEERING | PSS LAB |  | https://www.pscad.com/software/pscad/overview | IN USE | Analytical/Simulation Equipment