## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs)
High Voltage Probes (10 Quantity) |  | Power System Lab | Silicom electronics pvt ltd |  |  | Department Plan Grant | NA | NA | High Voltage Probes | EED |  | 277350/-
Three Phase Transformer(1 Quantity) |  | Power System Lab | BENN Electricals |  |  | Department Plan Grant | NA | NA | 2KVA, 415V/230V | EED |  | 114960/-
Vacuum Circuit Breaker Set |  | Power System Lab | ABB |  |  | Department Plan Grant | NA | NA |  | EED |  | 1798000/-
Three Phase Relay Testing kit(CMC356) |  | Power System Lab | Omicron Energy Solution PVT LTD |  |  | CPRI | NA | Design, Developement and Validation of New Adaptive Digital Relaying Scheme for Power Transformer |  | EED |  | 2109524/-
Digital stroage Oscilloscope (4 Channel) |  | Power System Lab | Yokogawa India |  |  | CPRI | NA | Design, Developement and Validation of New Adaptive Digital Relaying Scheme for Power Transformer | 4 Channel | EED |  | 430000/-
Digital stroage Oscilloscope (8 Channel) |  | Power System Lab | Yokogawa India |  |  | Department Plan Grant | NA | NA | 4 Channel | EED |  | 1055000/-
PSCAD Software (10 USERS) |  | Power System Lab | PSCAD |  |  | Department Plan Grant | NA | NA | 10 users | EED |  | 500000/-
Three Phase Transformer(1 Quantity) |  | Power System Lab | BENN Electricals |  |  | CPRI | NA | Design, Developement and Validation of New Adaptive Digital Relaying Scheme for Power Transformer | 5KVA, 415V/230V | EED |  | 168300/-
DC Motor - Generator Set |  | Power System Lab | BENN Electricals |  |  | CSIR | NA | Design, Implementation and Validation of New Digital Relaying Scheme for Synchronous Generator During Internal Fault | 4KVA,1500RPM/coupled with 5 HP / 220 V / 1500 RPM / DC Shunt motor | EED |  | 212240/-
DC Motor - Generator Set |  | Power System Lab | BENN Electricals |  |  | Department Plan Grant | NA | NA | 3KVA,1500RPM/coupled with 5 HP / 220 V / 1500 RPM / DC Shunt motor | EED |  | 210000/-
Three Phase Induction Motor - DC Generator Set |  | Power System Lab | BENN Electricals |  |  | Department Plan Grant | NA | NA | 5 HP / 415 V star connected double layer stator with all 72 terminals brought out / coupled with 5 HP / 220 V / 1500 RPM / DC Shunt motor | EED |  | 215000/-
Various Relays |  | Power System Lab | SEL |  |  | Department Plan Grant | NA | NA |  | EED |  | 3500000/-