## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Liquid Chromatography-High Resolution Mass Spectrometer (LC-HRMS) |  | CRIF | Agilent Technologies. | QTOF 6530 | SG14502002 |  |  |  | The molecular structure of petroleum components, industrial products, pharmaceuticals and biomolecules can be judged. Purity of the finished chemical industrial products be established. | CRIF | Dr.Kashinath | [5 empty] | 12287540 |  | Agilent Technologies International Pvt Ltd CP-11 Sector 8 Technology Park, IMT manesar Haryana- 122051 Tel: +91-124 4863000 Sales and Service Centre (SSC) Toll Free Primary Number: 1800-102-7906 Alternate/Secondary Number: 1800-180-1517 Website: www.agilent.com/chem/in | Email: Customercare.india@agilent.com | Agilent Technologies International Pvt Ltd | parambadi.pavan-kumar@agilent.com , 967615772, deepika.bhatnagar@agilent.com
X BAND Electron Spin Resonance Spectroscopy (ESR) |  | CRIF | JEOL RESONANCE Inc., Japan | JES-FA100 | ER1841000400040 |  |  |  | ESR Spectrometer is used for the measurement of species that contain unpaired electrons (Free radicals, transition metal complexes, molecular structure, valence electron wave functions, electron transport, crystal & ligand field splitting, relaxation mechanisms and reaction kinetics, odd-electron molecules, rare earth ions etc. ESR is a powerful non-destructive and non-intrusive analytical method. ESR yields meaningful structural information even from ongoing chemical or physical processes, without influencing the process itself. | CRIF | Prof Laxma Reddy | [5 empty] | 9719783 |  | JEOL INDIA PVT. LTD. Hyderabad Office 422, Regus Solitaire Business Centre. 1-10-39 to 44, Level 4, Gumidelli Towers, Old Airport Road, Begumpet, Hyderabad - 500016, India TEL: 91-40-67043708 |  | JEOL INDIA PVT. LTD | abhilash229@gmail.com, 9741115885
400 MHz Nuclear Magnetic Resonance (NMR) |  | CRIF | Bruker | Avance III HD |  |  |  |  | Molecular Structure Determination in Pharmaceuticals and Drugs. Structure and atomic arrangements in molecules and crystals can be investigated. Kinetic and temperature studies of reaction mixtures. | Chemistry | Dr. K. Hari Prasad | [5 empty] | 28800000
Electrochemical Workstation |  | CRIF | ZAHNER, GmbH, Germany | IM6e | 14205 |  |  |  |  | CRIF | Dr.K.V.Gobi | [5 empty] | 1436575 |  | M/s.Tech Science,Unit 4&5, Block II, SIDCO Electronic Complex Thiru-Vi-Ka Industrial Estate Guindy Chennai – 600032 India http://www.techscience.co.in Contact: Mr. Ravichandran Phone: +91 44 22500612 | Mail: info@techscience.co.in
Differential Scanning Calorimeter |  | CRIF | Perkin Elmer | DSC8000 | 534L1307122 |  |  |  | Differential Scanning Calorimetry is one of the most frequently used techniques in the field of thermal characterization of solids and liquids. | CRIF | Dr.Vishnu shanker | [5 empty] | 1553367 |  | M/s.Perkin Elmer 8th Floor CorpTech Park Thane (West) |  | Perkin Elmer | pkindia@perkinelmer.com
TG-DTA |  | CRIF | Netzsch | STA2500Regulus | STA2500-0041-N |  |  |  | High-performance analytical instruments by NETZSCH Analysing & Testing allow for comprehensive analysis of the thermal properties of a great variety of materials. Select the appropriate testing methods for your polymers and other organic materials, metals and alloys, ceramics, glass, building materials or other inorganic materials from among our various series of instruments. | CRIF | Dr.Vishnu shanker | [5 empty] | 2279273.62 |  | M/s. NETZSCH geratebau GmBH Germany |  | NETZSCH | service-india.at@netzsch.com RamKumar 9566263303
Photo Chemical Pressure Reactor |  | CRIF | Lelasil Innovative systems | SS316L |  |  |  |  | 1.Opto-elctronic devices study 2.Study LED Characteristic 3.Phosphoroscence and Fluorescence study 4.Quantam Yield and efficiency study | CRIF | Dr.Vishnu shanker | [5 empty] | 233100 |  | M/s.Lelesil Inovative SystemsA-91 Road No 16 Vegel Estate Thane |  | Lelesil Inovative Systems | OFFICE@LELESIL.COM8080080424
Inductively coupled Plasma Optical Emission Spectroscopy (ICP-OES) |  | CRIF | Agilent Technologies. | 700 series | AU13240168 |  |  |  | This technique is used for quantitative and qualitative determination of the metals and metalloids in the following sample. 1. Biological 2. Geological 3. Environmental 4. Pharmaceutical 5. Industrial 6. Aqueous and Organic | CRIF | Dr.P.Syam Prasad | [5 empty] | 2797906 |  | Agilent Technologies International Pvt Ltd CP-11 Sector 8 Technology Park, IMT manesar Haryana- 122051 Tel: +91-124 4863000 Sales and Service Centre (SSC) Toll Free Primary Number: 1800-102-7906 Alternate/Secondary Number: 1800-180-1517 Website: www.agilent.com/chem/in | Email: Customercare.india@agilent.com | Agilent Technologies International Pvt Ltd | Vishal_aurad@agilent.com , 7893258700
Wide Range Fluorescence Work Station |  | CRIF | HORIBA INSTRUMENTS INCORPORATED, USA | FL-1000 | 4752-3915 |  |  |  | Molecular and solid-state fluorescence emission can be monitored and quantum lifetime measurements can be evaluated. Materials in all states and biological samples can be investigated. | CRIF | Dr.P.Abdul Azeem | [5 empty] | 7448136 |  | HORIBA India Private Limited Bangalore Office No.55, 12th Main, Behind BDA Complex, 6th sector, HSR Layout, Bangalore South, 560102Bangalore INDIA +91 80 41273637 |  | HORIBA India Private Limited | +91 80 41273637
indfurr temperature furnace |  | CRIF | indfurr super heat furnace | HTF-1600 | [5 empty] | CRIF | Dr. P. Abdul Azeem | [5 empty] | 330322 |  | indfurr super heat furnace |  |  | indfurr@indfurr.com
impedance analyser |  | CRIF | Biologic | MTZ-35 | 102 |  |  |  | Impedance analysers are often used for characterization of many electrochemical devices, such as photovoltaic cells, fuel cells and batteries that are commonly utilized in renewable energy applications. Depending upon the specifications of these devices, they are quite expensive and their use in many low-cost applications is limited. This study demonstrates a practical impedance analyser application based on the cross-correlation method. Some techniques for extending the bandwidth of the analyser and smoothing out the frequency response are presented. The theoretical studies are verified on a digitally controlled boost converter that identifies a second-order impedance network. | CRIF | Dr. P. Abdul Azeem | [5 empty] | 3181094.45 |  | M/s.Bio Logic Science Instruments Pvt. Ltd EC-Lab, BT-Lab, CD-Lab, SCAN-Lab, EPHI-Lab, MT-Lab, BLES Contact: Dr. Rajani V. Phone: +91-022-25829074 Address: Unit No.204, Odyssey IT Park Road No. 9, MIDC Wagle Estate,Thane, West, Mumbai-400604 MH India |  | Bio Logic Science Instruments Pvt. Ltd | sales@biologicasia.com
Glove Box |  | CRIF | Hind high vaccum company | 2891 |  |  |  |  | Polymer and organic thin film based solar cell devices degrade rapidly under the ambient atmosphere conditions during illumination and in the dark long operational lifetime, solar cell devices is a prerequisite for successful application of this new and promising technology. A glove box system is therefore required to fabricate polymer solar cell devices in an inert atmosphere as encapsulating them. | CRIF | Dr. D. Pauljoseph | [5 empty] | 944625 |  | M/s.Hind High Vaccum company,Pvt ltd,Site no 17,phase-I,Penya industrial area, banglore india 560058 |  |  | sales@hhv.in 41931016,41931017
Trinaocular polarizing Microscope |  | CRIF | Olympus | BX53 | 5B41958 201502 |  |  |  | Trinocular Polarizing Upright Research Microscope with Infinity corrected optical system. External power supply. Coaxial coarse and fine focussing 1 micron, with torque adjustable focus stopper with built-in filter cassettes (NCB filter, Blue and other conversion filters) | CRIF | Dr. V. Jayalakshmi | [5 empty] | 1243448 |  | M/s.DSS IMAGE techltd A-3,Sector -81,Phase-IINoida U.P |  |  | 30886756&30886710
Okay 1600c furnace |  | CRIF | Bysakh | 60F4 | 1984 |  |  |  | Max temp:1700c Heating element Mo, Disilicide, Heating Space:150w*150 H*150mm Sigments:16 | CRIF | Dr. P. Abdul Azeem | [5 empty] | 483000 |  | M/s Bysakh & Co. 55, W.C. Benarge Street Near Girish Park Metro Kolkata 700006 India |  |  | bysakh85@bsnl.in
Okay 1700c furnace |  | CRIF | Bysakh | 70F4 | 1985 |  |  |  | Max temp:1700c Heating element Mo, Disilicide, Heating Space:150w*150 H*150mm Sigments:16 | CRIF | Dr. P. Abdul Azeem | [5 empty] | 514500
1800 Furnace |  | CRIF | Nabertherm | LHT04/18 | 327022 |  |  |  | Max temp:1800c Chamber dimentions:90*150*150mm Chamber volume: 2lit Power rating:3.0 Adjustable air inlet Type B thermocouple | CRIF | Dr. P. Abdul Azeem | [5 empty] | 1075647 |  | M/s.Nabertherm GmbH German
UV spot light source & Fibre optic light |  | CRIF | HAMAMATSU | L9588-06A | DG3288 |  |  |  | UV spotlight sources provide optimal conditions for UV adhesive curing, as well as UV-Vis sources for all types of applications, including R&D and small-lot production. It is used in different applications 1. Solar cells and Photovoltaic 2. Thin films 3. Adhesive bonding | CRIF | Dr. V. Jayalakshmi | [5 empty] | 607369 |  | M/s.NEW AGE Instruments & Metrieals 1261, SEC-4 Gurgaon 122001 Haryana India |  |  | 0124 408 6516sales@newagein.com (Sales) finance@newagein.com (Finance) support@newagein.com (Customer Support)
UV light curing |  | CRIF | New age instruments | 1318 |  |  |  |  | It is using in different application 1.Solar cells and Photo voltaic 2.Thin films 3.Adhesive bonding | CRIF | Dr.K. Thangaraju | [5 empty] | 82263
Glass Cutter |  | CRIF | Kaivo | BS181330 |  |  |  |  | For Glass Cutting | CRIF | Dr.K. Thangaraju | [5 empty] | 28803
Plasma cleaner |  | CRIF | Harrick Plasma | PDC002 |  |  |  |  | It is using in different application 1.Solar cells and Photo voltaic 2.tissue engineering substrates 3.Micro fluidics 4.Micro Patterning of thin films 5.Single cell Sequencing | CRIF | Dr.K. Thangaraju | [5 empty] | 800867
Thermal evaporation unit |  | CRIF | V.R Technologies | [5 empty] | Thermal evaporation can be applied to deposit metallic contact layers for thin film devices such as OLEDs, solar cells and thin-film transistors. In addition, this technique can be used to deposit thick indium layers for wafer bonding. | CRIF | Dr. D. Pauljoseph | [5 empty] | 13740 |  | M/s.VR Technologies, Off No S/73 Sharadamba Road RT Road Jalalila V Bengulore 560013 |  |  | vrtechnology_blr@yahoo.co.in
Miniature spectrometer |  | CRIF | Advanced photonics | UVN | [5 empty] | CRIF | Dr.D.Haranath | [5 empty] | 687128 |  | M/s.Advanced photonics corporate centre 619 nirmal life stay;e lbs Marg Mulund West Mumbai |  |  | Sales@advancedphotanicsindia.com & 9122-25684777
Scanning Electron Microscope (SEM) |  | CRIF | TESCAN | VEGA 3LMU |  |  |  |  | Surface Studies, Phase transitions, Corrosion products and all kinds of solid material studies. | MME | Dr. Uma Maheswara Rao Seelam
Universal Testing Machine (UTM) |  | CRIF | JINAN TESTING EQUIPMENT IE CORPORATION, China | WDW-100S | 21077 |  |  |  | It can perform many standard tensile and compression tests on materials, components and structures. Physical and mechanical attributes of metals, alloys, finished solid products, etc., can be studied. Aforesaid tests can also be performed under sub-zero (-100C) and high-temperature (up to 1000C) conditions. | CRIF | Dr.R.Arockia Kumar | [5 empty] | 6193158 |  | JINAN TESTING EQUIPMENT IE CORPORATION, China |  | Blue Star
X-Ray Diffraction (XRD) |  | CRIF | PAnalytical | X’pert Powder |  |  |  |  | Powder XRD equipment can be used for the characterization of powder samples for the phase analysis, Identifying crystalline phases and orientation and crystallographic information. This equipment can also capture data from the bulk polycrystalline samples after the required sample preparation. Structural properties such as Lattice parameters, Strain, Grain size, texture and epitaxy can be determined from the data. The XRD diffraction data will be provided to the user and the user can investigate the above materials' properties by analysing the data. | MME | Dr.T.Mahesh Kumar
Vacuum Arc melting |  | CRIF | Vec Solutions |  | 16021319,9102015/88 |  |  |  | Arc Melting is used for melting metals– typically to form alloys. Heating is via an electric arc struck between a tungsten electrode and metals placed in a depression (crucible) in the copper hearth. In vacuum arc melting the chamber is evacuated and then back filled with argon gas. | CRIF | Dr.R.Arockia Kumar | [5 empty] | 861343 |  | M/s.VEC Solutions C284 7th cross Bengulore |  |  | 91-80-23455409 & info@vecsolutions.com
UV Vis NIR Spectrophotometer |  | CRIF | Agilent Technologies. | G9825A | MY15100006 |  |  |  | The electronic transitions and band gaps of semiconductors, thin films, etc. can be determined. Electronic structures of polymers, Complexes, biomolecules, materials, pharmaceuticals and other products can be evaluated. | CRIF | Prof.Sonawane Shirish Hari | [5 empty] | 3949816 |  | Agilent Technologies International Pvt Ltd CP-11 Sector 8 Technology Park, IMT manesar Haryana- 122051 Tel: +91-124 4863000 Sales and Service Centre (SSC) Toll Free Primary Number: 1800-102-7906 Alternate/Secondary Number: 1800-180-1517 Website: www.agilent.com/chem/in | Email: Customercare.india@agilent.com | Agilent Technologies International Pvt Ltd | parambadi.pavan-kumar@agilent.com , 967615772, deepika.bhatnagar@agilent.com
Circular Dichroism Optical Rotatory Dispersion Spectrometer (CD-ORD) |  | CRIF | Bio-Logic SAS, France | MOS-500 | 132 |  |  |  |  | CRIF | Dr.Prakash Saudagar | [5 empty] | 5038511 |  | Bio Logic Science Instruments Pvt. Ltd EC-Lab, BT-Lab, CD-Lab, SCAN-Lab, EPHI-Lab, MT-Lab, BLES Contact: Dr. Rajani V. Phone: +91-022-25829074 Address: Unit No.204, Odyssey IT Park Road No. 9, MIDC Wagle Estate,Thane, West, Mumbai-400604 MH India |  |  | pradeeps@biologicasia.com, 9493426784
Clamp on Power Meter (or) Power Quality Analyser |  | CRIF | YOKOGAWA Meters & Instruments Corporation, Korea. | CW240 | T1FC545 |  |  |  |  | CRIF | [6 empty] | 1,53,751.00 |  | Hyderabad Office 109, Trident, Plot No.28, Vijayanagar Colony, Wellington Road, Secunderabad - 500009 |  |  | Phone: (91)-40-27899481 Fax: (91)-40-27899479
Multi Product Calibrator |  | CRIF | FLUKE CORPORATION, USA | 5520A/3 | 9330006 |  |  |  |  | CRIF | [6 empty] | 14,57,673.00 |  | Tektronix India Private Limited Service Center 4/2 Samrah Plaza, St. Marks Road, Bangalore -560 001 India | India-Service@tektronix.com |  | 080-3079-2600 080-3079-2688 (telefax)
Electrochemical Quartz crystal Nano balance |  | CRIF | Elchema, USA | EQCN-700 | 942953 |  |  |  |  | CRIF | [6 empty] | 5,13,859.00
HP Z620 Work Station |  | CRIF | HP | HP Prolent ML350P Gen 8 | 661384-001 |  |  |  | Computer Server | CRIF | [6 empty] | 504300