## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Nano-Pore Sequencing | Sequencer | Jatni, 75020 | MinION | FLO-MIN106D | BC02156778 | Internal Funding | Institution | NA | It is for WGS and DEG | SoAS | Sequencing | 175000 | www.genotypic.co.in | Functional | Sequencing | Genomics | genomics@genotypic.co.in | genomics@genotypic.co.in | genomics@genotypic.co.in | rukmini.mishra@cutm.ac.in
Furnace (1700 C) | Furnace | Jatni, 75020 | Spancotec | AELABWASCM-2301 | CA-12038S2 | Internal Funding | Institution | NA | Used for Calcination and Drying | SoAS | Furnace | 862580 | www.metrexscientific.com | Functional | Furnace | Spancotek | spancotek@hotmail.com | spancotek@hotmail.com | spancotek@hotmail.com | dojalisa.sahu@cutm.ac.in
High Performance Liquid Chromatography | HPLC | Paralakhemundi, 761211 | Shimadzu | LC10ATVP | C20973951717 | Internal Funding | Institution | NA | Pharmaceutical formulation testing, food analysis, clinical diagnostics, biochemistry | SoABE | Phytopharma Lab | 147000 | www.shimadzu.com | Functional | HPLC | Techniconservices | info@shimadzu.in | info@shimadzu.in | info@shimadzu.in | bnratha@cutm.ac.in
Scanning Electron Microscope | SEM | Paralakhemundi, 761211 | Jeol | JEOL JSM‑6510LV | JEOL JSM‑6510LV | Internal Funding | Institution | NA | Morphological and topographical analysis of materials, biologics etc. | SoET | Minitool room | 3881041 | www.jeol.com | Functional | SEM | Techniconservices | info@jeolindia.com | info@jeolindia.com | info@jeolindia.com | sridevi@cutm.ac.in
Milk Analyzer | Milk Analysis | Paralakhemundi, 761211 | ESSAE | MA-815 | MA-815 | Internal Funding | Institution | NA | Milk Analysis for Fat, SNF and Water | SoABE | Milk Analysis Lab | 33710 | www.essae.com | Functional | Analysis | Techniconservices | info@essae.com | info@essae.com | info@essae.com | prasanta.choudhury@cutm.ac.in
ICP-MS | ICP-MS | Paralakhemundi, 761211 | Perkin Elmer | NEXION 100 | 815N3030702X | Internal Funding | Institution | MOFPI | Environmental testing (e.g., heavy metals in water), food safety, pharmaceuticals, geochemistry, toxicology | FTL | FTL | 9213747 | www.perkinelmer.com | Functional | MS | Techniconservices | customercareus@perkinelmer.com | customercareus@perkinelmer.com | customercareus@perkinelmer.com | preetha.bhadra@cutm.ac.in
FTIR | FTIR | Paralakhemundi, 761212 | Shimazdu | Spectrum two IR | 126104 | Internal Funding | Institution | MOFPI | Material identification, quality control, forensic analysis, functional group identification. | FTL | FTL | 1645745 | www.shimadzu.com | Functional | IR | Techniconservices | info@shimadzu.in | info@shimadzu.in | info@shimadzu.in | preetha.bhadra@cutm.ac.in
GC-MS/MS | GC MS MS | Paralakhemundi, 761212 | Shimazdu | TQ850NXAOC30i | 021766201130AE | Internal Funding | Institution | MOFPI | Pesticide residue analysis, drug testing, environmental contaminants, flavor and fragrance analysis | FTL | FTL | 15340000 | www.shimadzu.com | Functional | MS | Techniconservices | info@shimadzu.in | info@shimadzu.in | info@shimadzu.in | preetha.bhadra@cutm.ac.in
HPLC | HPLC | Paralakhemundi, 761213 | Shimazdu | LC-2050C 3D | L22986280032 | Internal Funding | Institution | MOFPI | Pharmaceutical formulation testing, food analysis, clinical diagnostics, biochemistry | FTL | FTL | 743745 | www.shimadzu.com | Functional | LC | Techniconservices | info@shimadzu.in | info@shimadzu.in | info@shimadzu.in | preetha.bhadra@cutm.ac.in
LC-MS/MS | LC MS | Paralakhemundi, 761211 | Perkin Elmer | Qsight 220 Triple Quadrapole | 220N23060201 | Internal Funding | Institution | MOFPI | Proteomics, drug metabolism studies, biomarker discovery, pharmaceutical analysis | FTL | FTL | 22973425 | www.perkinelmer.com | Functional | MS | Techniconservices | customercareus@perkinelmer.com | customercareus@perkinelmer.com | customercareus@perkinelmer.com | preetha.bhadra@cutm.ac.in
Pilot Scale CO2 SCF extraction | CO2 SCF | Paralakhemundi, 761211 | Cybertech Engineering | Pilot Extractor Custom Made | Pilot Extractor Custom Made | Internal Funding | Institution | NA | Extraction of essential oils, flavors, fragrances & Isolation of nutraceuticals and pharmaceuticals | ESSE Naturals | ESSE Naturals | 743745 | www.tradeindia.com/cybertech-engineering-2882752/ | Functional | Extraction | TradeIndia | care@tradeindia.com | care@tradeindia.com | care@tradeindia.com | bnratha@cutm.ac.in
Block Digester with fume chamber | Block Digester | Paralakhemundi, 761211 | Borosil | BLFAKSC01000000000/BLFAKBD06200000000 | 1011970437 | Internal Funding | Institution | NA | Used for plant and soil sampls digestion | MSSoA | Digester with fume chamber | 271093 | www.labquest.co | Functional | Digester unit | Borosil | myborosil@borosil.com | myborosil@borosil.com | myborosil@borosil.com | rahul.adhikary@cutm.ac.in
IM3536 LCR METER | LCR meter | Jatni, 75020 | Mine Instruments Pvt. Ltd. | MI-F1000S-1 | 2401020001 | Internal Funding | Institution | NA | For Majorment of Daielectric Constant for Bulk and Think film | SoAS | NA | 950000 | www.metrexscientific.com | Functional | NA | mineinstruments | NA | NA | NA | santosh.satpathy@cutm.ac.in
ROTA VAPOUR WITH CHILLER | Rota-Vap | Jatni, 75020 | Spancotec | 950 | 1707-1279 | Internal Funding | Institution | NA | Used for Calcination and Drying | SoAS | Furnace | 255234 | www.metrexscientific.com | Functional | NA | Spancotek | spancotek@hotmail.com | spancotek@hotmail.com | spancotek@hotmail.com | dojalisa.sahu@cutm.ac.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE