## Sheet2
| Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
1 | Universal Testing Machine | UTM | Mechanical Lab | Tinius olsen | H50 KL | I0076 | Internal | others | NA | A Universal Testing Machine (UTM) is a versatile testing device. It is used to measure the mechanical properties of materials. | Product Testing Laboratory |  | 1694378 | www.cipet.gov.in | Working |  |  |  |  | M/s. Aimil Ltd,Delhi | csgchennai@aimil.com | csgchennai@aimil.com | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
2 | Precision weighing Balance with Density Kit | Density | Mechanical Lab | Elmech Pneumatic Industries Pvt Ltd.New Delhi | Axix AGN-220 | 752 | Internal | others | NA | A precision weighing balance with a density kit is a specialized instrument used for accurate measurements of mass and for determining the density of solids and liquids. | Product Testing Laboratory |  | 105930 | www.cipet.gov.in | Working |  |  |  |  | M/s. Elmech Pneumatic Industries Pvt Ltd.New Delhi-19 | elmechpneumatic@rediffmail.com | elmechpneumatic@rediffmail.com | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
3 | Water Vapour Transmission Rate | WVTR | Mechanical Lab | Labthink | W3/030 | 15142 | Internal | others | NA | The Water Vapour Transmission Rate (WVTR) is a measure of the rate at which water vapor passes through a material over a specified period of time. | Product Testing Laboratory |  | 1539622 | www.cipet.gov.in | Working |  |  |  |  | M/s. Venture Technology Pvt ltd, Bengalore | SE2@venturetechnology.net | SE2@venturetechnology.net | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
4 | Muffle Furance | .. | Thermal Lab | FEMCO Instruments & Equipment |  |  | Internal | others | NA | A muffle furnace is a type of high-temperature oven used for various laboratory applications, including heat treatment, material testing, and ashing. | Product Testing Laboratory |  | 25468 | www.cipet.gov.in | Working |  |  |  |  | M/s. Super scientific supplies, KK Nagar, Madurai | superscientificmdu@gmail.com | superscientificmdu@gmail.com | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
5 | Carbon Black apparatus | CBC | Thermal Lab | International Equipments |  | 171 | Internal | others | NA | A carbon black apparatus typically refers to the equipment used in the production of carbon black, a fine black powder made from the incomplete combustion of hydrocarbons like oil or natural gas. | Product Testing Laboratory |  | 37125 | www.cipet.gov.in | Working |  |  |  |  | M/s. International Equipments,Mumbai | sales@internationalequipments.co.in | sales@internationalequipments.co.in | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
6 | Hot Air Oven | .. | Thermal Lab | Elmech Pneumatic Industries Pvt Ltd.New Delhi | ELMECH |  | Internal | others | NA | A hot air oven is a laboratory device used to sterilize equipment and materials using dry heat. It works by circulating hot air at temperatures typically ranging from 50°C to 300°C. | Product Testing Laboratory |  | 75222 | www.cipet.gov.in | Working |  |  |  |  | M/s. Elmech Pneumatic Industries Pvt Ltd.New Delhi | elmechpneumatic@rediffmail.com | elmechpneumatic@rediffmail.com | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
7 | Constant Temperature Water Bath | .. | Thermal Lab | Elmech Pneumatic Industries Pvt Ltd. | ELMECH | 3874 | Internal | others | NA | A constant temperature water bath is a laboratory device used to maintain water at a specific, stable temperature for prolonged periods. | Product Testing Laboratory |  | 151519 | www.cipet.gov.in | Working |  |  |  |  | M/s. Elmech Pneumatic Industries Pvt Ltd.New Delhi | elmechpneumatic@rediffmail.com | elmechpneumatic@rediffmail.com | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
8 | Hydrostatic Pressure Tester For Pipes | .. | Thermal Lab | Elmech Pneumatic Industries Pvt Ltd. | ELMECH | 3916 | Internal | others | NA | A hydrostatic pressure tester for pipes is a specialized device used to evaluate the integrity, durability, and leak resistance of pipes under pressure. | Product Testing Laboratory |  | 286200 | www.cipet.gov.in | Working |  |  |  |  | M/s. Elmech Pneumatic Industries Pvt Ltd.New Delhi | elmechpneumatic@rediffmail.com | elmechpneumatic@rediffmail.com | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
9 | Hot Oil Bath | .. | Thermal Lab | Elmech Pneumatic Industries Pvt Ltd. | ELMECH | 3879 | Internal | others | NA | A hot oil bath is a type of thermal treatment used in various contexts, including personal care and industrial applications. | Product Testing Laboratory |  | 94612 | www.cipet.gov.in | Working |  |  |  |  | M/s. Elmech Pneumatic Industries Pvt Ltd.New Delhi | elmechpneumatic@rediffmail.com | elmechpneumatic@rediffmail.com | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
10 | Melt Flow Index | MFI | Thermal Lab | Elmech Pneumatic Industries Pvt Ltd. | ELMECH | 3883 | Internal | others | NA | A Melt Flow Index (MFI) apparatus is used to measure the melt flow rate (MFR) of thermoplastic materials. The melt flow rate is an important parameter in the polymer industry | Product Testing Laboratory |  | 133461 | www.cipet.gov.in | Working |  |  |  |  | M/s. Elmech Pneumatic Industries Pvt Ltd.New Delhi | elmechpneumatic@rediffmail.com | elmechpneumatic@rediffmail.com | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
11 | Heat Deflection Temperature /Vicat Softening Point | HDT/VSP | Thermal Lab | Elmech Pneumatic Industries Pvt Ltd. | ELMECH |  | Internal | others | NA | Heat Deflection Temperature (HDT) and Vicat Softening Point are both critical thermal properties of materials, especially polymers. | Product Testing Laboratory |  | 91903 | www.cipet.gov.in | Working |  |  |  |  | M/s. Elmech Pneumatic Industries Pvt Ltd.New Delhi | elmechpneumatic@rediffmail.com | elmechpneumatic@rediffmail.com | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
12 | UV Accelerated Weatherometer | UV Apparatus | Mechanical Lab | Deepak Poly Plast | WO-6082 | 3882 | Internal | others | NA | A UV accelerated weatherometer is a device used to simulate the effects of sunlight and weather conditions on materials, particularly polymers, coatings, and textiles. | Product Testing Laboratory |  | 417585 | www.cipet.gov.in | Working |  |  |  |  | M/s.Deepak Poly Plast, Ahmedabad | exports@deepakpolyplast.com | exports@deepakpolyplast.com | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
13 | Profile Projector | .. | Mechanical Lab | Optomech Engineers Pvt Ltd | OPTOMECH |  | Internal | others | NA | A profile projector, also known as an optical comparator, is a precision measurement tool used in manufacturing and engineering. | Product Testing Laboratory |  |  | www.cipet.gov.in | Working |  |  |  |  | M/s.Optomech Engineers Pvt Ltd, Hyderabad |  |  | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
14 | Thermostatic Controlled Water Bath | .. | Mechanical Lab | Everflow scientific Instruments | Everflow |  | Internal | others | NA | A thermostatic controlled water bath is a laboratory device used to maintain a constant temperature for various applications, such as experiments, sample preparation, or heating materials. | Product Testing Laboratory |  | 81690 | www.cipet.gov.in | Working |  |  |  |  | M/s.Everflow Scientific Instruments, Chennai | lucknow@cipet.gov.in | lucknow@cipet.gov.in | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
15 | Compression Moulding | .. | Mechanical Lab | Modern Plastics & Equipment | MPE-CMP |  | Internal | others | NA | Compression molding is a manufacturing process used to shape materials, particularly thermosetting plastics, rubber, and composite materials. | Product Testing Laboratory |  | 583950 | www.cipet.gov.in | Working |  |  |  |  | M/s.Modern Plastics & Equipment, Coimbature |  |  | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
16 | Durometer Hardness (Shore A) | Shore A-Hardness | Mechanical Lab | Blue steel Engineering Pvt Ltd | SHR-MARK-III-A | 19089 | Internal | others | NA | A hardness tester is an instrument used to measure the hardness of materials, which is a measure of their resistance to deformation or indentation. | Product Testing Laboratory |  |  | www.cipet.gov.in | Working |  |  |  |  | M/s.Blue Steel Engineering Pvt Ltd, Mumbai |  |  | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
17 | Durometer Hardness (Shore D) | Shore D-Hardness | Mechanical Lab | ADIS Tools and Gauges manufacturing company | ADIS |  | Internal | others | NA | Durometer hardness is a measure of the hardness of materials, particularly polymers, elastomers, and rubber. | Product Testing Laboratory |  |  | www.cipet.gov.in | Working |  |  |  |  | M/s.ADIS Tools and Gauges Manufacturing Company,Mumbai |  |  | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
18 | Optical Microscope |  | Mechanical Lab | Radical Scientific Equipments Pvt Ltd | PRM-15 | B-1807250 | Internal | others | NA | An optical microscope, also known as a light microscope, is an instrument that uses visible light and a system of lenses to magnify small objects or specimens. | Product Testing Laboratory |  | 32500 | www.cipet.gov.in | Working |  |  |  |  | M/s.Radical scientific equipments Pvt Ltd, Haryana | billdesk@radicalscientific.com | billdesk@radicalscientific.com | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
19 | Differential Scanning Calorimetry | DSC | Chemical Lab | PerkinElmer(India) Pvt Ltd | DSC-8000 | 294189, 426835 | Internal | others | NA | Differential scanning calorimetry (DSC) is a thermal analysis technique used to study the thermal properties of materials. | Product Testing Laboratory |  | 2665174 | www.cipet.gov.in | Working |  |  |  |  | M/s.PerkinElmer(India) Pvt Ltd, Chennai | India.CustomerCare@perkinelmer.com | India.CustomerCare@perkinelmer.com | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
20 | Atomic Absorption Spectroscopy | AAS | Chemical Lab | Thermofisher scientific | iCE 3500 | AA09190315 | Internal | others | NA | Atomic Absorption Spectroscopy (AAS) is an analytical technique used to determine the concentration of specific elements in a sample, typically metals. | Product Testing Laboratory |  | 4248000 | www.cipet.gov.in | Working |  |  |  |  | M/s.Thermofisher scientific, Chennai | ininfo@thermofisher.com | ininfo@thermofisher.com | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
21 | Dart Impact Machine |  | Mechanical Lab | M/s. International Equipments |  | 700 | Internal | others | NA | A dart impact machine, commonly known as a dart drop test machine or dart impact tester, is used to evaluate the impact resistance of materials, particularly packaging. | Product Testing Laboratory |  | 48000 | www.cipet.gov.in | Working |  |  |  |  | M/s. International Equipments, Mumbai | sales@internationalequipments.co.in | sales@internationalequipments.co.in | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
22 | Digital Static & Kinetic Friction |  | Mechanical Lab | M/s. International Equipments |  | 571 | Internal | others | NA | Digital static and kinetic friction are concepts that relate to the interaction between surfaces in contact, particularly in the context of computer simulations | Product Testing Laboratory |  | 72500 | www.cipet.gov.in | Working |  |  |  |  | M/s. International Equipments, Mumbai | sales@internationalequipments.co.in | sales@internationalequipments.co.in | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
23 | Thermogravimetric Analysis | TGA | Mechanical Lab | TA Instruments | Discovery TGA55 |  | Internal | others | NA | Thermogravimetric analysis (TGA) is a thermal analysis technique used to measure the change in mass of a sample as it is heated, cooled, or held at a constant temperature. | Product Testing Laboratory |  | 3125820 | www.cipet.gov.in | Working |  |  |  |  | M/s. Biozed Engineering Pvt Ltd, Thane | sales@biozed.com | sales@biozed.com | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
24 | Gas Chromatography | GC | GC Lab | M/s. Perkin Elmer(India) Pvt. Ltd, thane | Clarus 690 |  | Internal | others | NA | Gas chromatography (GC) is a widely used analytical technique for separating and analyzing compounds that can vaporize without decomposing. | Product Testing Laboratory |  | 189399 | www.cipet.gov.in | Working |  |  |  |  | M/s. Perkin Elmer(India) Pvt. Ltd, thane | India.CustomerCare@perkinelmer.com | India.CustomerCare@perkinelmer.com | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
25 | Fourier Transform Infrared Spectroscopy | FTIR | Mechanical Lab | M/s. Thermofisher scientific India Pvt Ltd, Noida | Nicolet summit | AUP1200220 | Internal | others | NA | Fourier Transform Infrared Spectroscopy (FTIR) is a powerful analytical technique used to identify and quantify chemical compounds in a sample based on their molecular vibrations. | Product Testing Laboratory |  | 1770000 | www.cipet.gov.in | Working |  |  |  |  | M/s. Thermofisher scientific India Pvt Ltd, Noida | ininfo@thermofisher.com | ininfo@thermofisher.com | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
26 | Biodegradation set up |  | Biodegradation Lab | M/s. Technico Laboratory Products Pvt Ltd |  |  | Internal | others | NA | Setting up a biodegradation experiment involves several steps to assess how organic materials decompose in the presence of microorganisms. | Product Testing Laboratory |  | 1293500 | www.cipet.gov.in | Working |  |  |  |  | M/s. Technico Laboratory Products Pvt Ltd, chennai |  |  | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
27 | Opacity Tester |  | Mechanical Lab | M/s.Elmech Pnematic Industries Pvt. Ltd | ELMECH |  | Internal | others | NA | Opacity tester is used to determine optical characteristics of plastics films. | Product Testing Laboratory |  | 60834 | www.cipet.gov.in | Working |  |  |  |  | M/s.Elmech Pnematic Industries Pvt. Ltd | elmechpneumatic@rediffmail.com | elmechpneumatic@rediffmail.com | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
29 | Humidity Controller |  | Mechanical Lab | M/s. Hexa Plast |  | HP/16-17/376 | Internal | others | NA | A humidity chamber works by precisely controlling both temperature and relative humidity within a sealed environment to simulate different environmental conditions. The Chamber helps to condition the samples prior to testing | Product Testing Laboratory |  |  | www.cipet.gov.in | Working |  |  |  |  | M/s. Hexa Plast | hexaplastindia@gmail.com | hexaplastindia@gmail.com | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
30 | Emission Rate Apparatus |  | Mechanical Lab | M/s. CIPET -Madurai |  | CMDUERA | Internal | others | NA | Used to evaluate the performance of emitters and other emission devices in irrigation systems. These devices are crucial for ensuring efficient and uniform water delivery, and testing helps determine if they meet performance standards and contribute to overall irrigation system efficiency. | Product Testing Laboratory |  |  | www.cipet.gov.in | Working |  |  |  |  | M/s. CIPET -Madurai | M/s. CIPET -Madurai | M/s. CIPET -Madurai | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
31 | Online Pullout Tester |  | Mechanical Lab | M/s. CIPET -Madurai |  | CMDUOEPOT | Internal | others | NA | a test conducted on a drip irrigation system to assess the strength of the connection between the emitter and the main line, or between the emitter and the lateral line. | Product Testing Laboratory |  |  | www.cipet.gov.in | Working |  |  |  |  | M/s. CIPET -Madurai | M/s. CIPET -Madurai | M/s. CIPET -Madurai | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
32 | Deep Freezer |  | Mechanical Lab | M/s. Cool World, Madurai |  | Western | Internal | others | NA | Deep freezers operate on the principle of refrigeration, primarily using the vapor compression cycle, to maintain extremely low temperatures, typically below -20°C | Product Testing Laboratory |  |  | www.cipet.gov.in | Working | [7 empty] | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
33 | Falling Impact Weight Tester |  | Mechanical Lab | M/s. Saumay Technocraft, Ahmedavad | IMP-SP | SMPL-03-05 | Internal | others | NA | The Falling Weight Tester is used to determine the energy required to break or rupture test specimens from Pipe, Sheet, Laminates, Composites | Product Testing Laboratory |  | 128899 | www.cipet.gov.in | Working |  |  |  |  | M/s. Saumya Machineries Pvt.Ltd, Ahmedabad | sales@saumyainternational.com | sales@saumyainternational.com | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
34 | Hot and Cold Water Bath |  | Thermal Lab | Saumay Technocraft Pvt Ltd, Ahmedabad | SWB-SPC |  | Internal | others | NA | Hot and cold water baths are used to perform hydrostatic pressure tests on pipes, ensuring they can withstand different temperatures. These baths provide a controlled environment for heating or cooling pipes while under pressure, helping to simulate real-world conditions | Product Testing Laboratory |  | 166722 | www.cipet.gov.in | Working |  |  |  |  | M/s. Saumya Machineries Pvt Ltd, Ahmedabad | sales@saumyainternational.com | sales@saumyainternational.com | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
35 | Imapct Tester for Tank |  | Thermal Lab | M/s. Cipet , Madurai | CMDUITWT |  | Internal | others | NA | The test measures the energy required to break a specimen, indicating its resistance to impact. | Product Testing Laboratory |  |  | www.cipet.gov.in | Working | [7 empty] | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
36 | Karl Fisher Apparatus |  | Mechanical Lab | M/s. Elmech Pneumatic Industries P Ltd |  | S-970 | Internal | others | NA | A Karl Fischer apparatus, also known as a Karl Fischer titrator, is a laboratory instrument used to determine the water content in various liquid or solid samples | Product Testing Laboratory |  | 66548 | www.cipet.gov.in | Working |  |  |  |  | M/s. Elmech Pneumaric Industries P ltd, New Delhi | elmechpneumatic@rediffmail.com | elmechpneumatic@rediffmail.com | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
37 | Environmental Stress Cracking Resistance | ESCR | Thermal Lab | M/s. International Equipments | VT-F4C | 313 | Internal | others | NA | Environmental stress cracking resistance (ESCR) is a measure of how well a plastic resists the growth of cracks over time. It's an important property for manufacturers to know because it's a common cause of plastic failure. | Product Testing Laboratory |  | 62000 | www.cipet.gov.in | Working |  |  |  |  | M/s. International Equipments, Mumbai | sales@internationalequipments.co.in | sales@internationalequipments.co.in | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
38 | Autoclave |  | Thermal Lab | M/s. Super Scientific, madurai |  | 589-3-20 | Internal | others | NA | An autoclave is a machine that uses steam under pressure to kill harmful bacteria, viruses, fungi, and spores on items that are placed inside a pressure vessel. | Product Testing Laboratory |  | 31624 | www.cipet.gov.in | Working |  |  |  |  | M/s. Super scientific supplies, KK Nagar, Madurai | superscientificmdu@gmail.com | superscientificmdu@gmail.com | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
39 | High Voltage Tester |  | Electrial Lab | M/s. Ajit Electronics corporation, Maharashtra | HV - 10kv, 50mA, AC-DC, 230V Single Phase 50Hz |  | Internal | others | NA | High voltage testers work by applying a high voltage to a device under test to assess its insulation and electrical integrity | Product Testing Laboratory |  |  | www.cipet.gov.in | Working |  |  |  |  | M/s. Ajit Electronics corporation, Maharashtra |  |  | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
40 | Hydrostatic Pressure Tester For Pipes |  | Thermal Lab | M/s. Elmech Pneumatic Industries P Ltd, New Delhi | ELMECH | 4327-2022 | Internal | others | NA | A hydrostatic pressure tester for pipes is a specialized device used to evaluate the integrity, durability, and leak resistance of pipes under pressure. | Product Testing Laboratory |  | 1224507 | www.cipet.gov.in | Working |  |  |  |  | M/s. . Elmech Pnuematic Industries P Ltd, New Delhi | elmechpneumatic@rediffmail.com | elmechpneumatic@rediffmail.com | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
41 | Halogen Tester |  | Thermal Lab | M/s. Asian Test Equipments |  | 2616 | Internal | others | NA | Halogen testers, often used as halogen moisture analyzers, operate on the principle of drying a sample using intense heat and measuring the weight loss due to moisture evaporation. | Product Testing Laboratory |  |  | www.cipet.gov.in | Working |  |  |  |  | M/s. Asian test Equioments, Ghaziabad |  |  | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com
42 | Conductivity Meter |  | Mechanical Lab | M/s. Eagle Instruments & Components | 643 |  | Internal | others | NA | Conductivity is an ability of materials (solutions, metals or gases) to pass an electric current. While all materials possess the ability to pass electric currents, the degree of such ability can vary | Product Testing Laboratory |  | 5200 | www.cipet.gov.in | Working |  |  |  |  | M/s. Eagle Instruments & Components, Panchkula |  |  | testing-madurai@cipet.gov.in | cipetmdutesting@gmail.com