## Sheet2
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Universal Testing Machine | UTM | Mechanical Lab | Tinius olsen | H50 KL | I0076 | Internal | others | NA | A Universal Testing Machine (UTM) is a versatile testing device. It is used to measure the mechanical properties of materials. | Product Testing Laboratory |  | 1694378 | www.cipet.gov.in | Working | Mechanical |  | csgchennai@aimil.com |  | M/s. Aimil Ltd,Delhi | csgchennai@aimil.com
Precision weighing Balance with Density Kit | Density | Mechanical Lab | Elmech Pneumatic Industries Pvt Ltd.New Delhi | Axix AGN-220 | 752 | Internal | others | NA | A precision weighing balance with a density kit is a specialized instrument used for accurate measurements of mass and for determining the density of solids and liquids. | Product Testing Laboratory |  | 105930 | www.cipet.gov.in | Working | Mechanical |  | elmechpneumatic@rediffmail.com |  | M/s. Elmech Pneumatic Industries Pvt Ltd.New Delhi-19 | elmechpneumatic@rediffmail.com
Water Vapour Transmission Rate | WVTR | Mechanical Lab | Labthink | W3/030 | 15142 | Internal | others | NA | The Water Vapour Transmission Rate (WVTR) is a measure of the rate at which water vapor passes through a material over a specified period of time. | Product Testing Laboratory |  | 1539622 | www.cipet.gov.in | Working | Mechanical |  | SE2@venturetechnology.net |  | M/s. Venture Technology Pvt ltd, Bengalore | SE2@venturetechnology.net
Muffle Furance |  | Thermal Lab | FEMCO Instruments & Equipment |  |  | Internal | others | NA | A muffle furnace is a type of high-temperature oven used for various laboratory applications, including heat treatment, material testing, and ashing. | Product Testing Laboratory |  | 25468 | www.cipet.gov.in | Working | Thermal |  | superscientificmdu@gmail.com |  | M/s. Super scientific supplies, KK Nagar, Madurai | superscientificmdu@gmail.com
Carbon Black apparatus | CBC | Thermal Lab | International Equipments |  | 171 | Internal | others | NA | A carbon black apparatus typically refers to the equipment used in the production of carbon black, a fine black powder made from the incomplete combustion of hydrocarbons like oil or natural gas. | Product Testing Laboratory |  | 37125 | www.cipet.gov.in | Working | Thermal |  | sales@internationalequipments.co.in |  | M/s. International Equipments,Mumbai | sales@internationalequipments.co.in
Hot Air Oven |  | Thermal Lab | Elmech Pneumatic Industries Pvt Ltd.New Delhi | ELMECH |  | Internal | others | NA | A hot air oven is a laboratory device used to sterilize equipment and materials using dry heat. It works by circulating hot air at temperatures typically ranging from 50°C to 300°C. | Product Testing Laboratory |  | 75222 | www.cipet.gov.in | Working | Thermal |  | elmechpneumatic@rediffmail.com |  | M/s. Elmech Pneumatic Industries Pvt Ltd.New Delhi | elmechpneumatic@rediffmail.com
Constant Temperature Water Bath |  | Thermal Lab | Elmech Pneumatic Industries Pvt Ltd. | ELMECH | 3874 | Internal | others | NA | A constant temperature water bath is a laboratory device used to maintain water at a specific, stable temperature for prolonged periods. | Product Testing Laboratory |  | 151519 | www.cipet.gov.in | Working | Thermal |  | elmechpneumatic@rediffmail.com |  | M/s. Elmech Pneumatic Industries Pvt Ltd.New Delhi | elmechpneumatic@rediffmail.com
Hydrostatic Pressure Tester For Pipes |  | Thermal Lab | Elmech Pneumatic Industries Pvt Ltd. | ELMECH | 3916 | Internal | others | NA | A hydrostatic pressure tester for pipes is a specialized device used to evaluate the integrity, durability, and leak resistance of pipes under pressure. | Product Testing Laboratory |  | 286200 | www.cipet.gov.in | Working | Thermal |  | elmechpneumatic@rediffmail.com |  | M/s. Elmech Pneumatic Industries Pvt Ltd.New Delhi | elmechpneumatic@rediffmail.com
Hot Oil Bath |  | Thermal Lab | Elmech Pneumatic Industries Pvt Ltd. | ELMECH | 3879 | Internal | others | NA | A hot oil bath is a type of thermal treatment used in various contexts, including personal care and industrial applications. | Product Testing Laboratory |  | 94612 | www.cipet.gov.in | Working | Thermal |  | elmechpneumatic@rediffmail.com |  | M/s. Elmech Pneumatic Industries Pvt Ltd.New Delhi | elmechpneumatic@rediffmail.com
Melt Flow Index | MFI | Thermal Lab | Elmech Pneumatic Industries Pvt Ltd. | ELMECH | 3883 | Internal | others | NA | A Melt Flow Index (MFI) apparatus is used to measure the melt flow rate (MFR) of thermoplastic materials. The melt flow rate is an important parameter in the polymer industry | Product Testing Laboratory |  | 133461 | www.cipet.gov.in | Working | Thermal |  | elmechpneumatic@rediffmail.com |  | M/s. Elmech Pneumatic Industries Pvt Ltd.New Delhi | elmechpneumatic@rediffmail.com
Heat Deflection Temperature /Vicat Softening Point | HDT and VSP | Thermal Lab | Elmech Pneumatic Industries Pvt Ltd. | ELMECH |  | Internal | others | NA | Heat Deflection Temperature (HDT) and Vicat Softening Point are both critical thermal properties of materials, especially polymers. | Product Testing Laboratory |  | 91903 | www.cipet.gov.in | Working | Thermal |  | elmechpneumatic@rediffmail.com |  | M/s. Elmech Pneumatic Industries Pvt Ltd.New Delhi | elmechpneumatic@rediffmail.com
UV Accelerated Weatherometer | UV Apparatus | Mechanical Lab | Deepak Poly Plast | WO-6082 | 3882 | Internal | others | NA | A UV accelerated weatherometer is a device used to simulate the effects of sunlight and weather conditions on materials, particularly polymers, coatings, and textiles. | Product Testing Laboratory |  | 417585 | www.cipet.gov.in | Working | Mechanical |  | exports@deepakpolyplast.com |  | M/s.Deepak Poly Plast, Ahmedabad | exports@deepakpolyplast.com
Profile Projector |  | Mechanical Lab | Optomech Engineers Pvt Ltd | OPTOMECH |  | Internal | others | NA | A profile projector, also known as an optical comparator, is a precision measurement tool used in manufacturing and engineering. | Product Testing Laboratory |  |  | www.cipet.gov.in | Working | Mechanical |  |  |  | M/s.Optomech Engineers Pvt Ltd, Hyderabad
Thermostatic Controlled Water Bath |  | Mechanical Lab | Everflow scientific Instruments | Everflow |  | Internal | others | NA | A thermostatic controlled water bath is a laboratory device used to maintain a constant temperature for various applications, such as experiments, sample preparation, or heating materials. | Product Testing Laboratory |  | 81690 | www.cipet.gov.in | Working | Mechanical |  | lucknow@cipet.gov.in |  | M/s.Everflow Scientific Instruments, Chennai | lucknow@cipet.gov.in
Compression Moulding |  | Mechanical Lab | Modern Plastics & Equipment | MPE-CMP |  | Internal | others | NA | Compression molding is a manufacturing process used to shape materials, particularly thermosetting plastics, rubber, and composite materials. | Product Testing Laboratory |  | 583950 | www.cipet.gov.in | Working | Mechanical |  |  |  | M/s.Modern Plastics & Equipment, Coimbature
Durometer Hardness Shore A | Shore A Hardness | Mechanical Lab | Blue steel Engineering Pvt Ltd | SHR-MARK-III-A | 19089 | Internal | others | NA | A hardness tester is an instrument used to measure the hardness of materials, which is a measure of their resistance to deformation or indentation. | Product Testing Laboratory |  |  | www.cipet.gov.in | Working | Mechanical |  |  |  | M/s.Blue Steel Engineering Pvt Ltd, Mumbai
Durometer Hardness Shore D | Shore D Hardness | Mechanical Lab | ADIS Tools and Gauges manufacturing company | ADIS |  | Internal | others | NA | Durometer hardness is a measure of the hardness of materials, particularly polymers, elastomers, and rubber. | Product Testing Laboratory |  |  | www.cipet.gov.in | Working | Mechanical |  |  |  | M/s.ADIS Tools and Gauges Manufacturing Company,Mumbai
Optical Microscope |  | Mechanical Lab | Radical Scientific Equipments Pvt Ltd | PRM-15 | B-1807250 | Internal | others | NA | An optical microscope, also known as a light microscope, is an instrument that uses visible light and a system of lenses to magnify small objects or specimens. | Product Testing Laboratory |  | 32500 | www.cipet.gov.in | Working | Mechanical |  | billdesk@radicalscientific.com |  | M/s.Radical scientific equipments Pvt Ltd, Haryana | billdesk@radicalscientific.com
Differential Scanning Calorimetry | DSC | Chemical Lab | PerkinElmer(India) Pvt Ltd | DSC-8000 | 294189, 426835 | Internal | others | NA | Differential scanning calorimetry (DSC) is a thermal analysis technique used to study the thermal properties of materials. | Product Testing Laboratory |  | 2665174 | www.cipet.gov.in | Working | Chemical |  | India.CustomerCare@perkinelmer.com |  | M/s.PerkinElmer(India) Pvt Ltd, Chennai | India.CustomerCare@perkinelmer.com
Atomic Absorption Spectroscopy | AAS | Chemical Lab | Thermofisher scientific | iCE 3500 | AA09190315 | Internal | others | NA | Atomic Absorption Spectroscopy (AAS) is an analytical technique used to determine the concentration of specific elements in a sample, typically metals. | Product Testing Laboratory |  | 4248000 | www.cipet.gov.in | Working | Chemical |  | ininfo@thermofisher.com |  | M/s.Thermofisher scientific, Chennai | ininfo@thermofisher.com
Dart Impact Machine |  | Mechanical Lab | M/s. International Equipments |  | 700 | Internal | others | NA | A dart impact machine, commonly known as a dart drop test machine or dart impact tester, is used to evaluate the impact resistance of materials, particularly packaging. | Product Testing Laboratory |  | 48000 | www.cipet.gov.in | Working | Mechanical |  | sales@internationalequipments.co.in |  | M/s. International Equipments, Mumbai | sales@internationalequipments.co.in
Digital Static & Kinetic Friction |  | Mechanical Lab | M/s. International Equipments |  | 571 | Internal | others | NA | Digital static and kinetic friction are concepts that relate to the interaction between surfaces in contact, particularly in the context of computer simulations | Product Testing Laboratory |  | 72500 | www.cipet.gov.in | Working | Mechanical |  | sales@internationalequipments.co.in |  | M/s. International Equipments, Mumbai | sales@internationalequipments.co.in
Thermogravimetric Analysis | TGA | Mechanical Lab | TA Instruments | Discovery TGA55 |  | Internal | others | NA | Thermogravimetric analysis (TGA) is a thermal analysis technique used to measure the change in mass of a sample as it is heated, cooled, or held at a constant temperature. | Product Testing Laboratory |  | 3125820 | www.cipet.gov.in | Working | Mechanical |  | sales@biozed.com |  | M/s. Biozed Engineering Pvt Ltd, Thane | sales@biozed.com
Gas Chromatography | GC | GC Lab | M/s. Perkin Elmer(India) Pvt. Ltd, thane | Clarus 690 |  | Internal | others | NA | Gas chromatography (GC) is a widely used analytical technique for separating and analyzing compounds that can vaporize without decomposing. | Product Testing Laboratory |  | 189399 | www.cipet.gov.in | Working | GC Lab |  | India.CustomerCare@perkinelmer.com |  | M/s. Perkin Elmer(India) Pvt. Ltd, thane | India.CustomerCare@perkinelmer.com
Fourier Transform Infrared Spectroscopy | FTIR | Mechanical Lab | M/s. Thermofisher scientific India Pvt Ltd, Noida | Nicolet summit | AUP1200220 | Internal | others | NA | Fourier Transform Infrared Spectroscopy (FTIR) is a powerful analytical technique used to identify and quantify chemical compounds in a sample based on their molecular vibrations. | Product Testing Laboratory |  | 1770000 | www.cipet.gov.in | Working | Mechanical |  | ininfo@thermofisher.com |  | M/s. Thermofisher scientific India Pvt Ltd, Noida | ininfo@thermofisher.com
Biodegradation set up |  | Biodegradation Lab | M/s. Technico Laboratory Products Pvt Ltd |  |  | Internal | others | NA | Setting up a biodegradation experiment involves several steps to assess how organic materials decompose in the presence of microorganisms. | Product Testing Laboratory |  | 1293500 | www.cipet.gov.in | Working | Biodegradation |  |  |  | M/s. Technico Laboratory Products Pvt Ltd, chennai
Opacity Tester |  | Mechanical Lab | M/s.Elmech Pnematic Industries Pvt. Ltd | ELMECH |  | Internal | others | NA | Opacity tester is used to determine optical characteristics of plastics films. | Product Testing Laboratory |  | 60834 | www.cipet.gov.in | Working | Mechanical |  | elmechpneumatic@rediffmail.com |  | M/s.Elmech Pnematic Industries Pvt. Ltd | elmechpneumatic@rediffmail.com
Humidity Controller |  | Mechanical Lab | M/s. Hexa Plast |  | HP/16-17/376 | Internal | others | NA | A humidity chamber works by precisely controlling both temperature and relative humidity within a sealed environment to simulate different environmental conditions. The Chamber helps to condition the samples prior to testing | Product Testing Laboratory |  |  | www.cipet.gov.in | Working | Mechanical |  | hexaplastindia@gmail.com |  | M/s. Hexa Plast | hexaplastindia@gmail.com
Emission Rate Apparatus |  | Mechanical Lab | M/s. CIPET -Madurai |  | CMDUERA | Internal | others | NA | Used to evaluate the performance of emitters and other emission devices in irrigation systems. These devices are crucial for ensuring efficient and uniform water delivery, and testing helps determine if they meet performance standards and contribute to overall irrigation system efficiency. | Product Testing Laboratory |  |  | www.cipet.gov.in | Working | Mechanical |  | M/s. CIPET -Madurai |  | M/s. CIPET -Madurai | M/s. CIPET -Madurai
Online Pullout Tester |  | Mechanical Lab | M/s. CIPET -Madurai |  | CMDUOEPOT | Internal | others | NA | a test conducted on a drip irrigation system to assess the strength of the connection between the emitter and the main line, or between the emitter and the lateral line. | Product Testing Laboratory |  |  | www.cipet.gov.in | Working | Mechanical |  | M/s. CIPET -Madurai |  | M/s. CIPET -Madurai | M/s. CIPET -Madurai
Deep Freezer |  | Mechanical Lab | M/s. Cool World, Madurai |  | Western | Internal | others | NA | Deep freezers operate on the principle of refrigeration, primarily using the vapor compression cycle, to maintain extremely low temperatures, typically below -20°C | Product Testing Laboratory |  |  | www.cipet.gov.in | Working | Mechanical
Falling Impact Weight Tester |  | Mechanical Lab | M/s. Saumay Technocraft, Ahmedavad | IMP-SP | SMPL-03-05 | Internal | others | NA | The Falling Weight Tester is used to determine the energy required to break or rupture test specimens from Pipe, Sheet, Laminates, Composites | Product Testing Laboratory |  | 128899 | www.cipet.gov.in | Working | Mechanical |  | sales@saumyainternational.com |  | M/s. Saumya Machineries Pvt.Ltd, Ahmedabad | sales@saumyainternational.com
Hot and Cold Water Bath |  | Thermal Lab | Saumay Technocraft Pvt Ltd, Ahmedabad | SWB-SPC |  | Internal | others | NA | Hot and cold water baths are used to perform hydrostatic pressure tests on pipes, ensuring they can withstand different temperatures. These baths provide a controlled environment for heating or cooling pipes while under pressure, helping to simulate real-world conditions | Product Testing Laboratory |  | 166722 | www.cipet.gov.in | Working | Thermal |  | sales@saumyainternational.com |  | M/s. Saumya Machineries Pvt Ltd, Ahmedabad | sales@saumyainternational.com
Imapct Tester for Tank |  | Thermal Lab | M/s. Cipet , Madurai | CMDUITWT |  | Internal | others | NA | The test measures the energy required to break a specimen, indicating its resistance to impact. | Product Testing Laboratory |  |  | www.cipet.gov.in | Working | Thermal
Karl Fisher Apparatus |  | Mechanical Lab | M/s. Elmech Pneumatic Industries P Ltd |  | S-970 | Internal | others | NA | A Karl Fischer apparatus, also known as a Karl Fischer titrator, is a laboratory instrument used to determine the water content in various liquid or solid samples | Product Testing Laboratory |  | 66548 | www.cipet.gov.in | Working | Mechanical |  | elmechpneumatic@rediffmail.com |  | M/s. Elmech Pneumaric Industries P ltd, New Delhi | elmechpneumatic@rediffmail.com
Environmental Stress Cracking Resistance | ESCR | Thermal Lab | M/s. International Equipments | VT-F4C | 313 | Internal | others | NA | Environmental stress cracking resistance (ESCR) is a measure of how well a plastic resists the growth of cracks over time. It's an important property for manufacturers to know because it's a common cause of plastic failure. | Product Testing Laboratory |  | 62000 | www.cipet.gov.in | Working | Thermal |  | sales@internationalequipments.co.in |  | M/s. International Equipments, Mumbai | sales@internationalequipments.co.in
Autoclave |  | Thermal Lab | M/s. Super Scientific, madurai |  | 589-3-20 | Internal | others | NA | An autoclave is a machine that uses steam under pressure to kill harmful bacteria, viruses, fungi, and spores on items that are placed inside a pressure vessel. | Product Testing Laboratory |  | 31624 | www.cipet.gov.in | Working | Thermal |  | superscientificmdu@gmail.com |  | M/s. Super scientific supplies, KK Nagar, Madurai | superscientificmdu@gmail.com
High Voltage Tester |  | Electrial Lab | M/s. Ajit Electronics corporation, Maharashtra | HV - 10kv, 50mA, AC-DC, 230V Single Phase 50Hz |  | Internal | others | NA | High voltage testers work by applying a high voltage to a device under test to assess its insulation and electrical integrity | Product Testing Laboratory |  |  | www.cipet.gov.in | Working | Electrial |  |  |  | M/s. Ajit Electronics corporation, Maharashtra
Hydrostatic Pressure Tester For Pipes |  | Thermal Lab | M/s. Elmech Pneumatic Industries P Ltd, New Delhi | ELMECH | 4327-2022 | Internal | others | NA | A hydrostatic pressure tester for pipes is a specialized device used to evaluate the integrity, durability, and leak resistance of pipes under pressure. | Product Testing Laboratory |  | 1224507 | www.cipet.gov.in | Working | Thermal |  | elmechpneumatic@rediffmail.com |  | M/s. . Elmech Pnuematic Industries P Ltd, New Delhi | elmechpneumatic@rediffmail.com
Halogen Tester |  | Thermal Lab | M/s. Asian Test Equipments |  | 2616 | Internal | others | NA | Halogen testers, often used as halogen moisture analyzers, operate on the principle of drying a sample using intense heat and measuring the weight loss due to moisture evaporation. | Product Testing Laboratory |  |  | www.cipet.gov.in | Working | Thermal |  |  |  | M/s. Asian test Equioments, Ghaziabad
Conductivity Meter |  | Mechanical Lab | M/s. Eagle Instruments & Components | 643 |  | Internal | others | NA | Conductivity is an ability of materials (solutions, metals or gases) to pass an electric current. While all materials possess the ability to pass electric currents, the degree of such ability can vary | Product Testing Laboratory |  | 5200 | www.cipet.gov.in | Working | Mechanical |  |  |  | M/s. Eagle Instruments & Components, Panchkula