## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Year of Installation | Equipment Status | Category* | Supplier | Supplier Email Id | Service provider | Service Provider Email Id | Alert to be sent (Email id)*
ICP-Optical Emission Spectrometer | ICP-OES | L-111 | Thermo Fisher | iCAP 7600 | IC76DC153402 | Internal Funding | Institution | Past Climate and Ocean Studies | Geological samples | Past Climate and Ocean Studies | Paleothermometry Lab | 16842930 | 2017 | Working | Characterisation and analytical | Thermofisher USA | services.informatics@thermofisher.com | Thermofisher India Pvt Ltd | ininfo@thermofisher.com | manish@ncpor.res.in | Manish
Stable Isotope Ratio Mass Spectrometer with Elemental Analyzer | SIRMS | MASTIL Lab | Isoprime | Isoprime 100 | JB366 | Internal Funding | Institution | Past Climate and Ocean Studies | Geological samples | Past Climate and Ocean Studies | Marine Stable Isotope Lab | 22728780 | 2010 | Working | Characterisation and analytical | Elementar UK Ltd | service@elementar.com | Elementar India Pvt Ltd | service-india@elementar.com | manish@ncpor.res.in | Manish
Gas Chromatograph-Mass Spectrometer (TripleQuadrupole) | GC-MS/MS | F-8 | Shimadzu | GCMS- TQ8040NC | 21185300070 | Internal Funding | Institution | Past Climate and Ocean Studies | Analysis of Volatile/ Semi-volatile Organic matter | Past Climate and Ocean Studies | F-8 | 18172635 | 2016 | Working | Characterisation and analytical | Shimadzu (Asia Pacific) | sales@shimadzu.com.sg | Toshvin Analytical Pvt Ltd | goa@toshvin.com | manish@ncpor.res.in | Manish
Inverted Phase Contrast Microscope | PCM | Polar Lab | Radical, India | RTC-7NXF | B-241167 | Internal Funding | Institution | Past Climate and Ocean Studies | Studying living cells/microorganisms, analyzing microscopic biological standing stock (e.g. planktons), in-situ assemblage of microscopic weakly mineralized algae, morphological structures of planktons especially in the Southern Ocean and Antarctic regions. | Microscopy Lab | Inverted Phase Contrast Microscope | 2497700 | 2025 | Working | Characterisation and analytical | Tara Lab Care, Goa | taralabcare@gmail.com | Tara Lab Care, Goa | taralabcare@gmail.com | rahulmohan@ncpor.res.in | Rahul Mohan
Elemental Analyzer | EA | Polar Lab | Elementar Analysensysteme GmbH | Unicube | 0400BD1076 | Internal Funding | Institution | Past Climate and Ocean Studies | determination of Carbon[C], Hydrogen [H], Nitrogen [N], Sulfur [S] along with Oxygen [O] in sediment, soil and lake samples (solid and liquid samples) collected during the scientific expeditions. Also used for purity analysis (from high percentage down to ≤ 0.001% for all C,H,N,S,O elements). | Polar Lab | CHNS-O Elemental Analyzer | 5045198 | 2024 | Working | Measurement | Elementar, India | 3vsolutionmktg@gmail.com | Elementar, India | 3vsolutionmktg@gmail.com |  | Rahul Mohan
Scanning Electron Microscope with Energy Dispersive Spectrometer | SEM-EDS | SEM-EDS Lab | JEOL, USA | JSM-6360LV | MP-18310061 | Internal Funding | Institution | Past Climate and Ocean Studies | Imaging of mirofossils (Southern Ocean & Antarctica), bacteria, geological samples, nanomaterials/powders for surface texture, structure, size and elemental composition analyses. | SEM-EDS Lab | Scanning Electron Microscope | 12690894 | 2005 | Working | Characterisation and measurement | JEOL, India | sameerpai@jeolindia.com | JEOL, India | sameerpai@jeolindia.com |  | Rahul Mohan
Field Emission Scanning Electron Microscope with Energy Dispersive spectrometer | FESEM-EDS | FE-SEM Lab | JEOL, USA | JSM-7610F | SM1765000340034 | Internal Funding | Institution | Past Climate and Ocean Studies | High-resolution Imaging of micron-nano ranged fossils and biological microrganisms [nanoplanktons] from Southern Ocean and Antarctica for ultra-structure, size, species level taxonomy and elemental composition analyses. | FE-SEM Lab | Field Emission Scanning Electron Microscope | 39019603 | 2016 | Working | Characterisation and measurement | [5 empty] | Rahul Mohan
Multi-Collector Inductively Coupled Plasma Mass Spectrometer | MC-ICPMS | MC-ICPMS Lab | Thermo Fisher Scientific, Germany | Neptune Plus | SN01240N | Internal Funding | Institution | Study of radiogenic and stable metal isotopes using MC-ICPMS: Applications to earth, ocean and cryospheric processes | The MC-ICPMS is a high-precision analytical instrument used to measure isotopic ratios of a wide range of elements, especially those found in geological, environmental, and biological materials. It combines an inductively coupled plasma (ICP) ion source with a multi-collector mass spectrometer, enabling simultaneous detection of multiple isotopes with high sensitivity and precision. | Isotope Geossciences | ISOTRACE Laboratory | 70000000 | 2017 | Working | Measurement | ThermoFisher Scientific, India | ininfo@thermofisher.com | ThermoFisher Scientific, India | rajesh.acharya1@thermofisher.com | waliur@ncpor.res.in | Waliur
Fluid Imaging System | Flow CAM | Plankton Biology Lab | Fluid Imaging Technologies | Portable colour FlowCAMcx®VS-IV-CP | VS-IV-CP | Internal Funding | Institution | Expedition to the Indian sector of southern Ocean | Flow cam for Phytoplankton identification and cell counting | Biogeochemistry, Polar Science | Fluid Imaging System | 6500000 | 2014 | Working | Identification & Charecterization | Fluid Imaging Technologies | sales@spitzenanalytical.com | Fluid Imaging Technologies | sales@spitzenanalytical.com | rajanimishra@ncpor.res.in | Rajini
Flowcytometer | FCM | Plankton Biology Lab | BD Bioscience | BD FACS Melody | P6617620056 | Internal Funding | Institution | Expedition to the Indian sector of southern Ocean | Picosize phytoplankton alalyzer |  | Flowcytometer | 9500000 | 2018 | Working | Identification & Charecterization | BD India Pvt. Ltd. | service_india@bd.com | BD India Pvt. Ltd | service_india@bd.com |  | Rajini
High Performance Liquid Chromatograpgy (HPLC) | HPLC | Plankton Biology Lab | Agilent Technologies | LC 1260 | DEAE615761 | Internal Funding | Institution | Expedition to the Indian sector of southern Ocean | Phytoplankton pigment analysis |  | High Performance Liquid Chromatograpgy (HPLC) | 2800000 | 2018 | Working | Identification & Charecterization | Agilent Technologies India Pvt. Ltd | supportservies_india@agilent.com | Agilent Technologies India Pvt. Ltd | supportservies_india@agilent.com |  | Rajini
Isotope Ratio Mass Spectrometer | IRMS | Polar Bhavan -Lab wing | Elementar | Isoprime Precision IRMS | PKDBD1029 | Internal Funding | Institution | Deep Ocean Mission | Isotope studies: δ13C, δ15N, δ34S of solid samples, δD-δ18O of aqueous samples and δ13C-δ18O of carbonate samples | Hydrothermal | IRMS | 57500000 | 2025 | Installation in progress | Measurement | Elementar | www.elementar.com/en-in/ | EIN Service | service-india@elementar.com | parijatroy@ncpor.res.in | Parijat
|  | Polar Bhavan -Lab wing | Elementar | Dual Inlet | JD3W2C100RK | Internal Funding | Institution | Deep Ocean Mission | Isotope studies: δ13C, δ15N, δ34S of solid samples, δD-δ18O of aqueous samples and δ13C-δ18O of carbonate samples | [8 empty] | Gaurav Kothiyal | gaurav.kothiyal@elementar.co.in |  | Parijat
|  | Polar Bhavan -Lab wing | Elementar | Vario Pyro Cube Elemental Analyzer | 2310BE1002 | Internal Funding | Institution | Deep Ocean Mission | Isotope studies: δ13C, δ15N, δ34S of solid samples, δD-δ18O of aqueous samples and δ13C-δ18O of carbonate samples | [8 empty] | Srikanth Gedela | srikanth.gedela@elementar.com |  | Parijat
Laser Raman Spectrometer | Laser-Raman Spectrometer | Polar Bhavan -Lab wing | Renishaw | lnVla Reflex | 6C6E80 | Internal Funding | Institution | Deep Ocean Mission | Identifying and characterizing materials | Marine Mineral Section | Laser-Raman Spectrometer | 22835721 | 2025 | Working | Identification & Charcterization | LabIndia Instruments Pvt. Ltd., Thane | Vaibhav.Patwardhan@labindia.com | Renishaw India | Shantanu.Aggarwal@Renishaw.com | parijatroy@ncpor.res.in, shrutirana@ncpor.res.in | Parijat
X-ray Diffractometer | XRD | Lab 09, Polar Bhavan | Malvern (Panalytical) | EMPYREAN Series 3 | 784E3900 | Internal Funding | Institution | Deep Ocean Mission | X-ray Diffraction Pattern of Crystalline Materials, Geological Sciences | Hydrothermal | XRD | 23713482 | 2025 | Working | Characterisation of Crystalline Phases, Geological Sciences | Malvern Panalytical | sales@malvernpanalytical.com | Malvern Panalytical | sales@malvernpanalytical.com | parijatroy@ncpor.res.in | Parijat
High-performance Liquid Chromatography (HPLC) Instrument coupled with DAD/FLD/RID detectors | HPLC | Cryobiology Lab (L-207) | Agilent | 1200 series (G1354) | DE62973379 | Internal Funding | Institution | PACER | In use for pigment, amino acid analysis, and size exclusion chromatography | Arctic Ecology and Biogeochemistry | Pigment, Amino acid analysis facilty | 4500000 | 2010 | Working | Analytical measurement | Agilent Pvt. Ltd. | customercare.india@agilent.com | Agilent Pvt. Ltd. | customercare.india@agilent.com | archanasingh@ncpor.res.in | Anand Jain
Upright Epifluorescence Fully Motorized Research Microscope | Epifluorescence Microscope | Polar Biology (L-215) | Leica | DM6 B (DFC3000 G) | 767960716 | Internal Funding | Institution | PACER | In use for bacterial cell count | Arctic Ecology and Biogeochemistry | Monosaccharides analysis facility | 4200000 | 2016 | Working | Microscopy | Leica Mikrosystems Vertrieb GmBH-DSA, Germany | abhishek.vishwakarma@leica-microsystems.com | Leica Mikrosystems | abhishek.vishwakarma@leica-microsystems.com | ajain@ncpor.res.in | Anand Jain
High Performance Anion Exchange Chromatography-Pulsed Amperometry Detector (HPAEC-PAD) System | HPAEC-PAD | Polar Biology (L-215) | Metrohm | 940 professional IC Vario | 1940000022126 | Internal Funding | Institution | PACER | In use for monosaccharide analysis | Arctic Ecology and Biogeochemistry | Microscopic facility | 4000000 | 2019 | Working | Analytical measurement | Metrohm AG, Switzerland | info@metrohm.in | Metrohm AG India Pvt Ltm | mangesh.parab@metrohm.in | archanasingh@ncpor.res.in | Anand Jain
ABI 3500 GENETIC ANALYZER | Sanger Sequencer | Polar Biology (L-215) | Thermo | ABI3500 | 30139-100 | Internal Funding | Institution | PACER | In use for the molecular identification of bacterial isolates | Arctic Ecology and Biogeochemistry | Seqeuncing facility | 8000000 | 2018 | Working | For DNA sequencing | Life Technologies Holdings Pte Ltd., Singapore | shrikant.mhaisekar@thermofisher.com | ThermoFisher India Pvt Ltd | Niranjan.Patil@thermofisher.com | ajain@ncpor.res.in | Anand Jain
Ion Genestudio S5 system | NextGen DNA Sequencer | Polar Biology (L-215) | Thermo | Ion Genestudio S5 | 242472441 | Internal Funding | Institution | PACER | In use for profiling microbial communities through molecular taxonomy from the samples collected in the polar regions | Arctic Ecology and Biogeochemistry | Seqeuncing facility | 10000000 | 2021 | Working | For DNA/RNA sequencing |  |  |  |  | ajain@ncpor.res.in | Anand Jain
Acoustic release Deck Unit | DU | Bharati Antarctic Station | Teledyne Benthos, USA | UDB-9402A-LF | 67502 | Internal Funding | Institution | Southern Ocean | Mooring release deck unit | NCPOR | Bharati Station | 2500000 | 2021 | Working | Testing Equipment | Teledyne Benthos, USA | benthos@teledyne.com | Pan India Consultants, Haryana | panind@panindiagroup.com | sabu@ncpor.res.in | sabu
Acoustic Release (2 Nos) | AR | Bharati Antarctic Station | Teledyne Benthos, USA | R12K | 72231 and 72232 | Internal Funding | Institution | Southern Ocean | Acoustic Release for the mooring | NCPOR | Bharati Station | 7500000 | 2021 | Working | Testing Equipment | Teledyne Benthos, USA | benthos@teledyne.com | Pan India Consultants, Haryana | panind@panindiagroup.com | sabu@ncpor.res.in | sabu
Recording Current Meter (4 Nos) | RCM | Bharati Antarctic Station | AANDERAA, USA | Seaguard | 2131, 2149,1716 and 1717 | Internal Funding | Institution | Southern Ocean | Records under water ocean currents | NCPOR | Bharati Station | 12000000 | 2021 | Working | Testing Equipment | Aanderaa Data Instruments AS, Norway | aanderaa.sales@xylem.com | Elektronik Lab, Chennai | info@elektroniklab.com | sabu@ncpor.res.in | sabu
Mooring CTD (3 Nos) | CTD | Bharati Antarctic Station | SBE, USA | SBE37 | 21216,21213 and 21214 | Internal Funding | Institution | Southern Ocean | Records under water Temperaure and salinity | NCPOR | Bharati Station | 12000000 | 2021 | Working | Testing Equipment | SBE, USA | techsupport@seabird.com | SeaBird Scientific, USA | service@seabird.com | sabu@ncpor.res.in | sabu
Shallow water Mooring CTD | CTD | Bharati Antarctic Station | SBE, USA | Hydrocat EP | 30211 and 30238 | Internal Funding | Institution | Southern Ocean | Records under water Temperaure and salinity | NCPOR | Bharati Station | 6000000 | 2021 | Working | Testing Equipment | SBE, USA | techsupport@seabird.com | SeaBird Scientific, USA | service@seabird.com | sabu@ncpor.res.in | sabu
Vertical Microstructure Profiler | VMP | Bharati Antarctic Station | Rockland Scientific, Canada | VMP250 | SN 131 | Internal Funding | Institution | Southern Ocean | Measure ocean turbulence | NCPOR | Bharati Station | 16000000 | 2022 | Working | Testing Equipment | Pan India, India | panind@panindiagroup.com | Pan India, India | panind@panindiagroup.com | sabu@ncpor.res.in | sabu
Remotely Operated Underwater Vehicle | ROV | Bharati Antarctic Station | iROV, India | iROV SAGARA | SN 101 | Internal Funding | Institution | Southern Ocean | Measure ocean turbulence | NCPOR | Bharati Station | 15000000 | 2022 | Working | Testing Equipment | iROV, India | sales@eyerov.com | iROV, India | sales@eyerov.com | sabu@ncpor.res.in | sabu
Portable CTD | CTD | Bharati Antarctic Station | SBE, USA | SBE19 plus | 2019 | Internal Funding | Institution | Southern Ocean | Records under water Temperaure and salinity | NCPOR | Bharati Station | 6000000 | 2021 | Working | Testing Equipment | SBE, USA | techsupport@seabird.com | SeaBird Scientific, USA | service@seabird.com | sabu@ncpor.res.in | sabu
Salinometer | Autosal | NCPOR | OSIL, UK | 8400B | 72226 | Internal Funding | Institution | Southern Ocean | For salinity mesurements | NCPOR | OSG | 4500000 | 2016 | Working | Testing Equipment | OSIL, UK | customer.services@osil.com | OSIL, UK | customer.services@osil.com | sabu@ncpor.res.in | sabu
Profiling CTD | CTD | NCPOR | SBE, USA | SBE911 plus | 09P61163-1018 | Internal Funding | Institution | Southern Ocean | For vertical profiles of temp and salinity | NCPOR | OSG | 15000000 | 2010 | Working | Testing Equipment | SBE, USA | techsupport@seabird.com | SeaBird Scientific, USA | service@seabird.com | sabu@ncpor.res.in | sabu
Aethalometer | Aethalometer | NCPOR | Aerosol Magee Scientific | AE33 | 71942020 | Internal Funding | Institution | Southern Ocean | For Black carbon measurements | NCPOR | OSG | 4000000 | 2019 | Working | Testing Equipment | M&G Analyser Systems | sales@mganalyser.com | M&G Analyser Systems, Pune | sales@mganalyser.com | sabu@ncpor.res.in | sabu
Aerodynamic Particle Sizer | APS | NCPOR | TSI | 3321 | 71750009 | Internal Funding | Institution | Southern Ocean | Particle size measurments | NCPOR | OSG | 3000000 | 2019 | Working | Testing Equipment | M&G Analyser Systems | sales@mganalyser.com | TSI Instruments India Pvt Ltd. | tsi-india@tsi.com | sabu@ncpor.res.in | sabu
Nephelometer | Nephelometer | NCPOR | Airphoton | IN101 | IN703 | Internal Funding | Institution | Southern Ocean | Light scattered by particular matter | NCPOR | OSG | 4000000 | 2019 | Working | Testing Equipment | M&G Analyser Systems | sales@mganalyser.com | M&G Analyser Systems, Pune | sales@mganalyser.com | sabu@ncpor.res.in | sabu

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE