## Untitled form
S.No | Name of the Equipment | Description | Abbreviation | Location | Make | Model | Serial No. | Category | Funding Agency | Project Title | Department | Facility/Lab | Funding Agency Type | Usage Rate/hr | Reference Web site
1 | High Resolution Transmission Electron Microscopy | Operating voltages - 200 kV and 80 kV, Resolution - 0.2 nm | HRTEM | HRTEM Facility, Functional materials Laboratory, I-Block, Room No. I-109 | JEOL - JAPAN | JEM 2100 | EM17420028 | Characterisation/analytical/testing equipment | PSG sons | PSGIAS General fund | Nanotech Reserach, Innovation and Incubation Centre - NRIIC, PSGIAS | HRTEM Facility, Functional Materials Lab | Internal | Rs.5000/2 hrs + GST 18% | https://www.psgias.ac.in/?page_id=17
2 | Empyrean X-Ray Diffractometer | X-Ray sources: Cu KÎ± (Î» = 1.54 Ã…) ,Minimum step size2Theta: 0.0001; Minimum step size Omega:0.0001, Minimum step size Phi:0.01;Minimum step size Chi:0.01; Minimum step size Z:0.001,Sample type: powder, metallic, thin films, semisolid and polymer samples, Grazing incidence X-ray diffraction (GIXRD) for thin films, Operating Voltage -45KV, current- 30mA | X-Ray Diffractometer (XRD) | XRD- Facility I-Block, Room No.111- Center for Advanced Tooling and Precision dies | Panalytical/Malvern Panalytical | Multi Purpose Empyrean Series III Intelligent Automated Diffractometer | DY2377 | Characterisation/Analytical/Testing equipment | DST-FIST | Innovative textiles | Nanotech research, Innovation and Incubation center- NRIIC | XRD- Facility/ Room No.111-Center for Advanced Tooling and Precision dies | Govt.funding agency | Rs.1500 + GST 18% | https://www.psgias.ac.in/?page_id=17
3 | Carl Zeiss EVO 18 | Filament - Tungsten, EHT - 0.2 kV to 30 kV, Above 200nm particle size only taken, Magnification = Upto 100KX (Depends on Sample), Stage tilt -0 to 60 degree, BSD Available. EDS - EDS Spectrum, Point analysis, Elemental mapping, Line scan also available. | SEM | Scanning Electron Microscopy Facility, Functional Materials Laboratory, I Block - Room No.109, PSG Institute of Advanced Studies, Peelamedu, Coimbatore-641004, Phone : 0422-4344000, Extn:4321 | Carl Zeiss | Evo 18 | EVO 18 2165 | Characterisation/Analytical/Testing Equipment | DST-FIST | Innovative Textiles | Nanotech Research, Innovation and Incubation center. | Functional Materials Laboratory | External | Rs. 2500 + GST 18% (45 Minutes slot) | https://www.psgias.ac.in/?page_id=17
4 | Lithography: MicroWriter ML®3 | Lithograpgy: MicroWriter ML®3 is a direct-write photolithography machine. It is designed for lab-based research and development and small volume production. Direct-write lithography uses a software mask which can be designed using standard graphics software. It has 195mm x 195mm maximum writing area and 230mm x 230mm x 15mm maximum wafer size. Automatic selection of resolution via software – no manual changing of lens required. | DMW( Direct Micro-writer) | Class 1000-clean room, PSG Institute of Advanced Studies. | Durham Magneto Optics Ltd Church Farm, Gransden Road, Caxton, Cambridgeshire CB23 3PL United Kingdom | MicroWriter ML®3 | 001-100 | Fabrication equipment | NIL | NIL | PSG Institute of Advanced Studies | Class 1000-Clean room | Internal - PSG Science & Technology Entrepreneurial Park (PSG-STEP) | Rs.2500 per sample + GST 18% | https://www.psgias.ac.in/?page_id=17#