## Sheet2
S.No | Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
1 | Microwave Reaction System | - | FECC- TFRI Jabalpur | Anton paar | Multiwave Pro 50Hz 24HVT50 | 83417726 | Government | CAMPA-MoEFCC New Delhi | Preparation of Forest Soil Health Cards under different Forest Vegetations in all the Forest Divisions of India (AICRP 22) | Soil sample digestion | ICFRE-TFRI |  | 16.8 |  | working | Scientific |  |  |  | Science Emporium,9, G.D. Complex, Marhatal, Jabalpur , (M.P.) Mob. 9827282735 | - | Anton Paar India Pvt. Ltd., 582, Phase V, Udyog Vihar Industrial Area, Gurgaon – 122016 (Haryana), India | service.in@anton-paar.com
2 | Water Purification System | - | FECC- TFRI Jabalpur | Merck Life Science Private Limited | Elix 3 & Synergy | Elix 3: F0JB80790E Synergy:F0AB81769G |  |  |  | Water Purification | ICFRE-TFRI |  | 11 |  | working | Scientific |  |  |  | PG TECH PVT. LTD 38, ELECTRONICS COMPLEX, PARDESHIPURA, INDORE, (M.P) | info@pgtech.in | Merck Life Science Private Limited, 8th Floor, Godrej One, Pirojshanagar, Mumbai | service.support@merkgroup.com
3 | UV-Vis Spectrophotometer | - | FECC- TFRI Jabalpur | Thermofisher (UV) | Evolution 201 | 5A4W220110 |  |  |  | Soil element analysis | ICFRE-TFRI |  | 4.89 |  | working | Scientific |  |  |  | Science Emporium,9, G.D. Complex, Marhatal, Jabalpur , (M.P.) Mob. 9827282735 |  | M/s Thermo Fisher Scientific India Pvt. Ltd. | ininfo@thermofisher.com
4 |  |  |  | HP (computer) | [8 empty] | 0.49 |  | working | Scientific
5 |  |  |  | Uniline (UPS) | [8 empty] | 0.74 |  | working | Scientific
6 | Flame photometer | - | FECC- TFRI Jabalpur | Systronics India Ltd. | 128-126 | 5257/10056 |  |  |  | Soil element analysis | ICFRE-TFRI |  | 0.672 |  | working | Scientific |  |  |  | Systronics India Private Limited, 89-92, Naroda Industrial Area, Ahmedabad, Gujrat |  | Systronics India Private Limited, Bhopal Division | sysbpl@systronicsindia.com
7 | pH meter | - | FECC- TFRI Jabalpur | Systronics India Ltd. | 361 | 9303 |  |  |  | pH measurement | ICFRE-TFRI |  | 0.186 |  | working | Scientific |  |  |  | Systronics India Private Limited, 89-92, Naroda Industrial Area, Ahmedabad, Gujrat |  | Systronics India Private Limited, Bhopal Division | sysbpl@systronicsindia.com
8 | EC meter | - | FECC- TFRI Jabalpur | Systronics India Ltd. | 308 | 2528 |  |  |  | EC measurement | ICFRE-TFRI |  | 0.249 |  | working | Scientific |  |  |  | Systronics India Private Limited, 89-92, Naroda Industrial Area, Ahmedabad, Gujrat |  | Systronics India Private Limited, Bhopal Division | sysbpl@systronicsindia.com
9 | Hot Plate (02 no.) | - | FECC- TFRI Jabalpur | JSJW | - | 24998 |  |  |  | Soil element analysis | ICFRE-TFRI |  | 0.323 |  | working | Scientific
10 | Electronic weighing balance | - | FECC- TFRI Jabalpur | Shimadzu | TW 4232 | 476030878 |  |  |  | Sample weighing | ICFRE-TFRI |  | 0.75 |  |  | Scientific
11 | Core sampler USDA type (02 no.) | - | FECC- TFRI Jabalpur | - | - | - |  |  |  | Soil sample collection | ICFRE-TFRI |  | 0.91 |  | working | Scientific |  |  |  | M/s Krishna Enterprises, 144/5, Barui Para Lane, Kolkata | krishnaams@yahoo.co.in | M/s Krishna Enterprises, 144/5, Barui Para Lane, Kolkata | krishnaams@yahoo.co.in
12 | Soil auger (04 no) | - | FECC- TFRI Jabalpur | - | - | - |  |  |  | Soil sample collection | ICFRE-TFRI |  | 0.17 |  | working | Scientific
13 | Portable Photosynthesys system/Soil respiration meter/CO2 gas analyser | - | FECC- TFRI Jabalpur | Li-COR | LI-6800S Package | 68C-812316 CHM-10987 | Government | CAMPA-MoEFCC New Delhi | Study of Climate Driven Effects on Indian Forests through Long term monitoring (AICRP 31) | Co2 measurement | ICFRE-TFRI |  | 40.68 |  | working | Scientific |  |  |  | Erlon Instruments Company Private Limited, 301, Skyline House 85, Nehru Place, New Delhi | erlonindia@gmail.com
14 | Weather station (AWS data services assembled sensors) | - | At Kanha tiger reserve (M.P.) | Campbell | CR1000X (Data logger) | 38929 |  |  |  | AWS data collection |  |  | 9.53 |  | working | Scientific |  |  |  | Campbell Scientific India Private Limited, 218 &219-A , 2nd floor, DLF Prime TowerOkhla Industrial Area, Phase-1, New Delhi-110020 |  | Campbell Scientific India Private Limited, 218 &219-A , 2nd floor, DLF Prime TowerOkhla Industrial Area, Phase-1, New Delhi-110020
15 | Altimeter | - | FECC- TFRI Jabalpur | Ravi | - | - |  |  |  | Altitude measurement |  |  | 0.059 |  | working | Scientific |  |  |  | M/s. Precision Componants & Engineers, 3-B/8, Ramesh Nagar, Near Main Post Office, New Delhi | precision2001in@gmail.com
16 | GPS (02 no.) | - | FECC- TFRI Jabalpur | Garmin | Oregon 750 | 4SQ033966 |  |  |  | For location |  |  | 0.88 |  | working | Scientific |  |  |  | M/s. Wildwood Technologies and equipments, E-09, Indramani Nagar, Gwalior, (M.P.) | wildwoodte@gmail.com
17 | Leaf scanner (Chlorophyll Content Meter) | - | FECC- TFRI Jabalpur | Opti- Science | CCM 200+ | 3879 |  |  |  | (Leaf Chlorophyll Content measurement) |  |  | 2.49 |  | working | Scientific |  |  |  | M/s. Precision Componants & Engineers, 3-B/8, Ramesh Nagar, Near Main Post Office, New Delhi | precision2001in@gmail.com
18 | Increment borer 18 inch- wood density | - | FECC- TFRI Jabalpur | Haglof | - | - |  |  |  | Measurement of sap and hard wood |  |  | 0.69 |  | working | Scientific
19 | Increment borer 12 inch- wood density | - | FECC- TFRI Jabalpur | Haglof | - | - |  |  |  | Measurement of sap and hard wood |  |  | 0.35 |  | working | Scientific
20 | Laser range finder | - | FECC- TFRI Jabalpur | Nikon | - |  |  |  |  | Distance measurement |  |  | 0.325 |  | working | Scientific
21 | High resolution binocular (long distance) | - | FECC- TFRI Jabalpur | Zeiss | Terra ED |  |  |  |  | Viewing object from a distance |  |  | 0.38 |  | working | Scientific |  |  |  | M/s. Wildwood Technologies and equipments, E-09, Indramani Nagar, Gwalior, (M.P.) | wildwoodte@gmail.com
22 | High resolution binocular (Short distance) | - | FECC- TFRI Jabalpur | Nikon | Aculon A211 8*42 |  |  |  |  | Viewing object from a distance |  |  | 0.061 |  | working | Scientific |  |  |  | M/s. Wildwood Technologies and equipments, E-09, Indramani Nagar, Gwalior, (M.P.) | wildwoodte@gmail.com
23 | High resolution binocular (Short distance) |  | FECC- TFRI Jabalpur | Celestron | outland 8*42 | - |  |  |  | Viewing object from a distance |  |  | 0.098 |  | working | Scientific |  |  |  | M/s. Wildwood Technologies and equipments, E-09, Indramani Nagar, Gwalior, (M.P.) | wildwoodte@gmail.com
24 | Optical densitometer for measuring canopy closure/ opening (02 no.) | - | FECC- TFRI Jabalpur | - | [5 empty] | Measurement of canopy density |  |  | 0.34 |  | working | Scientific |  |  |  | M/s. Precision Componants & Engineers, 3-B/8, Ramesh Nagar, Near Main Post Office, New Delhi | precision2001in@gmail.com
25 | Digital SLR camera with tele-lens | - | FECC- TFRI Jabalpur | Nikon | [5 empty] | Photography |  |  | 3.38 |  | working | Scientific
26 | Hypsometer | - | FECC- TFRI Jabalpur | Nikon | [5 empty] | Altitude measurement |  |  | 0.324 |  | working | Scientific
27 | Water level meter | - | FECC- TFRI Jabalpur | Aquasense | AQ-300 |  | Government | CAMPA-MoEFCC New Delhi | Combating desertification by enhancing vegetation cover and people livelihoods in degraded drylands and deserts of India (AICRP 24) | Water level measurement | ICFRE-TFRI |  | 0.59 |  | working | Scientific
28 | Automatic Weather Station |  | Murena (M.P.) | ICT | [5 empty] | AWS data collection |  |  | 2 |  | working
29 | Soil moisture sensor | - | FECC- TFRI Jabalpur | - | [5 empty] | for soil moisture |  |  | 1.21 |  | working | Scientific
30 | Barometer | - | FECC- TFRI Jabalpur | [6 empty] | Atmospheric pressure measurement |  |  | 0.19 |  | working | Scientific
31 | Ceptometer | - | FECC- TFRI Jabalpur | Virtual Hydrometer | CTR-VH-1 |  |  |  |  | Measurement of photosynthetic radiation |  |  | 2.18 |  | working | Scientific
32 | Garmin GPS (1 no) |  | FECC- TFRI Jabalpur | Garmin | eTrex 20X |  | Government | CAMPA-MoEFCC New Delhi | Forest Fire Reseach and Knowledge Management (AICRP 14) | For location | ICFRE-TFRI |  | 0.24 |  | working | Scientific
33 | Crown Densiometer |  | FECC- TFRI Jabalpur | Forestdensiometer | Model-C (Concave) |  |  |  |  | Measurement of canopy density |  |  | 0.17 |  | working | Scientific
34 | Digital Weighing Balance | - | FECC- TFRI Jabalpur | Equal | [5 empty] | Sample weighing |  |  | 0.026 |  | working | Scientific
35 | Digital vernier calliper |  | FECC- TFRI Jabalpur | Mitutoyo | Absolute Digimatic |  |  |  |  | Girth measurement |  |  | 0.098 |  | working | Scientific
36 | Camera |  | FECC- TFRI Jabalpur | Olympus | TG-6 |  |  |  |  | Photography |  |  | 0.42 |  | working | Scientific
37 | Mini disk infiltrometer-1Nos | - | FECC- TFRI Jabalpur | Meter |  |  | Government | CAMPA-MoEFCC New Delhi | All India Coordinated Research Project on Assessment of water requirement of different forest tree species and its impact on subsoil moisture. (AICRP 19) | To measure the hydrologic conductivity of soil | ICFRE-TFRI |  | 0.61 |  |  | Scientific |  |  |  | Unique Enterprizes, Jabalpur
38 | Sap flow meter |  | FECC- TFRI Jabalpur | SpecAgri Technologies | [5 empty] | measurement of tree and plant water use |  |  | 29.63
39 | Automatic rain gauge station (02 no) |  | Moyanallah | Advance Tech India Pvt. Ltd. | [8 empty] | 2.88
40 | Automatic rain gauge station (02 no) |  | TFRI Campus Jabalur | Advance Tech India Pvt. Ltd. | [8 empty] | 2.88
41 | Soil sensor |  | FECC- TFRI Jabalpur | odysee | [8 empty] | 6.8 | [6 empty] | M/s Logic Energy, WZ-660, Ground floor, Rishi Nagar, Rani Bagh, New Delhi-110034 Phone No. 011-22896625, Mobile-08810249898 | enquiry.es@gmail.com, psingh.es@gmail.com
42 | Leaf water potential system | - | FECC- TFRI Jabalpur | ICT |  |  | Government |  |  | Transpiration rate from leaf and branch | ICFRE-TFRI |  | 2.44 |  |  | Scientific |  |  |  |  | SpecAgri Technologies
43 | Haglofmantax black caliper (o3 no) | - | FECC- TFRI Jabalpur | Haglof Sweden | Mantax Black |  | PSU |  | Monitoring of NTPC plantation | tree girth measurment | ICFRE-TFRI |  | 1.48 |  |  | Scientific |  |  |  | Elixir Technologies, 300/2, Chamundeshwari layout, Banglore | account@elixirtechnologies.in
44 | Kelplus Nitrogen Analyser | - | FECC- TFRI Jabalpur | Pelican | Kelplus-distyl EM BA | EM-12086 |  |  |  | Soil available N analysis | ICFRE-TFRI |  | 5.25 |  |  | Scientific |  |  |  | M/s Pelican Equipment, Head office: 2nd floor, # 38 Burkit Road, T. Nagar, Chennai-600017, India | customerservice@pelicanequipments.com
45 | Inductively Coupled Plasma-OES | - | FECC- TFRI Jabalpur | Thermofisher Scientific | iCAP 7200 Duo./ThermoFlex 900 | IC72DC161013/0127831201151111 | Government |  | MoEF&CC, New Delhi | Soil micro nutrients analysis | ICFRE-TFRI |  | 34.04 |  |  | Scientific |  |  |  | Science Emporium,9, G.D. Complex, Marhatal, Jabalpur , (M.P.) Mob. 9827282735 |  | M/s Thermo Fisher Scientific India Pvt. Ltd. | ininfo@thermofisher.com
46 | Rotary Shaker | - | FECC- TFRI Jabalpur | Remi | RS 18 | ZJKS35594 |  |  | Plan capital scientific equipment | To shake the samples | ICFRE-TFRI |  | 0.98 |  |  | Scientific |  |  |  | M/s NARBADA BIOTECH, 25, First Floor, Medicine Complex (Roopali), Shastri Bridge Road, Jabalpur-482002
47 | Leaf Area Meter | - | FECC- TFRI Jabalpur | Systronics | 211 | 388 | - | - |  | Leaf Area measurements | ICFRE-TFRI |  | 0.45 |  |  | Scientific | [5 empty] | Systronics India Private Limited, Bhopal Division | sysbpl@systronicsindia.com
48 | EC meter |  | FECC- TFRI Jabalpur | Systronics | 308 | 1454 |  |  |  | EC measurement | ICFRE-TFRI |  |  |  |  | Scientific | [5 empty] | Systronics India Private Limited, Bhopal Division | sysbpl@systronicsindia.com
49 | EC meter |  | FECC- TFRI Jabalpur | Systronics | 306 | 3243 |  |  |  | EC measurement | ICFRE-TFRI |  |  |  |  | Scientific | [5 empty] | Systronics India Private Limited, Bhopal Division | sysbpl@systronicsindia.com
50 | pH meter |  | FECC- TFRI Jabalpur | Systronics | 361 | 5868 |  |  |  | pH measurement | ICFRE-TFRI |  |  |  |  | Scientific | [5 empty] | Systronics India Private Limited, Bhopal Division | sysbpl@systronicsindia.com
51 | pH meter |  | FECC- TFRI Jabalpur | Systronics | 362 | 1503 |  |  |  | pH measurement | ICFRE-TFRI |  |  |  |  | Scientific | [5 empty] | Systronics India Private Limited, Bhopal Division | sysbpl@systronicsindia.com
52 | Vertex mixture |  | FECC- TFRI Jabalpur | Remi | CN-101 |  |  |  |  | to mix the sample | ICFRE-TFRI |  |  |  |  | Scientific
53 | Mechanical Stirer |  | FECC- TFRI Jabalpur | Remi | [5 empty] | for stirin soil sample | ICFRE-TFRI |  |  |  |  | Scientific
54 | Hot air oven | - | FECC- TFRI Jabalpur | 1.Osworld | G-215 | - | - | - | - | Sample drying | ICFRE-TFRI | - | - | - | - | Scientific | - | - | - | - | - | - | - | -
55 | Hot air oven | - | FECC- TFRI Jabalpur | 2.YORCO | 451431 | [10 empty] | Scientific
56 | Hot air oven | - | FECC- TFRI Jabalpur | 3. NSW | 143 | [10 empty] | Scientific
57 | Refrigerator | - | FECC- TFRI Jabalpur | Samsung | RR19M1412RHA/HL |  |  |  |  | Sample storage | ICFRE-TFRI |  |  |  |  | Scientific
58 | GPS |  | FECC- TFRI Jabalpur | Garmin | eTrex 20X |  |  |  |  | For location | ICFRE-TFRI |  |  |  |  | Scientific
59 | Increment broer |  | GTI- TFRI Jabalpur | Haglof |  |  | ICFRE | ICFRE, Dehradun | PI-240 | 350mm/14",5.15mm/0.200" Handle Broer Bit &Etractor | GTI Division |  | 25600 |  | Working | Scientific |  |  |  | Aditi techno Solution, 300/2,Ground Floor,Doddabommasandra Main Road,Bengaluru,Bengaluru Urban Bengaluru560097
60 | Fullly Autometic Autoclave |  | GTI- TFRI Jabalpur | Tanco | PCJ-101A | 2KZ103105 | MP State Bamboo Mission | MP State Bamboo Mission, Bhopal | MP state Bamboo Mission |  | GTI Division |  | 1,93,500 |  | Working | Scientific |  |  |  | Narmada Biotech, 25, FIRST FLOOR, MEDICINE COMPLEX (ROOPALI), SHASTRI BRIDGE ROAD, Jabalpur, Madhya Pradesh-482002
61 | pH System with electrode & Tempreur prob |  | GTI- TFRI Jabalpur | SYSTRONICS |  | 6893 | MP State Bamboo Mission | MP State Bamboo Mission, Bhopal | MP state Bamboo Mission | Micro Controller Based | GTI Division |  | 36798 |  | Working | Scientific
62 | Leica Disto S910 Laser Distance Meter |  | GTI- TFRI Jabalpur | Leica | S910 | 5191410095 | CAMPA, CG | CAMPA, CG | PI-264 Campa | For meaurement of verticcal and horizontal distance | GTI Division |  | 103840 |  | Working | Scientific |  |  |  | Aditi techno Solution, 300/2,Ground Floor,Doddabommasandra Main Road,Bengaluru,Bengaluru Urban Bengaluru560097
63 | PCR System |  | GTI- TFRI Jabalpur | THERMO FISHER | Proflex Tm 3x32Well | 2978019125517 | NBM, New Delhi | NBM, New Delhi | PI-274 | PCR machine | GTI Division |  | 548000 |  | Working | Scientific |  |  |  | The engineering science Apparatus Workshop, 527, Vardaan, Prabhu prem Puram Ambala, Haryana, 133001 | akshay@esawindia.com
64 | Refrigerated Centrifuge |  | GTI- TFRI Jabalpur | Eppendorf | 5430R | 5428KI332911 | CAMPA, CG | CAMPA, CG | PI-224 | Centrifuge | GTI Division |  | 660800 |  | Working | Scientific |  |  |  | Science Emporium, Shop No.9, G.D. Complex, Shree Krishna Talkies Compound, Marhatal, Jabalpur, Madhya Pradesh 482002 | science.emporium@gmail.com
65 | Refrigerated Centrifuge |  | GTI- TFRI Jabalpur | Eppendorf | 5430R | 5428JI930588 | CAMPA, New Delhi | CAMPA, New Delhi | PI-FGR | Centrifuge | GTI Division |  | 498900 |  | Working | Scientific |  |  |  | Science Emporium, Shop No.9, G.D. Complex, Shree Krishna Talkies Compound, Marhatal, Jabalpur, Madhya Pradesh 482002 | science.emporium@gmail.com
66 | Water Bath |  | GTI- TFRI Jabalpur | COSLAB |  |  | CAMPA, New Delhi | CAMPA, New Delhi | PI-AICRP-02 | 14x18lit | GTI Division |  | 32500 |  | Working | Scientific |  |  |  | Supriti traders, Shop No. 6, Methodist Center, opp. Karthik Hotel, Napier Town, Jabalpur, Madhya Pradesh 482001 | supretitraders06@yahoo.co.in
67 | Waterpurification System |  | GTI- TFRI Jabalpur | Merck | MiliQ | BMOHB8615B | NBM, New Delhi | NBM, New Delhi | PI-NBM/274 | MilliQ50(Lit) | GTI Division |  | 790000 |  | Working | Scientific |  |  |  | Milli-Q Services, Electronic Compex, Pardeshipura, indore, Madhya Pradesh, 452010 Indore
68 | Hot Air Oven |  | GTI- TFRI Jabalpur | Equitron | 7051-150 | BAA001612N | CAMPA, New Delhi | CAMPA, New Delhi | PI-AICRP-9 | Hot Air Oven | GTI Division |  | 88800 |  | Working | Scientific |  |  |  | Narmada Biotech, 25, FIRST FLOOR, MEDICINE COMPLEX (ROOPALI), SHASTRI BRIDGE ROAD, Jabalpur, Madhya Pradesh-482002
69 | Handled Brush Cutter |  | GTI- TFRI Jabalpur | STIHL |  |  | CAMPA, New Delhi | CAMPA, New Delhi | PI-FGR | Brush Cutter | GTI Division |  | 19497 |  | Working | Scientific |  |  |  | Unique Enterprises, Shivani Complex, Ranital Chowk jabalpur, Jabalpur, Madhya Pradesh-482002
70 | Telscopic prunner |  | GTI- TFRI Jabalpur | STIHL | HT75 | 369636872 | CAMPA, New Delhi | CAMPA, New Delhi | PI-FGR | Prunner | GTI Division |  | 67378 |  | Working | Scientific |  |  |  | Unique Enterprises, Shivani Complex, Ranital Chowk jabalpur, Jabalpur, Madhya Pradesh-482002
71 | Electronic Weighing Scale |  | GTI- TFRI Jabalpur | ACZET | CY223C | 21121215 | CAMPA, CG | CAMPA, CG | PI-263 | Electronic Weighing Scale | GTI Division |  | 43990 |  | Working | Scientific |  |  |  | Narmada Biotech, 25, FIRST FLOOR, MEDICINE COMPLEX (ROOPALI), SHASTRI BRIDGE ROAD, Jabalpur, Madhya Pradesh-482002
72 | Deep Frizeer |  | GTI- TFRI Jabalpur | MAC | MAC-LTF-450L-40-D | MSW-135 | CAMPA, New Delhi | CAMPA, New Delhi | PI-FGR | 500lit | GTI Division |  | 489390 |  | Working | Scientific |  |  |  | Science Emporium, Shop No.9, G.D. Complex, Shree Krishna Talkies Compound, Marhatal, Jabalpur, Madhya Pradesh 482002 | science.emporium@gmail.com
73 | Horizental System Electrophoresis |  | GTI- TFRI Jabalpur | Cleaver Scientific | MS-15-28MCSS-2 | 220224010 | NBM, New Delhi | NBM, New Delhi | PI-BTSG | Single moulded | GTI Division |  | 29700 |  | Working | Scientific |  |  |  | Narmada Biotech, 25, FIRST FLOOR, MEDICINE COMPLEX (ROOPALI), SHASTRI BRIDGE ROAD, Jabalpur, Madhya Pradesh-482002
74 | Spectrophotometer |  | GTI- TFRI Jabalpur | THERMO FISHER | 5A4W269102 | 840-210800 | CAMPA, New Delhi | CAMPA, New Delhi | PI-FGR | Spectrophotometer | GTI Division |  | 498455 |  | Working | Scientific |  |  |  | Science Emporium, Shop No.9, G.D. Complex, Shree Krishna Talkies Compound, Marhatal, Jabalpur, Madhya Pradesh 482002 | science.emporium@gmail.com
75 | Nanodrop Lite Spectrophotometer |  | GTI- TFRI Jabalpur | THERMO FISHER |  | 3763 | CAMPA, New Delhi | CAMPA, New Delhi | PI-AICRP-09 | Spectrophotometer | GTI Division |  | 498900 |  | Working | Scientific |  |  |  | Science Emporium, Shop No.9, G.D. Complex, Shree Krishna Talkies Compound, Marhatal, Jabalpur, Madhya Pradesh 482002 | science.emporium@gmail.com
76 | Non-Refrigerator Centrifuge |  | GTI- TFRI Jabalpur | Hermle | Z207M |  | NBM, New Delhi | NBM, New Delhi | PI-BTSG | Centrifuge | GTI Division |  | 190500 |  | Working | Scientific |  |  |  | S.G. Scientific, B-6/77, 90 qtrs. Shakti nagar, Gupteshwar, Jabalpur, Madhya Pradesh, 482002
77 | PCR Machine |  | GTI- TFRI Jabalpur | THERMO FISHER | ProFlex | 4483636 | CAMPA, New Delhi | CAMPA, New Delhi | PI-AICRP-02 | PCR Machine | GTI Division |  | 499990 |  | Working | Scientific |  |  |  | Science Emporium, Shop No.9, G.D. Complex, Shree Krishna Talkies Compound, Marhatal, Jabalpur, Madhya Pradesh 482002 | science.emporium@gmail.com
78 | Tissue Culture Reck (2No) |  | GTI- TFRI Jabalpur | MAC | MSW-168 |  | CAMPA, New Delhi | CAMPA, New Delhi | PI-AICRP-09 | Tissue Culture Reck | GTI Division |  | 96600 |  | Working | Scientific |  |  |  | Science Emporium, Shop No.9, G.D. Complex, Shree Krishna Talkies Compound, Marhatal, Jabalpur, Madhya Pradesh 482002
79 | Autoclave |  | GTI- TFRI Jabalpur | Tanco | PCJ-101A | 2KZ103105 | CAMPA, New Delhi | CAMPA, New Delhi | PI-AICRP-09 | Steam Sterilizer | GTI Division |  | 299890 |  | Working | Scientific |  |  |  | Narmada Biotech, 25, FIRST FLOOR, MEDICINE COMPLEX (ROOPALI), SHASTRI BRIDGE ROAD, Jabalpur, Madhya Pradesh-482002
80 | Electonic Weighing Balance |  | GTI- TFRI Jabalpur | IGENE LAB | IG-300BG | 100328 | CAMPA, New Delhi | CAMPA, New Delhi | PI-AICRP-23 | Weighing Balance | GTI Division |  | 52000 |  | Working | Scientific |  |  |  | Narmada Biotech, 25, FIRST FLOOR, MEDICINE COMPLEX (ROOPALI), SHASTRI BRIDGE ROAD, Jabalpur, Madhya Pradesh-482002
81 | Increment Borer (2 No) |  | GTI- TFRI Jabalpur | Haglof |  |  | CAMPA, New Delhi | CAMPA, New Delhi | PI-FGR |  | GTI Division |  | 101640 |  | Working | Scientific |  |  |  | Aditi techno Solution, 300/2,Ground Floor,Doddabommasandra Main Road,Bengaluru,Bengaluru Urban Bengaluru560097
82 | Earth Auger |  | GTI- TFRI Jabalpur | stihl | BT230 |  | NBM, New Delhi | NBM, New Delhi | PI-NBM/278 | 63cc | GTI Division |  | 36108 |  | Working | Scientific |  |  |  | Unique Enterprises, Shivani Complex, Ranital Chowk jabalpur, Jabalpur, Madhya Pradesh-482002
83 | Electrophoresis System-power Supply (2 No) |  | GTI- TFRI Jabalpur | Cleaver Scientific | Powerpro-300 | 200820088 210910000 | ICFRE, Dehradun | ICFRE, Dehradun | PI-Plan-GC | Electrophoresis System | GTI Division |  | 166860 |  | Working | Scientific |  |  |  | Narmada Biotech, 25, FIRST FLOOR, MEDICINE COMPLEX (ROOPALI), SHASTRI BRIDGE ROAD, Jabalpur, Madhya Pradesh-482002
84 | Electrophoresis System (2 No) |  | GTI- TFRI Jabalpur | Cleaver Scientific |  | (2109200010)(200312012) | ICFRE, Dehradun | ICFRE, Dehradun | PI-Plan-GC | Electrophoresis System | GTI Division |  | 125330 |  | Working | Scientific |  |  |  | Narmada Biotech, 25, FIRST FLOOR, MEDICINE COMPLEX (ROOPALI), SHASTRI BRIDGE ROAD, Jabalpur, Madhya Pradesh-482002
85 | Horizontal Laminar Air Flow Cabinet |  | GTI- TFRI Jabalpur | RESCHOLAR |  |  | CAMPA, New Delhi | CAMPA, New Delhi | PI-AICRP-28 | Laminar Air Flow | GTI Division |  | 95000 |  | Working | Scientific |  |  |  | Narmada Biotech, 25, FIRST FLOOR, MEDICINE COMPLEX (ROOPALI), SHASTRI BRIDGE ROAD, Jabalpur, Madhya Pradesh-482002
86 | Vertex Hypsometer |  | GTI- TFRI Jabalpur | Haglof |  |  | CAMPA, New Delhi | CAMPA, New Delhi | PI-AICRP-23 | Hypsometer | GTI Division |  | 371700 |  | Working | Scientific |  |  |  | Elixer Technologies, #300/2, Chamundeshwari Layout, Doddabommasandra, Main Road, Vidyaranyapura, Bangalore-560097 | account@elixiretechnologies.in
87 | Tissue Culture Reck |  | GTI- TFRI Jabalpur | RESCHOLAR |  |  | NBM, New Delhi | NBM, New Delhi | PI--NBM/274 | Culture Reck | GTI Division |  | 144000 |  | Working | Scientific |  |  |  | Narmada Biotech, 25, FIRST FLOOR, MEDICINE COMPLEX (ROOPALI), SHASTRI BRIDGE ROAD, Jabalpur, Madhya Pradesh-482002
88 | Brush Cutter |  | GTI- TFRI Jabalpur | STIHL |  |  | ICFRE | ICFRE, Dehradun | PI-Plan-GC | Brush Cutter | GTI Division |  | 24900 |  | Working | Scientific |  |  |  | Unique Enterprises, Shivani Complex, Ranital Chowk jabalpur, Jabalpur, Madhya Pradesh-482002
89 | Centrifuge |  | Forest Proection - TFRI Jabalpur | Remi | R-12 C Plus | [7 empty] | 59127/- |  | Working | Scientific equipment
90 | Microscope |  | Forest Proection - TFRI Jabalpur | Leica | Wild MPS 48/52 |  |  |  | Central Store TFRI | [5 empty] | Working | Scientific equipment
91 | Microscope |  | Forest Proection - TFRI Jabalpur | Leica | Leit ZDM RBE, EC3 | [9 empty] | Working | Scientific equipment
92 | Microscope |  | Forest Proection - TFRI Jabalpur | Labovision | 2132100KL |  |  | ICFRE | ID 158 |  |  |  | 59000/- |  | Working | Scientific equipment |  |  |  | Central Store, TFRI
93 | Microscope |  | Forest Proection - TFRI Jabalpur | Labomed | CEZEM4 | [7 empty] | 39900/- |  | Working | Scientific equipment |  |  |  | Central Store TFRI
94 | Microscope |  | Forest Proection - TFRI Jabalpur | Labomed | CEZEM4 | [9 empty] | Working | Scientific equipment
95 | Microscope |  | Forest Proection - TFRI Jabalpur | Labomed | CEZEM4 | [9 empty] | Working | Scientific equipment
96 | Microscope |  | Forest Proection - TFRI Jabalpur | Leica | Wild M3Z | [9 empty] | Working | Scientific equipment
97 | Laminar Air Flow |  | Forest Proection - TFRI Jabalpur | Acco | - |  |  | ICFRE | ID 136 |  |  |  | 48263/- |  | Working | Scientific equipment |  |  |  | Central Store TFRI
98 | Laminar Air Flow |  | Forest Proection - TFRI Jabalpur | Yorco | - |  |  | - | Central Store TFRI |  |  |  | 17430/- |  | Working | Scientific equipment |  |  |  | Central Store TFRI
99 | Auto Clave |  | Forest Proection - TFRI Jabalpur | Conica | 1044 | [7 empty] | 98875/- |  | Working | Scientific equipment |  |  |  | Central Store TFRI
100 | Auto Clave |  | Forest Proection - TFRI Jabalpur | Conica | YSI 402 no. 318 | [9 empty] | Working | Scientific equipment
101 | Auto clave Portable |  | Forest Proection - TFRI Jabalpur | Yarco | [10 empty] | Not Working | Scientific equipment
102 | Auto clave Verticle |  | Forest Proection - TFRI Jabalpur | Yarco | [10 empty] | Not Working | Scientific equipment |  |  |  | Central store TFRI
103 | BOD Incubator |  | Forest Proection - TFRI Jabalpur | NSW | NSW-152 |  |  | ICFRE | ICFRE Equpment |  |  |  | 83244/- |  | Working | Scientific equipment
104 | BOD Incubator |  | Forest Proection - TFRI Jabalpur | Remi | C1 65 |  |  | ICFRE | ID 136 |  |  |  | 95000/- |  | Working | Scientific equipment |  |  |  | Central Store TFRI
105 | Oil Expeller |  | Forest Proection - TFRI Jabalpur | Gorex technoilogies | - |  |  |  | AICRP 20 |  |  |  | 71000/- |  | Working | Scientific equipment |  |  |  | Sarda Biotech
106 | Weighing Balance |  | Forest Proection - TFRI Jabalpur | Wenser | HPB 220 | [7 empty] | 36500/- |  | Working | Scientific equipment |  |  |  | Central Store TFRI
107 | Oil determination appratus with accerreris |  | Forest Proection - TFRI Jabalpur | Borosil |  |  |  |  | Central Store TFRI |  |  |  | 170915/- |  | Working | Scientific equipment
108 | Rotatory Evaporator |  | Forest Proection - TFRI Jabalpur | JSGW | RE 2000AA |  |  |  | AICRP 20 |  |  |  | 244800/- |  | Working | Scientific equipment |  |  |  | Central Store TFRI
109 | Deep Fridge |  | Forest Proection - TFRI Jabalpur | Celfrost | Celfrost |  |  | ICFRE | Plan GC |  |  |  | 68845/- |  | Working | Scientific equipment |  |  |  | Science Emporium, Jabalpur
110 | Cooling Incubator |  | Forest Proection - TFRI Jabalpur | Remi | CI-19 | [7 empty] | 173681/- |  | Working | Scientific equipment |  |  |  | Narmada Biotech
111 | BOD Incubator |  | Forest Proection - TFRI Jabalpur | Remi | [8 empty] | 92576/- |  | working | Scientific equipment |  |  |  | Central Store TFRI
112 | Digital Caliper |  | Forest Proection - TFRI Jabalpur | - | - |  |  |  | AICRP 11 |  |  |  | 21148/- |  | Working | Scientific equipment
113 | water bath |  | Forest Proection - TFRI Jabalpur | Coslap | - | [7 empty] | 41000/- |  | Working | Scientific equipment |  |  |  | Riable Scientific Traders, JBP
114 | GPS (2 no.) |  | Forest Proection - TFRI Jabalpur | Garmin | - |  |  | CAMPA CG | CAMPA CG |  |  |  | 47878/- |  | Working | Scientific equipment |  |  |  | Central Store TFRI
115 | Electronic Digital Balance |  | Forest Proection - TFRI Jabalpur | [5 empty] | Central Store TFRI |  |  |  | 27606/- |  | Working | Scientific equipment |  |  |  | Central Store TFRI
116 | hot Air Oven |  | Forest Proection - TFRI Jabalpur | Yarco | YSI 431Ex | [7 empty] | 64410/- |  | Working | Scientific equipment
117 | Microscope |  | Forest Proection - TFRI Jabalpur | Labomed | LX400 | [9 empty] | Working | Scientific equipment
118 | High-performance thin-layer chromatography |  | NWFP- TFRI Jabalpur | CAMAG Chemie-Erzeugnisse & Adsorptionstechnik AG. Sonnenmattstrasse 11 4132 Muttenz Switzerland. Tel. +41 61 467 34 34. Fax +41 61 461 07 02. | 1.WinCATS-0276200, 2.LINOMAT 5-0227808,3.SCANNER 200964 | 1.WinCATS-2011W014 2.LINOMAT5-200872 3.SCANNER 200964 | One Time Grand |  |  | For separation and analysis of chemical compounds | Silviculture, Forest Management and Agroforestry Division |  | 25,00000/- |  | Working |  |  |  |  | ANCHROM ENTERPRISES (I) Pvt. Ltd A -101, Shree Aniket Apt. Navghar Road, Mulund (E) Mumbai - 400 081 India | hptlc@anchrom.in | ANCHROM ENTERPRISES (I) Pvt. Ltd A -101, Shree Aniket Apt. Navghar Road, Mulund (E) Mumbai - 400 081 India | sales@anchrom.in
119 | TLC Plate heater 3 |  | NWFP- TFRI Jabalpur | CAMAG Chemie-Erzeugnisse & Adsorptionstechnik AG. Sonnenmattstrasse 11 4132 Muttenz Switzerland. Tel. +41 61 467 34 34. Fax +41 61 461 07 02. | TLC PLATE HEATER 3- | 271046 | MPSFD |  | Investigation on active chemical ingredients and propagation of critically endangered apecies Dillenia Pentagyna Roxb. For its conservation in Madhya Pradesh | Heating TLC/HPTLC plates to a selected temperature before or after a derivatization reagent has been applied. | Silviculture, Forest Management and Agroforestry Division |  | 1,90,024/- |  | Working |  |  |  |  | ANCHROM ENTERPRISES (I) Pvt. Ltd A -101, Shree Aniket Apt. Navghar Road, Mulund (E) Mumbai - 400 081 India | hptlc@anchrom.in | ANCHROM ENTERPRISES (I) Pvt. Ltd A -101, Shree Aniket Apt. Navghar Road, Mulund (E) Mumbai - 400 081 India | sales@anchrom.in
120 | High-performance liquid chromatography |  | NWFP- TFRI Jabalpur | Waters India Pvt Ltd No 36A, 2nd Phase, Peenya Industrial Area, Bangalore - 560 058 Fax : 080-49292204 Email : Waters_India@Waters.com | 1.515A, 2.515B, 3. PC2, 4. 2996 | 1.E06515572A 2.E06515570A 3.BB06PC2788E 4. E06296947M, | One Time Grant |  |  | For separation and analysis of chemical compounds | Silviculture, Forest Management and Agroforestry Division |  | US 23446/- |  | Working |  |  |  |  | Waters India Pvt Ltd No 36A, 2nd Phase, Peenya Industrial Area, Bangalore - 560 058 Fax : 080-49292204 Email : Waters_India@Waters.com | Waters_India@Waters.com
121 | Rotary evaporator |  | NWFP- TFRI Jabalpur | IKA India Private Limited Survey No. 57/3, Dr. Vishnuvardhan Road, Sunkalpalya Kengeri, Bengaluru 560060, Karnataka, India | RV10DS96 | 6120787 | One Time Grant |  |  | A rotary evaporator is a device used in labs for the efficient and gentle removal of solvents from samples by evaporation. | Silviculture, Forest Management and Agroforestry Division |  | 2,01423/- |  | Working |  |  |  |  | IKA India Private Limited Survey No. 57/3, Dr. Vishnuvardhan Road, Sunkalpalya Kengeri, Bengaluru 560060, Karnataka, India | info@ika.in
122 | Laboratory centrifuge machine |  | NWFP- TFRI Jabalpur | Remi House, 3rd Floor, 11, Cama Industrial Estate, Walbhat Road, Goregaon (East), Mumbai-400063, Maharashtra, India | R-8M plus | ZGL N-29444 | ICFRE(CAMPA) |  | Sustainable management of NTFPs through conservation and value addition | To separate the materials of different particle sizes from solution or suspension | Silviculture, Forest Management and Agroforestry Division |  | 41100/- |  | Working | [5 empty] | sales@remilabworld.com
123 | Contech Electronic Balance |  | NWFP- TFRI Jabalpur | Plot No. EL-221, TTC Industrial Area MIDC Electronic Zone, Mahape, Navi Mumbai, Thane-400710, Maharashtra, India | CAI-234 | 3002283 | MPSFD |  | Investigation on active chemical ingredients and propagation of critically endangered apecies Dillenia Pentagyna Roxb. For its conservation in Madhya Pradesh | To measure the mass of substances. | Silviculture, Forest Management and Agroforestry Division |  | 69000/- |  | Working | [5 empty] | service@contechindi.in
124 | Shimadzu Electronic Balance |  | NWFP- TFRI Jabalpur | A/B, Rushabh Chambers, Makwana Road Marol, Andheri (E Mumbai Maharashtra 400059 IN, Makwana Rd, Marol, Andheri East, Mumbai, Maharashtra 400059 | AUW220D | D450042154 | ICFRE(CAMPA) |  | Sustainable management of NTFPs through conservation and value addition | To measure the mass of substances. | Silviculture, Forest Management and Agroforestry Division |  | 179984/- |  | Working
125 | Vaccum pump |  | NWFP- TFRI Jabalpur | KNF Pumps, Systems (India) Pvt. Ltd. Kalpavruksha, 2nd Floor S. No. 14/6, Vishal Nagar Pimpale Nilakh Pune – 411 027 | N816.3KT.18 | 15553756 | ICFRE(CAMPA) |  | Genetic improvement of Azadirachta indica A. Juss. (Neem) | To provide suction that drives the filtration or aspiration of suspended or liquid samples. | Silviculture, Forest Management and Agroforestry Division |  | 74396/- |  | Working | [5 empty] | info.in@knf.com
126 | Chhiler |  | NWFP- TFRI Jabalpur | Superfit Continental Private Limited No. 5- 6, Old Sitaram Building, No. 204 Princess Street, Marine Lines, Mumbai-400002, Maharashtra, India | R/196 | 665 | ICFRE(CAMPA) |  | Genetic improvement of Azadirachta indica A. Juss. (Neem) | For consistent temperature control, ensuring that experiments and analyses are conducted under stable and well-defined conditions | Silviculture, Forest Management and Agroforestry Division |  | 75508/- |  | Working |  |  |  |  | Superfit Continental Private Limited No. 5- 6, Old Sitaram Building, No. 204 Princess Street, Marine Lines, Mumbai-400002, Maharashtra, India | info@superfitindia.com
127 | Millipore |  | Silviculture- TFRI Jabalpur | MERK |  |  | project | AICRP 30 | Development of Package of practices on Gmelina arborea Roxb. (Khamer or Gamhar) in selected agroclimatic regions of India. | Water Purification System (WPS) with HDPE External Storage tank | Silviculture Forest Manaegent and Agroforestry system |  | 4,99,999
128 | Flame Photometer |  | Silviculture- TFRI Jabalpur | Systronics | 128 | 5206 |  |  |  | to determine the concentration of certain metal ions, among them sodium, potassium, lithium, and calcium. | Silviculture Forest Manaegent and Agroforestry system
129 | Rotatory Shaker |  | Silviculture- TFRI Jabalpur | JSGW | [5 empty] | A rotary shaker is a laboratory tool that uses a rotating motion to mix the contents of containers. | Silviculture Forest Manaegent and Agroforestry system
130 | Spectophometer |  | Silviculture- TFRI Jabalpur | shimadzu | [5 empty] | Spectrophotometers are analytical tools that measure how much light a substance absorbs to determine its composition and concentration. | Silviculture Forest Manaegent and Agroforestry system