## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Mass Spectrometer -Liquid Chromatography Mass Spectrometry LC MS | LCMS | CIL, GJUS&T, Hisar | AB Sciex Pte Ltd Singapore | SCIEX TripleTOF 5600 and 5600 | DX20041801 | External Funding | DST, Govt. of India | PURSE SCHEME | Mass Spectrometer Ion Source -ESI and APCI -Positive and Negative Ionization Capabilities -De-solvation temperature upto750 oC Mass Analyzer -High Resolution Quadrupole Analyzer and collision cell Time of Flight Mass Analyzer Precursor ion slection 5-1250 m/z (Quadrupole) Mass range 40kDa (TOF) Acquisition Rate-IDA upto 100 Hz Mass Resolution-35000 (FWHM) at m/z 956 using 10ms acquisition time Mass Accuracy-Internal < 0.5 ppm RMS, External < 2ppm RMS Sensitivity-MS/MS Mode Reserpine 200 fg on column S/N:>60:1 UPLC System Solvent Delivery System-Binary Gradient Pump, Pressure rating 1300 bar 5-channel inline degasser Flow rate setting 0.0001 to 3 mL/min Autosampler with 105 vial capacity Column Oven-Temperature Range : ambient to 150oC PDA/DAD Detector-Wavelength Range: 190-700 nm Accuracy < 1 nm | Dr APJ Abdul Kalam Central Instrumentation Laboratory | Dr APJ Abdul Kalam CIL | 22265929 |  | UP | Analytical instrument | Ms SCIEX A Division of DHR Holding India Pvt Ltd 121 Udyog Vihar Phase IV Gurgaon 122015 Haryana |  | Ms SCIEX India Pvt Ltd Mumbai |  | cilgju@gmail.com
FT NMR Spectrometer | NMR | CIL, GJUS&T, Hisar | Bruker BioSpin AG Switzerland | AVANCEIII 400MHz | 10072279 | External Funding | UGC Grant | Equipment General Development Assistance | Magnet Type: Superconducting magnet, actively shielded; Field Strength: 9.4 Tesla; Frequency: 400 MHz for 1H; Bore Size: 54 mm; Stability: Field drift ≤ 0.1 ppm/hour; Helium Holding Time: 9 months; Nitrogen Holding Time: >16 days. FT Console High-performance, digital control and acquisition system; directional connection with linear amplification and highly flexible acquisition for superior performance at high resolution. Receiver/Digital Receiver Amplifier High-bandwidth receiver capable of simultaneous detection of multiple nuclei, including 1H, 13C, 15N, 19F, and 31P. Provides pulse shaping, quadrature detection, and high dynamic range for optimized experiments in liquid state NMR. Pre-amplifier Unit Low-noise GaAs design broadband preamplifier with standard filters for lock and high-resolution measurements, optimized for both proton and heteronuclear detection. Gradient Accelerated Spectroscopy Actively shielded Z-gradient system for generation of 30 Gauss/cm or better gradients. Meets gradient linearity and resolution specifications. Broadband Probe High-resolution broadband probe, capable of observing nuclei from 31P to 15N range, with automatic tuning and matching capability for enhanced sensitivity. Variable Temperature Variable temperature control for operation from -150°C to +180°C with high precision and stability, suitable for long-term measurements. Automatic Sample Changer Automatic sample changer with capacity for >24 sample tubes with 24 spinners. | Dr APJ Abdul Kalam Central Instrumentation Laboratory | Dr APJ Abdul Kalam CIL | 14612363 |  | UP | Analytical instrument | Ms Bruker BioSpin AG Industriestrasse 26 8117 Fallanden Switzerland |  | Ms Bruker India Scientific Pvt Ltd Unit Number 609 6th floor West Wing Satellite Gazebo Guru Hargovindji Marg Andheri Ghatkopar Road Andheri East Mumbai 400093 |  | cilgju@gmail.com
Confocal Raman Microscope |  | CIL, GJUS&T, Hisar | Ms WITec GmbH Germany | Alpha 300R | 10012001886 | External Funding | DST, Govt. of India | PURSE SCHEME | Spectral Range -200-2200 nm Spectral Resolution (FWHM) -<0.5 cm-1 Spatial Resolution -< 300 nm @532 nm Laser -< 750 nm @532 nm Laser Scan to Scan repeatibility -<0.05 cm⁻¹ Gratings-600 gr/mm -1200 gr/mm -2400 gr/mm Edge Filters-50 cm-1 for 532 and 785 nm lasers Laser -Air cooled, Diode Laser 532 nm 75mW -Air cooled, Diode Laser 785 nm 120mW Confocal Microscope -Research Grade Zeiss Microscope with 6 turret -Coupled with spectrometer through single mode Fiber Coupling -Motorized stage controlled by Joystick -Coupled with camera for sample visualization and digital video Detector -Thermoelectrically cooled CCD Camera, Peltier cooling, Quantum Efficiency 55% | Dr APJ Abdul Kalam Central Instrumentation Laboratory | Dr APJ Abdul Kalam CIL | 9190477 |  | UP | Analytical instrument | Ms Toshniwal Bros SR Pvt Ltd No 11 AECS Layout 4th Main 3rd Cross Sanjaynagar 1st Stage Bangalore 560094 |  | Ms Toshniwal Bros SR Pvt Ltd No 11 AECS Layout 4th Main 3rd Cross Sanjaynagar 1st Stage Bangalore 560094 |  | cilgju@gmail.com
High Resolution Field Emission Scanning Electron Microscope with EDS FESEM | FESEM-EDX | CIL, GJUS&T, Hisar | Ms JEOL ASIA PTE LTD Singapore 618494 | JSM7610F Plus | SM1765002200220 | External Funding | RUSA, Govt. of India | Enhancing Research Infrastructure at State Universities | Secondary Electron Image Resolution-0.8 nm (Accelerating voltage 15 kV) -1.0 nm (Accelerating voltage 1 kV GB mode) -0.8 nm (Accelerating voltage 1 kV GBSH mode) -During analysis: 3.0 nm (Accelerating voltage 15 kV, WD 8 mm, Probe current 5 nA) Magnification-Direct: x25 to 1,000,000 (120 x 90 mm) -Display: x75 to 3,000,000 (1,280 x 960 pixels) Accelerating Voltage-0.1 to 30 kV Probe Current-A few pA to 200 nA Electron Gun-In-lens Schottky field emission electron gun Lens System-Condenser lens (CL), Aperture-angle control lens (ACL), Semi-in lens objective lens (OL) Specimen Stage-Fully eccentric goniometer stage Specimen Movement -X: 110 mm, Y: 80 mm, Z: 1.0–40 mm, Tilt: -5° to +70°, Rotation: 360° Specimen Holders-12.5 mm diameter x 10 mm thick, 32 mm diameter x 20 mm thick Specimen Exchange-One-action exchange mechanism Electron Detector System-Upper detector, r-filter, Built-in, Lower detector Automatic Functions-Focus, Stigmator, Brightness, Contrast Image Observation LCD-Screen size: 23-inch wide -Maximum resolution: 1,280 x 1,024 pixels SEM Control System-PC: IBM PC/AT compatible computer -OS: Windows® 7 Professional Scan and Display Modes-Full-frame scan -Real magnification -Selected-area scan -Two-image display (different magnifications, different image modes) -Two-image wide display -Four-image display (four-signal live display) -Addition image (4 images + addition image) -Scale Evacuation System-Gun chamber, first and second intermediate chambers: Ultra-high-vacuum dry evacuation system using ion pumps Specimen chamber: Dry evacuation system using a turbo-molecular pump (TMP) Ultimate Pressure-Gun chamber: Order of 10⁻⁷ Pa (for standard configuration) -Specimen chamber: Order of 10⁻⁶ Pa (for standard configuration) | Dr APJ Abdul Kalam Central Instrumentation Laboratory | Dr APJ Abdul Kalam CIL | 21216787 |  | UP | Analytical instrument | Ms JEOL ASIA PTE LTD Singapore 618494 |  | Ms Jeol India Pvt Ltd Unit 305 Level 3 ABWElegance Towers Jasola District Area New Delhi 110025 |  | cilgju@gmail.com
Ultra High Performance Liquid Chromatography | UHPLC | CIL, GJUS&T, Hisar | Ms Shimadzu Asia Pacific Pte Ltd Singapore 118264 | Nexera 2 UHPLC | L20555611934 L20565605476 L20225641835 L20215622964 L20155620644 L20495606081 L21465604999 L20705620960 | External Funding | RUSA, Govt. of India | Enhancing Research Infrastructure at State Universities | Solvent Delivery System(LC-30AD) Type of Pump-Ultra High-Pressure Quaternary Gradient System Flow rate-0.001 to 3 mL/min in 0.001 mL/min increments Flow rate accuracy - ±1 % Flow rate Precision - ± 0.06% RSD Maximum Pressure Setting range-18000 psi Degasser- Membrane Degassing Injection System Type-Auto Sampler with cooler Sampler injection Volume setting range -0.1 to 50 µL Temperature Setting range-4ºC to 40ºC Carry over-<0.0015% Injection precision-0.25% of RSD Column Oven Temperature range -10º degree below room temp to 85ºC Temperature control precision -± 0.1 ºC Temperature accuracy - ± 0.5 ºC Detector PDA- Wavelength: 190-800 nm Flow Cell Volume: 2.5 µL Flow Cell Path Length 5 mm Wavelength Accuracy : ±1nm Linearity : 2.0 AU Base line noise 06x10-6 Au at 230 nm Drift ;≤5.0x10-4/AU/Hr/C Spectrofluorometric Detector-Wavelength : 200 - 650nm Wavelength accuracy: +/- 2nm. Light source: Xenon lamp Scanning of Samples Sensitivity: Water Raman peak 1200 S/N Spectral Bandwidth: 20nm Refractive Index Detector- Refractive Index range: 1.00-1.75RIU Detector Zero: Automatic zeroing Noise Level: 2.5x10-9 RIU max Drift:1x10-7 RIU/h max Range: A mode: 0.01x10-6 to 500X10-6 RIU P and L mode: 1x10-6 to 5,000x10-6 RIU Response: 0.05 to 10 sec, 10 steps Ambient Temp: 4-35 Deg. C | Dr APJ Abdul Kalam Central Instrumentation Laboratory | Dr APJ Abdul Kalam CIL | 3884508 |  | UP | Analytical instrument | Ms Shimadzu Asia Pacific Pte Ltd 79 Science Park Drive 02 01 08 Cintech IV Singapore Science Park I Singapore 118264 |  | Ms Spinco Biotech Pvt Ltd Spinco Tower D 41 Sector 11 Nodia UP |  | cilgju@gmail.com
Differential Scanning Calorimeter DSC | DSC | CIL, GJUS&T, Hisar | Ms Waters GesmbH Austria | Discovery DSC 25 | DSC2A00347 | External Funding | RUSA, Govt. of India | Enhancing Research Infrastructure at State Universities | Instrument Features-Fusion Cell™,MDSC® Dual Input Gas-Delivery Manifold Color App-Style Touch Screen Performance Temperature Range- 90°C to 550°C Temperature Accuracy- ±0.1°C Temperature Precision- ±0.01°C Temperature Repeatability - ±0.1°C Calorimetric Reproducibility (Indium Metal) - ±0.4% Calorimetric Precision (Indium Metal) - ±0.1% Dynamic Measurement Range - ±350 mW Digital Resolution --0.001 µW Baseline Curvature (-50 to 300°C) -<100 µW Baseline Reproducibility - <40 µW Baseline Accuracy (-50 to 300°C) - ±75 µW Sensitivity - 0.2 µW Indium Height/Width* - >8 mW/°C | Dr APJ Abdul Kalam Central Instrumentation Laboratory | Dr APJ Abdul Kalam CIL | 1927100 |  | UP | Analytical instrument | Ms Waters GesmbH Hietzinger Hauptatrasse 145 A 1130 Vienna Austria |  | Ms Waters India Private Limited TA Instruments Division Mohan Matrix Building 450 12th Cross 2nd Stage Mahalakshmipuram Bangalore 560086 |  | cilgju@gmail.com
Modular Compact Rheometer | MCR | CIL, GJUS&T, Hisar | Ms Anton Paar GmbH | MCR 302e | 83540721 | External Funding | DST, Govt. of India | PURSE SCHEME | Modular Compact Rheometer Measurement Types -Rotational, Oscillatory & Transient Bearing Design - Air, fine-pored carbon Motor design - Electronically Commutated (EC) - Permanent Magnet Synchronous Motor Displacement transducer design -High-resolution optical encoder Normal force measurement Mass Resolution -35000 (FWHM) at m/z 956 using 10ms acquisition time Working modes -Combined Motor Transducer (CMT) Minimum torque (rotation) -1 nanoNm Minimum torque (oscillation)0.5 nano Nm Maximum torque - 230milli Nm Minimum angular deflection0.05 µrad Speed Range 10e-8 to 300 rad/s or better Frequency Range 10e-7 to 600 rad/s or better Strain Sensor -High Resolution Optical Encoder Normal Force- 0.005 To 50 N or better Gap Control- Automatic Gap Control Step Rate, Time Constant-5 ms Step Strain, Time Constant-10 ms Temperature - Electrical Temperature control from 0 to 400 C Shear Viscometry/Rheology • Measuring Plate with diameter 8 mm, 25 mm and 50mm • Measuring Cone with diameter-40 mm & angle 1 deg, 25 mm & angle 2 deg. Tribology attachment • Contact Type : Point Contact • Working Principle : Ball-On-Three-Plates • Normal Load Range: up to 50 N • Speed Range : 10-6 to 2000 rpm • Sliding Speed Range : 10-8 to 3.3 m/s • Resolution: 10e-6 M/S or better • Maximum Torque: 200 milli Nm • Oscillation Frequency :10-7 to 100 Hz • Temperature Range: -10 to 200 C Magneto-rheology attachment • Magnetic Field :up to 1.0 Tesla or better • Temperature Range :10 to 70 C • Measuring Geometries : Titanium parallel plate 20 mm diameter | Dr APJ Abdul Kalam Central Instrumentation Laboratory | Dr APJ Abdul Kalam CIL | 5825222 |  | UP | Analytical instrument | Ms Anton Paar India Pvt Ltd 582 Udyog Vihar Industrial Area Phase V Gurugram 122016 Haryana |  | Ms Anton Paar India Pvt Ltd 582 Udyog Vihar Industrial Area Phase V Gurugram 122016 Haryana |  | cilgju@gmail.com
Fourier-transform infrared Spectroscopy | FTIR | CIL, GJUS&T, Hisar | Ms Perkin Elmer India Pvt Ltd | Spectrum Two | 118359 | External Funding | DST, Govt. of India | PURSE SCHEME | Wavelength Range -300 – 350 cm⁻¹ Spectral Resolution - 0.5 cm⁻¹ Wavelength Precision -Better than 0.01 cm⁻¹ at 3,000 cm⁻¹. Wavelength Accuracy -0.1 cm⁻¹ at 3,000 cm⁻¹. Signal-to-Noise Ratios -9,300:1 (peak-to-peak, 5 seconds) -32,000:1 (peak-to-peak, 1 minute) Interferometer:-Rotary Michelson interferometer with vibration-isolated baseplate Optics-Kinematically mounted, zero alignment optics, and OpticsGuard system for axis protection Detector -DTGS Beam splitter -Proprietary extended range KBr Validation -Software-controlled validation using polystyrene references and NIST traceability Optical Windows -KBr | Dr APJ Abdul Kalam Central Instrumentation Laboratory | Dr APJ Abdul Kalam CIL | 1000000 |  | UP | Analytical instrument | Ms Perkin Elmer India Pvt Ltd Co PrConnect Supply Chain Solution Ltd Angel Logistics Park No E6 Village Pimplas TalathisSajjaVelhe Mumbai Nasik Highway Taluka Bhiwadi district Thane |  | Ms Perkin Elmer India Pvt Ltd Co PrConnect Supply Chain Solution Ltd Angel Logistics Park No E 6 Village Pimplas TalathisSajjaVelhe Mumbai Nasik Highway Taluka Bhiwadi district Thane |  | cilgju@gmail.com

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
Test Funding Agency
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
INODE FAG
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
Testing Funding Agency
GIA
TestName12
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
TestFundingAgencySS
DME Government of Karnataka
I-STEM Funding at IISc
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE