## Sheet2
Details to be uploaded in I-STEM Portal
Equipment Name | Purchase Order Number and date | Approved Abbreviation (Appropriate keyword or known short name of the equipment) | Location where equipment is installed (a. Lab name/ no., b. Room name/ no.) | Make (Manufacturer/ company name) | Model no. | Serial No. of equipment | Funding Agency Type (a. External (project/ TEQIP), b. Internal (Plan)) | Funding Agency Details (Name of the funding agency, Use Comma if multiple, like, DST, SERB, DBT, TEQIP, etc.) | Project Title in which the equipment is sanctioned | Equipment Description (Equipment capability in about 30 words) | Department Name | Facility Name (a. Central, b. Departmental) | Rate/Hr | Refernce Website (Give the website from where the equipment details can be obtained) | Equipment Status (a. Working, b. Not working) | Category (a. Fabrication equipment b. Characterisation/ analytical/ testing equipment)
Variable Pressure Field Emission Scanning Electron Microscope | S2/5791/TEQIP/MED/CBS/Micro/2007/dss-1129 Dated 31.03.2008 | FESEM | Ground floor SNST - Microscopic Centre- Room number-101 | Hitachi High -Technologies Corporation | Hitachi SU 6600 | 2102-03 | Institute plan fund |  |  | Morphological Characterization of materials for various applications like Nanoscience and Technology, Materials Science, bioscienc, polymers etc. Microscope is having a resolution of 1.2 nm/30 KV, 3.0 nm/ 1KV and magnification capability is 500000x. | School of Materials Science and Engineering (Microscopic Centre) | Central | 1000+tax per sample(external), 100(internal) | http://pdf.directindustry.com/pdf/hitachi-high-technologies-europe/analytical-variable-pressure-fe-sem-su6600/30506-334835-_6.html | Working | Characterization
Scanning probe microscope -Atomic force microscope | S2/715/MED/EQPTS/PLAN-2/2009/DSS-1493,Date: 12/10/2009 | SPM/AFM | Ground floor SNST - Microscopic Centre- Room number-101 | Park system | Park XE-100 | H077600327 | Institute plan fund |  |  | High resolution type scanning probe microscopy for materials characterization. Topographical, nano mechanical, electrical magnetic properties can be studied. | School of Materials Science and Engineering (Microscopic Centre) | Central | 2000+tax per sample(external), 200(internal) |  | Working | Characterization
Optical Microscope | S2/4662/SNST/NS/DBT Project/2009/1788; 29-11-2010 | OM | Nanoscience Research Laboratory | Olympus | BX51TF | 0C01396 | External Project | DBT | Multifunctional Plasmonic Nanoparticles and Nanocomposites for targetted drug Delivery: Synthesis, Evaluation and Toxicological Studies | Upright microscope with brightfield opotics for histology and pathology imaging on DP70 color camera.Available objectives : 4X/ 0.10, 10X/ 0.3,20x/.50, 40X/ 0.75, 60X/ .9 and 100X/ 1.3 oil. | School of Material Science and Engineering | Departmental |  | https://microscopecentral.com/products/olympus-bx51-fluorescence-microscope | Working | Characterisation equipment
Programmable Rheometer LVD V3YCP230 | S5/3218/SNST/ST/TATA/2010/2027, Date: 21-07-2011 | Rheometer, Viscometer. | a. NTRL/ b.103 | M/S Brookfield Engg. Laboratories Inc | LVDV3YCP230 | 8533845 | External/ Project | Tata steel | Enhancement of coolents using nanoparticles for applications at tata steel | Brookfield rheometer is used to estimate the viscosity of fluid like nanofluids at various temperatures. | School of Materials Science and Engineering (Microscopic Centre) | Deparmental facility |  | https://www.brookfieldengineering.com/products/viscometers/laboratory-viscometers/cone-plate-wells-brookfield-viscometer | working | Characterisation equipment
Digital Source Meter | S5/7209/SNST/PLAN/EQPTS/2014-15/DSS-2999 |  | SIFF/204 | Keithley | Keithley/24000 | 4070008 | PLAN FUND |  |  | Measures the current - voltage parameters | School of Materials Science and Engineering (Microscopic Centre) | Department |  |  | Working | Analytical testing
Fourier Transform Infrared Spectrometer | NITC/TEQIP-2/038/10025/2015-16/SNST/ETIR, Date:04/02/2016 | FT-IR | SIFF/204 | PerkinElmer | Frontier MIR | 104207 | TEQUIP |  |  | FTIR technique measures the absorption of infrared radiation by the sample material versus wavelength. | School of Materials Science and Engineering (Microscopic Centre) | Central | 100+Tax per sample(Externals) |  | Working | Characterization
DC Magnetron sputtering unit | S5/15/124/SNST/PLAN/EQPT/2012-13/DSS-2703,date:2/12/13 | Sputtering unit | Ground floor SNST - Microscopic Centre- Room number-101 | Hindhivac | 12"MSPT BOX Type | D1027 | PLAN FUND |  |  | Used for thin film coating | School of Materials Science and Engineering (Microscopic Centre) | Central |  |  | Working
Glovebox | S8/12173/TEQIP/SNST/EQPT/2016-17, Date:24/05/17 | Glovebox | SIFF/204 | JACOMEX | GP12 | 4627 | TEQIP |  |  | Glovebox is a sealed container that is designed to allow one to manipulate objects where a separate atmosphere is desired | School of Materials Science and Engineering (Microscopic Centre) | Central |  |  | Working | Fabrication
* The details under each column may be furnished as per options provided only