## Sheet1
I-STEM-Equipments
Actions | Equipment code | Equipment | Abbreviation | Location | Make (Manufacturer) | Model | Department | Head of the Department | Funding Agency | Equipment Description | Equipment Cost | Supplier | Supplier Email ID | Service Provider | Service Provider Email ID | Equipment Registered On | Equipment Last Updated On | Download Template | Upload Template | Operator Mapped
Assign Usage Rate | 948824 | Isotope Ratio Mass Spectrometer (IRMS) | IRMS | BSIP | Thermo Fisher Scientific | MAT 253 Plus | BSIP | Director | Institution | Isotope Ratio Mass Spectrometry (IRMS) is an analytical technique used to precisely measure the relative abundance of stable isotopes in a sample. | 30051021 | Thermo Fisher Scientific Pvt Ltd | ininfo@thermofisher.com | Thermo Fisher Scientific Pvt Ltd | ininfo@thermofisher.com | 2025-06-17 15:32:47 | 2026-01-06 17:10:56 |  |  | No
Assign Usage Rate | 948828 | Elemental Analyzer- Isotope ratio Mass Spectrometer-Automated Graphitization Equipment | EA-IRMS-AGE3 | BSIP | Elementar Analysensysteme GmbH, Germany - Ionplus® AG, Switzerland | EA- Vario ISOTOPE Select; IRMS- Isoprime PrecisION, Age -Age3 | BSIP | Director | Institution | EA-IRMS used for the concentration and stable isotope measurement of the Carbon, Nitrogen and Sulfur present in the sample. AGE is coupled with the EA, which is combinedly used for the preparation of graphite targets for the AMS 14C measurement | 26725550 | Elementar | service-india@elementar.com | Elementar | service-india@elementar.com | 2025-06-17 15:58:02 | 2026-01-06 17:43:41 |  |  | No
Assign Usage Rate | 948829 | ICP-MS (Inductively Coupled Plasma Mass Spectrometry) | ICP-MS | Birbal Sahni Institute of Palaeosciences, Luc | Agilent Pvt. Ltd. | 7700x (G3281A) | BSIP | Director | Institution | ICP-MS (Inductively Coupled Plasma Mass Spectrometry) is an advanced analytical technique used to detect and quantify trace and rare earth elements in a wide range of sample types with very high sensitivity and precision. | 8266521 |  |  |  |  | 2025-06-17 16:54:49 | 2026-02-10 12:37:36 |  |  | Yes
Edit Usage Rate | 948872 | Inductively Coupled Plasma Optical Emission Spectrometry (ICP-OES) | ICP-OES | BSIP, Lucknow | Agilent Pvt. Ltd. | 5800 Series ICP-OES | BSIP | Director | Institution | ICP-OES (Inductively Coupled Plasma Optical Emission Spectrometry is an analytical technique used to detect and quantify major and trace elements in a wide variety of sample types. It's especially valued for its ability to analyze multiple elements simultaneously with high sensitivity and precision | 3604339 |  |  |  |  | 2025-06-24 11:58:30 | 2026-02-10 17:01:16 |  |  | No
Edit Usage Rate | 956906 | JR-6 Dual Speed Spinner Magnetometer | JR-6 | PALAEOMAGNETISM LABORATORY | AGICO, Czech Republic | JR-6 | BSIP | Director | DST, Govt. of India | Measurement includes all kinds of remanences like NRM, ARM, partial ARM, AFD, IRM etc on standard 10 cc samples of hard rock or packed sediment samples with the aid of other instruments like AF Demagnetiser, Thermal Demagnetiser and Impulse Magnetiser. | 4637000 |  |  |  |  | 2025-10-22 11:11:00 | 2026-02-12 15:29:25 |  |  | No
Edit Usage Rate | 956907 | MFK2-FA Multi Function-KAPPABRIDGE | MFK2-FA | Palaeomagnetism Laboratory | AGICO, Czech Republic | MFK2-FA | BSIP | Director | DST, Govt. of India | In principle the instrument represents a precision fully automatic inductive bridge equipped with automatic zeroing system and automatic compensation of the thermal drift of the bridge unbalance as well as an automatic switching to appropriate measuring range. Special diagnostics was embedded in MFK | 13000000 |  |  |  |  | 2025-10-22 11:25:08 | 2026-02-12 12:48:53 |  |  | No
Edit Usage Rate | 957240 | D2000T-Alternating Field Demagnetiser | D2000T-AFD | PALAEOMAGNETISM LABORATORY | ASC SCIENTIFIC, USA | D2000T-AFD | BSIP | Director | DST, Govt. of India | Operator programmable settings are available for peak demagnetizing field intensity, decay rate, ARM intensity, pARM intensity, and pARM start and end points. Stepped demagnetizations and stepped ARMs and pARMs can be performed on standard 10 cc samples of hard rock or packed sediment samples. | 3554000 |  |  |  |  | 2025-10-28 11:45:13 | 2026-02-12 14:41:45 |  |  | No
Edit Usage Rate | 959071 | Thermal Specimen Demagnetiser | THD | PALAEOMAGNETISM LABORATORY | ASC SCIENTIFIC, USA | TD-48 | BSIP | Director | DST, Govt. of India | Thermal demagnetization of sediment or rock samples for blocking temperature identification and for palaeomagnetic analysis purpose. Presently measurement is restricted to standard 10cc rock samples only | 4889000 |  |  |  |  | 2026-01-23 11:03:53 | 2026-02-12 14:42:34 |  |  | No
Edit Usage Rate | 959072 | IMPULSE Magnetizer | IMPULSE | PALAEOMAGNETISM LABORATORY | ASC SCIENTIFIC, USA | IM -10-30 | BSIP | Director | DST, Govt. of India | IRM (Forward acquisition and DC Demagnetisation of SIRM), anisotropy of IRM on standard 10 cc samples of hard rock or packed sediment samples. | 2000000 |  |  |  |  | 2026-01-23 11:10:09 | 2026-02-12 14:43:31 |  |  | No
Assign Usage Rate | 959600 | Field Emission Scanning Electron Microscope and EDAX | FESEM | BSIP, Lucknow | JEOL Ltd. | JEOL JSM 7610f | BSIP | Director | DST , Science and Technology Ministry, GOI |  | 24872925 |  |  |  |  | 2026-02-11 10:30:17 | 2026-02-12 16:01:45 |  |  | Yes
Assign Usage Rate | 959644 | JR-6 Spinner Magnetometer | JR-6 | Palaeomagnetism Laboratory | AGICO, Czech Republic | JR-6 | BSIP | Director | DST, Govt. of India | Measurement includes all kinds of remanences like NRM, ARM, partial ARM, AFD, IRM etc on standard 10 cc samples of hard rock or packed sediment samples with the aid of other instruments like AF Demagnetiser, Thermal Demagnetiser and Impulse Magnetiser. | 4637000 |  |  |  |  | 2026-02-12 15:30:31 | 2026-03-10 15:12:39 |  |  | No