## HQ
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
X-ray Diffraction System | XRD | XRD Lab, AMD, Hyderabad | M/s GE Sensing & Inspection, Germany | X-ray diffraction system XRD 3003 TT | AMD/HQ/SP/C-0049 | Internal Funding | DAE, Govt. of India |  | Powder X-ray Diffraction system with 3kw side window Copper anode | Atomic Minerals Directorate for Exploration and Research, Hyderabad. | XRD Lab, MPG Group, AMD, Hyderabad | 10866127 |  | Working with intermittent breakdown | Capital item | M/s GE Sensing & Inspection, Germany |  | M/s GE has stopped manufacturing XRD system during 2013 and provided service till 28.03.2018. Since 2018, they are not providing any service. |  | icxrdhq.amd@gov.in
Isodynamic magnetic Laboratory Separator | Isodynamic separator | XRD Lab, AMD, Hyderabad | Frantz ( Distributor :M/s AKV Enterprises, Dehradun) | Model LB-1 | 614 | Internal Funding | DAE, Govt. of India |  | Isodynamic magnetic Laboratory Separator | Atomic Minerals Directorate for Exploration and Research, Hyderabad. | XRD Lab, MPG Group, AMD, Hyderabad | 1686988.72 |  | Working | Capital item | M/s AKV Enterprises, Dehradun |  | M/s AKV Enterprises, Dehradun |  | icxrdhq.amd@gov.in
Wavelength-dispersive X-Ray Fluorescence Spectrometry | WDXRF | XRF Lab, AMD, Hyderabad | Malvern Panalytical, The Netherland | WDXRF Magi XPRO-2440 | DY1243 | Internal Funding | DAE, Govt. of India |  | WDXRF | Atomic Minerals Directorate for Exploration and Research, Hyderabad. | XRF Lab, MPG Group, AMD, Hyderabad | 8000000 |  | Working with intermittent problems | Capital item | M/s Spectris Technologies Pvt Ltd (Malvern Panalytical Division) |  | M/s Spectris Technologies Pvt Ltd, SIFC Building, Phase 1, New No 438/1 (Old No 605 & 606), T.R. Sundaram Avenue, Off Anna Salai, Thousand Lights West, Chennai-600 006. | rajalakshmi.babu@malvernpanalytical.com | icxrfhq.amd@gov.in
Energy Dispersive X-ray Fluorescence Spetrometry | EDXRF | XRF Lab, AMD, Hyderabad | M/s Xenemetrix (Israel) | EX 6600 SDD | 117008 | Internal Funding | DAE, Govt. of India |  | EDXRF | Atomic Minerals Directorate for Exploration and Research, Hyderabad. | XRF Lab, MPG Group, AMD, Hyderabad | 4667980 |  | Operational | Capital item | M/s Acute Instruments Pvt. Ltd | leonardo.f@xenemetrix.com | M/s Acute Instruments Pvt. Ltd |  | icxrfhq.amd@gov.in
Two Station Fusion Bead Machine (FX-2) and Crucibles | Fusion Bead Machine | XRF Lab, AMD, Hyderabad | EQUILAB SA | FX-2 | 164/23 | Internal Funding | DAE, Govt. of India |  | Two Station Fusion Bead Machine [FX-2] & Crucibles | Atomic Minerals Directorate for Exploration and Research, Hyderabad. | XRF Lab, MPG Group, AMD, Hyderabad | 3982000 |  | Working | Capital item | M/s KAN-THT INDIA PRIVATE LIMITED, DELHI | info@kan-tht.com | M/s KAN-THT INDIA PRIVATE LIMITED | info@kan-tht.com | icxrfhq.amd@gov.in
Electron Probe Micro Analyser | EPMA | EPMA Lab, AMD, Hyderabad | CAMECA | SX-100 | AMD/HQ/C-3842 | Internal Funding | DAE, Govt. of India |  | EPMA & 4 WDS spectrometer | Atomic Minerals Directorate for Exploration and Research, Hyderabad. | EPMA Lab, MPG Group, AMD, Hyderabad | 60000000 |  | Operational | Capital item | Ametek Cameca India (OEM) | avdhesh.yadav@ametek.com | Ametek Cameca India (OEM) | avdhesh.yadav@ametek.com | icepmahq.amd@gov.in
Thermal Ionisation Mass Spectrometer | TIMS | Geochronology Lab, AMD, Hyderabad | Isotopx, UK | Phoenix HCT 037 | HCT 037 ISOProbe T | Internal Funding | DAE, Govt. of India |  | TIMS for radioactive isotope analyses and age determination | Atomic Minerals Directorate for Exploration and Research, Hyderabad. | Geochronology Lab, MPG Group, AMD, Hyderabad | 40329308 |  | Operational | Capital item | M/S Spizen Analytic Instrument Pvt.Ltd | shine@spitzenanalytical.com | Microdynamics, Kolkata | srinivasek@microdynamicsind.com | icgeochronhq.amd@gov.in
Isotope Ratio Mass Spectrometer (with Nu Carb DI and Elemental Analyzer and Laser Fluorination System) | IRMS | Stable Isotope Laboratory, AMD, HQ, Hyderabad | Nu Instruments | NU HORIZON, EA 3024 | NH031 | Internal Funding | DAE, Govt. of India |  | Used for mesuring stable isotope ratio of C, O, S in geological materials. | Atomic Minerals Directorate for Exploration and Research, Hyderabad. | Stable Isotope Laboratory | 34016381 |  | Working condition | Capital item | Nu Instruments, UK |  | M/s. J.C.S Services Pvt. Ltd. Hyderabad | nsr_murthy@hotmail.com | icstableisotope.amd@gov.in
Stereozoom Microscope | Trinocular Stereozoom Microscope | Stable Isotope Laboratory, AMD, HQ, Hyderabad | Leica | LEICA M205 C | 6080907 | Internal Funding | DAE, Govt. of India |  | Used for handpicking of pure (99.9%) grains for analysis in IRMS. | Atomic Minerals Directorate for Exploration and Research, Hyderabad. | Stable Isotope Laboratory | 1147379 |  | Working condition | Capital item | Leica, Germany | service.india@leica-microsystems.com |  |  | icstableisotope.amd@gov.in
Ultra micro-balance | Ultra micro-balance | Stable Isotope Laboratory, AMD, HQ, Hyderabad | Sartorius | MCA 2.7S - 20IN - M - QP99 | 42905400 | Internal Funding | DAE, Govt. of India |  | Used for precise weighing of samples and standards in microgram level for analysis of stable isotopes. | Atomic Minerals Directorate for Exploration and Research, Hyderabad. | Stable Isotope Laboratory | 2073750 |  | Working condition | Capital item | M/s. Smart Labtech Pvt. Ltd., Hyderabad |  |  |  | icstableisotope.amd@gov.in
P-type coaxial HPGe-RE30 percentage | HPGe Detector | AMD/Hq, Hyderabad (RSA Lab) | ITECH INSTRUMENTS | IGC-30 185 | 6031 | Internal Funding | DAE, Govt. of India |  | p-type High Pure Germanium detector (RE 30%) with ORION DSP based MCA system AND INTERWINNER 8.0 Ge-1 SOFTWARE. | Atomic Minerals Directorate for Exploration and Research, Hyderabad. | High resolution gamma ray spectrometry | 3450000 |  | Working | Electronics item | Novotec Instruments, Mumbai |  | Novotec Instruments, Mumbai |  | info@itech-instruments.com
P-type Coaxial HPGe detector (RE-100percentage) | HPGe Detector | AMD/Hq, Hyderabad (RSA Lab) | Mirion | Egpc 160-230-R | 54738 | Internal Funding | DAE, Govt. of India |  | -type High Pure Germanium detector (RE 160%) with Lynx Digital Signal Analyser Integrated MCA and Genie 2000 Basic software | Atomic Minerals Directorate for Exploration and Research, Hyderabad. | High resolution gamma ray spectrometry | 10963416 |  | Working | Electronics item | Advance-Tech Controls Private Limited | sales@advancetech.in | Advance tech. controls Pvt. Ltd. Mumbai | sales@advancetech.in | sales@advancetech.in
CNC Turning Centre or Lathe Machine | APPC-2013, R&D Plan (M&E) PO.NO:DPS/03/CAP/22287/PO17545, DATED 08.04.2014. | AMD,Workshop, HQRS, Hyderabad | M/s. ACE Designers Ltd., Plot No.7 & 8, 2nd Phase, Peenya Industrial Area, Bengaluru, Karnataka. | LT-20C CLASSIC | 1624 | Internal Funding | DAE, Govt. of India |  |  | Atomic Minerals Directorate for Exploration and Research, Hyderabad. | Workshop | 2477611 |  | In working condition | Others (Workshop equipment) | M/s. ACE Designers Ltd, Bengaluru |  | Ace Micromatic | customercare@acemicromatic.com | headmpg.amd@gov.in
Iso Dynamic Magnetic Separator | Isodynamic Separator | MPU, RMRE, Hyderabad | S.G. Frantz Co., Inc, P.O. Box 1138, Trenton, NJ 08606 | LB-1 | 676 | Internal Funding | DAE, Govt. of India |  | Franz Magnetic Barrier Laboratory Separator | Atomic Minerals Directorate for Exploration and Research, Hyderabad. | Mineral Processing Unit, RMRE Group, Hyderabad | 3508540 |  | Operational | Capital | M/s AVK Enterprises, Dehra Dun | sales@akve.us | AKV Enterprises, Dehradun, Uttarakhand, India |  | headrmre.amd@gov.in

## Worksheet 1 (hidden)
NEHU Internal Funds
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Internal Resource Generation
SRIC Development Fund
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Vinayaka Missions Research Foundation
NITTTR Bhopal
ICAR-CMFRI
Ministry of Textiles
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
DBT, Govt. of India
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
CSIR, Govt. of India
DST, Govt. of India
ICFRE