## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Equipment Description | Department Name* | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Alert to be sent (Email id)*
Hydrophone Field Calibrator |  | NIOT | GeoSpectrum Technologies Inc | M351-100 | J001503 | Internal Funding | Institution Funding (Self Supported) | Hydrophone Field Calibrator is a portable device used to quickly verify and calibrate hydrophone sensitivity/response in the field, ensuring accurate underwater acoustic measurements. | Ocean Acoustics | Acoustic Test Facility | 1947000 |  |  | analytical measurement | malarkodi.niot@gov.in
Deepwater Hydrophone |  | NIOT | Neptune Sonar | D/70/H | 51872 | Internal Funding | Institution Funding (Self Supported) | Neptune SONAR Deepwater Hydrophone is an underwater acoustic sensor used to detect and record ambient noise and sonar signals in deep-sea environments for oceanographic and underwater monitoring applications. | Ocean Acoustics |  | 2780313.64 |  |  | analytical measurement | malarkodi.niot@gov.in
Autonomous Underwater Recording system |  | MoES | JASCO applied sciences CANADA |  |  | Internal Funding | Institution Funding (Self Supported) | An autonomous underwater recorder that continuously captures and stores high-quality underwater sound data for long-term ambient noise and marine monitoring studies. | Ocean Acoustics |  | 5000000 | www.jasco.com |  | analytical measurement | malarkodi.niot@gov.in
DIsdrometer with rainfall sensor, rain gauge and data logger |  | MoES | Disdrometer - OTT Hydromet | DIsdrometer - OTT Parsivel |  | Internal Funding | Institution Funding (Self Supported) | Meteorological instruments used to measure and record rainfall characteristics, wind speed/direction, and precipitation data for accurate weather monitoring. | Ocean Acoustics |  | 2920024 |  |  | analytical measurement | malarkodi.niot@gov.in
Low frequency Hydrophone calibration setup |  | NIOT | Bruel & Kjaer | 9735-W-61 | 3160105606 | Internal Funding | Institution Funding (Self Supported) | Hydrophone calibration services for the parameter receiving sensitivity ranging from 100 Hz to 1 KHz. | Ocean Acoustics | Acoustic Test Facility | 5000000 |  |  | analytical measurement | malarkodi.niot@gov.in
Multi parameter sensor |  | NIOT | YSI | EX02 |  | Internal Funding | Institution Funding (Self Supported) | High resolution nonwiped type of MPS sensor with capability to measure the Conductivity, Temperature, Depth, DO, pH, Turbidity, Alkalinity, fDOM, Chlorophyll TDS etc. | Ocean Electronics | OE -Drone AIT facility | 2493450 |  |  | Discrete Digital Sensor | muthukumaravel.niot@gov.in
Partial pressure CO2 sensor |  | NIOT | Pro-Oceanus | CO2-Pro CV |  | Internal Funding | Institution Funding (Self Supported) | Discrete partial pressure CO2 sensor for field carbon concentration measurements. | Ocean Electronics | OE -Drone AIT facility | 3560000 |  |  | Discrete Digital Sensor | muthukumaravel.niot@gov.in
Hyperbaric chamber |  | NIOT |  | EPSI |  | Internal Funding | Institution Funding (Self Supported) | To test equipments at high pressure conditions for simulating underwater conditions. | Deep sea Mining | Hyper baric chamber | 30000000 |  |  | Analytical measurement | gnanaraj.niot@gov.in
Calibration Test Facility (CTF) |  | NIOT, Chennai | Multivendor | Heterogeneous: |  | Internal Funding | Institution Funding (Self Supported) | CTF is equipped with reference sensor recommended by WMO for RIC laboratories. i.e. Reference chilled mirror to calibrate Air Humidity sensor, Platinum Resistance Thermometer to calibrate Air temperature, Digital Gas piston gauge to calibrate Air pressure, peristaltic pump to calibrate precipitation and standard digital source to calibrate analog channels in CPU. The calibration of temperature and conductivity sensors is carried out using computer-controlled temperature baths equipped with high-accuracy reference sensors. For temperature calibration, a Standard Platinum Resistance Thermometer (SPRT) is used as the reference sensor, itself calibrated using internationally recognized physical standards such as triple-point-of-water cells and gallium melt cells. Conductivity calibration is based on the International Association for the Physical Sciences of the Oceans (IAPSO) standard seawater, which serves as the primary standard. The practical salinity of IAPSO seawater is determined through a series of conductance measurements performed at Ocean Scientific International Ltd. (OSIL), relative to potassium chloride (KCl) standard solutions prepared using precisely weighed KCl crystals. The reference conductivity is then calculated based on the salinity of the seawater and its reference temperature. | ocean Buoy Network | Calibration Test Facility (CTF) | 70000000 |  |  | Sensor / Instrument Calibration | srs.niot@gov.in
FBG Sensor System (Strain & Temperature) with Data Interrogator |  | NIOT | HBK | FS22DI |  | Internal Funding | Institution Funding (Self Supported) | To monitor strain on HDPE pipe underwater using optical FBG sensors. | Ocean structures |  | 33,00,000 |  |  | Data monitoring | phani.niot@gov.in
Shock and Vibration Tester |  | NIOT | Spectral Dynamics | SD-301-440 |  | Internal Funding | Institution Funding (Self Supported) | To test and evaluate the shock and vibration withstanding capacity of system under test | Marine Sensor Systems | Electronic Test Facility | 51,86,000/- | https://www.spectraldynamics.com/ |  | Testing equipment | chitra.niot@gov.in
Environmental Chamber |  | NIOT | Votsch Industrietechnik, GmbH, Germany | VC4150 |  | Internal Funding | Institution Funding (Self Supported) | To test and evaluate the performance of the system/equipment under test under specified temperature and humidity | Marine Sensor Systems | Electronic Test Facility | 28,28,000/- | www.weiss-technik.com |  | Testing equipment | chitra.niot@gov.in
Corrosion Chamber |  | NIOT | Weizz Technik GmbH, Germany | SC-1000 |  | Internal Funding | Institution Funding (Self Supported) | To test and evaluate the corrosion resistivity of equipment/item under test | Marine Sensor Systems | Electronic Test Facility | 15,65,000/- | www.weiss-technik.com |  | Testing equipment | chitra.niot@gov.in
EMI/EMC Analyser |  | NIOT | KeySight technologies | N9038B |  | Internal Funding | Institution Funding (Self Supported) | To measure and analyse electromagnetic interference | Marine Sensor Systems | Electronic Test Facility | 91,45,932/- | https://www.keysight.com/ |  | Testing equipment | chitra.niot@gov.in
Multi Mode Digital Sonar System (Acoustic Sub Bottom Profiler and Side Scan Sonar) |  | NIOT | Meridata Finland | MDDSS |  | Internal Funding | Institution Funding (Self Supported) | To image under water objects in 1D and 2D | Marine Sensor Systems | Electronic Test Facility | 1,23,88,200/- | https://meridata.fi/mddssindepth.shtml |  | Testing equipment | chitra.niot@gov.in
Total Organic Carbon (TOC) analyzer |  | NIOT-Chennai | Skalar | FORMACS HT-water samples PRIMACS MCS - Solid samples |  | Internal Funding | Institution Funding (Self Supported) | To measure the organic carbon content in environmental water and solid samples | Marine Biotechnolgy | MBT- Chennai | 83,69,895/- | https://www.skalar.com/products/formacs-total-organic-carbon-total-nitrogen-analyzers |  | Analytical measurement | dharani.niot@gov.in
Contrinuos Flow Nutrient analyzer (Auto analyzer) |  | NIOT-Chittedu, Andra pradesh | Skalar | SAN++ Classic |  | Internal Funding | Institution Funding (Self Supported) | To measure the nutrients (nitrate, nitrite, ammonia, silicate, phosphate, total nitrogen, total phosphate) in environmental water samples | Marine Biotechnolgy | MBT-Chittedu, AP | 96,45,517/- | https://www.skalar.com/products/formacs-total-organic-carbon-total-nitrogen-analyzers |  | Analytical measurement | dharani.niot@gov.in
Flow Imaging Microscopy |  | NIOT-ACOSTI, Sri Vijaya Puram, Andaman and Nicobar Islands | YOKOGAWA | Flow Imaging Microscopy 8100 |  | Internal Funding | Institution Funding (Self Supported) | This is imaging microscope with a wide measurement range and high-precision image analysis capabilities. | Marine Biotechnolgy | MBT-ACOSTI | 14036745 | www.yokogawa.com/in |  | Imaging | dharani.niot@gov.in
Inductive Coupled Plasma-Mass Spectrometer (ICP-MS) |  | NIOT-Chittedu, Andra pradesh | Perkin Elmer | NexION1100 |  | Internal Funding | Institution Funding (Self Supported) | To measure the heavy and trace metals present in the environmental water and solid samples | Marine Biotechnolgy | MBT-Chittedu, AP | 2,75,17,633/- | Ref_link |  | Analytical measurement | dharani.niot@gov.in
Multimode Microplate Reader |  | NIOT-ACOSTI, Sri Vijaya Puram, Andaman and Nicobar Islands | Tecan | Tecan Infinite Mplex |  | Internal Funding | Institution Funding (Self Supported) | A versatile, monochromator-based multimode microplate reader designed for high-performance absorbance, fluorescence, and luminescence assays in life science research | Marine Biotechnolgy | MBT-ACOSTI | 23,36,400 | https://www.tecan.com/ |  | Analytical measurement | dharani.niot@gov.in
Superspeed Centrifuges |  | NIOT-ACOSTI, Sri Vijaya Puram, Andaman and Nicobar Islands | Thermo Scientific | LYNX 6000 |  | Internal Funding | Institution Funding (Self Supported) | A high-performance floor model centrifuge designed for large-volume, high-speed laboratory applications, offering up to 6L capacity (6 x 1000 mL) and speeds reaching 100,605 x g (29,000 rpm) | Marine Biotechnolgy | MBT-ACOSTI | 28,43,500 | https://www.thermofisher.com/ |  | Separation | dharani.niot@gov.in
High Resolution Scanning Electron Microscope |  | NIOT-Chittedu | Jeol India Pvt. LTD | JSM - IT800 |  | Internal Funding | Institution Funding (Self Supported) | A high-resolution scanning field emission electron microscope (HR-SEM) is an advanced imaging instrument that uses a finely focused electron beam to produce nanometer-scale images of surfaces, with resolutions down to sub-nanometer levels. | Marine Biotechnolgy | MBT-Chittedu | 51139769 | https://www.jeol.com |  | Imaging | dharani.niot@gov.in
Microbial Phenotypic Microarray system |  | NIOT-Chennai | Biolog Inc | BIOLOG GEN III Microstation System |  | Internal Funding | Institution Funding (Self Supported) | The Microbial Identification Test Panel (GEN III Microplate) uses 94 unique biochemical tests to profile and identify a broad range of gram-negative and gram-positive bacteria. The test panel provides a “Phenotypic Fingerprint” of the microorganism that is used to identify it at the species or strain level | Marine Biotechnolgy | MBT - Chennai | 3246867.8 | https://www.biolog.com |  | Characterization | dharani.niot@gov.in
Fully automated multicapillary fluorescence based Sanger DNA sequencer and fragment analyser |  | NIOT-Chennai | Thermo Fisher Scientific | SeqStudio8 flex System |  | Internal Funding | Institution Funding (Self Supported) | The Applied Biosystems SeqStudio 8 Flex Genetic Analyzer offers design improvements and technological advances to the capillary electrophoresis (CE) workflow. It delivers gold-standard Sanger sequencing and fragment analysis data quality, ideal for Microbial identification | Marine Biotechnolgy | MBT - Chennai | 9592765.2 | https://www.thermofisher.com |  | Characterization | dharani.niot@gov.in
Echosounder and Accessories - CEESCOPE |  | NIOT | CEE HydroSystems | CEESCOPE | 2121401CSR | Internal Funding | Institution Funding (Self Supported) | Portable hydrographic surveying system | Coastal and Environmental Engineering | Oceanography store | 2635425 |  |  | Hydrographic surveying system | phani.niot@gov.in
Acoustic Doppler Current Profiler |  | NIOT | Teledyne Marine | S20 | 576 | Internal Funding | Institution Funding (Self Supported) | Used to measure and record data on water velocity, direction, and waves in coastal or shallow water applications. | Coastal and Environmental Engineering | Oceanography store | 3980000 |  |  | Self Conained and Real Time Modes | phani.niot@gov.in
Acoustic Doppler Current Profiler |  | NIOT | Teledyne Marine | S20 | 578 | Internal Funding | Institution Funding (Self Supported) | Used to measure and record data on water velocity, direction, and waves in coastal or shallow water applications. | Coastal and Environmental Engineering | Oceanography store | 3980000 |  |  | Self Conained and Real Time Modes | phani.niot@gov.in
Acoustic Doppler Current Profiler |  | NIOT | Teledyne Marine | S20 | 579 | Internal Funding | Institution Funding (Self Supported) | Used to measure and record data on water velocity, direction, and waves in coastal or shallow water applications. | Coastal and Environmental Engineering | Oceanography store | 3980000 |  |  | Self Conained and Real Time Modes | phani.niot@gov.in
Acoustic Doppler Current Profiler |  | NIOT | Teledyne Marine | S20 | 580 | Internal Funding | Institution Funding (Self Supported) | Used to measure and record data on water velocity, direction, and waves in coastal or shallow water applications. | Coastal and Environmental Engineering | Oceanography store | 3980000 |  |  | Self Conained and Real Time Modes | phani.niot@gov.in
Acoustic Doppler Current Profiler |  | NIOT | Teledyne Marine | S20 | 581 | Internal Funding | Institution Funding (Self Supported) | Used to measure and record data on water velocity, direction, and waves in coastal or shallow water applications. | Coastal and Environmental Engineering | Oceanography store | 3980000 |  |  | Self Conained and Real Time Modes | phani.niot@gov.in
Radar based wave gauge |  | NIOT | RADAC | WGEX5000 | 990027080 | Internal Funding | Institution Funding (Self Supported) | It is a non-contact, high-precision instrument that measures water surface elevation and wave characteristics from above the water | Coastal and Environmental Engineering | Oceanography store | 8590000 |  |  |  | phani.niot@gov.in
Unmanned Aircraft System |  | NIOT | VTOL AVIATION INDIA PRIVATE LIMITED | AARAV -ENX6MC-2 SERIES | AARAV_ENX6MC-2_016 | Internal Funding | Institution Funding (Self Supported) | It is a fixed-wing hybrid VTOL (Vertical Takeoff and Landing) mapping UAV designed for advanced aerial mapping missions | Coastal and Environmental Engineering | Oceanography store | 4751250 |  |  |  | phani.niot@gov.in
Unmanned Aircraft System |  | NIOT | VTOL AVIATION INDIA PRIVATE LIMITED | AARAV -ENX6MC-2 SERIES | AARAV_ENX6MC-2_017 | Internal Funding | Institution Funding (Self Supported) | It is a fixed-wing hybrid VTOL (Vertical Takeoff and Landing) mapping UAV designed for advanced aerial mapping missions | Coastal and Environmental Engineering | Mangrol, Gujarat | 4751250 |  |  |  | phani.niot@gov.in
Sonar Interface Unit |  | NIOT | ASB SYSTEMS PVT. LTD | 3DSS-SIU(3DSSTM-iDX Sonar Interface Unit | A02_0161 | Internal Funding | Institution Funding (Self Supported) | The 3DSS-iDX sonar system itself is a compact, high-resolution underwater acoustic sensor that combines: 3D side scan imaging 2D side scan imaging Bathymetric (depth) measurements | Coastal and Environmental Engineering | Mangrol, Gujarat | 8459000 |  |  |  | phani.niot@gov.in
Integrated Side Scan and Sub-bottom profiler system |  | NIOT | EdgeTech | DSS 2000 | ETN56594 | Internal Funding | Institution Funding (Self Supported) | EdgeTech’s combined side scan sonar and sub-bottom profiler systems are integrated, deep-water, or shallow-water towing solutions that use proprietary Full Spectrum CHIRP technology for high-resolution imaging and seabed mapping. | Coastal and Environmental Engineering | Geo Store | 6748750 |  |  |  | phani.niot@gov.in
Data Acquistion system (Gps based Wave Rider Buoy) |  | NIOT | Datawell BV | DWR-G | 46027 | Internal Funding | Institution Funding (Self Supported) | It is a high-precision spherical oceanographic instrument that measures wave height and direction using a single, stand-alone GPS receiver. It offers cm-precision for wave periods up to 100 seconds, requiring no calibration, and utilizes HF transmitter, Iridium, or Argos for real-time, data transmission, along with internal logging and water temperature measurement. | Coastal and Environmental Engineering | Geo Store | 2813806 |  |  |  | phani.niot@gov.in

## Worksheet 1 (hidden)
NEHU Internal Funds
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Internal Resource Generation
SRIC Development Fund
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Vinayaka Missions Research Foundation
NITTTR Bhopal
ICAR-CMFRI
Ministry of Textiles
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
DBT, Govt. of India
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
Minister of Labour and Employment
Central Water Commission CWC
National Mineral Exploration and Development Trust
CSIR, Govt. of India
DST, Govt. of India
ICFRE