## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Equipment Description | Department Name* | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Alert to be sent (Email id)*
Impedance Analyzer |  | NIOT | KeySight | Keysight E4990A | MY54504449 | Others | Institution Funding (Self Supported) | The Keysight (formerly Agilent) E4990A is a high-performance Impedance Analyzer widely used in electronic component, semiconductor device, and materials characterization. | Underwater Acoustics | Acoustic Test Facility | 3699422 |  |  | Characterization | malarkodi.niot@gov.in
Hydrophone Field Calibrator |  | NIOT | GeoSpectrum Technologies Inc | M351-100 | J001503 | Others | Institution Funding (Self Supported) | Hydrophone Field Calibrator is a portable device used to quickly verify and calibrate hydrophone sensitivity/response in the field, ensuring accurate underwater acoustic measurements. | Underwater Acoustics | Acoustic Test Facility | 1947000 |  |  | Characterization | sanjana.niot@gov.in
Deepwater Hydrophones |  | NIOT | Neptune Sonar | D/70/H | 51872, 51873, 51874, 51875, 51876, 51877 | Others | Institution Funding (Self Supported) | Neptune SONAR Deepwater Hydrophone is an underwater acoustic sensor used to detect and record ambient noise and sonar signals in deep-sea environments for oceanographic and underwater monitoring applications. | Underwater Acoustics |  | 2780313.64 |  |  | analytical measurement | sanjana.niot@gov.in
Low frequency Hydrophone calibration setup |  | NIOT | Bruel & Kjaer | 9735-W-61 | 3160105606 | Others | Institution Funding (Self Supported) | Hydrophone calibration services for the parameter receiving sensitivity ranging from 100 Hz to 1 KHz. | Underwater Acoustics | Acoustic Test Facility | 5000000 |  |  | Research Infrastructure | malarkodi.niot@gov.in
Echosounder and Accessories - CEESCOPE |  | NIOT | CEE HydroSystems | CEESCOPE | 2121401CSR | Others | Institution Funding (Self Supported) | Portable hydrographic surveying system | Coastal and Environmental Engineering | Oceanography store | 2635425 |  |  | Hydrographic surveying system | arunakumar.niot@gov.in
Acoustic Doppler Current Profiler |  | NIOT | Teledyne Marine | S20 | 576 | Others | Institution Funding (Self Supported) | Used to measure and record data on water velocity, direction, and waves in coastal or shallow water applications. | Coastal and Environmental Engineering | Oceanography store | 3980000 |  |  | Self Conained and Real Time Modes | arunakumar.niot@gov.in
Acoustic Doppler Current Profiler |  | NIOT | Teledyne Marine | S20 | 578 | Others | Institution Funding (Self Supported) | Used to measure and record data on water velocity, direction, and waves in coastal or shallow water applications. | Coastal and Environmental Engineering | Oceanography store | 3980000 |  |  | Self Conained and Real Time Modes | arunakumar.niot@gov.in
Acoustic Doppler Current Profiler |  | NIOT | Teledyne Marine | S20 | 579 | Others | Institution Funding (Self Supported) | Used to measure and record data on water velocity, direction, and waves in coastal or shallow water applications. | Coastal and Environmental Engineering | Oceanography store | 3980000 |  |  | Self Conained and Real Time Modes | arunakumar.niot@gov.in
Acoustic Doppler Current Profiler |  | NIOT | Teledyne Marine | S20 | 580 | Others | Institution Funding (Self Supported) | Used to measure and record data on water velocity, direction, and waves in coastal or shallow water applications. | Coastal and Environmental Engineering | Oceanography store | 3980000 |  |  | Self Conained and Real Time Modes | arunakumar.niot@gov.in
Acoustic Doppler Current Profiler |  | NIOT | Teledyne Marine | S20 | 581 | Others | Institution Funding (Self Supported) | Used to measure and record data on water velocity, direction, and waves in coastal or shallow water applications. | Coastal and Environmental Engineering | Oceanography store | 3980000 |  |  | Self Conained and Real Time Modes | arunakumar.niot@gov.in
Radar based wave gauge |  | NIOT | RADAC | WGEX5000 | 990027080 | Others | Institution Funding (Self Supported) | It is a non-contact, high-precision instrument that measures water surface elevation and wave characteristics from above the water | Coastal and Environmental Engineering | Oceanography store | 8590000 |  |  | Characterization | arunakumar.niot@gov.in
Unmanned Aircraft System |  | NIOT | VTOL AVIATION INDIA PRIVATE LIMITED | AARAV -ENX6MC-2 SERIES | AARAV_ENX6MC-2_016 | Others | Institution Funding (Self Supported) | It is a fixed-wing hybrid VTOL (Vertical Takeoff and Landing) mapping UAV designed for advanced aerial mapping missions | Coastal and Environmental Engineering | Oceanography store | 4751250 |  |  | Characterization | arunakumar.niot@gov.in
Unmanned Aircraft System |  | NIOT | VTOL AVIATION INDIA PRIVATE LIMITED | AARAV -ENX6MC-2 SERIES | AARAV_ENX6MC-2_017 | Others | Institution Funding (Self Supported) | It is a fixed-wing hybrid VTOL (Vertical Takeoff and Landing) mapping UAV designed for advanced aerial mapping missions | Coastal and Environmental Engineering | Mangrol, Gujarat | 4751250 |  |  | Characterization | arunakumar.niot@gov.in
Sonar Interface Unit |  | NIOT | ASB SYSTEMS PVT. LTD | 3DSS-SIU(3DSSTM-iDX Sonar Interface Unit | A02_0161 | Others | Institution Funding (Self Supported) | The 3DSS-iDX sonar system itself is a compact, high-resolution underwater acoustic sensor that combines: 3D side scan imaging 2D side scan imaging Bathymetric (depth) measurements | Coastal and Environmental Engineering | Mangrol, Gujarat | 8459000 |  |  | Characterization | arunakumar.niot@gov.in
Integrated Side Scan and Sub-bottom profiler system |  | NIOT | EdgeTech | DSS 2000 | ETN56594 | Others | Institution Funding (Self Supported) | EdgeTech’s combined side scan sonar and sub-bottom profiler systems are integrated, deep-water, or shallow-water towing solutions that use proprietary Full Spectrum CHIRP technology for high-resolution imaging and seabed mapping. | Coastal and Environmental Engineering | Geo Store | 6748750 |  |  | Characterization | arunakumar.niot@gov.in
Data Acquistion system (Gps based Wave Rider Buoy) |  | NIOT | Datawell BV | DWR-G | 46027 | Others | Institution Funding (Self Supported) | It is a high-precision spherical oceanographic instrument that measures wave height and direction using a single, stand-alone GPS receiver. It offers cm-precision for wave periods up to 100 seconds, requiring no calibration, and utilizes HF transmitter, Iridium, or Argos for real-time, data transmission, along with internal logging and water temperature measurement. | Coastal and Environmental Engineering | Geo Store | 2813806 |  |  | Characterization | arunakumar.niot@gov.in

## Worksheet 1 (hidden)
NEHU Internal Funds
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Internal Resource Generation
SRIC Development Fund
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Vinayaka Missions Research Foundation
NITTTR Bhopal
ICAR-CMFRI
Ministry of Textiles
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
DBT, Govt. of India
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
Minister of Labour and Employment
Central Water Commission CWC
National Mineral Exploration and Development Trust
CSIR, Govt. of India
DST, Govt. of India
ICFRE