## Sheet1
S.N. | Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No. | Funding Agency Type | Funding Agency Details | Project Tittle | Equipment Description | Department Name | Facility Name | Rate/Hr | Refernce Website | Equipment Status | Category
1 | Konimeter |  | Mining Engg. Department | ZEISS | K-10 | 745477 | Government | Plan Grant |  | Dust Sampling | Mining Engg. | Mine Enviromental Lab | 1000 |  | UP | Cherecterization
2 | Biram Type air meter with 4 dials (ANEMO Mater) |  | Mining Engg. Department | Lawrence and Mayo |  | 243708 | Government | Plan Grant |  | Air velocity measurement | Mining Engg. | Mine Enviromental Lab | 1000 |  | UP | Testing
3 | Gravimeteric dust sampler KIT |  | Mining Engg. Department | MSA Instruments | R-24-2 | SN-456241 | Government | Plan Grant |  | Dust Sampling | Mining Engg. | Mine Enviromental Lab | 5000 |  | UP | Cherecterization
4 | Inflamability Index apparatus |  | Mining Engg. Department | SIRTD, Sindri |  |  | Government | Plan Grant |  | To Determine Inflamibility Index of Coal | Mining Engg. | Mine Enviromental Lab | 1000 |  | UP | Analytical
5 | Sound level Meter |  | Mining Engg. Department | Metrosonic Inc. | S/N/3731 | SN-3731 | Government | Plan Grant |  | To measure the souund level prssure | Mining Engg. | Mine Enviromental Lab | 10000 |  | UP | Testing
6 | Projector for Konimter |  | Mining Engg. Department | ZEISS |  |  | Government | Plan Grant |  | Analysis of dust collected by konimeter | Mining Engg. | Mine Enviromental Lab | 1000 |  | UP | Cherecterization
7 | Respirable Dust Sampler | RDS | Mining Engg. Department | Enviortech Inst. Pvt. Ltd. | APM 451 | SN-07DTG91 | Government | Plan Grant |  | collection of respirable dust sample | Mining Engg. | Mine Enviromental Lab | 2000 |  | UP | Cherecterization
8 | High Volume Dust Sampler | HVDS | Mining Engg. Department | Vayubodhan Upkaran Pvt Ltd. | APM-415 | SN-9DTA94 | Government | Plan Grant |  | collection of air born dust sample | Mining Engg. | Mine Enviromental Lab | 2000 |  | UP | Cherecterization
9 | Atomic Absorption Spectrophometer |  | Mining Engg. Department | GBC scietific | GBC-932AA | SN-A3886 | Government | Plan Grant |  | To detect the metal ions prsent in water sample | Mining Engg. | Mine Enviromental Lab | 2000 |  | UP | Cherecterization
10 | Heat Stress Monitor |  | Mining Engg. Department | Quest Technologies | 56-930 | SN-KL 710011 | Government | Plan Grant |  | To dtermine Heat stress | Mining Engg. | Mine Enviromental Lab | 20000 |  | UP | Testing
11 | GAS Cromotoghraph for mine gas analysis | GC | Mining Engg. Department | Therno Fisher Scientific | APH-Model GC700 | SN-7057/0612 | Government | Plan Grant |  | For gas analysis | Mining Engg. | Mine Enviromental Lab | 25000 |  | UP | Testing
12 | Hand held human vibration analyser |  | Mining Engg. Department | BRUEL & KJAER | 4447-A | SN-61586 | Government | Plan Grant |  | To record the vibration in human body | Mining Engg. | Mine Enviromental Lab | 2500 |  | UP | Testing
13 | X-ray Flourescernce Spectrometer (XRF) | XRF | Mining Engg. Department | Shimanzu Analytical India | EDX 7000 | SN-Q24545400759 | Government | TEQUIP-II |  | For elemental analysis | Mining Engg. | Mine Enviromental Lab | 35000 |  | UP | Testing
14 | Weather Monitoring System | WMS | Mining Engg. Department | Micro Metero Moniter | WM271 | SN-420DTJ2018 | Government | TEQUIP-III |  | To determine whether parameters | Mining Engg. | Mine Enviromental Lab | 20000 |  | UP | Cherecterization
15 | FLAC 3D Software version 2.1 Full Linces on CD | FLAC 3D | Mining Engg. Department | ITASCA | version 2.1 |  | Government |  |  | Numeriacl modelling software | Mining Engg. | Mine System Lab | 25000 |  | UP
16 | GEMCOM surpac software | GEMCOM | Mining Engg. Department | GEMCOM |  |  | Government | Plan Grant |  | Software for mine design | Mining Engg. | Mine System Lab | 15000 |  | UP
17 | ITASCA Software FLAC 2.0D |  | Mining Engg. Department | ITASCA | version 7-D |  | Government | Plan Grant |  | Numeriacl modelling software | Mining Engg. | Mine System Lab | 40000 |  | UP
18 | UDEC Software | UDEC | Mining Engg. Department | ITASCA | version 6.0 |  | Government | Plan Grant |  | Numeriacl modelling software | Mining Engg. | Mine System Lab | 20000 |  | UP
19 | Rock Science Software (Academic Bundle) | RS | Mining Engg. Department | RS Incorporation , Canada |  |  | Government | Plan Grant |  | Strata Stability Analysis | Mining Engg. | Mine System Lab | 5000 |  | UP
20 | Triaxial Testing Appratus |  | Mining Engg. Department | HEICO | HR-75.5 |  | Government | Plan Grant |  | To determine the angle of friction and cohension | Mining Engg. | Rock Mechanics Lab | 2500 |  | UP | Testing
21 | Ultrasound Concrete Tester |  | Mining Engg. Department | Telesonix | UX-4600 | SN-1207137 | Government | TEQUIP-II |  | non districtive testing of rock | Mining Engg. | Rock Mechanics Lab | 10000 |  | UP | Testing
22 | Universal Testing Machine . | UTM | Mining Engg. Department | UTM | AMT-100 (load 1000KN) | SN-01311 | Government | Plan Grant |  | To determine compressive / tensile strength of rock | Mining Engg. | Rock Mechanics Lab | 25000 |  | UP | Testing
23 | Compression Testing Machine | CTM | Mining Engg. Department | Contincntal Scientific Sandicat New Delhi. |  |  | Government | Plan Grant |  | To determine compressive strength of rock | Mining Engg. | Rock Mechanics Lab | 1000 |  | UP | Testing
24 | Laboratory Jaw Crusher |  | Mining Engg. Department | Universal Traders |  | SN-7533 | Government | Plan Grant |  | For crushing of rocks | Mining Engg. | Rock Mechanics Lab | 1000 |  | UP | Testing
25 | Protodyknove Index with Volumommeter |  | Mining Engg. Department | Madhuri Enterprisrs. |  |  | Government | Plan Grant |  | Index property of rock | Mining Engg. | Rock Mechanics Lab | 1000 |  | UP | Testing
26 | Slake Durability Apparatus |  | Mining Engg. Department | Malik Engg. Works. |  |  | Government | Plan Grant |  | To dtermine slake durability of rocks | Mining Engg. | Rock Mechanics Lab | 1000 |  | UP | Testing
27 | Total Survey Station |  | Mining Engg. Department | lawrence meyo | Pentax W-821 nx | SN-891553 | Government | TEQUIP |  | To carry out survey in field | Mining Engg. | Mine Suvey & Planning lab | 100000 |  | UP
28 | Minimate Plus- 4 Channel (Blasting Seismograph) + software with Accessories |  | Mining Engg. Department | Instalel, Cananda | Type- P III | SN-BE9846 | Government | Plan Grant |  | To measure the blast vibrations | Mining Engg. | Rock Blasting & Excavation lab | 10000 |  | UP | Testing
29 | FRAGALYST 2.0 Software along with accessories |  | Mining Engg. Department | CMRI, Nagpur |  |  | Government | MODROB |  | For analysis of blast data | Mining Engg. | Rock Blasting & Excavation lab | 5000 |  | UP | Cherecterization
30 | Minimate Plus- 8 channel (Blasting Seismograph) + software with Accessories |  | Mining Engg. Department | Instalel, Cananda | Type- P III | SN-BE19796 | Government | TEQUIP II |  | To measure the blast vibrations | Mining Engg. | Rock Blasting & Excavation lab | 25000 |  | UP | Testing
31 | VOD meter (Handitrap) |  | Mining Engg. Department | MREL Kingston, Canada |  | SN-124 | Government | TEQUIP II |  | To measure the VOD | Mining Engg. | Rock Blasting & Excavation lab | 20000 |  | UP | Testing
32 | Vibration Analysis with acessories |  | Mining Engg. Department | Mecord system Service ltd. | VA-10 | SN-10882729 | Government | Plan Grant |  | To analysis the vibration data | Mining Engg. | Mine Machinery Lab | 20000 |  | UP | Testing
33 | Digital Drilling Tool dynometer |  | Mining Engg. Department | Industrial Engineering | IEICOS-651 | SN-36 | Government | Plan Grant |  | To determine the drillability of rocks | Mining Engg. | Mine Machinery Lab | 5000 |  | UP | Testing