## Sheet1
Name of Equipment | Make | Serial No. | Cost | Supplier | Service Provider | Location | Supplier Email id | Service Provider Email id
UNIVERSAL TESTING MACHINE | LLOYD | 10017 | 265882 | LLOYD | LLOYD | TESTING Lab | service@hemetek.com | service@hemetek.com
HDT/VST (ATS-FAR) | ATS-FAAR MODEL-: MP/3 | xxx | 327419 | Techscience Services Pvt. Ltd. | Techscience Services Pvt. Ltd. | TESTING Lab | science.tech@elnet.ems.vsnl.net.in | science.tech@elnet.ems.vsnl.net.in
NOTCH CUTTER | CEAST | 16569 | XXX | CEAST | CEAST | TESTING Lab | aftersalestech@ceast.com | aftersalestech@ceast.com
IZOD CHARPY IMPACT TESTER | ATS-FAR | xxx | XXX | Techscience Services Pvt. Ltd. | Techscience Services Pvt. Ltd. | TESTING Lab | science.tech@elnet.ems.vsnl.net.in | science.tech@elnet.ems.vsnl.net.in
WEIGHING BALANCE (METTLER TOLEDO) | METTLER TOLEDO MODEL-: AL-204 | 1225330379 | 145000 | METTLER TOLEDO | METTLER TOLEDO | TESTING Lab
SURFACE AND VOLUME RESISTIVITY | CEAST | 5911 | 24000 | CEAST | CEAST | TESTING Lab | aftersalestech@ceast.com | aftersalestech@ceast.com
MELT FLOW INDEX (LLOYD) | LLOYD | 117 | 5,80,871 | LLOYD | LLOYD | TESTING Lab | service@hemetek.com | service@hemetek.com
HARDNESS TESTER SHORE-A | TESTING MACHINES MODEL-: SHR-A-GOLD | XXX | 6500 | TESTING MACHINES | TESTING MACHINES | TESTING Lab | amritsar@cipet.gov.in | amritsar@cipet.gov.in
HARDNESS TESTER SHORE-D | HIROSHIMA | XXX | 4500 | HIROSHIMA | HIROSHIMA | TESTING Lab | info@pacorr.com | info@pacorr.com
ROCHWELL HARDNESS TESTER | PSI SALES MODEL-: TR-35 | 35 | 11117 | PSI SALES | PSI SALES | TESTING Lab | psi_sales@vsnl.net | psi_sales@vsnl.net
IMPACT TESTER (PIPE) | ELMECH | xxx | XXX | ELMECH | ELMECH | TESTING Lab | sales@elmechpneumatic.com | sales@elmechpneumatic.com
MELTING POINT APPRATUS | CEAST | 16581 | 81800 | CEAST | CEAST | TESTING Lab | aftersalestech@ceast.com | aftersalestech@ceast.com
TENSILE TESTER (DUTRON) | DUTRON | 2047/508 | 21130 | DUTRON | DUTRON | TESTING Lab | dutron_produts@rediffmail.com | dutron_produts@rediffmail.com
CONTOUR CUTTER | CEAST | xxx | 657809 | CEAST | CEAST | TESTING Lab | aftersalestech@ceast.com | aftersalestech@ceast.com
CARBON BLACK CONTENT | CIPET | xxx | 28000 | CIPET | CIPET | TESTING Lab | amritsar@cipet.gov.in | amritsar@cipet.gov.in
HOT AIR OVEN | CIPET | 103 | 78450 | CIPET | CIPET | TESTING Lab | amritsar@cipet.gov.in | amritsar@cipet.gov.in
ENV. CLIMAATIC CHAMBER | KASCO INDUSTRIES | 3A/191P2K | 411757 | KASCO INDUSTRIES | KASCO INDUSTRIES | TESTING Lab | service@aki-india.com | service@aki-india.com
TABER ABRSION TESTER | ATS FAAR | 20001248 | 391736 | Techscience Services Pvt. Ltd. | Techscience Services Pvt. Ltd. | TESTING Lab | science.tech@elnet.ems.vsnl.net.in | science.tech@elnet.ems.vsnl.net.in
HOT AIR OVEN | DEEPAK POLYPLAST | XXX | 84895 | DEEPAK POLYPLAST | DEEPAK POLYPLAST | TESTING Lab | exports@deepakpolyplast.com | exports@deepakpolyplast.com
IZOD CHARPY IMPACT TESTER (CEAST) | CEAST | 16588 | XXX | CEAST | CEAST | TESTING Lab | aftersalestech@ceast.com | aftersalestech@ceast.com
CARBON BLACK CONTENT (ELMECH) | ELMECH | 3421 | 45207 | ELMECH | ELMECH | TESTING Lab | sales@elmechpneumatic.com | sales@elmechpneumatic.com
HOT OIL BATH (ELMECH) | ELMECH | 3384 | 73329 | ELMECH | ELMECH | TESTING Lab | sales@elmechpneumatic.com | sales@elmechpneumatic.com
HYDROSTATIC PRESSURE MACHINE | ELMECH | XXX | 136000 | ELMECH | ELMECH | TESTING Lab | sales@elmechpneumatic.com | sales@elmechpneumatic.com
MUFFLE FURNANCE (DEEPAK) | DEEPAK POLYPLAST | XXX | 37425 | DEEPAK POLYPLAST | DEEPAK POLYPLAST | TESTING Lab | exports@deepakpolyplast.com | exports@deepakpolyplast.com
UNIVERSAL PROJECTER MICROSCOPE | MICRO MEASURES & INSTRUMENTS | XXX | 38925 | MICRO MEASURES & INSTRUMENTS | MICRO MEASURES & INSTRUMENTS | TESTING Lab | sales@almicroinstruments.com | sales@almicroinstruments.com
Gas chromatography with UPS 5 KV | THERMOFISHER | 718102682 | 41,93,624 | THERMOFISHER | THERMOFISHER | TESTING Lab | shridhar.gawade@thermofisher.com | shridhar.gawade@thermofisher.com
QUV WHATHEROMETER | Q LAB | 10007177SPRAY | 6,10,813 | Venture Instrumentation Technogies | Venture Instrumentation Technogies | TESTING Lab | info@venturetechnologies.net | info@venturetechnologies.net
HDT/VST (GOTECH) | GOTECH | TC0901842 | 16,250USD | GOTECH | GOTECH | TESTING Lab | mail@chromlineindia.com | mail@chromlineindia.com
DENSITY GRADIENT MACHINE | DEESHA IMPEX | XXX | 72140 | DEESHA IMPEX | DEESHA IMPEX | TESTING Lab | biz@deeshaimpex.com | biz@deeshaimpex.com
GLOSS METER | S.C DEY | XXX | 38250 | S.C DEY | S.C DEY | TESTING Lab | scdey@cal3.vsnl.net.in | scdey@cal3.vsnl.net.in
HAZE METER | S.C DEY | XXX | 78030 | S.C DEY | S.C DEY | TESTING Lab | scdey@cal3.vsnl.net.in | scdey@cal3.vsnl.net.in
TEAR TESTER (DEEPAK) | DEEPAK POLYPLAST | DPPL/11/13/629 | 65803 | DEEPAK POLYPLAST | DEEPAK POLYPLAST | TESTING Lab | exports@deepakpolyplast.com | exports@deepakpolyplast.com
WIEGHING BALANCE (5KG) A-ONE | A-ONE | XXX | 17818 | A-ONE | A-ONE | TESTING Lab | a_onescales@yahoo.co.in | a_onescales@yahoo.co.in
DEEP FREEZER | VOLTAS | CVF500BD | 23000 | VOLTAS | VOLTAS | TESTING Lab | AKSHAYTRADERS94@GMAIL.COM | AKSHAYTRADERS94@GMAIL.COM
SLIP TESTER | ELMECH | XXX | 43790.5 | ELMECH | ELMECH | TESTING Lab | sales@elmechpneumatic.com | sales@elmechpneumatic.com
IZOD-CHARPY IMPACT TESTER (TINIUS OLSEN) | TINIUS OLESON | 253 | 20,344USD | Aimil Ltd | Aimil Ltd | TESTING Lab | servicedel@aimil.com | servicedel@aimil.com
UNIVERSAL TESTING MACHINE (PSI SALES) | PSI SALES | SSUTM1205 | 308347 | PSI SALES | PSI SALES | TESTING Lab | psi_sales@vsnl.net | psi_sales@vsnl.net
MELT FLOW INDEX (DEEPAK) | DEEPAK POLYPLAST | DPPL/12-13/341 | 46818 | Deepak Polyplast Ahmedabad | Deepak Polyplast Ahmedabad | TESTING Lab | exports@deepkpolyplast.com | exports@deepkpolyplast.com
HOT AND COLD WATER BATH | KAISER MACHINERIES | XXX | 126684 | KAISER MACHINERIES | KAISER MACHINERIES | TESTING Lab | expmkt@kaisertechnic.com | expmkt@kaisertechnic.com
VISCOMETER BATH | ZENITH | XXX | XXX | ZENITH | ZENITH | TESTING Lab | zenithglasswares@gmail.com | zenithglasswares@gmail.com
DART IMPACT TESTER (KAISER) | KAISER MACHINERIES | XXX | 66970 | KAISER MACHINERIES | KAISER MACHINERIES | TESTING Lab | expmkt@kaisertechnic.com | expmkt@kaisertechnic.com
OPACITY TESTER | ELMECH | XXX | 54000 | ELMECH | ELMECH | TESTING Lab | sales@elmechpneumatic.com | sales@elmechpneumatic.com
SMALL WATER BATH | IMAK | XXX |  | IMAK | IMAK | TESTING Lab
MUFFLE FURNANCE (B.P INDUSTRIES) | B.P INDUSTRIES | F-03 | 47272 | B.P INDUSTRIES | B.P INDUSTRIES | TESTING Lab | BPIND_AMBASSADOR@HOTMAIL.COM | BPIND_AMBASSADOR@HOTMAIL.COM
CONDITIONING CHAMBER | HEXAPLAST | 14/72 | 93711 | HEXAPLAST | HEXAPLAST | TESTING Lab | info@hexaplastindia.com | info@hexaplastindia.com
HYDROSTATIC PRESSURE TESTER | ELMECH | 3434 | 144000 | ELMECH | ELMECH | TESTING Lab | sales@elmechpneumatic.com | sales@elmechpneumatic.com
IMPACT TESTER (CONDUIT PIPE) | DEEPAK POLYPLAST | XXX | 20500 | DEEPAK POLYPLAST | DEEPAK POLYPLAST | TESTING Lab | exports@deepakpolyplast.com | exports@deepakpolyplast.com
RESISTANCE TO HEAT (CONDUIT) | DEEPAK POLYPLAST | XXX | 132500 | DEEPAK POLYPLAST | DEEPAK POLYPLAST | TESTING Lab | exports@deepakpolyplast.com | exports@deepakpolyplast.com
HV TESTER | DEEPAK POLYPLAST | XXX | XXX | DEEPAK POLYPLAST | DEEPAK POLYPLAST | TESTING Lab | exports@deepakpolyplast.com | exports@deepakpolyplast.com
OHM METER | DEEPAK POLYPLAST | XXX | 298795 | DEEPAK POLYPLAST | DEEPAK POLYPLAST | TESTING Lab | exports@deepakpolyplast.com | exports@deepakpolyplast.com
COLLAPSE TESTER | DEEPAK POLYPLAST | XXX | 17500 | DEEPAK POLYPLAST | DEEPAK POLYPLAST | TESTING Lab | exports@deepakpolyplast.com | exports@deepakpolyplast.com
UTM (TINIUS OLSEN) | TINIUS OLSEN | 10075 | 24,23,377 | TINIUS OLSEN | Aimil Ltd | TESTING Lab | servivedel@aimil.com | servivedel@aimil.com
UTM (DAK SYSTEM) | DAK SYSTEM | 462-16-17 | 2027768 | DAK SYSTEM | DAK SYSTEM | TESTING Lab | support@daksystem.com | support@daksystem.com
UVB WHEATHEROMETER (DEEPAK) | DEEPAK | XXX | 442085 | DEEPAK | DEEPAK | TESTING Lab | exports@deepakpolyplast.com | exports@deepakpolyplast.com
MOISTURE METER (PANOMEX) | PANOMEX | 126 | 38812 | PANOMEX | PANOMEX | TESTING Lab | sales@panomex.com | sales@panomex.com
MUFFLE FURNANCE (BP-2) | BP INDUSTRIES | F-17 | 47272 | BP INDUSTRIES | BP INDUSTRIES | TESTING Lab | BPIND_AMBASSADOR@HOTMAIL.COM | BPIND_AMBASSADOR@HOTMAIL.COM
MELTING POINT | ANALAB | 206-17/1307 | 81800 | ANALAB | ANALAB | TESTING Lab | info@analab.co.in | info@analab.co.in
AUTO KARL FISHER TITRATION | LABTRONICS | 1277 | 18500 | LABTRONICS | LABTRONICS | TESTING Lab | info@labtronicsindia.com | info@labtronicsindia.com
DIGITAL POTENTIOMETER | LABTRONICS | XXX | 4997 | LABTRONICS | LABTRONICS | TESTING Lab | info@labtronicsindia.com | info@labtronicsindia.com
RESISTANCE TO COMBINED CYCLING TEMP.(GRAVELLED BOX) | ADVANCE ENGINEERING | XXX | 237744 | ADVANCE ENGINEERING | ADVANCE ENGINEERING | TESTING Lab | advance.bpl@gmail.com | advance.bpl@gmail.com
COMPRESSIVE LOADING MACHINE | DASS INDUSTRIES | XXX | 59000 | DASS INDUSTRIES | DASS INDUSTRIES | TESTING Lab | marwaha_satish@yahoo.co.in | marwaha_satish@yahoo.co.in
DEFLECTION DRO UNIT | INTELLECTUAL | XXX | 53100 | INTELLECTUAL | INTELLECTUAL | TESTING Lab | contact@intellectualequipments.com | contact@intellectualequipments.com
PIPE IMPACT TESTER NEW | DASS INDUSTRIES | XXX |  | DASS INDUSTRIES | DASS INDUSTRIES | TESTING Lab | marwaha_satish@yahoo.co.in | marwaha_satish@yahoo.co.in
DSC WITH UPS (NEW) | PERKIN ELMER | 53461901162 | 29,95,147 | PERKIN ELMER | PERKIN ELMER | TESTING Lab | india.servicesupport@perkinelmer.com | india.servicesupport@perkinelmer.com
QUV WHATHEROMETER | Q LAB | 210790243SE | 16,29,483 | Venture Instrumentation Technogies | Venture Instrumentation Technogies | TESTING Lab | info@venturetechnologies.net | info@venturetechnologies.net
QUV WHATHEROMETER | Q LAB | 2107801935SE | 16,9,483 | Venture Instrumentation Technogies | Venture Instrumentation Technogies | TESTING Lab | info@venturetechnologies.net | info@venturetechnologies.net
HYDROSTATIC PRESSURE MACHINE | ELMECH | 4304 | 8,12,430 | ELMECH | ELMECH | TESTING Lab | sales@elmechpneumatic.com | sales@elmechpneumatic.com