## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
High Speed Particle Image Velocimetry | CF-HS-PIV | PIV-PLIF Central Facility, F3-shed, IIT Bombay, Powai, Mumbai-400076 | Northrop Grumman | YLF50-1000-NG | YLF50-1000-NG | Internal | DST and Institution | High Speed Particle Image Velocimetry |  | Centre for Sophisticated Research Facilities | High Speed Particle Image Velocimetry | 44501800 | https://instruments.iitb.ac.in/high-speed-particle-image-velocimetry | Working | Service |  |  |  | M/S TSI INSTRUMENTS INDIA PVT LTD | answer@TIS.com | M/S TSI INSTRUMENTS INDIA PVT LTD | answer@TIS.com | hipiv@iitb.ac.in
Field Sweep Nuclear Magnetic Resonance | FSNMR | Room no.:014,Ground floor, Physics department | Cryomagnetics,TecMag | Cryo-free 9T magnet with VTI | 79 | External | Ministry of Education | Field Sweep Nuclear Magnetic Resonance | A cryofree, 9 Tesla NMR magnet (Cryomagnetics USA) with field sweep capability + an NMR spectrometer (Tecmag USA) for solid samples together with a cryofree variable temperature insert (1.6 K to 300 K) has been installed as a central facility. This spectrometer is suitable for NMR measurements where a large linewidth is expected (low resolution). | Centre for Sophisticated Research Facilities | Field Sweep Nuclear Magnetic Resonance | 55982576 | https://instruments.iitb.ac.in/field-sweep-nuclear-magnetic-resonance | Working | Spectroscopy and Spectrometry |  |  |  | cryomagnetics | sales@cryomagnetics.com | cryomagnetics | sales@cryomagnetics.com | a.v.mahajan@iitb.ac.in
Environmental Scanning Electron Microscope facility | ESEM | ESEM Lab, Ground Floor,CRNTS/SAIF, IIT Bombay | FEI | QUANTA 200 | D7548 | Internal | Institution | Environmental Scanning Electron Microscope facility (ESEM) | ESEM MODEL QUANTA 200 WITH EDS SDDF DET MODEL:ELEMENT C5MODES: LOW VACUUM, HIGH VACUUM , ESEM | Centre for Sophisticated Research Facilities | Environmental Scanning Electron Microscope facility (ESEM) | 10750000 | https://instruments.iitb.ac.in/environmental-scanning-electron-microscope-facility-esem | Working | Microscopy and Imaging |  |  |  | Thermofisher | msdemservicecssupport.in@thermofisher.com | Thermofisher | msdemservicecssupport.in@thermofisher.com | esem@iitb.ac.in
Cryogenic Transmission Electron Microscopy | CryoEM | Lab no. 310, Cryogenic Transmission Electron Microscopy Facility (120kV & 300kV CryoEM), Ground Floor, SAIF/CRNTS Department, IIT Bombay. | Thermo Fischer Scientific | Titan Krios G4 300kV | 1402974 | Other | DST and Institution | Cryogenic Transmission Electron Microscopy | Our facility features a 300 kV Thermo Fisher Krios G4 cryo-electron microscope for high-resolution cryo-EM analysis, equipped with a BioContinuum GATAN K3 detector and an Amtek-Gatan energy filter. This setup supports both single-particle analysis and tomography, with all necessary accessories for preparing frozen-hydrated samples. Additionally, we have a TalosL120C screening microscope and sample preparation tools such as the Vitrobot, Cryo-Ultramicrotome, and High-Pressure Freezer, ensuring efficient sample handling. This advanced infrastructure enables detailed imaging of biomolecules like proteins, viruses, and nanoparticles, providing valuable insights into cellular structures. | Centre for Sophisticated Research Facilities | Cryogenic Transmission Electron Microscopy | 400000000 | https://instruments.iitb.ac.in/cryogenic-transmission-electron-microscopy | Working | Microscopy and Imaging |  |  |  | Thermo Fisher Scientific | customer.reach@thermofisher.com | Thermo Fisher Scientific | customer.reach@thermofisher.com | cryoem@ircc.iitb.ac.in
Protein Crystallography Facility | XRD | Room No. 103, Ground floor, Sophisticated Analytical Instrument Facility (S.A.I.F), I.I.T. Bombay, Powai, Mumbai - 400 076. | Rigaku MicroMax-007HF | R-Axis IVplusplus | MicroMax-007HF | Internal | Institution | Protein Crystallography Facility | Our protein crystallography facility is a dedicated laboratory designed to facilitate the research and analysis of protein structures through X-ray crystallography, a leading and widely used method for determining the 3D atomic-level structures of proteins. The facility is equipped with an X-ray diffractometer and automated crystallization robots to support efficient and high-quality experimentation. | Centre for Sophisticated Research Facilities | Protein Crystallography Facility | 70000000 | https://instruments.iitb.ac.in/protein-crystallography-facility | Working | Diffraction |  |  |  | Rigaku | Info@Rigaku.com | IRTECH | service_bom@irtech.in | protxrd@iitb.ac.in
Advanced Mechanical Testing Facility | AMTF | Ground Floor:23, Mechanical Engg, Dept. | MTS Systems Corporation | Planar Biaxial System – 100kN | 10601371 | Internal | Institution | Advanced Mechanical Testing Facility |  | Centre for Sophisticated Research Facilities | Advanced Mechanical Testing Facility | 92063000 | https://instruments.iitb.ac.in/advanced-mechanical-testing-facility | Working | Material Characterisation |  |  |  | MTS Systems Corporation | info@mts.com | MTS Testing Solutions India Private Limited, Bangalore | mts.india@mts.com | amtf@iitb.ac.in
Deformation Simulation Laboratory (Gleeble 3800 Thermomechanical Simulator + Dilatometer DIL 805-AD) |  | Deformation Simulation Laboratory, Basement, Dept. of Metallurgical Engineering and Materials Science, IIT Bombay. | Dynamic Systems Inc. (DSI), USA +TA Instruments, Germany | Gleeble 3800 system + DIL805A/D | NA | External | Ministry of Steel | Deformation Simulation Laboratory (Gleeble 3800 Thermomechanical Simulator + Dilatometer DIL 805-AD) | 1. Dynamic Systems Inc. (DSI), Gleeble 3800 system, USASpecification/Features:Controlled deformation at different heating (10,0000C/s) and cooling (~6500C/s)Physical simulations for all fabrication and thermo-mechanical processing.Strain rate: 10^-3 to 100Atmosphere: Vacuum, Ambient air, Argon, Nitrogen Cooling conditions: Water Quenching, Forced Air Cooling, Coolinghttps://gleeble.com/products/gleeble-systems/gleeble-3800.html2. TA Instruments-DIL 805A/D, GermanySpecification/Features:Accurate (0.05 μm & 0.05 0C) identification of all transformationsControlled simulations for investigation of microstructural evolutionStrain rate: 10^-3 to 10^-1Atmosphere: Vacuum, Ambient air, Argon, Nitrogen, Helium Cooling conditions:Gas cooling Coolinghttps://www.tainstruments.com/dil-805ad/ | Centre for Sophisticated Research Facilities | Deformation Simulation Laboratory (Gleeble 3800 Thermomechanical Simulator + Dilatometer DIL 805-AD) | 120000000 | https://instruments.iitb.ac.in/deformation-simulation-laboratory-gleeble-3800-thermomechanical-simulator-dilatometer-dil-805-ad | Working | Mechanical Characterisation, Thermal Characterisation |  |  |  | dts | NA@na.com | NA | NA@na.com | deformation@iitb.ac.in
Fluorescence activated cell sorting / flow cytometer facility | FACS | FACS2: Biosciences and Bioengineering Department (BSBE), IIT Bombay, Powai, Mumbai – 400076 | Becton Dickinson | BD FACS Aria Fusion SORP-FACS2 | SORP | External | DST, Gov. of India | Fluorescence activated cell sorting / flow cytometer facility | FACS is a sophisticated high throughput instrument. It enables sorting of heterogeneous mixture of biological cells depending upon the specific light scattering characteristics and/or fluorescent characteristics of each cell in population. | Centre for Sophisticated Research Facilities | Fluorescence activated cell sorting / flow cytometer facility | 25400000 | https://instruments.iitb.ac.in/fluorescence-activated-cell-sorting-flow-cytometer-facility | Working | Cytometery |  |  |  | Becton Dickinson India Pvt. Ltd. | Serviceindia@bd.com | Becton Dickinson India Pvt. Ltd. | Serviceindia@bd.com | facs@iitb.ac.in,shikha1310@iitb.ac.in