## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Cryo high resolution transmission electron microscope facility | CRYO-HRTEM | Cryo-HRTEM Lab,Room number:102 A,Ground floor Chemical Engg Dept. | JEOL | NEOARM 200F | EM1710002880288 | Internal | Ministry of Education or IoE Funding | Cryo high resolution transmission electron microscope facility | This facility facilitates TEM analysis of biological as well as soft solids on cryo mode or Room temperature mode. This facility works on Cryo EM technique where biological samples are preserved in vitreous ice and imaged by EM at cryogenic temperatures. High contrast helps in imaging biological samples without staining. | Centre for Sophisticated Research Facilities | Cryo high resolution transmission electron microscope facility | 186230230 | https://instruments.iitb.ac.in/cryo-high-resolution-transmission-electron-microscope-facility | Working | Microscopy and Imaging |  |  |  | JEOL India | info@jeolindia.com | js@jeolindia.com | info@jeolindia.com | cryohrtem@iitb.ac.in
High resolution X ray diffraction system |  | Room No. 016,Ground Floor,Dept of Physics | Rigaku diffractometer | Smartlab 9 kW | BD63000467-01 | Internal | Institution | High resolution X-ray diffraction system |  | Centre for Sophisticated Research Facilities (CSIF) | High resolution X-ray diffraction system | 28341004 | https://instruments.iitb.ac.in/high-resolution-x-ray-diffraction-system | Not Working | Diffraction |  |  |  | I R Technologies Services Pvt. Ltd. | info@irtech.in | I R Technologies Services Pvt. Ltd. | info@irtech.in | hrxrd@iitb.ac.in
Multi Material 3D printer |  | Room No: G017, Ground floor Dept. Name: MEMS | Optomec | AJ5X | 100-0255 | Internal | Ministry of Education or IoE Funding | Multi Material 3D printer | Multi Material 3D printer is an additive manufacturing device that deposits fine patterns of materials onto a substrate by first atomizing an ink solution into a fine aerosol mist using an atomizer, such as ultrasonic or pneumatic. The aerosol is then transported by a carrier gas to a deposition nozzle, where it is focused into a narrow jet using a sheath gas. This focused aerosol jet is directed onto a substrate, allowing for precise, high-resolution deposition of materials. | Centre for Sophisticated Research Facilities (CSIF) | Multi Material 3D printer | 45000000 | https://instruments.iitb.ac.in/multi-material-3d-printer | Working | Fabrication and Processing |  |  |  | Optomec Inc. | support@optomec.com | Optomec | support@optomec.com | mm3dp.memsiitb@gmail.com, 204116005@iitb.ac.in
X ray diffractometer facility at Chemical Engineering | HT-XRD@Chemical | 101, Reaction engineering lab, Ground floor, Chemical Engineering | Rigaku | Rigaku SmartlabSE | BD72000651-01 | Internal | Ministry of Education or IoE Funding | X-ray diffractometer facility at Chemical Engineering | X-ray diffraction has long been the primary tool for identifying phases and determining the structures of mostly crystalline inorganic materials. It remains the most crucial material characterization technique today. With the advent of nanomaterials, XRD has been extended to measure particle size, orientation, lattice distortions, and more. Typically, XRD is the first characterization method used after synthesis to verify if the desired material has been obtained. | Centre for Sophisticated Research Facilities (CSIF) | X-ray diffractometer facility at Chemical Engineering | 11454374 | https://instruments.iitb.ac.in/x-ray-diffractometer-facility-chemical-engineering | Working | Diffraction |  |  |  | I R Technology Services Pvt Ltd | info@irtech.in | I R Technology Services Pvt Ltd | info@irtech.in | sakash@iitb.ac.in, 22d2025@iitb.ac.in
Dynamic Light Scattering and Zeta Potential | DLS | Room No 360, Chemistry Department Facility lab II, 2nd floor, Chemistry Building | Brookheavan | NanoBrook Omni | 280384 | Internal | Ministry of Education or IoE Funding | Dynamic Light Scattering and Zeta Potential@Chemistry | The instrument is used for fast, routine, sub-micron measurements of size and zeta potential. Based on the principles of Dynamic Light Scattering (DLS) for particle sizing and distribution, and based on Doppler velocimetry (electrophoretic light scattering or ELS) for zeta potential measurement, most measurements take very less time. The instrument also includes Phase Analysis Light Scattering (PALS) measurements for samples with low mobilities | Centre for Sophisticated Research Facilities (CSIF) | Dynamic Light Scattering and Zeta Potential@Chemistry | 2669004 | https://instruments.iitb.ac.in/dynamic-light-scattering-and-zeta-potentialchemistry | Working | Microscopy and Imaging |  |  |  | Brookhaven Instruments Corporation USA | imueller@bic.com | Particle Pandits | particlepandits@gmail.com | amol_ah@iitb.ac.in
Spectrofluorometer Fluorolog QM | Spectrofluorometer | Room No 360, Chemistry Department Facility lab II, 2nd floor, Chemistry Building, | Horiba | FQ5310022306A00168 | FL1039-1924-4920 | Internal | Ministry of Education or IoE Funding | Spectrofluorometer- Fluorolog-QM@Chemistry | This Spectrophotometer offers the ultimate sensitivity in fluorescence or emission profile of the complex under investigation. It is controlled by Felix software for steady state and lifetime experiments. It has wavelength range from UV to NIR and used for NIR steady state and phosphorescence lifetime detection. | Centre for Sophisticated Research Facilities (CSIF) | Spectrofluorometer- Fluorolog-QM@Chemistry | 6275869 | https://instruments.iitb.ac.in/spectrofluorometer-fluorolog-qmchemistry | Working | Microscopy and Imaging |  |  |  | Horiba Instrument | horibasales.us@horiba.com | Laser Spectra Services India Pvt Ltd | admin@laser-spectra.com | amol_ah@iitb.ac.in
UV Vis NIR Spectrophotometer | Spectrophotometer | Room No 360, Chemistry Department Facility lab II, 2nd floor, Chemistry Building | Agilent | Cary 5000 | MY2318CD03 | Internal | Ministry of Education or IoE Funding | UV-Vis-NIR-Spectrophotometer@ Chemistry | UV-Vis-NIR spectrophotometer is a high sensitivity, high resolution, low stray light instrument for transmission and absorption measurements of powder, thin films, solid and liquid samples | Centre for Sophisticated Research Facilities (CSIF) | UV-Vis-NIR-Spectrophotometer@ Chemistry | 5012298 | https://instruments.iitb.ac.in/uv-vis-nir-spectrophotometer-chemistry | Working | Microscopy and Imaging |  |  |  | Agilent Technologies | customercare.india@agilent.com | Agilent Technologies, India | customercare.india@agilent.com | amol_ah@iitb.ac.in
REACTIR |  | Room no 370, 2nd Floor, Chemistry Department | Mettler Toledo | ReactIR 702L | C151232370 | Internal | Ministry of Education or IoE Funding | REACTIR @Chemistry | It enables to monitor reaction progression in situ and in real time, providing highly specific information about kinetics, mechanism, pathways, and the influence of reaction variables on performance.Using ReactIR, directly track reactants, reagents, intermediates, products, and by-products as they change, in real time throughout the reaction. | Centre for Sophisticated Instruments and Facilities (CSIF) | REACTIR @Chemistry | 11500000 | https://instruments.iitb.ac.in/reactir-chemistry | Working | Microscopy and Imaging |  |  |  | Mettler Toledo | support@spectralabsci.com | Mettler Toledo India Pvt Ltd | support@spectralabsci.com | amol_ah@iitb.ac.in
X ray Diffraction Facility |  | Room No -G022 ,Ground Floor, Department of MEMS | Empyrean | Empyrean | DY 1556 | Internal | Institution | X-ray Diffraction Facility | x- ray Diffraction(XRD ) is a versatile non -destructive analytical technique used to analyze physical properties such as phase composition , crystal stucture and orientation of powder solid samples. Phase identication can be performed by comparing x-ray diffraction patterns obtained from unkmown samples to patterns in reference database. | Centre for Sophisticated Instruments and Facilities (CSIF) | X-ray Diffraction Facility | 9968640 | https://instruments.iitb.ac.in/x-ray-diffraction-facility | Working | Diffraction |  |  |  | Spectris Technologies Pvt Ltd ,Gurgaon,India | nagina.mishra@malvernpanalytical.com | Spectris Technologies Pvt Ltd ,Gurgaon,India | nagina.mishra@malvernpanalytical.com | xrdatmems@iitb.ac.in
Scanning probe microscope facility I | SPM-I@MEMS | Room No. G021, Ground Floor, Department of MEMS | Agilent, Switzerland | 5500 | US06310574 | Internal | Institution | Scanning probe microscope facility - I |  | Centre for Sophisticated Instruments and Facilities (CSIF) | Scanning probe microscope facility - I | 7000000 | https://instruments.iitb.ac.in/scanning-probe-microscope-facility-i | Working | Microscopy and Imaging |  |  |  | Keysight (formerly Agilent) | tm_india@keysight.com | Keysight (formerly Agilent) | tm_india@keysight.com | spm_mems@iitb.ac.in