## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Alicona micro CMM | Micro CMM | MTL lab, S3 bay, IIT Bombay, Powai, Mumbai-400076. | Bruker Alicona | Brukar Alicona MIrco CMM | 113010011120 | External | Ministry of Education | Alicona micro CMM | Non-contact 3D profiling and imaging deviceForm and roughness measurementMeasure step height ranging from nm to mmTrue Color 3D Imaging | Centre for Sophisticated Research Facilities | Alicona micro CMM | 35000000 | https://instruments.iitb.ac.in/alicona-micro-cmm-0 | Working | Optical Microscopy |  |  |  | Millenia Technologies | accounts@millenia-technologies.com | Susheel Tiwari, Navnath Kedar | navnath@millenia-technologies.com | mtl.iitb@gmail.com
3D Animal Imaging Facility | 3DAIF | 3D Animal Imaging Facility, Room no. 307, Ground Floor, Dept. Center for Sophisticated Instrument Facility, IIT Bombay, Powai, Mumbai-400076. | Micro CT: Perkin Elmer, IVIS Spectrum: Perkin Elmer, Laser Doppler Imaging and Monitoring System: Moor Instrument, Multiphoton Confocal Microscope: Zeiss | MIcro CT: Quantum GX2, IVIS: Spectrum, Laser Doppler Imaging and Monitoring System: VMS LDF, Multiphoton Confocal Microscope: LSM980 | BR72000037-01 | External | Ministry of Education | 3D Animal Imaging Facility | The facility comprise of high end instrument like Micro CT, IVIS, Multiphoton confocal microscope and Laser doppler and monitoring system. | Centre for Sophisticated Research Facilities | 3D Animal Imaging Facility | 150000000 | https://instruments.iitb.ac.in/3d-animal-imaging-facility | Working | Confocal Microscopy, X-ray Microscopy, Optical Microscopy |  |  |  | Perkin Elmer; Carl Zeiss; Moor Instruments | nilesh.patil@revvity.com | nilesh.patil@revvity.com | nilesh.patil@revvity.com | 3danimalimaging@gmail.com
Spectrofluorometer Fluoromax Plus | Spectrofluorometer | Room No 360, Chemistry Department Facility lab II, 2nd floor, Chemistry Building, IIT Bombay, Powai, Mumbai-400076. | Horiba | Fluoromax Plus | 0576D-2322-FMPLUS | External | Ministry of Education | Spectrofluorometer-Fluoromax Plus@Chemistry | The Fluorescence Spectrophotometer offers the ultimate sensitivity in fluorescence or emission profile of the complex under investigation. The instrument is easy to use and is controlled by FluorEssence software with Origin embedded for sophisticated data analysis. | Centre for Sophisticated Research Facilities | Spectrofluorometer-Fluoromax Plus@Chemistry | 4769000 | https://instruments.iitb.ac.in/spectrofluorometer-fluoromax-pluschemistry | Working | Optical Spectroscopy |  |  |  | Horiba Instrument | horibasales.us@horiba.com | Laser Spectra Services India Pvt Ltd | admin@laser-spectra.com | amol_ah@iitb.ac.in
Lattice Light Sheet Microscopy Facility | LLSM | Imaging Facility, Ground Floor, Department of Biosciences & Bioengineering (BSBE), IIT Bombay, Powai, Mumbai-400076. | 3i | 3i Lattice Light Sheet Microscope | 211123-SYS-060198 | External | Ministry of Education | Lattice Light Sheet Microscopy Facility | The 3i LLSM is designed for imaging cells and small organisms (e.g. Zebrafish embryos and larvae) with very low photo-toxicity. The 3i LLSM provides high-speed, real-time 4D imaging of biological processes with comparable resolution and contrast of a confocal microscope. | Centre for Sophisticated Research Facilities | Lattice Light Sheet Microscopy Facility | 20000000 | https://instruments.iitb.ac.in/lattice-light-sheet-microscopy-facility | Working | Optical Microscopy |  |  |  | 3i | enquiry@dssimage.com | DSS Imagetech Pvt Ltd | enquiry@dssimage.com | debayan.purkait@dssimage.com
Dual Vacuum HR Scanning Electron Microscope | DVHR- FEG SEM | G-030 Ground Floor MEMS Department, IIT Bombay, Powai, Mumbai-400076. | JEOL | JSM-IT800(SHL) | SM1040001970197 | External | Ministry of Education | Dual Vacuum HR Scanning Electron Microscope | Model: JSM- IT 800(SHL)Resolution:0.5nm at 15kV 0.7nm at 1kVAccelerating Voltage:0.01 to 30kVThe JSM-IT800 incorporates “In-lens Schottky Plus field emission electron gun" for high resolution imaging and an innovative electron optical control system "Neo Engine" with high and low vacuum mode. | Centre for Sophisticated Research Facilities | Dual Vacuum HR Scanning Electron Microscope | 48000000 | https://instruments.iitb.ac.in/dual-vacuum-hr-scanning-electron-microscope | Working | Electron Microscopy |  |  |  | JEOL India Pvt Ltd | info@jeolindia.com | info@jeolindia.com | info@jeolindia.com | mems.dvhrsem@mems.iitb.ac.in
Differential Scanning Calorimeter. | DSC | Room No. 435A, 3rd Floor, Chemistry Building, IIT Bombay, Powai, Mumbai-400076. | Rigaku | DSC Vesta | BT72000032-02 | External | Ministry of Education | Differential Scanning Calorimeter. | The DSC is used to quantify the energy changes occurring during phase transitions, such as melting(Tm),solid-solid phase transitions, crystallization(Tc), and glass transition(Tg)temperatures | Centre for Sophisticated Research Facilities | Differential Scanning Calorimeter. | 5000000 | https://instruments.iitb.ac.in/differential-scanning-calorimeter | Working | Thermal Characterisation |  |  |  | IR Technology Services Pvt. Ltd | info@irtech.in | IR Technology Services Pvt. Ltd | info@irtech.in | darshansmhatre@iitb.ac.in
600 MHz solution NMR spectrometer | NMR600bruker | Room 117, Ground Floor, SAIF/CRNTS Building, IIT Bombay, Powai, Mumbai-400076. | Bruker | Ascend 600, AVANCE NEO console | 5052454 | External | Ministry of Education | 600 MHz solution NMR spectrometer | This facility enables the recording and analysis of a number of conventional 1D and 2D NMR experiments for liquid organic/inorganic small molecule samples as well as 3D measurements for protonated and isotopically labelled biomolecules, below ~15 kilodaltons. | Centre for Sophisticated Research Facilities | 600 MHz solution NMR spectrometer | 55166628 | https://instruments.iitb.ac.in/600-mhz-solution-nmr-spectrometer | Working | NMR Spectroscopy |  |  |  | Bruker Biospin Switzerland | Anil.kumar@bruker.com | Bruker India sci pvt. Ltd. | Pankaj.Madav@bruker.com | nmr600ioe@chem.iitb.ac.in
Matrix Assisted Laser Desorption Ionisation Time Of Flight Facility | MALDI-TOF | BSBE, MALDI Lab, 3rd floor, IIT Bombay, Powai, Mumbai-400076. | Bruker India Scientific Pvt Ltd | Autoflex Speed - GT 0264 G 201 | 264420.0045 | External | Ministry of Education | Matrix-Assisted Laser Desorption Ionisation -Time Of Flight Facility | Matrix-assisted laser desorption/ionization is a soft ionization technique used in mass spectrometry, allowing the analysis of biomolecules (biopolymers such as DNA, proteins, peptides and sugars) and large organic molecules (such as polymers and other macromolecules). | Centre for Sophisticated Research Facilities | Matrix-Assisted Laser Desorption Ionisation -Time Of Flight Facility | 35000000 | https://instruments.iitb.ac.in/matrix-assisted-laser-desorption-ionisation-time-flight-facility | Working | Mass Spectrometry |  |  |  | Bruker India Scientific Pvt Ltd. | sales@bdal.in | Bruker India Scientific Pvt Ltd. | Service.BDAL.IN@bruker.com | maldi.bios@iitb.ac.in
Ultra High-Pressure Liquid Chromatography High Resolution Triple Quadrupoles Mass Spectrometer | UHPLC-QQQ MS | ES-315, 3rd floor, ESED, IIT Bombay, Powai, Mumbai-400076. | ThermoFisher Scientific Pvt. Ltd. | TSQ Quantis | TSQ-Q-10497 | External | Ministry of Education | Ultra-High-Pressure Liquid Chromatography -High Resolution Triple Quadrupoles Mass Spectrometer | The UHPLC-HRMS Triple Quadrupole is a sophisticated analytical instrument designed for highly sensitive and selective quantification of chemical compounds. It combines the advanced separation capabilities of UHPLC with the precision and reliability of triple quadrupole mass spectrometry. | Centre for Sophisticated Research Facilities | Ultra-High-Pressure Liquid Chromatography -High Resolution Triple Quadrupoles Mass Spectrometer | 15584457 | https://instruments.iitb.ac.in/ultra-high-pressure-liquid-chromatography-high-resolution-triple-quadrupoles-mass-spectrometer | Working | Mass Spectrometry |  |  |  | ThermoFisher Scientific Pvt. Ltd. | customer.reach@thermofisher.com | ThermoFisher Scientific Pvt. Ltd. | customer.reach@thermofisher.com | office.esed@iitb.ac.in
Gel Permeation Chromatography | GPC | Pre-engineering or Transit building, IIT Bombay, Powai, Mumbai-400076. | Shimadzu | Semi preparative LC-20AR HPLC systems with GPC Sedex 85 LT- ELSD | L21805901912 | External | Ministry of Education | Gel Permeation Chromatography | GPC is a commonly used technique to measure the molecular weight distribution of synthetic polymers soluble in both organic as well as aqueous solution. | Centre for Sophisticated Research Facilities | Gel Permeation Chromatography | 75000000 | https://instruments.iitb.ac.in/gel-permeation-chromatography | Working | Liquid Chromatography |  |  |  | Spinco Biotech PVT Ltd | mumbai@spincotech.com | Spinco Biotech PVT Ltd | mumbai@spincotech.com | NA
Surface Area Analyzer | BET surface area anlyzer | Room No 370, 2nd floor, Chemistry Building, IIT Bombay, Powai, Mumbai-400076. | Anton Paar | AutosorbiQ | 1050029560 | External | Ministry of Education | Surface Area Analyzer | Get highly accurate physisorption measurements from relative pressures below 10-7 for nitrogen Rely on TruZone active coolant level control for accurate data – even over lengthy analysesAchieve superior high vacuum performance (38 % better than previous generation instruments) with precision-machined manifolds and high-quality pneumatic valves Analyze up to three different samples simultaneously with independent analysis stations and patented temperature control accessories. | Centre for Sophisticated Research Facilities | Surface Area Analyzer | 5000000 | https://instruments.iitb.ac.in/surface-area-analyzer | Not Working | Chemical Characterisation |  |  |  | Anton Paar India Pvt Ltd | info@anton-paar.com | Anton Paar | info@anton-paar.com | darshansmhatre@iitb.ac.in
TG DTA Photo ionization Mass Spectrometer Simultaneous Measurement System | TGMS | Room No. 435A, 3rd Floor, Chemistry Building, IIT Bombay, Powai, Mumbai-400076. | Rigaku | Thermo Mass Photo | BT72000032-01 | External | Ministry of Education | TG-DTA / Photo ionization Mass Spectrometer Simultaneous Measurement System | TG-MS features a skimmer-type interface combined with fragment-free photoionization technology,enabling measurement of molecules without destruction. | Centre for Sophisticated Research Facilities | TG-DTA / Photo ionization Mass Spectrometer Simultaneous Measurement System | 5000000 | https://instruments.iitb.ac.in/tg-dta-photo-ionization-mass-spectrometer-simultaneous-measurement-system | Working | Thermal Characterisation |  |  |  | IR Technology Services Pvt. Ltd | info@irtech.in | IR Technology Services Pvt. Ltd | info@irtech.in | darshansmhatre@iitb.ac.in
High Pressure Volumetric Gas Sorption Analyzer | High pressure BET | Room No. 370, 2nd Floor, Chemistry Building, IIT Bombay, Powai, Mumbai-400076. | Anton Paar | iSorbHP-100 | 1050032737 | External | Ministry of Education | High-Pressure Volumetric Gas Sorption Analyzer | The iSorbHP-100 is a high-pressure gas sorption analyzer designed for the characterization of sorbent materials. It is useful in the fields of carbon dioxide and methane sequestration, hydrogen storage (through physisorption or hydride formation), and microporous material studies for gas separation. | Centre for Sophisticated Research Facilities | High-Pressure Volumetric Gas Sorption Analyzer | 5000000 | https://instruments.iitb.ac.in/high-pressure-volumetric-gas-sorption-analyzer | Working | Chemical Characterisation |  |  |  | Anton Paar India Pvt Ltd | info.in@anton-paar.com | Anton Paar India Pvt Ltd | info.in@anton-paar.com | darshansmhatre@iitb.ac.in
Thermo Gravimetric Analyzer | TGA | Room No. 435A, 3rd Floor, Chemistry Building, IIT Bombay, Powai, Mumbai-400076. | Rigaku | TGA-STA8122 | BT72000032-03 | External | Ministry of Education | Thermo Gravimetric Analyzer | TGA measures a sample's change in weight as a function of temp., enabling analysis of reactions such as dehydration,thermal decomposition,evaporation & oxidation.DTA detects endothermic & exothermic reactions during phase transitions, melting,crystallization,decomposition & glass transition temp. | Centre for Sophisticated Research Facilities | Thermo Gravimetric Analyzer | 5000000 | https://instruments.iitb.ac.in/thermo-gravimetric-analyzer-0 | Working | Thermal Characterisation |  |  |  | IR Technology Services Pvt. Ltd | info@irtech.in | IR Technology Services Pvt. Ltd | info@irtech.in | darshansmhatre@iitb.ac.in
Automated Flow Chemisorption Analyzer | Chemisorption | Room No. 370, 2nd Floor, Chemistry Building, IIT Bombay, Powai, Mumbai-400076. | Anton Paar | ChemBET Pulsar | 1050039781 | External | Ministry of Education | Automated Flow Chemisorption Analyzer | The ChemBET Pulsar is a fully automated chemisorption analyzer designed for high-precision titration and surface characterization. The system is equipped with TPRWin software, allowing for programmed analysis sequences, including metal area and dispersion determination. | Centre for Sophisticated Research Facilities | Automated Flow Chemisorption Analyzer | 5000000 | https://instruments.iitb.ac.in/automated-flow-chemisorption-analyzer | Working | Chemical Characterisation |  |  |  | Anton Paar India Pvt Ltd | info.in@anton-paar.com | Anton Paar India Pvt Ltd | info.in@anton-paar.com | darshansmhatre@iitb.ac.in
High throughput Imaging Facility | LFC | Imaging Facility Room, Ground floor, Department of Biosciences & Bioengineering, IIT Bombay, Powai, Mumbai-400076. | Aurox Ltd UK / Olympus | Clarity High Speed (100 fps)/ Inverted Motorized Research Microscope- IX83 | 80003127 | External | Ministry of Education | High-throughput Imaging Facility | The High-throughput Imaging Facility provides a high-speed multi-channel imaging technique with significantly lower photobleaching than a conventional Point Scanning Laser Confocal Microscope. | Centre for Sophisticated Research Facilities | High-throughput Imaging Facility | 6708425 | https://instruments.iitb.ac.in/high-throughput-imaging-facility | Working | Confocal Microscopy |  |  |  | Aurox Ltd | info@cornellsci.com | Cornell Scientific Instruments Pvt. Ltd. | sudhir.bcl@gmail.com | saranya@iitb.ac.in
High Resolution Liquid chromatography Mass spectrometer (Agilent LCMS 6545) | HR-LCMS | Room No. 370, second Floor, Chemistry Department, IIT Bombay, Powai, Mumbai-400076. | Agilent Technology | G6545B | SG2231E102 | External | Ministry of Education | High Resolution Liquid chromatography Mass spectrometer(Agilent LCMS 6545) | LC / MS is a technique which combines HPLC, a powerful analytical separation technique with MS ,a powerful analysis & detection technique. There are two common atmospheric pressure ionization (API) LC/MS process: Electrospray Ionization (ESI) & Atmospheric Pressure Chemical Ionization (APCI). | Centre for Sophisticated Research Facilities | High Resolution Liquid chromatography Mass spectrometer(Agilent LCMS 6545) | 22600740 | https://instruments.iitb.ac.in/high-resolution-liquid-chromatography-mass-spectrometeragilent-lcms-6545 | Working | Mass Spectrometry, Liquid Chromatography |  |  |  | Agilent Technology | sales.india@agilent.com | Agilent Technology | customercare.india@agilent.com | hrmass@iitb.ac.in, rajeshg@chem.iitb.ac.in
MALDI Time Of Flight Mass Spectrometer Bruker | MALDI Mass | Room No. 370, second Floor, Chemistry Department, IIT Bombay, Powai, Mumbai-400076. | Bruker Daltonics GmbH & Co. KG | autoflex maX™ MALDI TOF/TOF System | 185737101033 | External | Ministry of Education | MALDI-Time-Of-Flight Mass Spectrometer-Bruker |  | Centre for Sophisticated Research Facilities | MALDI-Time-Of-Flight Mass Spectrometer-Bruker | 341000 | https://instruments.iitb.ac.in/maldi-time-flight-mass-spectrometer-bruker | Working | Mass Spectrometry |  |  |  | Bruker India Scientific Pvt. Ltd | sales.bdal.in@bruker.com | Bruker India Scientific Pvt. Ltd | service.bdal.in@bruker.com | hrmass@iitb.ac.in, rajeshg@chem.iitb.ac.in
Inductively coupled plasma Optical emission spectroscopy system | ICPOES | Room No. 211, First Floor, SAIF/CRNTS Building, IIT Bombay, Powai, Mumbai-400076. | SPECTRO Analytical Instruments GmbH, Germany | FHM 32 ARCOS III | 159980 | External | Ministry of Education | Inductively coupled plasma Optical emission spectroscopy system | Inductively coupled plasma--optical emission spectrometry (ICP--OES), an analytical technique used for the determination of trace elements. | Centre for Sophisticated Research Facilities | Inductively coupled plasma Optical emission spectroscopy system | 10000000 | https://instruments.iitb.ac.in/inductively-coupled-plasma-optical-emission-spectroscopy-system | Working | Atomic Emission Spectroscopy |  |  |  | Spectro Ametek | anthony.thomas@ametek.com | Mr. Milind Pathare | milind.pathare@ametek.com | icpoes@ircc.iitb.ac.in