## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Equipment Description | Department/Lab Name | Project Title | Rate/Hr | Refernce Website | Category
Field Emission Scanning Electron Microscope (FE SEM) | FE SEM | Ground floor/room 121 | Carl zeiss nts ltd, UK | Sigma VP field emission scanning electron microscope | 1 | Institute | Institute | For Biological and other sample charaterisation | Central Facility |  |  |  | Characterization
X-ray Powder Diffraction (XRD) | XRD | Ground floor/room 121 | Bruker AXS GmbH, Gertmany | Bruker AXS high resolution X-Ray Diffractometer D-8 Advance basic hardware and software unit | 2 | Institute | Institute | Sample in powder form with low temperature attachment | Central Facility |  |  |  | Characterization
Atomic Absorption Spectroscopy (AAS) | AAS | 1st floor/room 219 | Shimadzu pte ltd, Singapore | Model AA-7000 | 3 | Institute | Institute | Solid, liquied and gaseous samples can be analyzed | Central Facility |  |  |  | Characterization
Spectroflurometer |  | 1st floor/room 219 | Agilent technologies, Singapore | Cary Eclipse Spectroflurimeter with accessories | 4 | Institute | Institute | Any sample with suitable solvent | Central Facility |  |  |  | Characterization
UV-Vis Spectrophotometer (UV-Vis) | UV-Vis | 1st floor/room 219 | Shimadzu pte ltd, Singapore | UV 1800 spectrophotometer | 5 | Institute | Institute | Any sample with suitable solvent, no attachment for solid | Central Facility |  |  |  | Characterization
Zeta Sizer |  | 1st floor/room 219 | Malvern Instruments ltd | ZETASIZER nanoZS90 (part no ZEN3690) , Dynamic light scattering system | 6 | Institute | Institute | For nanoparticle, colloid, protein, macromoleculer system etc. size analysis in liquid state, in dispersion | Central Facility |  |  |  | Characterization
Gel Permeation Chromatography (GPC) | GPC | 1st floor/room 209 | Waters | Waters 2414 | 7 | External | DAE, Govt. of India | To determine molecular weight of samples soluble in THF | Physical Sciences Division |  |  |  | Characterization
Thermal Gravimetric Analysis (TGA) | TGA | 1st floor/room 209 | Perkinelmer Singapore pte ltd, Singapore | Model: TGA 4000 Thermogravimetric analysis system | 8 | Institute | Institute | Any material solid or liquid, should not explosive in nature | Central Facility |  |  |  | Characterization
Differential Scanning Calorimetry (DSC) | DSC | 1st floor/room 209 | Perkinelmer Singapore pte ltd, Singapore | PerkinElmer Lab System model: DSC 6000 | 9 | Institute | Institute | Any material solid or liquid, should not explosive in nature | Central Facility |  |  |  | Characterization
Fourier-Transform Infrared Spectroscopy with Microscope (FTIR with microscope) | FTIR with microscope | 1st floor/room 219 | Thermo fisher scientific Instruments LLC, USA | Thermo Nicolet 6700 FT-IR spectrometer with microscope & other accessories | 10 | Institute | Institute | Any noncorosive, water free sample | Central Facility |  |  |  | Characterization
Atomic Force Microscopy (AFM) | AFM | Ground floor, room 121 | NT-MDT Services & logistics ltd, NT-MDT house, National Technology Park, Ireland | In air: contact AFM/LFM/ resonant mode (semicontact +noncontact AFM)/phase imaging/force modulation etc in liquid: contact AFM/LFM/adhesion force imaging etc | 11 | Institute | Institute | To image the topography of the surface of any sample | Central Facility |  |  |  | Characterization
Contact Angle Analyzer |  | 2nd floor/room 305 | Kruss GmbH, Germany | Contact angle measurement system model no: DSA30E | 12 | Institute | Institute | Any material in solution | Central Facility |  |  |  | Characterization
Tensiometer |  | 1st floor/room 219 | Dataphysics instruments , Germany | DCAT11 Dynamic contact angle measuring device/Tensiometer | 13 | External | Ministry of new and Renewable Energy, Govt. of India | Any fluid to measure the surface tension | Physical Sciences Division |  |  |  | Characterization
Liquid Chromatography with Tandem Mass Spectrometry (LC-MS-MS) | LC-MS-MS | 1st floor/room 217 | Thermo fisher scientific , Vienna, Austria | Thermo scientific exactive plus –high performance bench top orbitrap with HESI-II spectrometer system | 14 | Institute | Institute | Any material soluble in suitable solvent | Central Facility |  |  |  | Characterization
Gene Sequencer |  | 1st floor/room 221 | Beckman Coulter International, Switzerland | Quantitative multiplex gene expression analysis | 15 | Institute | Institute | Biological sample preferably purified DNA | Central Facility |  |  |  | Characterization
Elix / Mili Q water Purification System |  | 1st floor/room 219 | Millipore pvt ltd, Banglore | Elix 3 water purification system | 16 | Institute | Institute | Elix and MiliQ grade water | Central Facility |  |  |  | Characterization
Ultra-centrifuge |  | 1st floor/room 219 | Thermo electron LED GmbH, Germany | Sorvall Ultracentrifuge Model WX 90 | 17 | Institute | Institute | For any bio and nano materials | Central Facility |  |  |  | Characterization
Ion Chromatography |  | ground floor/room 133 | CECIL | Adept CECIL | 18 | Institute | Institute | For biological sample usually enzymes and proteins | Life Sciences Division |  |  |  | Characterization