## Sheet1
Equipment Name | Name of Equipment Technologist/Operator | Email id of Equipment Technologist/Operator | Contact No. (Mobile No.) of Equipment Technologist/Operator | Approved Abbreviation | Landmark/Location (Room No.) | Make (Manufacturer of Equipment) | Model No. | Funding Agency Type (External/Instituion) | Funding Agency Details (Use Comma if multiple) Such as DST, CSIR, ICMR etc. | Equipment Description | Cost of Instrument Sanctioned in the Project | Year of Installation | Present status of Equipment (Up/Down/Under Maintenance) | % of total time to be made available to the external users | Category | Lab/Facility Name | Department Name | Name of Head of the Department | Email id of Head of the Department | Phone No. (Office) of Head of the Department | Name of Department Representative | Contact No. of Department Representative | Email id of Department Representative | Name of Faculty Incharge of Facility | Email id of Faculty Incharge of Facility | Contact No. of Faculty Incharge of Facility | Name of Departments (in case Faculty Incharge belongs to multiple departments) | Name of Departments (in case Equipment Technologist/Operator belongs to multiple departments) | Name of the Project | Duration (From Year - To Year)
3D Optical Profilometer |  |  |  | 3D Optical | COE Laboratory | BRUKER | (GTKO-X CONTOURGT-KO) | External | TEQIP II | 3D Optical Profiler, Advanced automation system including parts & accessories, SN# GTKOX-14-151, Config. For 220VAC, 23 inch flat plane LCD display high resolution camera, Quadruple Turret, Manual 4.7 mm working distance 8 UM step height standard 6.71 mm working distance | 5649605 | 2014 | Up | 20% | Research Equipment | COE Lab | Centre of Excellence (COE TEQIP II) | Prof. Amitava Basu Mallick | abasumallick@metal.iiests.ac.in | 0 9433739176 |  |  |  | Prof. Debdulal Das | debdulal_das@metal.iiests.ac.in | 0 7980890165 |  |  | "Microstructurally Designed Advanced Materials Development under TEQIP II program" | Year 2014 to Year 2018
Tribometer |  |  |  | Tribometer | COE Laboratory | BRUKER | UTM-3 | External | TEQIP II | Multipurpose Tribometer, UTM - 3 testing unit, with high dessing cast iron vibration dampened frame including parts and accessories. | 6920315 | 2014 | Up | 20% | Research Equipment | COE Lab | Centre of Excellence (COE TEQIP II) | Prof. Amitava Basu Mallick | abasumallick@metal.iiests.ac.in | 0 9433739176 |  |  |  | Prof. Debdulal Das | debdulal_das@metal.iiests.ac.in | 0 7980890165 |  |  | "Microstructurally Designed Advanced Materials Development under TEQIP II program" | Year 2014 to Year 2018
Atomic Force Microscope |  |  |  | AFM | COE Laboratory | BRUKER | Dimension Edge Sl. No. 45364ED2010 | External | TEQIP II | EDGE BASE - Dimension Edge Scanning probe microscope including all accessories, 150 mm vaccum chuck, 19 inch LCD Monitor - 2 nos. STM Tip holders, Vibration isolated table | 8638513 | 2014 | Up | 25% | Research Equipment | COE Lab | Centre of Excellence (COE TEQIP II) | Prof. Amitava Basu Mallick | abasumallick@metal.iiests.ac.in | 0 9433739176 |  |  |  | Prof. Amitava Basu Mallick | abasumallick@metal.iiests.ac.in | 0 9433739176 |  |  | "Microstructurally Designed Advanced Materials Development under TEQIP II program" | Year 2014 to Year 2018
Melting Furnace |  |  |  | Melting Furnace | Composite Lab (Foundry) |  |  | External | TEQIP II | Melting Furnace, Melting casting facility electric resistance furnace operating temp. 450 to 1150 degre C PID control unit, Adjustable trapper, B stirring arrangement, DC (1HP) Motor, Non contact digital temp. recorder an a rpm measuring unit, LED display | 700000 | 2015 | Up | 40% | Research Equipment | Composite Lab (Foundry) | Centre of Excellence (COE TEQIP II) | Prof. Amitava Basu Mallick | abasumallick@metal.iiests.ac.in | 0 9433739176 |  |  |  | Prof. Debdulal Das | debdulal_das@metal.iiests.ac.in | 0 7980890165 |  |  | "Microstructurally Designed Advanced Materials Development under TEQIP II program" | Year 2014 to Year 2018
Hall Effect Measuring System |  |  |  | Hall Effect Measurement | COE Laboratory | Ecopia | HT55T3 | External | TEQIP II | Hall effect measuring system, HMS-3000/ EVM-100R, SPCB-00, HT55T3/ Seating Controller, SMB-6, 20 SOC, SPCB-01, 02, 03, InSn-50g , Computer with Laser Printer 24" inch monitor | 3891888 | 2014 | Up | 20% | Research Equipment | COE Lab | Centre of Excellence (COE TEQIP II) | Prof. Amitava Basu Mallick | abasumallick@metal.iiests.ac.in | 0 9433739176 |  |  |  | Prof. Partha Bhatacharyya | pb_etc_besu@yahoo.com | 0 9836131103 |  |  | "Microstructurally Designed Advanced Materials Development under TEQIP II program" | Year 2014 to Year 2018
Thermal Evaporation System |  |  |  | Thermal Evaporation | COE Laboratory |  |  | External | TEQIP II | High vacuume pumping module consists of rotary vacuume pump, diffusion pump, 220V, 50Hz, single phase AC supply, Metal belt jar, 260 dia 400 mm height, chiller, digital thickness moniter etc. | 618300 | 2015 | Up | 20% | Research Equipment | COE Lab | Centre of Excellence (COE TEQIP II) | Prof. Amitava Basu Mallick | abasumallick@metal.iiests.ac.in | 0 9433739176 |  |  |  | Prof. Partha Bhatacharyya | pb_etc_besu@yahoo.com | 0 9836131103 |  |  | "Microstructurally Designed Advanced Materials Development under TEQIP II program" | Year 2014 to Year 2018
Scanning Electron Mricroscope (SEM) |  |  |  | SEM | CRF Lab | HITACHI | S-3400N with Horiba EDS | External | TEQIP I | Scanning Electron Microscope with EDS facilities of basic SEM, Horiba EMAX energy Ex-250 EDS system | 11800000 | 2007 | Up | 25% | Research Equipment | CRF Lab | Central Research Facility | Prof. Amitava Basu Mallick | abasumallick@metal.iiests.ac.in | 0 9433739176 |  |  |  | Prof. Sukumar Kundu | erskundu@gmail.com | 0 8334043609 |  |  | TEQIP I | 2007
Nano-indentation and Nano Scratch |  |  |  | Nano-indentation | CRF Lab | CSM |  | External | TEQIP I | Specification: CSM Make NHT 1 Load application / measurement Piezo actuator/capacitive sensor Load range 0 – 500 mN (optional 1000 mN) - fine range: 10 mN - standard range: 500 mN N* (rms) Load resolution : 1 nN, noise floor ≈ 0.1 N Minimum usable load : 25 Maximum load : 50 mN (100 mN with high load option) | 11300000 | 2007 | Up | 20% | Research Equipment | CRF Lab | Central Research Facility | Prof. Amitava Basu Mallick | abasumallick@metal.iiests.ac.in | 0 9433739176 |  |  |  | Prof. Debdulal Das | debdulal_das@metal.iiests.ac.in | 0 7980890165 |  |  |  | 2007
True Simultaneous TG-DSC Analyser with Curie Temparature Measurment Set up |  |  |  | TG-DSC | COE Laboratory | NETZSCH GmbH | STA 449 F3 Jupiter | External | SERB , DST | True Simultaneous TG-DSC Analyser with Curie Temparature Measurment Set up, PC intel core i3 7th generation, color leser jet printer, 6 kva UPS, UHP Nitrogen gas cylinder, Anti vibarion table, calibration sample kit, etc. | 3786867 | 2019 | Up | 15% | Research Equipment | COE Lab |  | Prof. Amitava Basu Mallick | abasumallick@metal.iiests.ac.in | 0 9433739176 |  |  |  | Prof. Amitava Basu Mallick | abasumallick@metal.iiests.ac.in | 0 9433739176 |  |  | "Development of High Energy Density Rare Earth Fre MnBi and FeCo/Cu Core-shell Exchange Spring Coupled Permanent Magnet" | Year 2019 to Year 2021
Photoluminescence (PL) System with integrating sphere and laser source (SMALL Lab.II) | Handle by the faculty members and PhD scholars | nrb@matsc.iiests.ac.in | 9830046541 | PL | 1st floor SMALL II at SMSE, IIESTS | Horiba, US |  | External | DST, GOI, DST- Nano Mission | Photoluminescence (PL) System with integrating sphere and laser source renge upto 1700 | 5000000 | 2009 | Up | 30% | Research Equipment | Small Lab II | MNDSMSE | Prof. Nil Ratan Bandhyapadhyay | nrb@matsc.iiests.ac.in | 9830046541 |  |  |  | Dr. Mallar Roy | mallar.r@gmail.com |  |  |  | DST- Nano Mission , GOI | 2009
Glove Box With Air Locker/Side Door | Handle by the faculty members and PhD scholars | nrb@matsc.iiests.ac.in | 9830046541 | GB | 1st floor SMALL II at SMSE, IIESTS | Lab. Guard, Mumbai |  | External | DST, GOI, DST- Nano Mission | Glove Box With Air Locker/Side Door |  | 2009 | Up | 20% | Research Equipment | MN Dastur Bldg., Small Lab II | MNDSMSE | Prof. Nil Ratan Bandhyapadhyay | nrb@matsc.iiests.ac.in | 9830046541 | [8 empty] | DST- Nano Mission , GOI | 2009
FEI Tecnai G2 20 S-TWIN Transmission Electron Microscope (TEM) 200 KV with EDX | Dr. Malay Kundu, Scientific Officer, SMSE | mkundu@matsc.iiests.ac.in | 9831201326 | TEM | Materials Characterisation Lab. Ground floor, SMSE, IIESTS | FEI Netherland | Tecnai G2 20 LaB6 | External | SDF, Ministry of Steels, Steel Development Fund | 200 kV TEM FEI model Tecnai 20 Super-Twin and accessories with EDX (FEI Tecnai G2 20 S-TWIN ) Bright Field & Dark Field | 30015000 | 2011 | Under maintenance | 20% | Fabrication | MN Dastur Bldg. | MNDSMSE | Prof. Nil Ratan Bandhyapadhyay | nrb@matsc.iiests.ac.in | 9830046541 | [8 empty] | SDF, Ministry of Steels | 2011
Instron 8801 Axial Servohydraulic Dynamic Testing System ± 100 kN capacity, and Instron 8862 Axial Servoelectric Dynamic Testing System ± 250 kN capacity | Dr. Debdulal Das, Faculty member of Met. & Mat.Engg. Department | debdulal_das@metal.iiests.ac.in | 9163547794 | INSTRON | Mechanical Testing Lab. Ground Floor, SMSE, IIESTS | INSTRON, UK | 8801 K8729 / 8862 K8728 | External | SDF, Ministry of Steels, Steel Development Fund | Instron 8801 Axial Servohydraulic Dynamic Testing System ± 100 kN capacity, and Instron 8862 Axial Servoelectric Dynamic Testing System ± 250 kN capacity | 10687500 | 2009 | Under maintenance | 20% | Fabrication | MN Dastur Bldg. | MNDSMSE | Prof. Nil Ratan Bandhyapadhyay | nrb@matsc.iiests.ac.in | 9830046541 | [8 empty] | SDF, Ministry of Steels | 2009
Lab Size Rolling Mill (150 Ton, 2 high hot rolling and 100 Ton 4 high cold rolling) | Dr. Arunanshu Halder, Tata Chair Professor, IIESTS | arunansuhaldar@gmail.com | 7603056776 | Advanced Rolling Mill | Foundry Lab., Dept. of MME | Newfield Engineernig, Bangalore |  | External | SDF, Ministry of Steels, Steel Development Fund | Lab Size Rolling Mill (150 Ton, 2 high hot rolling and 100 Ton 4 high hot &cold rolling) | 10600000 | 2017 | Up | 40% | Research Equipment | Foundry Lab | Met & Mat Engg. | Manojit Ghosh | hod@metal.iiests.ac.in | 9874865163 |  |  |  | Prof. Nil Ratan Bandhyapadhyay | nrb@matsc.iiests.ac.in | 9830046541 |  |  | SDF, Ministry of Steels | 2017
Epiflorescence Microscope | Research Scholars | 9733388223 | 9733388223 | FM | 310 CHST | Nikon Coorporation | TiU | External | TEQIP-II | Florescence, Brightfield, Phase contrast, DIC microscope | 2560000 | 2013 | Up | 25% | Research Equipment | Imaging Lab | Centre for Healthcare Science and Technology | Prof. Amitava Basu Mallick | hod@chest.iiests.ac.in | 03326684561 Extn. 240 | Ananya Barui | 9733388223 | ananyabarui@chest.iiests.ac.in | Ananya Barui | ananyabarui@chest.iiests.ac.in | 9733388223 |  |  | TEQIP-II | 2012-17
Raman Microspectrometer | Research Scholars | 9474892494 | 9474892494 | Micro-Raman | 317 CHST | Pro Trus Tech | MRID | Institution |  | Raman Spectrometer with microscope | 2860000 | 2018 | Up | 30% | Research Equipment | Instrumentation and Characterization Lab | Centre for Healthcare Science and Technology | Prof. Amitava Basu Mallick | hod@chest.iiests.ac.in | 03326684561 Extn. 241 | Ananya Barui | 9733388223 | ananyabarui@chest.iiests.ac.in | Pallab Datta | pd@chest.iiests.ac.in | 9474892494
Tribometer | Mr. Sourav Kundu (Technical Assistant, Contractual) | kundu.sourav006@gmail.com | 9932431770 | Tribometer | ME-305 | M/s. CETR/Bruker, USA | UMT-3MT | External | DST | Tribological Testing with Pin-on-Disc/Ball-on-Disc, rotary/reciprocating drives | 11200000 | 2011 | UP | 25% | Research Equipment | Advanced Tribology Laboratory | Mechanical Engineering | Prof. Partha Pratim Dey | hod@mech.iiests.ac.in | 033-2668-4561-63(Ext 279) | Prof. Partha Pratim Dey | 033-2668 4561/4562 (Ext. 789 & 297) | ppdey@mech.iiests.ac.in | Prof. Santanu Kumar Karmakar | skk@mech.iiests.ac.in | 033-2668 456-63 (Ext. 357) | NA | NA | FIST | 2009-2014
3D Non Contact Profilometer | Mr. Sourav Kundu (Technical Assistant, Contractual) | kundu.sourav006@gmail.com | 9932431770 | Optical Profilometer | ME-305 | M/s. Rtec Instruments, USA | 1401 | External | DST | Measuring different roughness parameters, 3D profile | 2232000 | 2014 | Up | 25% | Research Equipment | Advanced Tribology Laboratory | Mechanical Engineering | Prof. Partha Pratim Dey | hod@mech.iiests.ac.in | 033-2668-4561-63 (Ext 279) | Prof. Partha Pratim Dey | 033-2668 4561/4562 (Ext. 789 & 297) | ppdey@mech.iiests.ac.in | Prof. Santanu Kumar Karmakar | skk@mech.iiests.ac.in | 033-2668 456-63 (Ext. 357) | NA | NA | FIST | 2009-2014
Micro-Hardness Tester | Mr. Sourav Kundu (Technical Assistant, Contractual) | kundu.sourav006@gmail.com | 9932431770 | Micro-Hardness Tester | ME-305 | M/s. Struers ApS, Denmark | Duramin-40 M1 | External | TEQIP-III | Vickers, Knoop and Brinell Micro-hardness | 2500000 | 2018 | Up | 25% | Research Equipment | Advanced Tribology Laboratory | Mechanical Engineering | Prof. Partha Pratim Dey | hod@mech.iiests.ac.in | 033-2668-4561-63 (Ext 279) | Prof. Partha Pratim Dey | 033-2668 4561/4562 (Ext. 789 & 297) | ppdey@mech.iiests.ac.in | Prof. Santanu Kumar Karmakar | skk@mech.iiests.ac.in | 033-2668 456-63 (Ext. 357) | NA | NA | TEQIP-III | 2017-2021
CNC Wire Electric Discharge Machine | Nani Gopal Roy | ngroywedm@gmail.com | 8777423424 | WEDM | ME 105 | Electronical Machine Tools Ltd., Pune | EuroCut 734 Mark I | External | DST-FIST | A machine that can cut almost all electrically conductive materials | 2900000 | 2003 | Up | 25% | Machine Tool (non-tradionational type) | Advanced Machining Laboratory | Mechanical Engineering | Prof. Partha Pratim Dey | hod@mech.iiests.ac.in | 033 2668 4561/62/63 (Ext 279) | Prof. Partha Pratim Dey | 033-2668 4561/4562 (Ext. 789 & 297) | ppdey@mech.iiests.ac.in | Prof. Partha Pratim Dey | ppdey2000@yahoo.com | 033 2668 4561/62/63 (Ext 789) | NA | NA | Development of advanced machining laboratory with Wire-EDM Technology | 2003-2008
Vector Network Analyzer | Goutam Paul | goutam_gp82@yahoo.com | 7003941614 | VNA | School of VLSI Technology | Keysight Technologies | E5080A | Institution |  | Testing and Characterization equipment for RF applications | 2346461 | 2018-19 | Up | 20% | Research Equipment | Analog VLSI Circuits LAB | School of VLSI Technology | Prof. Konika Das Bhattacharya | hod@vlsi.iiests.ac.in | 2668 4561 to 63 (EXT 400) |  |  |  | Prof. Hafizur Rahaman | rahaman_h@yahoo.co.in | 9836533802 | IT / School of VLSI Technology |  |  | 2018-19
Characterization Equipment (Clock / PRBS / Pattern reference module) (Arbitrary Waveform Generator) | Goutam Paul | goutam_gp82@yahoo.com | 7003941614 | AWG | School of VLSI Technology | Teledyne Technologies | T3AWG3352 | Institution |  | 350MHZ AWG to cater to the need of testing the fabricated mixed-signal ICs. | 2468000 | 2018-19 | Up | 20% | Research Equipment | Analog VLSI Circuits LAB | School of VLSI Technology | Prof. Konika Das Bhattacharya | hod@vlsi.iiests.ac.in | 2668 4561 to 63 (EXT 400) |  |  |  | Prof. Hafizur Rahaman | rahaman_h@yahoo.co.in | 9836533802 | IT / School of VLSI Technology |  |  | 2018-19
Pulse Function Arbitrary Generator | Goutam Paul | goutam_gp82@yahoo.com | 7003941614 | AWG | School of VLSI Technology | Keysight Technologies | 81160A | Institution |  | Frequency range 1 μHz to 330 MHz Frequency resolution 1 μHz 1 μHz Pulse width 1.50 ns to (period - 1.50 ns) spec. Pulse width Resolution 100ps | 2450000 | 2017-18 | Up | 20% | Research Equipment | Analog VLSI Circuits LAB | School of VLSI Technology | Prof. Konika Das Bhattacharya | hod@vlsi.iiests.ac.in | 2668 4561 to 63 (EXT 400) |  |  |  | Prof. Hafizur Rahaman | rahaman_h@yahoo.co.in | 9836533802 | IT / School of VLSI Technology |  |  | 2017-18
JEOL FESEM with EDS and EBSD | Swapan Kumar Jana |  | 9231701660 | FESEM | Ground Floor | SEM:JEOL EDS:Oxford EBSD: Oxford | JSM 7610F X-max 50 AZtechHKL | External | DST | FESEM: https://www.jeol.co.jp/en/products/detail/JSM-7610FPlus.html | 24000000 | 2016 | Under maintenance | 30% | Research Equipment | SEM Lab | Metallurgy and Materials Engineering | Manojit Ghosh | hod@metal.iiests.ac.in | 9874865163 | Debdulal Das | 798090165 | debdulal_das@metal.iiests.ac.in | Debdulal Das | debdulal_das@metal.iiests.ac.in | 798090165 | NA | NA | DST-FIST | 2012-17
X-ray Diffractometer | Salil Kumar Dalui |  | 9831435065 | XRD | Grond Floor | Bruker | D8 Advance | External | TEQIP II | XRD: https://www.bruker.com/products/x-ray-diffraction-and-elemental-analysis/x-ray-diffraction/d8-advance/technical-details.html | 10200000 | 2014 | Up | 30% | Research Equipment | XRD Lab | Metallurgy and Materials Engineering | Manojit Ghosh | hod@metal.iiests.ac.in | 9874865163 | Amitava Basu Mallick | 9433739176 | abasumallick@metal.iiests.ac.in | Amitava Basu Mallick | abasumallick@metal.iiests.ac.in | 9433739176 | NA | NA | TEQIP II | 2013
Differential Scanning Chalorimeter | NA | NA | NA | DSC | 2nd Floor Sc. and Tech. Building | Perkin Elmer | 8000 AMBIENT TSTD | Institution |  | DSC: https://www.perkinelmer.com/product/dsc-8000-lab-system-n5340511 | 2500000 | 2012 | UP | 30% | Research Equipment | DSC Lab | Metallurgy and Materials Engineering | Manojit Ghosh | hod@metal.iiests.ac.in | 9874865164 | Manojit Ghosh | 9874865164 | mghosh@metal.iiests.ac.in | Manojit Ghosh | mghosh@metal.iiests.ac.in | 9874865164 | NA | NA |  | 2012
Multifunctional TCSPC Lifetime Fluorescence Spectrophotometer | Handle by the faculty members and PhD scholars | Moumita Chakraborty | 98744 86388 | TCSPC | 2nd Floor, New Building, Chem. Dept. | Make: Horiba Instruments Incorporated | Model: FluoroLog-3 | External | DST-FIST | Multifunctional TCSPC Lifetime Fluorescence Spectrophotometer Model: FluoroLog-3 Make: Horiba Instruments Incorporated | 9571800 | 2016 | Up | 20% | Research Equipment | Instrumentation Lab | Chemistry | Ajit Kumar Mahapatra | hod@chem.iiests.ac.in | 94345 08013 | Ajit Kumar Mahapatra | 94345 08013 | hod@chem.iiests.ac.in | Shyamal Kr. Chottopadhyay | shyamal@chem.iiests.ac.in | 98743 39079 |  |  | DST-FIST | 2017
Analytical cum preparative HPLC with Mass Detector (LC-MS) | Handle by the faculty members and PhD scholars Prof. B. K. Ghorai | binay@chem.iiests.ac.in | 94338 43142 | LCMS | 3rd Floor, Academic building, Old Chem. Dept. | Make: Agilent Technologies |  | External | MHRD | Analytical cum preparative HPLC with Mass Detector (LC-MS) | USD 152,000 | 2007 | DN | 20% | Research Equipment | Instrumentation Lab | Chemistry | Ajit Kumar Mahapatra | hod@chem.iiests.ac.in | 94345 08013 | Ajit Kumar Mahapatra | 94345 08013 | hod@chem.iiests.ac.in | B. K. Ghorai | binay@chem.iiests.ac.in | 94338 43142 |  |  | MHRD | 2006
Nicolet FTIR, Model : Nicolet 8700, Sr. No. : AGC0700275 and FT-Raman. Model : NXR-FT-RAMAN Module, Sr. No. : AEU0700418 | Dr. Chinmoy Bhattacharya | chinmoy@chem.iiests.ac.in | 98304 59041 | FTIR | 3rd Floor, Academic building, Old Chem. Dept. | Nicolet FTIR, | Model : Nicolet 8700 | External | MHRD | Nicolet FTIR, Model : Nicolet 8700, Sr. No. : AGC0700275 and FT-Raman. Model : NXR-FT-RAMAN Module, Sr. No. : AEU0700418 | USD 149,055 | 2007 | DN | 20% | Research Equipment | Instrumentation Lab | Chemistry | Ajit Kumar Mahapatra | hod@chem.iiests.ac.in | 94345 08013 | Ajit Kumar Mahapatra | 94345 08013 | hod@chem.iiests.ac.in | Dr. Chinmoy Bhattacharya | chinmoy@chem.iiests.ac.in | 98304 59041 |  |  | MHRD | 2006
Atomic Absorption spectrometer | Dr. Chinmoy Bhattacharya | chinmoy@chem.iiests.ac.in | 98304 59041 | AAS | 3rd Floor, Academic building, Old Chem. Dept. | Make: perkin Elmer USA | Model AAnalyst 200 Atomic Absorption Spectrophotometer with HGA 900 Graphite Furnace System with Integrated Furnace Autosampler Model MHS-15 Mercury/Hydride System | External | MHRD | Model AAnalyst 200 Atomic Absorption Spectrophotometer with HGA 900 Graphite Furnace System with Integrated Furnace Autosampler Model MHS-15 Mercury/Hydride System | 1800000 | 2007 | DN | 20% | Research Equipment | Instrumentation Lab | Chemistry | Ajit Kumar Mahapatra | hod@chem.iiests.ac.in | 94345 08013 | Ajit Kumar Mahapatra | 94345 08013 | hod@chem.iiests.ac.in | Dr. Chinmoy Bhattacharya | chinmoy@chem.iiests.ac.in | 98304 59041 |  |  | MHRD | 2006
TG-DTA Make: PERKIN ELMER,USA Model: Diamond TG/DTA | Dr. Chinmoy Bhattacharya | chinmoy@chem.iiests.ac.in | 98304 59041 | TG-DTA | 3rd Floor, Academic building, Old Chem. Dept. | Make: PERKIN ELMER,USA | Model: Diamond TG/DTA | External | MHRD | TG-DTA Make: PERKIN ELMER,USA Model: Diamond TG/DTA | 1500000 | 2007 | DN | 25% | Research Equipment | Instrumentation Lab | Chemistry | Ajit Kumar Mahapatra | hod@chem.iiests.ac.in | 94345 08013 | Ajit Kumar Mahapatra | 94345 08013 | hod@chem.iiests.ac.in | Dr. Chinmoy Bhattacharya | chinmoy@chem.iiests.ac.in | 98304 59041 |  |  | MHRD | 2006
BET Surface area analyzer - Chemisorption and Physisorption Capability | Prof. B. Adhikary | bibhutosh@chem.iiests.ac.in | 89025 24532 | BET | 3rd Floor, Academic building, Old Chem. Dept. | Make Quantachrome, USA | Model: Quantachrome AUTOSORB-1-C | External | MHRD | BET Surface area analyzer - Chemisorption and Physisorption Capability | 3200000 | 2007 | DN | 20% | Research Equipment | Instrumentation Lab | Chemistry | Ajit Kumar Mahapatra | hod@chem.iiests.ac.in | 94345 08013 | Ajit Kumar Mahapatra | 94345 08013 | hod@chem.iiests.ac.in | Prof. B. Adhikary | bibhutosh@chem.iiests.ac.in | 89025 24532 |  |  | MHRD | 2006
OLYMPUS INVERTED METALLURGICAL MICROSCOPE | Dr. Chinmoy Bhattacharya | chinmoy@chem.iiests.ac.in | 98304 59041 | OPM | 3rd Floor, Academic building, Old Chem. Dept. | Make OLYMPUS, Japan | MODEL GX51-233 B, for BRIGHT FIELD OBSERVATION MICROSCOPE DIGITAL CAMERA Model DP-12 Standard set | External | MHRD | OLYMPUS INVERTED METALLURGICAL MICROSCOPE | 1600000 | 2007 | DN | 20% | Research Equipment | Instrumentation Lab | Chemistry | Ajit Kumar Mahapatra | hod@chem.iiests.ac.in | 94345 08013 | Ajit Kumar Mahapatra | 94345 08013 | hod@chem.iiests.ac.in | Dr. Chinmoy Bhattacharya | chinmoy@chem.iiests.ac.in | 98304 59041 |  |  | MHRD | 2007
Automated Basic Universal Testing Machine | Mr. Mohini Mohan Debsharma | mohini@civil.iiests.ac.in | 9836920058 |  | Structural Engg. Lab. | Hydraulic & Engineering Instrument | HL0693.40 | External | TEQIP | Flexure / Bend Testing, Tensile strength testing for Geotextile, Puneture test, CBR puneture test | 2267438 | 2013 | UP | 25% | Research Equipment | Structural Engg. Lab. | Civil Engineering Department | Dr. Anirban Gupta | hod@civil.iiests.ac.in | 2668-4561-63 (Ext 281) |  |  |  | Prof. Arun Kumar Chakraborty | arun@civil.iiests.ac.in | 9123869435 |  |  | TEQIP II | 2013
Atomic Absorption Spectrophotometer | Mr. Ranjan Kumar Biswas | ranjan@civil.iiests.ac.in | 9433470281 |  | Environmental Engg. Lab. | Thermo Fisher | iCE3500 | Institution |  | ASS is used to determine concetration of a particular element in a sample | 2252000 | 2019 | UP | 25% | Research Equipment | Environmental Engg. Lab. | Civil Engineering Department | Dr. Anirban Gupta | hod@civil.iiests.ac.in | 2668-4561-63 (Ext 281) |  |  |  | Prof. Asok Adak | asok@civil.iiests.ac.in | 8017888951 |  |  |  | 2019
High resolution IV-CV measurement system | Dr. Syed Mihaz Hossain, Department of Physics, IIEST Shibpur | shminhaz@gmail.com | 9230446483 | IV-CV System | Low dimension physics Lab, 4th floor Science and Technology building | KEITHLEY, USA | 4200A-SCS,4200-SMU, 4200-PA, 4210-CVU, 8101-PIV | Institution |  | High resolution IV-CV measurement system | 2500000 | 2019 | Up | 25% | Research equipment |  | Physics | Prof. Krishnandu Mukherje | hod@physics.iiests.ac.in | 94339 06370 |  |  |  | Dr. Syed Mihaz Hossain | shminhaz@gmail.com | 9230446483 |  |  |  | 2019
Thermal constant analyser | Prof. Dipali Banerjee, Department of Physics, IIEST Shibpur | dipalibanerjeebesu@gmail.com | 9830299253 | Thermal constant analyser | Material Physics and Condensed Matter Laboratory, 4th floor Science and Technology building | Hot disk, Sweden | TPS 2500S | External | DST-SERB | Thermal constant analyser | 3900000 | 2012 | Up | 20% | Research equipment |  | Physics | Prof. Krishnandu Mukherje | hod@physics.iiests.ac.in | 94339 06370 |  |  |  | Prof. Dipali Banerjee | dipalibanerjeebesu@gmail.com | 9830299253 |  |  | DST, SERB | 2012
IV measurement | Run by Research Scholars |  |  |  | CEGESS Main Lab | Photo Emission Technology Incorporation |  | External | MNRE |  | 62871 | 2016 | Up | 20% | Research Equipment |  | CEGESS | Prof. B. K. Ghorai | hod@cegess.iiests.ac.in |  |  |  |  | Prof. H. Saha | sahahiran@gmail.com | 9830124073 |  |  | Advanced Research on Thin Film Silicon Solar Cells and PV System | 2011 - 2017
QE | Run by Research Scholars |  |  |  | CEGESS Main Lab | Bentham Instruments Ltd. UK |  | External | DST-GoI |  | 4956853 | 2012 | Up | 20% | Fabrication |  | CEGESS | Prof. B. K. Ghorai | hod@cegess.iiests.ac.in |  |  |  |  | Prof. H. Saha | sahahiran@gmail.com | 9830124073 |  |  | DST-IIEST Solar HUB | 2010-2017
E-Beam Evaporation | Run by Research Scholars |  |  |  | CEGESS Main Lab | Hind High Vacuum Co. Pvt. Ltd |  | External | DST-GoI |  | 3421960 | 2012 | Up | 20% | Fabrication |  | CEGESS | Prof. B. K. Ghorai | hod@cegess.iiests.ac.in |  |  |  |  | Prof. H. Saha | sahahiran@gmail.com | 9830124073 |  |  | DST-IIEST Solar HUB | 2010-2017
Spin Coater | Run by Research Scholars |  |  |  | CEGESS Main Lab | Apex Instruments Co. 82 D, Ibrahim pur Road Jadavpur Road Kol 32 | SCV-2007 | External | DST-GoI |  | 108361 | 2011 | Up | 20% | Fabrication |  | CEGESS | Prof. B. K. Ghorai | hod@cegess.iiests.ac.in |  |  |  |  | Prof. H. Saha | sahahiran@gmail.com | 9830124073 |  |  | DST-IIEST Solar HUB | 2010-2017
Cryostate | Run by Research Scholars |  |  |  | CEGESS Main Lab | Hind High Vacuum Co. Pvt. Ltd. |  | External | MNRE |  | 2102220 | 2013 | Up | 20% | Fabrication |  | CEGESS | Prof. B. K. Ghorai | hod@cegess.iiests.ac.in |  |  |  |  | Prof. H. Saha | sahahiran@gmail.com | 9830124073 |  |  | Advanced Research on Thin Film Silicon Solar Cells and PV System | 2011 - 2017
Four Probe Resistivity Measurement | Run by Research Scholars |  |  |  | CEGESS Main Lab | Jundel Engineering Ltd. |  | External | MNRE |  | GBP 15660 | 2013 | Up | 20% | Electrical Characterization |  | CEGESS | Prof. B. K. Ghorai | hod@cegess.iiests.ac.in |  |  |  |  | Prof. H. Saha | sahahiran@gmail.com | 9830124073 |  |  | Advanced Research on Thin Film Silicon Solar Cells and PV System | 2011 - 2017
Minority Life time | Run by Research Scholars |  |  |  | Downing Hall | Sinton Instruments |  | External | MNRE |  | 36645 |  | Up | 20% | Electrical Characterization |  | CEGESS | Prof. B. K. Ghorai | hod@cegess.iiests.ac.in |  |  |  |  | Dr. Nillohit Mukherjee | nillohit.mukherjee@gmail.com | 9432926929 |  |  | Advanced Research on Thin Film Silicon Solar Cells and PV System | 2011 - 2017
LCR Meter | Run by Research Scholars |  |  |  | Downing Hall | Techno Scientific Co | ZM2376 | External | DST-GoI |  | 446250 | 2018 | Up | 20% | Electrical Characterization |  | CEGESS | Prof. B. K. Ghorai | hod@cegess.iiests.ac.in |  |  |  |  | Dr. Nillohit Mukherjee | nillohit.mukherjee@gmail.com | 9432926929 |  |  | DST-SERI | 2017-2020
UV-Vis Spectrophotometer | Run by Research Scholars |  |  |  | CEGESS Main Lab | Jasco International Co. |  | External | DST |  | 682600 | 2015 | Up | 20% | Optical Characterization |  | CEGESS | Prof. B. K. Ghorai | hod@cegess.iiests.ac.in |  |  |  |  | Dr. Nillohit Mukherjee | nillohit.mukherjee@gmail.com | 9432926929 |  |  | DST-IIEST Solar HUB | 2010-2017
FTIR Spectrophotometer | Run by Research Scholars |  |  |  | CEGESS Main Lab | Perkin Elmer Singapore Pvt Ltd |  | External | MNRE |  | 859700 | 2015 | Up | 20% | Optical Characterization |  | CEGESS | Prof. B. K. Ghorai | hod@cegess.iiests.ac.in |  |  |  |  | Dr. Nillohit Mukherjee | nillohit.mukherjee@gmail.com | 9432926929 |  |  | Advanced Research on Thin Film Silicon Solar Cells and PV System | 2011 - 2017
Potentiostat-Galvanostat | Run by Research Scholars |  |  |  | Downing Hall | Metrohm Autolab | LD80205 | External | DST-GoI |  | 1000000 | 2018 | Up | 20% | Electrochemical Characterization |  | CEGESS | Prof. B. K. Ghorai | hod@cegess.iiests.ac.in |  |  |  |  | Dr. Snehangshu Patra | patras218@gmail.com | 9432926929 |  |  | SERB-DST | 2018-2021