## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Two Ports Glove Box | NA | Prof Abhishek Mondals Lab F208 | MBraun | MB Uni lab Pro SP | PRS1220 | Internal Funding | Institution | IISc Startup grant | Glove box workstation is required to create and maintain a controlled atmosphere particularly an inert gas environment nitrogen or argon for working with air and or water sensitive materials | Solid State and Structural Chemistry Unit |  | 3500000 | http://m2ssscuiisc.in/ | UP | Research equipment |  |  |  |  | mondal@iisc.ac.in
Four Port Glove Box | 2 port GB | Prof Abhishek Mondals Lab F208 | ProRes | ProRes GB IV | NA | External Funding | DST, Govt. of India | Microelectromechanical Sensor based on Multinuclear Spin State Switching Molecular Assemblies | Glove box workstation is required to create and maintain a controlled atmosphere particularly an inert gas environment nitrogen or argon for working with air and or water sensitive materials | Solid State and Structural Chemistry Unit |  | 2399355 | http://m2ssscuiisc.in/ | UP | Research equipment |  |  |  |  | mondal@iisc.ac.in
UV Vis NIR Spectrometer | 4 port GB | Prof Abhishek Mondals Lab | PerkinElmer | PerkinElmer Lambda 1050 UV VIS NIR | 1060L2109133 | External Funding | STARS | Microelectromechanical Sensor based on Multinuclear Spin State Switching Molecular Assemblies | UV Vis NIR instrument is used to study the optical properties like absorbance transmittance and reflectance of materials | Solid State and Structural Chemistry Unit |  | 2255995 | http://m2ssscuiisc.in/ | UP | Research equipment |  |  |  |  | mondal@iisc.ac.in
Cyclic Voltametry | NA | Prof Abhishek Mondals Lab F208 | Metrohm | NA | NA | External Funding | IISc | redox chemistry electrochemistry | Cyclic voltammetry CV is the backbone of most electrochemical research and is an essential electrochemical technique to find out the redox states etc | Solid State and Structural Chemistry Unit |  | 2500000 | http://m2ssscuiisc.in/ | UP | Research equipment |  |  |  |  | mondal@iisc.ac.in
Cyclic Voltametry | SEC | Prof Abhishek Mondals Lab F208 | Metrohm | NA | NA | External Funding | IISc | redox chemistry electrochemistry | Cyclic voltammetry CV is the backbone of most electrochemical research and is an essential electrochemical technique to find out the redox states etc | Solid State and Structural Chemistry Unit |  | 2500000 | http://m2ssscuiisc.in/ | UP | Research equipment |  |  |  |  | mondal@iisc.ac.in
PerkinElmer Spectrum Two FT IR | CV | Prof Abhishek Mondals Lab | PerkinElmer | NA | 125568 | External Funding | CEFIPRA | NA | Solid and Solution state ATR and KBR mode measurements can be performed in room temperature | Solid State and Structural Chemistry Unit |  | 2127100 | http://m2ssscuiisc.in/ | UP | Research equipment |  |  |  |  | mondal@iisc.ac.in
PerkinElmer Spectrum 3 FT IR | Spectrum Two FT IR | Prof Abhishek Mondals Lab | PerkinElmer | NA | 125449 | External Funding | SERB CRG, Govt of India | NA | Solid and Solution state ATR and KBR mode measurements can be performed in room temperature as well as variable temperature | Solid State and Structural Chemistry Unit |  | 2655000 | http://m2ssscuiisc.in/ | UP | Research equipment |  |  |  |  | mondal@iisc.ac.in
Microwave Ultraviolet Ultrasonic Synthesis Extraction System | Spectrum 3 FT IR | Prof Abhishek Mondals Lab | Nutech Analytical Technologies Pvt Ltd | NuWav PRO | 1124PRO141UVUS | Internal Funding | Institution Funding (Self Supported) | NA | NuWav Pro Microwave Synthesis Extraction System can meet various experiment condition User friendly ease to use design Widely used in research such as Organic Synthesis Pharmaceutical Chemistry Organic Extraction Food Science Analytical Chemistry Inorganic Chemistry Protein Chemistry research Material Chemistry Etc NuWav Pro is a versatile reaction workstation that is superior to regular heating technique The system has two different types of sensor Pt and Contact less IR sensor which fulfil all your reaction requirement The system is safe convenient and reliable to be operated in any environment that is full of Organic Solvent The system is equipped with condenser inert gas atmosphere ultrasonication probe and UV chamber as well It has four modes of operation depending on users need | Solid State and Structural Chemistry Unit |  | 2027790 | http://m2ssscuiisc.in/ | UP | Research equipment |  |  |  |  | mondal@iisc.ac.in
LEICA M205C Polarizing Microscope | MW synthesis system | Prof Abhishek Mondals Lab | LEICA | MDG41 | 5987081 | Internal Funding | Institution Funding (Self Supported) | NA | LEICA polarizing microscope with LEICA MC 190 HD integrated camera can help visualizing any object upto few micron scale builtin polarizer is helpful for investigating impurity in crystals or presence of multiple domains This powerful microscope is very helpful for single crystal X ray Analysis | Solid State and Structural Chemistry Unit |  | 2564700 | http://m2ssscuiisc.in/ | UP | Research equipment |  |  |  |  | mondal@iisc.ac.in
Munz Polarizing Microscope with Hot Stage | LEICA polarizing microscope | Prof Abhishek Mondals Lab | Wagner and Munz | Polytherm A | 1019027 | Internal Funding | Institution Funding (Self Supported) | NA | Polytherm A polarizing microscope with hot stage allows user to study the crystal under microscope from liquid Nitrogen temperature 77 K upto 473 K helping in investigation of phase transition in materials This microscope is equipped with several polarizers and four different objectives 4x 10x 40x and 100x for maximum resolution of sample | Solid State and Structural Chemistry Unit |  | 2787564 | http://m2ssscuiisc.in/ | UP | Research equipment
Rotary Evaporator | Munz microscope with hot stage | Prof Abhishek Mondals Lab | Heidolph | Base Hei Vap Expert Ultimate ML | 200358837 20200204 | Internal Funding | Institution Funding | NA | Rotary Evaporator | Solid State and Structural Chemistry Unit |  | 2017942 | http://m2ssscuiisc.in/ | UP | Research equipment |  |  |  |  | mondal@iisc.ac.in
Rotary Evaporator | NA | Prof Abhishek Mondals Lab | Buchi Labortechnik AG | R 210 | 1000059197 | Internal Funding | Gifted | NA | Rotary Evaporator | Solid State and Structural Chemistry Unit |  | 2167942 | http://m2ssscuiisc.in/ | UP | Research equipment |  |  |  |  | mondal@iisc.ac.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE