## Worksheet
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Reference Website | Equipment Status | Category | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Microwave Arbitrary waveform Generator 10GHz | AWG | FIST room AB 2 or PI lab | Tektronix | 70002B | AWG70002BB010412 | DST FIST | DST | Microwave based Device Fabrication and Instrumentation Facility | Arbitrary waveforms upto 10GHz | PHYSICS | DST FIST | 5555140 |  | working | Test and Measurement | Tektronix | sanchit.bhatia@tektronix.com |  | sanchit.bhatia@tektronix.com | ananthv@iisermohali.ac.in
Lock in Amplifier | Lock in | FIST room AB 2 or PI lab | Rohde and Schwartz | Moku Pro | FCCIDZ64WL18DBMODSerialNo000241 | DST FIST | DST | Microwave based Device Fabrication and Instrumentation Facility | Lock-in Amplifier upto 500 MHz | PHYSICS | DST FIST | 1920000 |  | working | Test and Measurement | Liquid Instruments | nihal@premiertcs.com | Premier Test Calibration | ROHIT.GUPTA@rohde-schwarz.com | ananthv@iisermohali.ac.in
RF Grade PCB Fabrication system | PCB router | FIST room AB 2 or PI lab | Rohde and Schwartz | Protomat S 104 | 1832000589 | DST FIST | DST | Microwave based Device Fabrication and Instrumentation Facility | Can fabricate PCBs by machining copper | PHYSICS | DST FIST | 1920000 |  | working | Fabrication | LPKF |  | Bergen | s.soubam@bergengroupindia.com | ananthv@iisermohali.ac.in
Phase coherent Signal Generators 3 units | Sig Gen | FIST room AB 2 or PI lab | Rohde and Schwartz | SGS 100A | 14160505K02114367bY14160505K02114368tD14160505K02114366Lk | DST FIST | DST | Microwave based Device Fabrication and Instrumentation Facility | 1 unit upto 6GHz 2 units upto 12.5 GHz 1 unit with pulses and phase coherence | PHYSICS | DST FIST | 5165000 |  | working | Fabrication | Rohde and Schwartz | ROHIT.GUPTA@rohde-schwarz.com | Rohde and Schwartz | ROHIT.GUPTA@rohde-schwarz.com | ananthv@iisermohali.ac.in
Sampling oscilloscope 25 GHz | Sampling oscilloscope | FIST room AB 2 or PI lab | Picoscope 9302 25 | Piscoscope 9302 25 | 40520D0F5967MACAddress | DST FIST | DST | Microwave based Device Fabrication and Instrumentation Facility | Only periodic wave forms upto 25GHz by averaging | PHYSICS | DST FIST | 1821000 |  | working | Fabrication | Picoscope |  | Technocom | sales@technocommgroup.com | ananthv@iisermohali.ac.in
Vector Network Analyzer and Spectrum Analyzer | VNA | FIST room AB 2 or PI lab | Rohde and Schwartz | ZNB20 | 13343330K62101725dv | DST FIST | DST | Microwave based Device Fabrication and Instrumentation Facility | VNA upto 20 GHz | PHYSICS | DST FIST | 3452000 |  | working | Test and Measurement | Rohde and Schwartz | ROHIT.GUPTA@rohde-schwarz.com |  | ROHIT.GUPTA@rohde-schwarz.com | ananthv@iisermohali.ac.in
Wire Bonder | Wire Bonder | FIST room AB 2 or PI lab | Fand S Bondtec | 53xx BDA | 53xxBDAGMS40756AK08337 | DST FIST | DST | Microwave based Device Fabrication and Instrumentation Facility | Wire Bonding | PHYSICS | DST FIST | 2905000 |  | working | Fabrication | F and S Bondtec |  | GMS | s.soubam@bergengroupindia.com | ananthv@iisermohali.ac.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
Test Funding Agency
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
INODE FAG
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
Testing Funding Agency
GIA
TestName12
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
TestFundingAgencySS
DME Government of Karnataka
I-STEM Funding at IISc
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE