## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
ESCR Apparatus | - | CIPET/RNC/PTC/EQUIP/01 | M/s P.S.I Sales private Limited, 803, Hemkunt House - 6, Rajendra Place, New Delhi - 08. | PLC-30 | PLC30-34/18 | Government | - | - | Determination of ESCR | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Shore A Hardness Tester | - | CIPET/RNC/PTC/EQUIP/02 | M/s P.S.I Sales private Limited, 803, Hemkunt House - 6, Rajendra Place, New Delhi - 08. | ADIS/PRT-5 | 4439 | Government | - | - | Determination of Hardness | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Shore D Hardness Tester | - | CIPET/RNC/PTC/EQUIP/03 | M/s P.S.I Sales private Limited, 803, Hemkunt House - 6, Rajendra Place, New Delhi - 08. | ADIS/ PRT-6 | 4438 | Government | - | - | Determination of Hardness | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Comperative tracking Index | - | CIPET/RNC/PTC/EQUIP/04 A & B | M/s. Arcom Enterprises New Delhi | AECTT | A-AE/CTI/2018-1/1 | Government | - | - | Determination of Tracking Index | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Flammability Tester | - | CIPET/RNC/PTC/EQUIP/05 | M/s P.S.I Sales private Limited, 803, Hemkunt House - 6, Rajendra Place, New Delhi - 08. | Flame-1723 | PLC23A | Government | - | - | Determination of Burning Behaviour | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
High Temperature Bath (upto 100°c) | - | CIPET/RNC/PTC/EQUIP/06A & B | M/s Elmech Pneumatic Industries Pvt. Ltd, DDA Shed 103, Type-a, Okhla Industrial Area, Phase - II, New Delhi - 20. | LT-400-ES | 4112 | Government | - | - | Determination of Bursting Strength of Pipe | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Long/short term Hydrostatic Pressure Test Apparatus for Pipes | - | CIPET/RNC/PTC/EQUIP/07A &B | M/s Elmech Pneumatic Industries Pvt. Ltd, DDA Shed 103, Type-a, Okhla Industrial Area, Phase - II, New Delhi - 20. | MIL-0301-MM | 4108 | Government | - | - | Determination of Bursting Strength of Pipe | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Falling Weight Dart Impact Tester for Film | - | CIPET/RNC/PTC/EQUIP/08 A | M/s Elmech Pneumatic Industries Pvt. Ltd, DDA Shed 103, Type-a, Okhla Industrial Area, Phase - II, New Delhi - 20. | -- | 4111 | Government | - | - | Determination of Impact property of Plastics film sample | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Muffle Furnace (upto 1000º C) | - | CIPET/RNC/PTC/EQUIP/09 | M/s Elmech Pneumatic Industries Pvt. Ltd, DDA Shed 103, Type-a, Okhla Industrial Area, Phase - II, New Delhi - 20. | LT-400-ES | 4109 | Government | - | - | Determination of Ash/Filler /Glass Content | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Haze/Clarity Meter | - | CIPET/RNC/PTC/EQUIP/10 | M/s Elmech Pneumatic Industries Pvt. Ltd, DDA Shed 103, Type-a, Okhla Industrial Area, Phase - II, New Delhi - 20. | -- | 4110 | Government | - | - | Determination of Hazeness and clarity | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Melt Flow Index | - | CIPET/RNC/PTC/EQUIP/12A | Measure India Corporation Pvt.Ltd Mic house no-12-2-41,Plot no-41, Sreenagar Ramapally Keesara (M) Medchalmalkajgiri Opposite to nagarjuna rmc Hyderabad-501301 | MFI 452 | 1801097 | Government | - | - | Determination of Melt flow rate | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Di-electric Strength | - | CIPET/RNC/PTC/EQUIP/13 A & B | M/s. Arcom Enterprises New Delhi | DBT100 | AE/11004192(P)18 |  | - | - |  |  | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | -
Hydraulic Compression Moulding | - | CIPET/RNC/PTC/EQUIP/14 | M/s P.S.I Sales private Limited, 803, Hemkunt House - 6, Rajendra Place, New Delhi - 08. | -- | H.Press 1801 | Government | - | - | Sheet Prepration | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Heat Deflection Temperature (HDT) Apparatus | - | CIPET/RNC/PTC/EQUIP/15 | M/s P.S.I Sales private Limited, 803, Hemkunt House - 6, Rajendra Place, New Delhi - 08. | PLC-13 | HT/VT.54/18 | Government | - | - | Determination of Heat Deflection Temperature | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Vicat Softening Point (VSP) Apparatus | - | CIPET/RNC/PTC/EQUIP/16 | M/s P.S.I Sales private Limited, 803, Hemkunt House - 6, Rajendra Place, New Delhi - 08. | PLC-13 | HT/VT.54/18 | Government | - | - | Determination of Vicat Softening Point | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Precision Balance | - | CIPET/RNC/PTC/EQUIP/19A | M/s Elmech Pneumatic Industries Pvt. Ltd, DDA Shed 103, Type-a, Okhla Industrial Area, Phase - II, New Delhi - 20. | SAB224CL | N1037630098599121406090 | Government | - | - | Determination of Density | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Opacity Tester | - | CIPET/RNC/PTC/EQUIP/20 | M/s Elmech Pneumatic Industries Pvt. Ltd, DDA Shed 103, Type-a, Okhla Industrial Area, Phase - II, New Delhi - 20. | -- | - | Government | - | - | Determination of Opac nature of plastics product | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Carbon Black Content Apparatus | - | CIPET/RNC/PTC/EQUIP/21A | M/s Elmech Pneumatic Industries Pvt. Ltd, DDA Shed 103, Type-a, Okhla Industrial Area, Phase - II, New Delhi - 20. | LT-400-ES | 4162 | Government | - | - | Determination of Black carbon content | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Falling Weight Impact Tester for Pipe | - | CIPET/RNC/PTC/EQUIP/22A & B | M/s Elmech Pneumatic Industries Pvt. Ltd, DDA Shed 103, Type-a, Okhla Industrial Area, Phase - II, New Delhi - 20. | -- | 4162 | Government | - | - | Determination of Impact property of pipe | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Vicker Hardness |  | CIPET/RNC/PTC/EQUIP/23 | M/s. Fine Engineering Chennai | UM50 | 02/2019-1867 | [7 empty] | www.cipet.gov.in | Working | Characterization
Compound Microscop with Hot Plate (Carbon Black Dispersion) | - | CIPET/RNC/PTC/EQUIP/24 | M/s Elmech Pneumatic Industries Pvt. Ltd, DDA Shed 103, Type-a, Okhla Industrial Area, Phase - II, New Delhi - 20. | LT-400-ES | 4197B | Government | - | - | Determination of Carbon Black Dispersion | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Oven (upto 300 0C) | - | CIPET/RNC/PTC/EQUIP/26 | M/s Elmech Pneumatic Industries Pvt. Ltd, DDA Shed 103, Type-a, Okhla Industrial Area, Phase - II, New Delhi - 20. | LT-400-ES | 4197C | Government | - | - | Heat ageing of plastics component | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Melting Point Apparatus | - | CIPET/RNC/PTC/EQUIP/27 | M/s P.S.I Sales private Limited, 803, Hemkunt House - 6, Rajendra Place, New Delhi - 08. | GLE 121 | MP-A/409/19 | Government | - | - | Determination of Melting Point of plastics | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Burst Strength | - | CIPET/RNC/PTC/EQUIP/28 | M/s. Universal Corporation Ambala Road Saharanpur | UEC1010 | UC1010-B3 | Government | - | - | Determination of Bursting Strength of film /Sheet | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Two Roll Mill | - | CIPET/RNC/PTC/EQUIP/29 | M/s San Engineering company,31,Rachanakar colony Station road Aurangabadh-431005 | HPTRM-II | - |  | - | - |  |  | - | - |  | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Vaccum Oven With Pump | - | CIPET/RNC/PTC/EQUIP/30 | M/s. Labtherm Scientific Chennai | LABOV200 | 39 | Government | - | - | Heat ageing of plastics component | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
DSC | - | CIPET/RNC/PTC/EQUIP/31 | M/s. Perkinelmer India Banglore | DSC8000 | 534L1902081 | Government | - | - | Determination of Melting Point & Thermal Stability of plastics | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Barcol Hardness tester | - | CIPET/RNC/PTC/EQUIP/32A | M/s Russell Technologies india pvt ltd. C-2/290, Sector F, Jankipuram, Lucknow - 226021, Uttar Pradesh, India | TM934-1 | 190932 | Government | - | - | Determination of Hardness | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Gloss meter | - | CIPET/RNC/PTC/EQUIP/33A & B | M/s Khushboo Scientific Pvt Ltd,151,15th Floor.Jolly maker Chamber Nariman Point Mumbai-400021 | NOVO Gloss 20/60 & NOVO Gloss 45 | 7006423 & 7006429 | Government | - | - | Determination of Gloss property | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Deep Freezer | - | CIPET/RNC/PTC/EQUIP/35A | M/s San Engineering company,31,Rachanakar colony Station road Aurangabadh-431005 | ARC-310-DF | 1203 | Government | - | - | Conditioning of plastics component | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Rockwell hardness tester | - | CIPET/RNC/PTC/EQUIP/36 | M/s. RV Testing Machines, Plot No 89, Door No 5/49A, Vanavil-A2, Natesan Nagar, Ramapuram Chennai-600089 | MRD-600TS | WD133 | Government | - | - | Determination of Hardness | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Fourier-transform infrared spectroscopy (FTIR) | - | CIPET/RNC/PTC/EQUIP/37 | M/s Thermo Fisher Scientific India Pvt.Ltd ,Sun Center,4th floor,no-2 Tank Bund Road,Opp. Loyola College Nungambakkam Chennai-600034 | Nicolet iS5 | 912A0690 | Government | - | - | Identification of Plastics material | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Universal testing machine 25 kN | - | CIPET/RNC/PTC/EQUIP/38 | M/s- Aimil Ltd Naimex House,A-8 Mohan Co-perative Industrial Estate,Mathura road New Delhi-110044 | 25 ST | ST-AF-01449GB | Government | - | - | Determination of Mechanical property of Plastics | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Bulk Density | - | CIPET/RNC/PTC/EQUIP/39A | M/s Arcom Enterprises, 102, apra North, Ex-Plaza, Plot No. H-2, Netaji Subhash Place, Pitam Pura, New Delhi - 34 | Custom | BDA-20-1 | Government | - | - | Determination of Bulk Density of Plastics | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Atomic absorption spectrophotometer | - | CIPET/RNC/PTC/EQUIP/41 | M/s. Thermofisher Scientific Mumbai | iEC 3500 | AA09193404 | Government | - | - | Determination of Lead,Arsenic,Tin,Cadmium | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Hot Oil bath | - | CIPET/RNC/PTC/EQUIP/42A | M/s Elmech Pneumatic Industries Pvt. Ltd, DDA Shed 103, Type-a, Okhla Industrial Area, Phase - II, New Delhi - 20. | -- | 4237 | Government | - | - | Determination of Reversion of Plastics Pipe | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Co-efficient of friction tester Horizontal type | - | CIPET/RNC/PTC/EQUIP/43 | M/s. Venture Instrumentation Technology Pvt. Ltd, A-205,1st floor, Block-III, KSSIDC Complex, Electronic city Phase-I, Bangalore-560100 | MXD-02 | 000-01720019137-D09JN | Government | - | - | Determination of Slipage Property | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Elmendrof Tear tester | - | CIPET/RNC/PTC/EQUIP/44A | M/s. Venture Instrumentation Technology Pvt. Ltd, A-205,1st floor, Block-III, KSSIDC Complex, Electronic city Phase-I, Bangalore-560100 | SLY-S1 | 000-06200019017 | Government | - | - | Determination of Tear Strength of film | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Water Vapor Transmission Rate (WVTR) | - | CIPET/RNC/PTC/EQUIP/45 | M/s. Presto StantestPvt.Ltd,I-42,DLF Industrial Area,Phase-1,Delhi Mathura road,Faridabad-121003 | W405 | BJW405190661 | Government | - | - | Determination of Water vapour transmission rate | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Gas Permeability analyzer | - | CIPET/RNC/PTC/EQUIP/46 | M/s. Presto StantestPvt.Ltd,I-42,DLF Industrial Area,Phase-1,Delhi Mathura road,Faridabad-121003 | N530G | N530G190404 | Government | - | - | Determination of Gas transmission rate | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Climatic Chamber | - | CIPET/RNC/PTC/EQUIP/47 | M/s San Engineering company,31,Rachanakar colony Station road Aurangabadh-431005 | ARC5280-ECH | 31020 | Government | - | - | Conditioning of plastics component | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Muffle Furnace (upto 1200º C) | - | CIPET/RNC/PTC/EQUIP/48 | M/s. Sunrise Scientific Equipment Raipur | TH 013NF | -- | Government | - | - | Determination of Ash/Filler /Glass Content | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Karl Fischer Titrator | - | CIPET/RNC/PTC/EQUIP/49 | M/s. Suntronics India Haryana | ST-261 | 230205283 | Government | - | - | Determination of water content | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
UV weatherometer | - | CIPET/RNC/PTC/EQUIP/50 | M/s. ISA Impex Pvt.Ltd. Banglore | UV-18SWS | 121 | Government | - | - | Conditioning of plastics component under UV Rays | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com
Soxhlet Apparatus | - | CIPET/RNC/PTC/EQUIP/51 | M/s. Reliable Lab Ambalacant | - | - |  | - | - | Determination of toulene content | Testing | - | - | www.cipet.gov.in | Working | Characterization | - | - | - | - | - | CIPET:CSTS,Ranchi | ranchi@cipet.gov.in | cipetranchi@gmail.com