## Sheet1
IOCL, R&D CENTRE, ANALYTICAL FACILITIES FOR I-STEM PORTAL
S.No. | Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
1 | X Ray Diffraction | XRD | IOC R&D | Panalytical | Empyrean | DY 1543 | IOCL | IOCL | NA | For structural analysis of crystalline materials | Analytical Department | XRD | 12247750 | www.malvernpanalytical.com | working | Spectroscopy | Malvern Panalytical/Spectris technology | naresh.vyas@panalytical.com | Malvern Panalytical/Spectris technology | northsupport@malvernpanalytical.com | singhdheer@indianoil.in
2 | X Ray Diffraction | XRD | IOC R&D | Anton Paar | XRDynamics500 | 84281630 | IOCL | IOCL | NA | For structural analysis of crystalline materials | Analytical Department | XRD | 17356963 | www.anton-paar.com | working | Spectroscopy | Anton Paar | abhishek.singh@anton-paar.com | Anton Paar | ravi.mishra@anton-paar.com | singhdheer@indianoil.in
3 | Triple Quadrupole Inductively Coupled Plasma Mass Spectrometer | Triple Quad ICP-MS | IOC R&D | Agilent | ICPMS 8900 | SG18501093 | IOCL | IOCL | NA | Elemental mapping in petroleum refinery feeds and products | Analytical Department | ICPMS | 15136395 | www.agilent.com | Working | Atomic Spectroscopy | Agilent Technologies Singapore (Sales) Pte Ltd | ccc-smt@agilent.com | Agilent Technologies India Pvt Ltd | cag_india@agilent.com | singhdheer@indianoil.in
4 | Ultra High Performance Liquid Chromatograph | UHPLC | IOC R&D | Knaur | Azura | FBT245100001 | IOCL | IOCL | NA | UHPLC with RI & PDA | Analytical Department | UHPLC | 7455000 |  | Working | Chromatograhy | Chromline Equipment Company | karmakarbikas@gmail.com | Chromline Equipment Company | karmakarbikas@gmail.com | singhdheer@indianoil.in
5 | Ultra High Performance Liquid Chromatograph | UHPLC | IOC R&D | Thermofisher | Vanquish | 8355780 | IOCL | IOCL | NA | UHPLC with RI, PDA & CAD | Analytical Department | UHPLC | 7918200 |  | Working | Chromatograhy | Thermo Fisher Scientific India Pvt. Ltd. | Support@thermofisher.com | Thermo Fisher Scientific Pte Ltd. | ininfo@thermofisher.com | singhdheer@indianoil.in
6 | High Performance Liquid Chromatograph | HPLC | IOC R&D | Shimadzu | Nexera X2 | L20565102060AE | IOCL | IOCL | NA | HPLC with RI & PDA | Analytical Department | HPLC | 4042802 |  | Working | Chromatograhy | Shimadzu (Asia Pacific) Pte Ltd | info@shimadzu.in | SPINCOTECH PVT LTD | aniket.rathore@spincotech.com | singhdheer@indianoil.in
7 | High Performance Liquid Chromatograph | HPLC | IOC R&D | Shimadzu | Prominence | L20105546622AE | IOCL | IOCL | NA | HPLC with RI & PDA | Analytical Department | HPLC | 3086305.24 |  | Working | Chromatograhy | Shimadzu (Asia Pacific) Pte Ltd | info@shimadzu.in | SPINCOTECH PVT LTD | aniket.rathore@spincotech.com | singhdheer@indianoil.in
8 | Advanced Gel Permeation Chromatograph | GPC | IOC R&D | Malvern | OMNISEC REVEAL ULTRA | H23QSPQ94A | IOCL | IOCL | NA | Ulttra GPC-PDA/RI/Viscosity/LS | Analytical Department | GPC | 21541963.63 |  | Working | Chromatograhy | Aimil Ltd. | amitbhatia@aimil.com | Aimil Ltd. | sombir@aimil.com | singhdheer@indianoil.in
9 | Ion Chromatograph | IC | IOC R&D | Thermofisher | ICS 6000 | 20010148 | IOCL | IOCL | NA | IC-conductivity detector | Analytical Department | IC | 7526868.77 |  | Working | Chromatograhy | Thermo Fisher Scientific India Pvt. Ltd. | Support@thermofisher.com | Thermo Fisher Scientific Pte Ltd. | ininfo@thermofisher.com | singhdheer@indianoil.in
10 | Cumbustion Ion Chromatograph | CIC | IOC R&D | Thermofisher | AQF-2100H-dionex aquion | 211140072 | IOCL | IOCL | NA | Cumbustion Ion Chromatograph | Analytical Department | CIC | 8267480.23 |  | Working | Chromatograhy | Nittoseiko Analytech | u.ridder@n-analytech.de | Skytech System (India) Pvt. Ltd. | shrikant.sharma@skytechindia.com | singhdheer@indianoil.in
11 | Liquid Chromatograh Mass Spectrometer | LC-MS/MS | IOC R&D | Thermofisher | TSQ- Altis plus | 8348577 | IOCL | IOCL | NA | UPLC with Triple Quadrupole Mass Spectrometer | Analytical Department | LC-MS/MS | 23486298.67 |  | Working | Chromatograhy | Thermo Fisher Scientific India Pvt. Ltd. | Support@thermofisher.com | Thermo Fisher Scientific Pte Ltd. | ininfo@thermofisher.com | singhdheer@indianoil.in
12 | Thin Layer Chromatograph with FID | TLC-FID | IOC R&D | Iatroscan | Iatroscan-MK6 | NA6181102 | IOCL | IOCL | NA | TLC-FID | Analytical Department | TLC-FID | 15137688.53 |  | Working | Chromatograhy | Anchrom Enterprises (I) Pvt. Ltd. | service@anchrom.in | Anchrom Enterprises (I) Pvt. Ltd. | deepak.pal@anchrom.in | singhdheer@indianoil.in
13 | Nitrogen/Sulfur/Chlorine analyzer | N/S/Cl Analyzer | IOC R&D | Analytic Jena | EA 5100 | A700AX0248 | IOCL | IOCL | NA | D4929 | Analytical Department | Chlorine analysis in Naptha | 69.76 |  | working | Chromatograhy | ANALYTIK JENA INDIA PVT. LTD., | support-india@analytik-jena.com | AnalytikJena, Germany | info@analytik-jena.com | singhdheer@indianoil.in
14 | Gas chromatograph with FID and backflush facility | Fuel Dilution Analyzer | IOC R&D | Shimadzu (Asia Pacific) Pte Ltd | GC-2030 | C2256181607 | IOCL | IOCL | NA | D7593 | Analytical Department | Fuel Dilution | 36.13 |  | working | Chromatograhy | Toshwin Analytical Pvt Ltd | delhi@toshvin.com/rohank@toshvin.com | Shimadzu (Asia Pacific) Pte Ltd | sales@shimadzu.com.sg | singhdheer@indianoil.in
15 | Simulated distillation (SimDis) analysis | SIMDIST | IOC R&D | PerkinElmer Scientific (Singapore) Pte. Ltd. | Clarus 500 | 650N6032302 | IOCL | IOCL | NA | D2887 | Analytical Department | SIMDIST | 32.52 |  | working | Chromatograhy | Spectralytic Scientific India Private Limited. | mjagadish.naidu@perkinelmer.com | PerkinElmer Scientific (Singapore) Pte. Ltd. |  | singhdheer@indianoil.in
16 | Nitrogen/Sulfur analyzer | N/S Analyzer | IOC R&D | Trace Elemental Instruments | Xplorer | 190830336 | IOCL | IOCL | NA | D5762 | Analytical Department | Nitrogen in ppm level in petrolum products | 43.47 |  | working | Chromatograhy | Lab India Pvt Ltd | enquiry@labindia.com | Trace Elemental Instruments | sales@teinstruments.com | singhdheer@indianoil.in
17 | Carbon/Hydrogen/Nitrogen/Sulfur Analyzer | CHNS Analyzer | IOC R&D | Thermo Fisher Scientific Pte Ltd. | Flash 2000 | 2014F.0076 | IOCL | IOCL | NA | D5291 | Analytical Department | Carbon, Hydrogen, Nitrogen & Sulfur analysis in petrolum products | 29.3 |  | working | Chromatograhy | Thermo Fisher Scientific India Pvt. Ltd. | Support@thermofisher.com | Thermo Fisher Scientific Pte Ltd. | enquiry.sg@thermofisher.com | singhdheer@indianoil.in
18 | Gas chromatograph with HID/FID detector | GC-HID/FID | IOC R&D | Young In Chromass | 6500 | G65001392A | IOCL | IOCL | NA | GC-HID/FID | Analytical Department | Analyzing hydrocarbon composition (From C-1 to C-5 paraffinic & olefinic hydrocarbons individually of Dry gas, propylene and LPG | 26.88 |  | working | Chromatograhy | Blaze Analytical Instruments LLP | soumen@blazeanalytical.com | Young In Chromass | export@youngincm.com | singhdheer@indianoil.in
19 | Gas chromatograph with HID/TCD | GC-HID/TCD | IOC R&D | Young In Chromass | 6500 | G65001381A | IOCL | IOCL | NA | GC-HID/TCD | Analytical Department | Analysis of permanent gas (H2, O2, N2, CO, CO2) in Dry gas, propylene and LPG samples | 29.86 |  | working | Chromatograhy | Blaze Analytical Instruments LLP | soumen@blazeanalytical.com | Young In Chromass | export@youngincm.com | singhdheer@indianoil.in
20 | Detail hydrocarbon Hydrocarbon analysis | Prefrac-DHA | IOC R&D | PAC | 8890 | CN2014A104 | IOCL | IOCL | NA | D6730 | Analytical Department | Detailed analysis of the hydrocarbons in the range of C5-C12 in petroleum products | 61.74 |  | working | Chromatograhy | Marsap Services Pvt. Ltd | accounts@marsap.com | PAC | sales.usa@paclp.com | singhdheer@indianoil.in
21 | Refinery Gas Analyzer | RGA | IOC R&D | PerkinElmer Scientific (Singapore) Pte. Ltd. | Clarus 690 | 690S20020701 | IOCL | IOCL | NA | Hydrocarbons and Non-Hydrocarbon Gases in Gaseous samples | Analytical Department | RGA | 4244000 | www.perkinelmer.com | Working | Chromatograhy | PerkinElmer Scientific (Singapore) Pte. Ltd. | Matthew.Welton@perkinelmer.com | Spectralytic Scientific India Pvt Ltd | india.servicesupport@perkinelmer.com | singhdheer@indianoil.in
22 | Nitrogen Sulfur Analyzer | N/S Analyzer | IOC R&D | Nittoseiko Analytech | NSX2100V | D8IA0785 | IOCL | IOCL | NA | Nitrogen and sulfur quantification | Analytical Department | N/S Analyzer | 4833000 | www.n-analytech.co.jp | Working | Chromatograhy | Nittoseiko Analytech | u.ridder@n-analytech.de | Skytech System (India) Pvt. Ltd. | csdservice@skytechindia.com | singhdheer@indianoil.in
23 | Biodiesel Analyzer | Biodiesel Analyzer | IOC R&D | Shimadzu (Asia Pacific) Pte Ltd | GC-2030 | C12256181495 | IOCL | IOCL | NA | Ester, PUFA, Glycerides in Biodiesel | Analytical Department | Biodiesel Analyzer | 7627000 | www.shimadzu.com | Working | Chromatograhy | Shimadzu (Asia Pacific) Pte Ltd | info@shimadzu.in | Toshwin Analytical Pvt Ltd | mpandit@toshvin.com | singhdheer@indianoil.in
24 | Gas Chromatography-Mass Spectrometry | GC-MS | IOC R&D | Shimadzu (Asia Pacific) Pte Ltd | GCMS-TQ8050 NX | 217660 | IOCL | IOCL | NA | Quantitative analysis | Analytical Department | GC-MS | 9035000 | www.shimadzu.com | Working | Chromatograhy | Shimadzu (Asia Pacific) Pte Ltd | info@shimadzu.in | Toshwin Analytical Pvt Ltd | mpandit@toshvin.com | singhdheer@indianoil.in
25 | Gas Chromatography with sulphur chemiluminescence detector | GC-SCD | IOC R&D | Shimadzu (Asia Pacific) Pte Ltd | SCD-2030 | C12256081173 | IOCL | IOCL | NA | Sulphur speciation | Analytical Department | GC-SCD | 7318000 | www.shimadzu.com | Working | Chromatograhy | Shimadzu (Asia Pacific) Pte Ltd | info@shimadzu.in | Toshwin Analytical Pvt Ltd | mpandit@toshvin.com | singhdheer@indianoil.in
26 | Gas Chromatography with Vacuum Ultraviolet Absorption Spectroscopy Detection | GC-VUV | IOC R&D | Shimadzu (Asia Pacific) Pte Ltd | GC-2030 | C122562 | IOCL | IOCL | NA | PIONA analysis | Analytical Department | GC-VUV | 20529000 | www.shimadzu.com | Working | Chromatograhy | Shimadzu (Asia Pacific) Pte Ltd | info@shimadzu.in | Toshwin Analytical Pvt Ltd | mpandit@toshvin.com | singhdheer@indianoil.in
27 | Wavelength dispersive X-Ray Fluorescence | WDXRF | IOC R&D | Rigaku | ZSX Primus | BE69000045-01 | IOCL | IOCL | NA | WDXRF | Analytical Department | XRF | 10485000 | www.irtech.in | Working | Elemental Analysis | Rigaku |  | M/s IR Tech | service_del@irtech.in | singhdheer@indianoil.in
28 | X-Ray Photoelectron Spectroscopy | XPS | IOC R&D | PHI | VersaProbe 5000 |  | IOCL | IOCL | NA | XPS | Analytical Department | XPS | 43906740 | www.phi.com | Not working | Spectroscopy | PHI Electronics |  | M/s Icon Analytical | nkamat@iconanalytical.com | singhdheer@indianoil.in
29 | NMR Spectrometer ECA500 | NMR | IOC R&D | Jeol Asia | JNM ECA500 | NM1038000440044 | IOCL | IOCL | NA | Nuclear Magnetic Resonance Spectrometer: Used for Reaction Monitoring, Qualitative and Quantitative Characterization Fuels, Additives, Lubricants, Pertrochemiclas etc. | Analytical Departmnet | NMR |  | www.jeol.com | Working | Spectroscopy | Jeol Asia Pte Ltd | jeolasia@singnet.com.sg | Jeol India | info@jeolindia.com | singhdheer@indianoil.in
30 | NMR Spectrometer ECZ500 | NMR | IOC R&D | Jeol Asia | JNM ECZ500 | NM1759000300030 | IOCL | IOCL | NA | Nuclear Magnetic Resonanace Spectrometer: Used for Qulitative and Quantitative Characterization Fuels, Additives, Lubricants, Polymer, Pertrochemiclas etc. | Analytical Departmnet | NMR |  | www.jeol.com | Working | Spectroscopy | Jeol Asia Pte Ltd | jeolasia@singnet.com.sg | Jeol India | info@jeolindia.com | singhdheer@indianoil.in
31 | High Resolution Mass Spectrometer | HRMS | IOC R&D | Jeol Asia | JCA 7000 |  | IOCL | IOCL |  | HRMS | Analytical Departmnet | HRMS |  | www.jeol.com | Not working | Spectroscopy | Jeol Asia Pte Ltd | jeolasia@singnet.com.sg | Jeol India | info@jeolindia.com | singhdheer@indianoil.in
32 | FTIR Spectrometer | FTIR | IOC R&D | Jasco | FT/IR 4X | A039062111 | IOCL | IOCL | NA | FTIR Spectrometer | Analytical Departmnet | FTIR Spectrometer | 2205000 | https://www.jasco-global.com/ | Working | Spectroscopy | Anatek Services Pvt Ltd, Delhi | ranjan@anatekservices.com | Anatek Services Pvt Ltd, Delhi | ranjan@anatekservices.com | singhdheer@indianoil.in
33 | UV Vis NIR Spectrometer | UV-Vis NIR | IOC R&D | Shimadzu | UV 3600I PLUS | A12615900148 | IOCL | IOCL | NA | UV Vis NIR Spectrometer | Analytical Departmnet | UV Vis NIR Spectrometer | 5395000 |  | Working | Spectroscopy | Shimadzu Analytical (India) Pvt.Ltd. | infodelhi@shimadzu.in | Shimadzu Analytical (India) Pvt.Ltd. | infodelhi@shimadzu.in | singhdheer@indianoil.in
34 | Raman Spectrometer | RAMAN | IOC R&D | Horiba | LabRam HR Evo | 1349 | IOCL | IOCL | NA | Raman Spectrometer | Analytical Departmnet | Raman Spectrometer | 13522900 |  | Working | Spectroscopy | Horiba India | Mohit.sharma@horiba.com | Horiba India | Mohit.sharma@horiba.com | singhdheer@indianoil.in
35 | ICAP Optical Emission Spectrometer | ICP | IOC R&D | Agilent | 5800VDV | MY2320CQ08 | IOCL | IOCL | NA | ICAP Optical Emission Spectrometer | Analytical Departmnet | ICAP Optical Emission Spectrometer | 8366000 |  | Working | Elemental Analysis | Agilent India | customercare.india@agilent.com | Agilent India | customercare.india@agilent.com | singhdheer@indianoil.in
36 | ICAP Optical Emission Spectrometer | ICP | IOC R&D | Thermo | ICAP PRO XP DUO | ICAPPRO10786 | IOCL | IOCL | NA | ICAP Optical Emission Spectrometer | Analytical Departmnet | ICAP Optical Emission Spectrometer | 7352000 |  | Working | Elemental Analysis | Thermo Fisher India | ankit.laddha@thermofisher.com | Thermo Fisher India | ankit.laddha@thermofisher.com | singhdheer@indianoil.in