## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
NMR Spectrometer 600 MHz | NMR 600 MHz | A-103 | JEOL | JNM-ECZ600R/S1 | NM1665000680068 | NIPER Funding | NIPER Mohali |  | JEOL NMR JNM ECZ600R/S1 | CIL | Central Instrumentation Lab | 45000000 |  | Working | Equipment | Joel India Pvt Ltd. | RAHUL@JELOINDIA.COM | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
NMR SPECTROMETER 500 MHz | NMR 500 MHz | C-108 | JEOL | JNM-ECA500 | NM10370051 | NIPER Funding | NIPER Mohali |  |  | CIL | Central Instrumentation Lab | 25000000 |  | Working | Equipment | Jeol India Pvt Ltd. | RAHUL@JELOINDIA.COM | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
High Resolution LCMSMS | LCQTOF | A-114 | Agilent | LC-Q-TOF-6546 | SG2049E202 | NIPER Funding | NIPER Mohali |  | LC-HRMS | CIL | Central Instrumentation Lab | 17000000 |  | under maintenance | Equipment | Agilent Technologies | pushpender.chauhan@agilent.com | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
HPLC | HPLC | A-105 | SHIMADZU | LC-10AT-vp | C21044002709 | NIPER Funding | NIPER Mohali |  | HPLC-UV-Visible Detector, PDA Detector, RID Detector & RF detector | CIL | Central Instrumentation Lab | 1300242 |  | Working | Equipment | Spinco Biotech PVT LTD | skhachane@spincotech.com | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
Preparative HPLC | PREP-HPLC | A-105 | SHIMADZU | LC-8A | L20234608456CD | NIPER Funding | NIPER Mohali |  | Prep-HPLC PDA Detector | CIL | Central Instrumentation Lab | 3409513 |  | Working | Equipment | Spinco Biotech PVT LTD | skhachane@spincotech.com | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
UV- Visible Spectroscopy | UV-VIS | A-204 | SHIMADZU | UV-2450 | A10834501688 | NIPER Funding | NIPER Mohali |  | UV-VIS | CIL | Central Instrumentation Lab | 447046 |  | WORKING | Equipment | TOSHVIN | mansoor@toshvin.com | Central Instrumentation Lab | CIL@NIPER.AC.IN | cil@niper.ac.in
Polarimeter | POLARIMETER | A-204 | RUDOLPH | AUTOPOL V | 81311 | NIPER Funding | NIPER Mohali |  | Polarimeter | CIL | Central Instrumentation Lab | 1124874 |  | WORKING | Equipment | AGARAM INDUSTRIES | rishinath@agaramindia.com | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
Fluorescence Spectrophotometer | FLUORESCENCE | A-204 | AGILENT | CARY ECLIPSE | MY2313CG01 | NIPER Funding | NIPER Mohali |  | Fluorescence Spectrometer | CIL | Central Instrumentation Lab | 2497000 |  | WORKING | Equipment | AGILENT TECHNOLOGIES INDIA | pushpender.chauhan@agilent.com | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
Fourier Transform Infrared Spectroscopy with ATR | FTIR | A-204 | TOSHVIN ANALYTICAL PVT LTD | IR TRACER 100 | A21706002006 | NIPER Funding | NIPER Mohali |  | FTIR | CIL | Central Instrumentation Lab | 2200000 |  | WORKING | Equipment | TOSHVIN ANALYTICAL PVT LTD | vbansal@toshvin.com | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
Circular Diachromism | CD | A-204 | JASCO | J81515OS | A014961168 | NIPER Funding | NIPER Mohali |  | CD | CIL | Central Instrumentation Lab | 3849825 |  | WORKING | Equipment | Jasco international | ranjan.anatek@gmail.com | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
Isothermal Chalorimetry | ITC | A-204 | MALVERN PANALYTICAL LTD | MICROCAL PEAQ ITC | MAL1293236 | NIPER Funding | NIPER Mohali |  | ITC | CIL | Central Instrumentation Lab | 7516400 |  | WORKING | Equipment | TOSHNIWAL BROTHERS PVT LTD | girija@toshniwalbros.com | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
Elemental Analyser | CHNS Analyser | A-109 | Thermo Fisher Scientific | FLASH 2000 | 2011F0135 | NIPER Funding | NIPER Mohali |  | CHNS | CIL | Central Instrumentation Lab | 2069840 |  | Working | Equipment | Skytech System INDIA Pvt Ltd | sanjay.dogra@thermofisher.com | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
Thermal Gravimetric Analyser | TGA | A-110 | PERKIN ELMER | TGA 8000 | 52620042305 | NIPER Funding | NIPER Mohali |  | TGA | CIL | Central Instrumentation Lab | 3071139 |  | Working | Equipment | PERKIN ELMER | Ashish.Kumar@perkinelmer.com | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
Differential Scanning Calorimetry | DSC-25 | A-110 | WATERS INDIA | DSC-25 | DSC2A02125 | NIPER Funding | NIPER Mohali |  | (DSC) | CIL | Central Instrumentation Lab | 3649860 |  | Working | Equipment | WATERS INDIA | Office_Chandigarh@waters.com | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
Freeze Dryer - Lyophillizer |  | NIPER Mohali | Allied Frost | FD-3-SF | 423144 | NIPER Funding | NIPER Mohali |  | Freeze Dryer - Lyophilizer | CIL | Central Instrumentation Lab | 938100 |  | Working | Equipment | Anachem Lab Soutions Pvt. Ltd. Biotech Systems | sales@biotechsystem.in | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
Ultracentrifuge Floor Model | Centrifuge | NIPER Mohali | Beckman Coulter | Optima XPN-100 | XPN22K007 | NIPER Funding | NIPER Mohali |  | Ultracentrifuge | CIL | Central Instrumentation Lab | 3894000 |  | Working | Equipment | Beckman Coulter India Pvt. LTd. | marketing.india@beckman.com | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
Ultracentrifuge Bench Top | Centrifuge | NIPER Mohali | Beckman Coulter | Optima Max-XP | CTZ23B017 | NIPER Funding | NIPER Mohali |  | Ultracentrifuge | CIL | Central Instrumentation Lab | 3363000 |  | Working | Equipment | Beckman Coulter India Pvt. LTd. | marketing.india@beckman.com | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
Large Volume Refrigerated Centrifuge | Centrifuge | NIPER Mohali | Beckman Coulter | Avanti JXN-26 | JXN22M038 | NIPER Funding | NIPER Mohali |  | Centrifuge | CIL | Central Instrumentation Lab | 1994200 |  | Working | Equipment | Beckman Coulter India Pvt. LTd. | marketing.india@beckman.com | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
Powder X-Ray Diffraction | Powder XRD | A-111L | RIGAKU | SMARTLAB | BD70000476 | NIPER Funding | NIPER Mohali |  |  | CIL | Central Instrumentation Lab | 8000000 |  | WORKING | Equipment | IRTECH SERVICES PVT LTD | deepak_kumar@irtech.in | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
Fluorosence Assisted Flow cytometer | FACS | A-204 | Beckman Coulter | CYTOFLEX SRT | BF39179 | NIPER Funding | NIPER Mohali |  | Flow Cytomter | CIL | Central Instrumentation Lab | 14999983 |  | working | Equipment | Beckman Coulter , Tamilnadu | marketing.india@beckman.com | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
Floor Model Shelf Type Lyophilizer | Lyophilizer | A-106 | Labconco | Freezone -6L | 240610386 | NIPER Funding | NIPER Mohali |  | BENCH TOP SHELF TYPE LYOPHILIZER | CIL | Central Instrumentation Lab | 6000000 |  | Working | Equipment | medlife solutions | ravinathyadav@medlifesolutions.co.in | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
Surface Plasmon Resonanace | SPR | A-204 | Cytiva | BC X100 | BR1100732991249 | NIPER Funding | NIPER Mohali |  | Surface Plasmon Resonanace | CIL | Central Instrumentation Lab | 10451925 |  | working | Equipment | Nanptemper Technolgies Germany | sajI.menon@nanotempertech.com | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
Microscale Thermophresis | MST | A-204 | Nanotemper | MONOLITH NT115 | 202002BRN031 | NIPER Funding | NIPER Mohali |  | Microscale Thermophresis (MST) | CIL | Central Instrumentation Lab | 9491625 |  | working | Equipment | Global Life Scienes Solutions Singapore | parveen.gupta@cytiva.com | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
HPTLC System CAMAG |  | C-305 | CAMAG SWITZERLAND | LINOMAT-5 TLC SCANNER-3 | 160101151110 | NIPER Funding | NIPER Mohali |  | High-Performance Thin Layer Chromatography | NATURAL PRODUCTS | Scientific and Analytical Research Equipment | 3174716 |  | Functional | Equipment | ANCHROM ENTERPRISES Pvt. Ltd | akshay.charegaonkar@anchrom.in | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
Automated Flash Chromotography System |  | C-305 | YAMAZEN | AI 700X | 200605 | Department of Science and Technology | NIPER Mohali |  | FLASH CHROMOTOGRAPHY | NATURAL PRODUCTS | Scientific and Analytical Research Equipment | 2076008 |  | Functional | Equipment | Inkarp Instruments Pvt. Ltd. | info@inkarp.co.in | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
Spray Dryer |  | E 112 | Labultima process technologies | LU 228 Advanced | SD1000 | NIPER | NIPER Mohali |  |  | Pharmaceutics | Lab Instrument | 606000 |  | Working | Equipment | Lab Ultima | engineers.luptpl@gmail.com | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
Contact angle instrument |  | E 111 | Apex Instruments | Acam-NSC | ACAMNSC49 | NC-CCA | NIPER |  |  | Pharmaceutics | Lab Instrument | 785486 |  | Working | Equipment | Apex Instruments | support@apexicindia.com | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
Hot stage microscope | HSM | E 111 | Linkam Scientific Surrey UK | LNP96-S | 141024300 | NC-CCA | NIPER |  |  | Pharmaceutics | Lab Instrument | 2495450 |  | Working | Equipment | Image Provisions | info@imageprovisions.com | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
Modulated differencial scanning colorimetry | mDSC | E 211 | TA Instruments NJ USA | Q2000 | 20001301 | NIPER | NIPER |  |  | Pharmaceutics | Lab Instrument | 2785500 |  | Working | Equipment | Water India Pvt Ltd | india@waters.com | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
Microwave Synthesis Reactor | Microwave | B-308 | Anton Paar | Monowave 400 | 163523 | NIPER Mohali | Ministry of Chemicals & Fertilizer |  | Organic synthesis under microwave | Medicinal Chemistry | B-Block | 1863727 |  | Working | Equipment | ANTON PAAR | info.in@anton-paar.com | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
Flash Chromatography | Flash Chromatography | B-308 | Biotage | Isolera | IS11237113 | NIPER Mohali | Ministry of Chemicals & Fertilizer |  | Flash Chromatography | Medicinal Chemistry | B-Block | 1800000 |  | Working | Equipment | Biotage India Pvt | info@biotage.com | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
Solvent Purification system | SPS | B-308 | Mbraun | MB SPS-800 | 1501018 | NIPER Mohali | Ministry of Chemicals & Fertilizer |  | making anhydrous solvents | Medicinal Chemistry | B-Block | 1955405 |  | Working | Equipment | Inkarp Instruments Pvt | info@inkarp.co.in | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
Gas Chromatography with Head Space | GC-MS-HS | C-209 | Perkin Elmer | Clarus 600 | 665N9080402 | 0 | 0 | 0 | Gas Chromatograph with Autosampler, Flame Ionization Detector, Thermal Conductivity Detector, dotlink Integral Link and Total Chrom Workstation Sftware, Turbomatrix 16 headsapce Sampler, Wall mpounted gas purification system. | Department of Natural Products | Department of Natural Products | 117200 |  | Working | Sophisticated | Perkin Elmer Singapore Pte Ltd., 28 AyerRajah Crescent, No-08-01 Singapore - 139959 | peindia@vsnl.com | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
Super Critical Fluid Extraction System | SCFE | Lab 108,(NPFL) | Devan Supercriticals Pvt Ltd | Lab Scale and Pilot Scale |  | 0 | 0 | 0 | Lab scale (1ltr) and Pilot Scale (10 ltr) systems, CO2 pump, Chiller, Nitrogen Gas cylinders | Department of Natural Products | Department of Natural Products | 9160000 |  | Working | Sophisticated | M/s Devan Supercriticals Pvt. Ltd., 10, Shakti Industrial Estate, Ringwada Nani Daman, Daman 396210 | baser@scfe.in | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
Ultra Pressure Liquid Chromatography | UPLC (H Class) | C-209 | Waters | Acquity | G12CHA 155G | 0 | 0 | 0 |  | Department of Natural Products | Department of Natural Products | 63400 |  | Working | Sophisticated | Waters (India) Private Limited Unit no.514, 5th floor, Block C of office suites, Elante, Plot no 178-178A, Industrial and business park, Chandigarh- 160 002 | lalita_rawat@waters.com | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
ADI DataAcquisition System for animal hemodynamic recording | Powerlab MPVS system | D-312 | ADI nstruments Pty Ltd Australia | MPVS Ultra Single Segment Pressure Volume |  |  | Cardiovascular Pharmacology Research |  | 1) MPVS Ultra segment 2) PowerLab8/35 3)Dual Bio Amp 4) Millar PV catheter | Pharmacology and Toxicology | Safety Pharmacology Facility | 3249599 |  | Millar PV catheter not working | Computer Accessories/ Software | Medi Works A-56, IIIrd Floor, Lajpat Nagar-II,New Delhi-110024 Phone: 011-46563900, +919311857778 Engineer: Muktesh Sharma ADInstruments South Asia (India) Pvt. Ltd. Muktesh.sharma@adinstruments.com +91-9810013864 +91-11-41561202 | info@medi-works.net | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
PowerLab Recording System |  | CID | ADINSTRUMENTS NZ LTD | PowerLab26T | 26T42837 | NIPER Funding | NIPER Mohali |  | The PowerLab 26 Series provides 16-bit resolution on all gain ranges for high resolution on even the smallest of signals for data aquisition. Each channel has individual filters and noise reduction circuitry for minimal channel crosstalk and signal noise. All 26 Series PowerLabs have 2 analog outputs, and trigger input. | Pharmacology and Toxicology | CID | 991200 |  | Running | Equipment | ADInstruments South Asia (India) Pvt. Ltd. | Info.in@adinstruments.com | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
Plantar Test Analgesiameter |  | CID | IITC Life Science | 390 | 120723390 | NIPER Funding | NIPER Mohali |  | The IITC Plantar Analgesia Meter for thermal paw can be used on 12 mice, 6 rats and other animals (cats, rabbits) unrestrained when testing for narcotic drugs. Experiments are easy to perform, simply slide the test head under test subject, align the heat source via our exclusive guide light (idle state) by the attached, adjustable, angled mirror on test head to test subject and perform tests. | Pharmacology and Toxicology | CID | 999874 |  | Running | Equipment | Marsap services Pvt. Ltd. | accounts@marsap.com | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
Chemidoc-Chemiluminescence Imaging System |  | CID | Eppendorf | Fusion Solo 6S | 240761 | NIPER Funding | NIPER Mohali |  | The FUSION Solo 6S is a western blot and chemiluminescence imaging system with flexible upgrade paths. It is designed for molecular biology laboratories. | Pharmacology and Toxicology | CID | 1998900 |  | Running | Equipment | Eppendorf India Pvt. Ltd. | varun.b@eppendorf.co.in | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
Extracellular Flux Analyzer |  | CID | Agilent Technologies | Seahorse XFe24 Analyzer | US00422111 | NIPER Funding | NIPER Mohali |  | Agilent Seahorse XFe24 Analyzers measure the oxygen consumption rate (OCR) and extracellular acidification rate (ECAR) of live cells in a 24-well plate format. OCR and ECAR rates are key indicators of mitochondrial respiration and glycolysis as well as ATP production rate, and together these measurements provide a systems-level view of cellular metabolic function in cultured cells and ex-vivo samples. | Pharmacology and Toxicology | CID | 19700000 |  | Running | Equipment | Medispec India Ltd. | acts@medispec.in | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
CEM Parallel Microwave Synthesizer |  | B-215 | CEM | Discover SP | DC7050 | NIPER Funding | NIPER Mohali | N1811-(RJ) | Microwave Synthesizer-Perform reactions faster than conventional heating | Medicinal Chemistry |  | USD 58400 |  | Working | Equipment | CEM Corporation (Labindia Analytical Instruments Pvt. Ltd.) | info@cem.com, servicecoordinator@labindia.com | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
Automated Flash Purification System |  | B-211 | Biotage | Isolera One | IS12237116 | NIPER | NIPER | (2022-23)-CCA-NC-MC-RJ | Isolera One is a single cartridge flash purification system right for use by one or two chemists who need to perform 1–5 purifications per day | Medicinal Chemistry |  | 1758200 |  | Working | Equipment | Biotage | info@biotage.com | Central Instrumentation Lab | cil@niper.ac.in | cil@niper.ac.in
Equipment
Transmission Electron Microscope | TEM | D-111 | FEI, Netherlands | Tecnai F20 | D555 | Govt | DST,New Delhi and NIPER,Mohali | Strenthening of Facility for Regulatory Toxicology of GLP certified facility for Toxicological screeningof New Chemicasl Entity | TEM is ideal for a number of diverse fields such as life sciences, nanotechnology, medical, biological and material research.TEM provide topographical, morphological, compositional and crystalline information. The images allow the researchers to view samples on a molecular level, making it possible to analyze structure and texture. | Pharmacology and Toxicology | DST Funded HRTEM Facility | 48000000 |  | Working | Highly Sophisticated | ICON Analytical Pvt ltd (Now Thermofisher Scientific) | ininfo@thermofisher.com

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
Test Funding Agency
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
INODE FAG
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
Testing Funding Agency
GIA
TestName12
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
TestFundingAgencySS
DME Government of Karnataka
I-STEM Funding at IISc
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE