## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Flow Cytometer | Invitrogen™ Attune™ NxT B Flow Cytometer | BRIC-Institute of Bioresources and Sustainable Development (BRIC-IBSD), Imphal, Manipur 795001, India | Thermo Fisher Scientific | Attune NxT B | 2AFC249030225 | External Funding | DBT, Govt. of India | Evaluating Medicinal Plants from Northeast India in Mitigating Ailments Associated with Metabolic Dysregulations | Optics • Laser power: Violet 405 nm, Blue 488 nm, Green 532 nm, Yellow 561 nm, Red 637 nm. • Laser excitation: Optimized excitation for minimized stray laser-line noise and losses to reflection • Laser profile: 10 x 50 μm flat-top laser providing robust alignment • Emission filters: Up to 14 color channels with wavelength-tuned photomultiplier tubes (PMTs); user-changeable, keyed filters • Laser separation: 150 μm • Optical alignment: Fixed alignment with prealigned welded fiber; no user maintenance required • Onboard thermoelectric cooler: No warm-up delay; fiber isn’t affected by “on/off” • Simmer mode: Instant “on/off” reduces usage and/or aging by 10x; only turns on when acquiring samples; reports hours of usage • Flat-top laser specified at the flow cell: Coefficient of variation (CV) <3% over the width of the flat-top laser • Upgradable: Convenient field changes Fluidics • Flow cell: Quartz cuvette gel coupled to 1.2 numerical aperture (NA) collection lens, 200 x 200 μm • Sample analysis volume: 20 μL–4 mL • Custom sample flow rates: 12.5–1,000 μL/min • Sample delivery: Positive-displacement syringe pump for volumetric analysis • Sample tubes: Accommodates tubes from 17 x 100 mm to 8.5 x 45 mm • Fluid-level sensing: Active • Standard fluid reservoirs: 1.8 L focusing fluid tank, 1.8 L waste tank, 175 mL shutdown solution tank, and 175 mL wash solution tank • Fluid storage: All fluids stored within instrument • Extended fluidics option: Configuration for 10 L fluid • Nominal fluid consumption: 1.8 L/day • Automated maintenance cycles: ≤15 min start-up and shutdown—deep clean, sanitize, and debubble modes Performance • Fluorescence sensitivity: ≤80 molecules of equivalent soluble fluorochrome (MESF) for FITC, ≤30 MESF for PE, ≤70 MESF for APC • Fluorescence resolution: CV <3% for the singlet peak of propidium iodide–stained chicken erythrocyte nuclei (CEN) • Data acquisition rate: Up to 35,000 events/sec, 34 parameters, based on a 10% coincidence rate per Poisson statistics • Maximum electronic speed: 65,000 events/sec with all parameters • Carryover: Single-tube format: <1% • Forward and side scatter sensitivity: Able to discriminate platelets from noise • Forward and side scatter resolution: Optimized to resolve lymphocytes, monocytes, and granulocytes in lysed whole blood • Forward scatter: Photodiode detector with 488/10 nm bandpass filter • Side scatter: PMT with default 488/10 nm bandpass filter; optional 405/10 nm bandpass filter • Fluorescence detectors: 14 individual detectors • Electronic pulse: Measured area, height and width pulse for all detectors • Violet side scatter resolution: Can be configured for violet side scatter to better resolve particles from noise • Minimum particle size: 0.2 μm on side scatter using submicron bead calibration kit from Bangs Laboratories – 0.1 μm on side scatter under following conditions: Using an Attune NxT Flow Cytometer with standard 0.5 mm blocking configuration, an Invitrogen™ Attune™ NxT 488/10 Filter (Cat. No. 100083194), and Attune™ Focusing Fluid (Cat. No. 4488621, 4449791, or A24904) that has been passed through a 0.025 μm filter. Software • Compensation: Full matrix—automated and manual modes, on-plot compensation tools for fine adjustment; use of tubes and wells • Flow rate: Precise flow rate control via software; no hardware adjustments • Live streaming: Live update of statistics during acquisition of events up to 35,000 events/sec • Overlays: Comparative analysis between samples; 3D view • Sample recovery: System able to return unused samples • Concentration: Direct concentration measurement without use of counting beads • Software layout: Fully customizable for each user account • Bubble detection technology: Stops automated run to preserve sample integrity • Maximum single-event file: 20 million with option to append • Heat map: Set up for definition of plate layout; screening view for analysis for tubes and plates • Threshold: Up to 4 individual thresholds with user option to apply Boolean logic • Gating: Hierarchical gating with the ability to derive gates • Voltage: User adjustable • Window extensions: User adjustable • Area scaling factor (ASF): User adjustable • Acquisition settings: Documented in FCS files and maintained upon import • Templates: Create from existing experiments—instrument settings, workspaces, run protocols, heat map settings, and compensation settings optimized and defined previously • Tube-to-plate conversion: One-click transition from tubes to plates and vice versa; no disassembly, no additional QC, no reboot required for conversion between plates and tubes • Graphics resolution: Publication-quality images; support for TIF, PNG, BMP, JPG, GIF, and EMF; quickly copy and paste plots to any external application (e.g., Microsoft™ PowerPoint™ software) • User account administration: Administrative creation of individual user accounts with designated roles, advanced setting permissions, management of individual accounts, user time tracking, and sample count | Central Instrument Facility | Central Instrument Facility | 4995000 | https://ibsd.gov.in/ibsd/home/index.php/research/view?id=instrumentation-facility | Installed | Characterization/Analytical/Testing Equipment | Universal Educational Institute Cultural Organisation (UEICO), Imphal, Manipur, India | ueico.singh@yahoo.com | Invitrogen Bioservices India Pvt. Ltd | Ininfo@thermofisher.com | pardeep2128@gmail.com

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE
Ministry of Textiles
SRIC Development Fund