## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Rate/Hr | Refernce Website | Equipment Status | Category
Function Generator | FG | TRC Lab | Scientific | 5071 | 13053232,13063255,163063238,13063244 | Institute fund | NA | NA | 3 Mhz function generator with counter | EIE | TRC lab |  |  | Working | Testing
| Function Generator | FG | TRC Lab | Scientific | SM5061 | 0907402,0907379,0907377,0907378 | Institute fund | NA | NA | 3 Mhz function generator with counter | EIE |  |  | Working | Testing
Power supply | DC | TRC Lab | Scientific | PSD3304 | 13033075,13033047,13033079,13033078,13033034,13033056,13033048,13033063,13033050,13033043,13033006 | Institute fund | NA | NA | DC 30v/2A(variable) ±15V/1A,Tracking:5V/5A | EIE | TRC lab |  |  | Working | Testing
Digital storeage oscilloscope | DSO | TRC Lab | Agilent Tech | DSOX2012A | MY53280268,MY53280159,MY53280280,MY53280281,MY53280278,MY53280275,MY53280282, | Institute fund | NA | NA | Oscilloscope,2 Channel, 100MHz, with inbuilt function generator. | EIE | TRC lab |  |  | Working | Testing
Waveform generator |  | TRC Lab | Agilent Tech | 33511B | MY52300381 | Institute fund | NA | NA | Waveform generator, 20Hz, 1 Channel with arbitary model | EIE | TRC lab |  |  | Working | Testing
Digital storeage oscilloscope | DSO | TRC Lab | Agilent Tech | DSO1024A | CN53302730 | Institute fund | NA | NA | Oscilloscope,4 Channel, 200MHz. | EIE | TRC lab |  |  | Working | Testing
Power supply | DC | TRC Lab | Agilent Tech | U1733C | MY53300005,MY53290001,MY53280002,MY53290007,MY53300002 | Institute fund | NA | NA | Triple output power (DC) laboratory (upto 20 volts) | EIE | TRC lab |  |  | Working | Testing
Power supply | DC | TRC Lab | Scientech | Scientech 4077 | 06142560,06142558,06142565 | Institute fund | NA | NA | DC power supply. 0-30 V/2A,±15V/1A tracking 5V/2A multiple DC power supply. | EIE | TRC lab |  |  | Working | Testing
Optical fiber communication kit. |  | TRC Lab | Scientech | Scientech 2501A | 071419 | Institute fund | NA | NA | Simplex Analog and Digital Transreceiver 660 nm channel with Transmitter & Receiver AM-FM-PWM modulation / demodulation On board Function Generator On board Clock & Data Generator On board Bit Error Counter Crystal controlled Clock Functional blocks indicated on-board mimic Input-output & test points provided on board On board voice link Built in DC Power Supply Numerical Aperture measurement jig and mandrel for bending loss measurement Switched faults on Transmitter & Receiver | EIE | TRC lab |  |  | Working | Testing | Priyanka Roy Gswami- Communication theory and telemetry lab, Digital Signal Processing lab
FDM transmitter and receiver | FDM | TRC Lab | Scientech | Scientech 2211 | 0414601 | Institute fund | NA | NA | Self contained and easy to operate Two variable modulating (sinusoidal) input channels with provision of voice inputs Two DSBSC modulators for frequency band translation of two test signals Two Carrier Generators Two sets of audio input amplifier One adder/transmission amplifier Two Demodulators Two low pass filters for smooth output | EIE | TRC lab |  |  | Working | Testing | 2. Dr. Priyanka Dey- Linear control system lab
Convolution encoder & decoder |  | TRC Lab | Scientech | Scientech 2122A,2122B | 041427,081430 | Institute fund | NA | NA | Convolutional encoder Selectable rate: N=3, rate = 1/2 ; N = 7, rate =3/4. Manual and Continuous mode operation Encoder Code tree On-board data and clock generation On board error generation Convolutional decoder Selectable rate: N=3, rates 1/2; N = 7, rate 3/4. State and trellis diagram Support Hard decision and soft decision decoding Decoded data bit display Single supply | EIE | TRC lab |  |  | Working | Testing | 3. Rupam Guypta Roy- Analog electronics and linear integrated circuits lab
Cyclic coder & decoder kit | CRC | TRC Lab | Scientech | Scientech 2120 | 081312 | Institute fund | NA | NA | n-board data and code clock generation On-board data generator BCD rotary switches for data selection LED numeric display Multiple data rate and code rate selection Seven bit code for four bit running or static data | EIE | TRC lab |  |  | Working | Testing
Advance analog communication trainig system kit | AM | TRC Lab | Scientech | Scientech 2201,2203 | 04142437,04142209 | Institute fund | NA | NA | A self contained TechBook Functional blocks with self explanatory waveforms and technical details indicated on board Oscillator controlled carrier frequency LED indication for signal flow and selection More than 25 nos. gold plated test points for waveform observation and analysis 8 Switched faults for troubleshooting at different functional blocks Telescopic antenna for transmission of AM signal On board audio jacks provided for Microphone and Earphone connection On board Speaker provided for audio communication | EIE | TRC lab |  |  | Working | Testing
Amplitude shift key,Frequency Shift Keying, Binary Phase Shift Keying, Differential Binary Phase Shift Keying trainig system kit. | ASK, FSK, BPSK, DBPSK | TRC Lab | Scientech | Scientech 2807 | 031455 | Institute fund | NA | NA | Personalized Learning platform On-board Data Generator with various data patterns Selectable data frequencies and data patterns DDS technology based Carrier Generator SMD LED indicators Can be issued just like a book for hands-on learning | EIE | TRC lab |  |  | Working | Testing
16 Quadrature amplitude modulation | QAM | TRC Lab | Scientech | Scientech 2136 | 061489 | Institute fund | NA | NA | Encoding: 4 bits encoding with Symbol Mapper Modulation: 16-QAM Modulation with I & Q Channel Constellation (Vector / XY) View User selectable step variable clock frequency User Selectable 8 / 16 / 32 / 64 bit Data Digitally Synthesized Sine & Cosine Wave of Maximum 19.2KHz. External Trigger Out | EIE | TRC lab |  |  | Working | Testing
Digital communication training system | VLSI | TRC Lab | Scientech | Scientech 2808 | 091481 | Institute fund | NA | NA | Personalized Learning platform On-board four variable line speed rates and single bit data pattern. On board DDS technology based Carrier Generator SMD LED indicators | EIE | TRC lab |  |  | Working | Testing
Pulse Code Modulation, Differential Pulse Code Modulation, Continuous Variable Slope Delta Modulation | PCM,DPCM,CVSD | TRC Lab | Scientech | Scientech 2802 | 051445 | Institute fund | NA | NA | Types of Signal:Sine, Square, Triangle, Arbitrary signalsFrequency :500Hz, 1KHz, 2KHz, 3KHz | EIE | TRC lab |  |  | Working | Testing
Desktop personal computer | PC | LCS Lab | ACER | VERITON | UXVJSS1E59F0941536,UXVJSS1E59F0941537,UXVJSS1E59F0941540,UXVJSS1E59F0941530,UXVJSS1E59F0941534,UXVJSS1E59F0941529,UXVJSS1E59F0941538,UXVJSS1E59F0941528 | Institute fund | NA | NA | Processors -1 Intel R 2nd generation core i7, 2600, 3.4 GHz, 8 Mb cache/ 4 cores/ 95w operating system options free dos for N series video -2 AT1 Radion 1 Gb graphcs , 2pci express x16. Memory 3.4Gb 1333 Mhz DDR3 Ram with 16GB upgradeable. | EIE | TRC lab |  |  | Working | Testing
Desktop personal computer | PC | DSP Lab | HP | COMPAQ | INA225WVTX,INA225WVV3,INA225WVPR,INA225WVTF,INA225WVZD,INA225WVY3,INA225WVVP,INA225WVYS,INA225WVTC,INA225WVT8 | Institute fund | NA | NA | Processor: Intel® Core™ i7-2600 CPU @ 3.40 GHz, Installed Memory(RAM): 2.00 GB, Hard drive: 500 GB, System type: Windows 7 Professional - 64-bit Operating System. Hard drive interface: Serial ATA-300. | EIE | TRC lab |  |  | Working | Testing
Desktop personal computer | PC | DSP Lab | DELL | DELL Precision tower | CPU:-B2HS3W2,B2FV3V2 | Institute fund | NA | NA | Processor 7th generation intel core i7-7700 3.6Ghz or higher . Chipest intel c236 or higher. One 8 GB RAM 2400 Mhz DDR4,4DIMM slots(Upgraded to 64 GB). Monitor:- 19.5 inches or higher with minimum resolution 1600*900 ips pannel. Monitor capable of highest, tilt adjustment, viewing angle minimum 1HDMI port and 1 VGA port. Graphics: Integrated graphics. Audio: high dimention integrated audio with internal speaker. Hard disk:-1TB SATA(7200 RPM) Hard drive or higher. Optical driver:- Internal optical drive DVD+/- RW driver. | EIE | TRC lab |  |  | Working | Testing
Desktop personal computer | PC | LCS Lab | DELL | DELL Precision tower | CPU:-B3GS3W2,B36YW2 | Institute fund | NA | NA | Processor 7th generation intel core i7-7700 3.6Ghz or higher . Chipest intel c236 or higher. One 8 GB RAM 2400 Mhz DDR4,4DIMM slots(Upgraded to 64 GB). Monitor:- 19.5 inches or higher with minimum resolution 1600*900 ips pannel. Monitor capable of highest, tilt adjustment, viewing angle minimum 1HDMI port and 1 VGA port. Graphics: Integrated graphics. Audio: high dimention integrated audio with internal speaker. Hard disk:-1TB SATA(7200 RPM) Hard drive or higher. Optical driver:- Internal optical drive DVD+/- RW driver. | EIE | TRC lab |  |  | Working | Testing
Desktop personal computer | PC | Project Lab | HP | HP core i7 | CPU-8CG838-3JXH MONITOR-LCN47251LFN |  |  |  | Chipest:-Intel, Processor:-Cpu core i7(7th generation), 08:-windows 10 with 64 bit, memory:- 8gb Ram, hard disk:-1tb HDD, graphics:-integrated, optical devices:-SLIM DVD RW, Display:-27.5" TFT monitor, Network interface:-integrated 10/100/1000 gigabit, ethernet lan,Ports/Slots:-4 USB 2.02 USB 3.0.1 headphone microphone combo. | EIE | TRC lab |  |  | Working | Testing
Digital Electronics Kit | DE Kit | DE Lab | Podder |  | 1-10 | Institute fund | NA | NA | Useful for study of gates and their tables (NOT, OR, AND, NOR, NAND, EX-OR, EX-NOR), verification of the laws of Boolean algebra and De-Morgan’s theorem, TTL terminologies, TTL circuit parameters. Study of flip-flops (RS, KK, D, T, M/S, JK) half adder, full adder, half substractor, full substractor, even/odd parity ckecker, Multiplexer, demultiplexer, binary to gray and gray to binary converter. Study of counters (up/down, synchronous/asynchronous, ripple/reverse, ring binary, BCD and decade). Study of 4 bit universal shift register (SR/SL operation) 7 segment display and decoder/driver. Many other experiments using on board components and veroboard are possible. Consists of DC regulated power supply of 5V at 500mA, fixed and variable clock generators, buffered bounceless manual pulser, 8 independent buffered logic inputs to select high/low TTL levels each with LCD high/low indicator, 8 independent buffered logic level indicators for outputs |  | DE lab |  |  | Working | Testing
Vortex flow meter | VF meter | II Lab | Yokogawa | DY025 | S5P306073,S5P306074 | Institute fund | NA | NA | Fluid to be Measured: Liquid, Gas, Steam (Avoid multiphase flow and sticky fluids) Measuring Flow Rates: Read Table 6 Accuracy: ±0.75% of Reading (Liquid) ±1% of Reading (Gas, Steam) Read P.13. /MV: Read P.14 Repeatability: ± 0.2% of Reading | EIE | II LAB |  |  | Working | Testing
Electromagnetic flow meter | EF meter | II Lab | Yokogawa | AXF0154 | S5P306224411 | Institute fund | NA | NA | • Standard dual frequency excitation: Size 2.5 to 400 mm (0.1 to 16 in.) • Enhanced dual frequency excitation: Size 25 to 200 mm (1.0 to 8.0 in.) (Optional code HF1 or HF2) | EIE | II LAB |  |  | Working | Testing
Differential pressure transmitter | DP Transmitter | II Lab | Yokogawa | EJA1104 | 91P322013412 | Institute fund | NA | NA | 0.065% Accuracy 0.1% Stability per 5 years 2,300 psi MWP | EIE | II LAB |  |  | Working | Testing
Level measurement by capacitive transducer | NA | II Lab | Inventech | NA | IN/14-15/40 | Institute fund | NA | NA | capacitive level sensors are conductive and non-conductive liquid measurement Analog output signals: 1-5V, 4-20ma, 0-10V, 0-5V, 0-20ma Stainless steel electrodes IP65 protection level | EIE | II LAB |  |  | Working | Testing
Angular speed measurement by stroboscope | NA | II Lab | Inventech | NA | IN/14-15/38 | Institute fund | NA | NA | High range : 0 to 18,000 RPM/FPM. Accuracy ± ( 0.05% + 1 digit ).Speed of moving gears, fans, centrifuges, pumps, External Input signal : 5V to 30 V rms, motors and other equipment used in general Trigger 5 to 15,000 RPM/FPM. | EIE | II LAB |  |  | Working | Testing
LDR based light intensity measurement kit | LDR | II Lab | Inventech | NA | IN/14-15/39 | Institute fund | NA | NA | • Operating Voltage: 3.3V to 5V DC • Operating Current: 15milli amps | EIE | II LAB |  |  | Working | Testing
Heat transfer package | NA | II Lab | Podder system & services | NA | 322 | Institute fund | NA | NA | This instrument consist of RTD, THERMOCOUPLE,THERMISTER, BI-MATELIC STRIPS.RTD(Pt100) supply: 24 vdc output:4-20 mA DC.Thermocouple k type. | EIE | II LAB |  |  | Working | Testing
Angular displacement measurement by capacitive transducer | NA | ID-I Lab | Geotran | NA | 140308/140309 | Institute fund | NA | NA | Digital Meters: Voltmeter 200mV DC. Power Supplies: DC Supply IC Regulated +12V, +5V DC, 150mA. Operated on Mains power 230V, 50Hz +10% Components are mounted on the panels are: Variable Gang Capacitor as Transducer. Variable Resistor 741 IC SIGNAL Processor | EIE | ID LAB |  |  | Working | Testing
Displacement measurement by LVDT | NA | ID-I Lab | Geotran | NA | 140301/140302 | Institute fund | NA | NA | Transducer:LVDT, Excitation:-smallmechanical movement of the lvdt, output idicator:- Digital Panel Meter | EIE | ID LAB |  |  | Working | Testing
Pressure measurement by LVDT | NA | ID-I Lab |  |  | 140305 | Institute fund | NA | NA | Transducer:- LVDT fitted with pressure gauge, Excitation:-Air pressure pump fitted on bourdon type pressure gauge, phase sensitive detector,differential amplifire | EIE | ID LAB |  |  | Working | Testing
Piezoelectric transducer kit | NA | ID-I Lab | Karuganti comp. | DM-2 | 1402018 | Institute fund | NA | NA | piezo electric transducer study kit with CRO o/p | EIE | ID LAB |  |  | Working | Testing
Measurement of speed using magnetic pick up proximity sensor | NA | ID-I Lab | Inventech |  |  | Institute fund | NA | NA | Teeth wheelwith 4 teeth, rotor speed manual control,power supply, counter, cro o/p for pulse response | EIE | ID LAB |  |  | Working | Testing
Strain measurement kit | NA | ID-I Lab | Anshuman | MIT-I | 1406006 | Institute fund | NA | NA |  | EIE | ID LAB |  |  | Working | Testing
Displacement sensor panel/capacitive/inductive etc | NA | ID-I Lab | Anshuman | MIT-2 | 1406008 | Institute fund | NA | NA |  | EIE | ID LAB |  |  | Working | Testing
Level measurement by capacitive transducer | NA | ID-I Lab | Anshuman | MIT-2 | 1406009 | Institute fund | NA | NA | capacitive level measurement trainer kit, digital meter,water tank,pump storage tank | EIE | ID LAB |  |  | Working | Testing
Power electronics lab trainer kit | PE lab trainer | PE lab | Scientech | 2712 | 0317852 ,0317853, 0317854, 0317855, 0317856 | Institute fund | NA | NA | Power:-230v , frequency:- 50 hertz, fuse:- 1A | EIE | PE LAB |  |  | Working | Testing
Power supply | DC | AELIC LAB | Scientech | 4077 | 06142562, 05142557, 06142552, 06142561 | Institute fund | NA | NA | Power:-230v , frequency:- 50 hertz, fuse:- 2A | EIE | AELIC LAB |  |  | Working | Testing
Power supply | DC | AELIC LAB | Scientific | PSD3304 | 13033046, 13043113, 13033085 | Institute fund | NA | NA | Power:- 230v, fuse:- 4A, Time lag:- 5*20 mm | EIE | AELIC LAB |  |  | Working | Testing
Digital storeage oscilloscope | DSO | AELIC LAB | Agilent technologies | DS01102B | CN52277719 | Institute fund | NA | NA | 2CH, 100MHz, 50W, 100-240 V, 50-60Hz | EIE | AELIC LAB |  |  | Working | Testing
Digital storeage oscilloscope | DSO | AELIC LAB | Nvis | 207C1T | 0514278, 0514277 | Institute fund | NA |  | 100-240v, 50/60/400 Hz, 50w max | EIE | AELIC LAB |  |  | Working | Testing
Digital storeage oscilloscope | DSO | AELIC LAB | Agilent technologies | DS01024A | CN5332727 | Institute fund | NA | NA | 4CH, 200MHz, 60W max, 100-120V | EIE | AELIC LAB |  |  | Working | Testing
Digital storeage oscilloscope | DSO | AELIC LAB | Agilent technologies | DSO1022A | CN53222204 | Institute fund |  | NA | 2CH, 200MHz , 60W, 100-120V | EIE | AELIC LAB |  |  | Working | Testing
Function Generator | FG | AELIC LAB | Scientific | SM5071 | 13063243, 13053228, 13053200, 13053226, 13063256, 13063252, 13063239 | Institute fund | NA | NA | 230V, 50Hz, 13VA, Fuse:- .15A | EIE | AELIC LAB |  |  | Working | Testing
Multiple Power supply | DC | Network Theory Lab | Scientech | PSD3304 | 13043116,13043115,13033052,13033051,13033049,13033077 | Institute fund | NA | NA | DC power supply. 0-30 V/2A,±15V/1A tracking 5V/2A multiple DC power supply. | EIE | Network Theory Lab |  |  | Working | Testing
Function Generator Counter | FG | EIM LAB | Scientific | SM5071 | 13063247, 13053250 | Institute fund | NA | NA | 230V, 50Hz, 13VA, Fuse:- .15A | EIE | EIM LAB |  |  | Working | Testing
Digital storeage oscilloscope | DSO | EIM LAB | Agilent technologies | DS01022A | CN53222197 | Institute fund | NA | NA | 2CH, 200MHz, 50W, 100-240 V, 50-60Hz | EIE | EIM LAB |  |  | Working | Testing
Oscilloscope Demonstrator Trainer | CRO | EIM LAB | Scientech Technologies Pvt. Ltd. | 2001E | 12171562, 12171564, 12171565 | Institute fund | NA | NA | 2CH, 20MHz, 41VA, 230 V, 50Hz,Fuse-350mA | EIE | EIM LAB |  |  | Working | Testing
Analog to Digital Converter | A/D Converter | EIM LAB | Scientech Technologies Pvt. Ltd. | Not available | 05227 ,05228, 05229, 05230, 05231 | Institute fund | NA | NA | Analog signal variation-0 - +15V,Digital word length-4 bit,Decoder display- 0 to 15,Supply required-230V±10% at 50 Hz AC Mains | EIE | EIM LAB |  |  | Working | Testing
Digital to Analog to Digital Converter | D/A Converter | EIM LAB | Scientech Technologies Pvt. Ltd. | Not available | 05217 ,05218, 05219, 05220, 05221 | Institute fund | NA | NA | Analog signal variation-0 - +5V,Digital word length-4 bit,Analog display- 0 to 5,Supply required-230V±10% at 50 Hz AC Mains | EIE | EIM LAB |  |  | Working | Testing
Function Generator Trainer | FG | EIM LAB | Scientech Technologies Pvt. Ltd. | Not available | 5218 ,05218, 05219, 05220, 05221 | Institute fund | NA | NA | Frequency ranges-1Hz-10Hz,10Hz-100Hz,100Hz-1KHz,1KHz-10KHz,10KHz-100KHz, Amplitude control output- Sine wave-6Vpp,Square wave-6Vpp,Triangular wave-6Vpp,TTL output-5V,Fuse-500mA,slow blow,Power supply-230V±10%,50Hz | EIE | EIM LAB |  |  | Working | Testing
DCS & Process control system | DCS | Process control Lab (Workshop) | Yokogawa India Ltd. | CENTUM-CS3000 R3 |  | Institute fund | NA | NA | In the CENTUM CS 3000 R3 a new, two-layer I/O architecture that integrates field networks into a distributed control system with general analog and digital inputs/outputs. This new architecture consists of two types of nodes: one directly connected to a controller CPU and capable of communicating and updating a large amount of data at a high speed, and the other connected to a controller CPU via a communication bus and placed near field devices. These two types of nodes allow flexible system configuration according to the applications while assuring a sufficiently short data updating period and reducing of wiring costs. | EIE | Process control Lab (Workshop) |  |  | Working | Testing
Desktop personal computer | PC | Process control Lab | ACER | VERITON M200-H81 | UXVJSS1E59F0941544 | Institute fund | NA | NA | Processors -1 Intel R 2nd generation core i7, 2600, 3.4 GHz, 8 Mb cache/ 4 cores/ 95w operating system options free dos for N series video -2 AT1 Radion 1 Gb graphcs , 2pci express x16. Memory 3.4Gb 1333 Mhz DDR3 Ram with 16GB upgradeable. | EIE | Process control Lab |  |  | Working | Testing
Desktop personal computer | PC | Process control Lab | HP | XL510AV HP Compaq 8200 elite SFF PC | INA225WVT9,INA225WVS4,INA225WVQG,INA225WVY6,INA225WVSN,INA225WVZX,INA225WVR0,INA225WVRP,INA225WVYK,INA225WVPM,INA225WVNT,INA225WVVM,INA225WVQ0 | Institute fund | NA | NA | Processor: Intel® Core™ i7-2600 CPU @ 3.40 GHz, Installed Memory(RAM): 2.00 GB, Hard drive: 500 GB, System type: Windows 7 Professional - 64-bit Operating System. Hard drive interface: Serial ATA-300. | EIE | Process control Lab |  |  | Working | Testing