## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs)
ZEISS Inverted Phase Microscope | Inverted Microscope | ASR Lab 1 | Carl Zeiss Microscopy GmbH | Carl Zeiss "Axiovert A1 FL LED |  | DST | DST-FIST Program |  | Inverted Microscope with built in Trinocular Port (beam Splitting Ratio 50:50) Suitable for eyepieces upto FOV 20 mm or Better Variable Binocular Height for Comfortable viewing Wide Mechanical stage with Univerisal Mounting frame 5x Nosepiece (Quadruple) Contrasting Technique: Bright & Phase Single Phase Ring from 10x to 40x, 5x. 10x 20x & 40x High resolution Objective Wide field eyepiece pair with FOV 20mm Both HAL & LED Illuminator in the same Unit, Automatic Standby Illumination via Push Button Long Working Distance Condenser, Common Phase Contrast Ring C Mount Camera 6 Mpixel HDMI USB Colour Camera & Image Processing s/w Apochormatic FL Light Path FL Reflector Turret (Quadruple ) DAPI, FITC & Texas Red LED and Associated Software for Image Capture, Processing and Measurement. | Chemistry | ATC | 1293628 |  | Working | Research | Euro 16,450.00
Automated Flash Chromatography System | Flash Chromatography Ssystem | Chemistry PG-2 | Yamazen Corporation | AKROS |  |  |  |  | Programmable elution Modes: Isocratic, Step, Linear Gradient Pumping Flow rate: 0-80 ml/min Maximum Pressure: 1.0 Mpa (10 bar/145 psi) No. Of Solvents: Use up to 4 solvents in a gradient UV Detection: Variable Wavelength UV Detector 200-400 nm UV detector Sensitivity: 0.02 – 10.24 AUFS. Fractionation Modes: Time,Manual, Peak, Peak& Slope(Valley) Tube Racks: Hold two racks of 18x150 mm – 75 tubes in each rack Facility to connect 2 columns in Series/ Tandem mode TLC IMAGE READER, Associated Software: Eluting position controllable Automatic method set-up based on Inputting TLC Rf value for the single target compound and/or multiple targets, Visual indication to predict where and when the target compound will elute Automatic sample loading scale up & down from one size column to another based on inputting RF value. Safety: Pressure moderating system (standard), Waste level monitor(option),Column Air purge Controller: Touch pad PC with 15.6inch screen with windows OS | Chemistry | ATC | 1490000 |  | Working | Rsearch
CO2 Incubator | CO2 Incubator | ASR Lab 1 | Thermo Scientific | Heracell VIOS CO2 Incubator160i L | 51030287 | DST | DST-FIST Program |  | Chamber volume 165L (5.8 cu.ft.) Interior chamber electropolished stainless steel, 100% SS interior walls, with shelf and pans, Exterior chamber 18 gauge (1 mm), cold-rolled steel, powder coated, Access port 42 mm diameter Data outputs remote alarm contacts, USB, and optional 4-20 mA Internal dimensions (w x h x d) 470 x 607 x 576 mm, External dimensions (w x h x d) 637 x 900 x 880 mm, Operating weight 83 kg (without accessories), (183 lbs) Shelves Dimensions (w x h) 423 x 465 mm (16.7 x 18.3 in), Max. load per shelf/total load 10/30kg (22/66lbs), Construction perforated, adjustable Rated voltage 1/N/PE AC (± 10%), 230V Nominal kW consumption (Steri-Run) 0.56 (1.06) – 230V, 0.51 (0.97) – 220V, Rated frequency 50/60 Hz, Heat emission to environment at 37°C 0.06 kWh/h, During Steri-Run: 0.26 kWh/h (average), 0.78 kWh/h (heating time), 0.59 kWh/h (hold time), Temperature Control ±0.1°C Range Range 3°C above ambient to 55°C Uniformity < ±0.3°C, Ambient range 18...34 °C. Tracking alarm ±1°C, sterilization Cycle temperature 180°C on all internal surfaces Cycle temperature Under 12 hours RH >93% @ 37C, Humidity reservoir max. 3L / min 0.5L, CO2 Control ± 0.1%, Range 1- 0% Tracking alarm ±1% Inlet pressure 12-15 PSI (0.8-1.0 bar) Gas purity min. 99.5 or medical quality CO2 inlet 1/8" hose (barbed) | Chemistry |  | 682500 |  | Working | Research
Deep Freezer 200 Litres Capacity Ultra-Low Temp. -80 0C | Deep Freezer | ASR Lab 1 | Souther Scientific Lab. Instruments | V Type | SSI 0180 VB | DST | DST-FIST Program |  | Temperature Controller Digital Microprocessor Based PID Temperature indicator cum controller with display resolution of 0.1°C., PT-100 Sensor, Class A type. Controlling accuracy ±3°C Display accuracy ±0.5%, ±1 Digit, and full scale. Temperature deviation High and Low Alarms, both Visual and audio with silence switch Construction Inner Chamber made of Stainless Steel, 304 Grade, and Dully Polished., Outer made of Mild Steel, powder coated., Polyurethane Foam Insulation (PUF) Heavy Duty Castor wheels for easy movement with Front Wheel Locking System Handle, lock and magnetic gasket for door. Stainless Steel trays, adjustable. 3 Nos. (For Vertical Models only), Refrigeration System Double stage (Cascade) refrigeration system. Hermetically sealed EMERSON Copeland / Tecumshe make compressor. CFC free refrigerant filled. Fin and tube type air-cooled condenser Power Supply Single phase, 230 Volts, 50 Hz. Stabilizer External stabilizer | Chemistry | ATC | 346500 |  | Working | Research
Microplate Reader Elisa Plate Analyser | Elisa Reader | ASR Lab 1 | Bench Top Lab System [G bio USA] | BT-PR1-E |  | DST | DST-FIST Program |  | Machine Interface Touch Panel/ Keypad Linear measurement range 0.000 to 3.500 Abs Photometric Accuracy ± 2% 0r 0…7 whichever is higher from 0 to 1.5 A; ± 3 % from 1.5 A to 3.5 A Drift <0.005 A/hr, Photometric Linearity 2.5 A Optical measurement 8 Channel, Filters Narrow band Interference 405nm, 492nm, 630nm, & Four optional Half Bandwidth Selection 10nm ± 2nm Automatic by stepper Motor, Light Source Tungsten Halogen Lamp Display 6" Graphics LCD, Negative Blue Curve Plotting STN Graphical Representation on printer Plate Carrier movement Precisely through the stepper motor, Printer Built in Thermal Printer 52 columns Memory Battery Backup for 250 test and more than 25000 results, Analysis Mode Absorbance [ Normal & Deferential] Cut -off Multi - Standard % Absorbance single standard, Connectivity/ RS232 Serial 9600 baud, 8 Data, 1 Stop, no Parity Bits /USB operation position On Horizontal flat, Rigid & vibration free surface, Operating Temp./ Humidity From +18°C to 35°C; Up to 80 %, Storage condition Temp./ Humidity From - 10°C to 40°C; Up to 80% Enclosure ABS Free Radiant, Weight 10 Kgs Power 75 W, 115-230 Volts ± 10 % , 50/60 Hz | Chemistry | ATC | 283500 |  | Working | Research
Biosafety Cabinet Class II | Biosafety Cabinet Class II | ASR Lab 1 | Klenzone Systems India Private Limited | KLZ/BSC/4x2 |  | DST | DST-FIST Program |  | MOC S.S.304 1.2 MM thickness, Size 4X2X2 Air flow 90 FPM (0.45m/s) (+/- 10 FPM) Work table Stainless Steel, Pressure Meter Magnehelic Gauge, HEPA Filter 0.3 micron Pre filter 10 micron, Exhaust Filter No Motor Dynamically balanced Motor Door Sliding door, Gas supply Nickel coated Gas cock, Table Stand Castor wheels/ Jockey Cleanliness level Class 100, Switch 3 Pin Socket – 1 No., Noise level 65 +/- 5 db, Vibration level Less than 2.5 um (0.0001), Power supply 230 v AC, 50Hz Light Fluorescent / LED light, UV Light Yes Air Circulation 70% recirculation & 30 % Exhaust Virus Burn out System YES | Chemistry | ATC | 180000 |  | Working | Research
Refrigerated Centrifuge -20 ᴼC Large Volume, 16500 RPM | Centrifuge | ASR Lab 1 | BT Lab. System [G BioScience, USA] | BT-TGL-16 |  | DST | DST-FIST Program |  | Max speed 16500 RPM Max RCF 19070 g, Temp. Range Minus 200 C to 400 C, Max Capacity 4 x 100 ml Timer Range 99hr59min, Speed Accuracy ± 10 RPM, Temp. Accuracy ± 10ᴼC Noise ≤ 60 dB, Dimensions 420 x 625x 360 [mm], Power AC 220V 50 HZ 15A Rotor NO.1 12 x 1.5 /2.2 ml Rotor NO.2 8 x 15 ml | Chemistry | ATC | 588000 |  | Working | Research
Analytical Balance 0.1 mg | 0.1 mg Balance | ASR Lab 1 | Wensar Weighing Scales Limited | MAB220T |  | DST | DST-FIST Program |  | Capacity 220 g, Readability 0.0001g Repeatablity 0.2 mg, Linearity ± 0.4mg Min. capapcity 10 mg, Display 5 inch Touch screen, Pan size 80 mm Response Time 4 to 5 sec. Calibration Monotonized Internal Cal. Tare Range Full, Operating Temp. 15 °C to 30 °C, Density YES, Unit g,mg,ct,oz Sensitivity Drift 2ppm/ °C, Key Sound YES, Weighing chamber 240x190x165 mm, Class I, Interface RS232C Data Out Put Mode Command & Continuous, Power AC 220V / 50-60 HZ Dimensions [LxWxH] mm 475x315x185 mm | Chemistry | ATC | 44100 |  | Working | Research
Liq. N2 Container 33.3 L | Liq. N2 Container | ASR Lab 1 | Benchtop (G-BioScience) | BL-LNC 30 |  | DST | DST-FIST Program |  | Capacity 31.3 Litres, Static Z Evaporation Loss rate:0.1147Ltrs/ Day, Static Hold Time: 90 Days, Working Time 56 Days, Canister OD: 1.5 inch Length:38 mm. Double walled vacuum and super insulator with long term storage of liquid Nitrogen,. Convent holding time and Capacity. Rugged, reliable efficient and economical in operation with long life high Strength aluminium alloy, sturdiness yet in light weight. | Chemistry | ATC | 103950 |  | Working | Research
Reusable Bottle Top Filter and Vacuum Pump | Vacume Pump | ASR Lab 1 | Tarson | ROCKER |  | DST | DST-FIST Program |  | Autoclavable and reusable Filter housing can be screwed onto standard glass medis bottle with 45 mm neck size Removable membrane support plate is designed to provide maximum flow rate and throughput, 250 ml capacity. With ROCKER Vacuum Pump Rocker is a piston powered and oil free vacuum pump, Contains a moisture trap/vacuum regulator Light weight ROCKER is suitable for liquid filteration and perfect for stack or ambient gas sampling, Angled hose connector simplifies vacuum attachment. | Chemistry | ATC | 26138.7 |  | Working | Research
Vertical Autoclave 50 Litres | Autoclave | ASR Lab 1 | Cosmo Laboratory Equipment | CLE 136 |  | DST | DST-FIST Program |  | Construction Outer chamber of heavy gauge S S and inner is made of 304 S S., Locking wing nut locking arrangement, Capacity 50 ltrs Heater load 3.0 KW, sterilization Pressure 1.2kgf/cm2 (15psi) at 121 deg C, Basket Stainless steel perforated Power supply 220V / 50Hz AC Unit is provided with spring loaded safety valve and Pressure gauge. Moulded joint less silicon rubber gasket is provided for leak proofing. | Chemistry | ATC | 75600 |  | Working | Research
Agarose Gel El-ectrophoresis Apparatus | Electrophoresis | ASR Lab 1 | Biolinkk | BL-DYCP-31BN |  | DST | DST-FIST Program |  | Gel Dimensions [mm] 60 x60 No. Of Samples 6,8,11 Comb Thickness [mm] 1.0 & 1.5 Buffer Volume 120 ml Dimensions [mm] 197 x 96 x 64 Weight 0.5 kg, With BL-PS-600POWER SUPPLY, (Programmable) (4 outputs) Voltage Range 5 - 600V in 1V Steps Current Range 1- 500mA in 1mA steps Timer Range Built -in Timer range-99H-59min, fully Adjustable, Operating Mode Constant Voltage, Constant Current Display LED Display | Chemistry | ATC | 83475 |  | Working | Research
Magnetic Stirrer | Magnetic Stirrer | ASR Lab 1 | Benchtop (G-BioScience) | BT-MS-15D |  | DST | DST-FIST Program |  | Capacity 20 Litres, Max Speed 15000 RPM Platform Size 155 x 155 mm, Power 100-140V 50-60 Hz, Distinct Design with ceramic surface Long using life with no carbon brush motor Speed & Timer regulation, large LCD display | Chemistry | ATC | 27887 |  | Working | Research
Double Decker Orbital Shaking Incubator | Shaking incubator | Micro PG-3 | Klenzone Air Systems | Klenzone |  | DST | DST-FIST Program |  | Double Decker Orbital Shaking incubator One static shelf Max load for shaker 1000ml x 12 flask + 1000ml x 12flask max load for static shelf 1000ml x 12 flask Universal platform for 250ml to 1000ml flask, PID controller for Temperature, Digital display, Temperature range - ambient +5 to 60 degree, Speed range - 50 RPM to 220 RPM Internal Stainless steel, External MS powder coated | Microbiology | ATC | 220500 |  | Working | Research
Circulating Water Bath Double walled Rectangular | Water bath | ASR Lab 1 | Cosmo Laboratory Equipment | COSLAB | 11045 | DST | DST-FIST Program |  | Double walled rectangular water bath 15 litres, outer MS powder coated and inner SS, temperature controlled by PID controller, SS tube holders, Temperature range –Ambient to 80 0C, Dimensions – 355 x 405 x 100 mm, (12 holes of 75 mm diameter). | Chemistry | ATC | 37275 |  | Working | Research
Photo Colorimeter (Microprocessor Based) | Photo Colorimeter | ASR Lab 1 | Manti Lab. Solution | MT 107 |  | DST | DST-FIST Program |  | 8 filters, Facility for direct measurement of results in concentration, % transmission and O.D., Memory to store 3 standards to avoid frequent use of standards. Automatic zero setting facility 1ml solution measurement | Chemistry | ATC | 13965 |  | Working | Research
Shaker Incubator | Shaker Incubator | ASR Lab 1 | Klenzone Air Systems | KZ 19 |  | DST | DST-FIST Program |  | Outer Body MS Powder and Inner body is SS 304, Temp - + 5 Deg. Cent. Above Ambient to 60 Deg. Cent., Front Glass door made up of Glass, 1 shaking platform and 1 static [ non-movable platform] PID Controller cum indicator, clamp provision for 500 ml flasks and 250 ml flasks Motor AC Brushless., Air circulating Fan RPM Meter, Speed: 50 to 250 RPM platform size : 19 inches x 19 inches x 19 inches | Biotech | ATC | 85313 |  | Working | Research
Weighing Balance, High Precision [520 g] | Balance | ASR Lab 1 | Wensar Weighing Scales Limited | HPB501 |  | DST | DST-FIST Program |  | Capacity 520 g, Readability 0.001g [1mg], Repeatability ± 0.001g Linearity ± 0.002g, Min. capacity 0.1g, Display LCD, Pan size 80 mm Response Time 4 to 5 sec. Calibration Automatic External Tare Range Full, Operating Temp. 15 °C to 30 °C, Density Unit g, (ct, ozt, oz, GN, dwt, lb), Key Sound YES, Weighing chamber Height 195 mm, Class I, Interface RS232C Data Out Put Mode Command & Continuous, Power AC 220V / 50-60 HZ, Dimensions [LxWxH] mm 220 x 360 x 345 mm | Chemistry | ATC | 28350 |  | Working | Research
Hot Air Oven | Hot Air Oven | ASR Lab 1 | Bench Top Lab System [G bio USA] | BT-OV1-E |  | DST | DST-FIST Program |  | Temp. range Amb. +5°~200° C Accuracy Accuracy ±0.5° C Uniformity 1° C, Capacity 28 Ltrs Dimensions 300 x 300 x 300 mm (12" x 12" x 12"), Shelves 2, Inner wall S.S wall polished 304 quality Steel, Outer wall M.S with powder Coated, Insulation 75 mm mineral wool Temp Controller Microprocessor Based Controller, Air circulation By motor and blower Heater Placed three side in wall | Chemistry | ATC | 26250 |  | Working | Research
Air Sampler | Air Sampler | EVS | Environtech Instruments | APM 430 |  | DST | DST-FIST Program |  | Flow Rate,1.1to 1.7 Cu m/min (Free Flow) Particle Size, Down to 0.5 micron depending upon Filter used, Recommended filter GFA (8” x 10” ) for common use, and EPM 2000 for Special Research Use, Sampling Time Record, 0 to 99999.99 hrs. Time totalizer records the running time in hours, Sampling Time, 24 hour programmable timer, programmable Power requirement 220 Volts, 2 Amps, Single phase AC, Size and Weight 440mm (L) x 440mm (W) x 820mm (H) Wt. --25 Kg Approx | EVS | ATC | 79133.16 |  | Working | Research
COD Digester Digital | COD Digester | EVS | BIO TECHNICS INDIA | BTI-12 |  | DST | DST-FIST Program |  | It is suitable for COD method for monitoring wastewater influent and effluent, industrial process water, and more this instrument is used by Pollution control Labs. Outer cabinet made of mild steel duly coated Double wall construction with insulation for minimum heat losses increases the efficiency of the system. Aluminum Block with holes (Dimension 40mm dia x 80mm depth) Temperature Range: Above amb. To 180 "C. Resolution: 1 °C, Display Control, Digital 12mm Red LED. Digital electronic Temp. Controller. Heater Rating: 750 Watts Sensor PT-100, Timer: Selectable 15, 30,45,60,90 or 120 min with alarm Hole Size: 40mm dia c 80mm depth. Glass Tube: 38 mm diameter. | EVS | ATC | 53810.95 |  | Working | Research
Clinical Centrifuge | Clinical Centrifuge | EVS | Remi Elektrotechnik Limited | REMI - C-854/8 |  | DST | DST-FIST Program |  | Clinical Centrifuge with 8 x 15 ml Type of Head Swing Out head, Holder 15 ml tapered bottom glass tube RPM 3500 RCF 1600 | EVS | ATC | 7229.86 |  | Working | Research
pH Meter | pH Meter | EVS | Euiptronics | EQ-610 |  | DST | DST-FIST Program |  | Clinical Centrifuge with 8 x 15 ml Type of Head Swing Out head, Holder 15 ml tapered bottom glass tube RPM 3500 RCF 1600 | EVS | ATC | 9168.6 |  | Working | Research
Photoelectric Colorimeter | Colorimeter | EVS | Euiptronics | EQ-650A |  | DST | DST-FIST Program |  | Reads: 650A - % T & OD / 653 – OD Power required: 230 V AC ± 10% 50 Hz, 10 VA, Filters: Disc mounted german filters 400, 420, 470, 500, 530, 620, 660, & 700 nm. All the eight filters are mounted on the disc. Selection is done by rotation of disc. The disc will be locked in desired position Readout:3 digit LCD display Measurement: a) Transmittance ‘T’-0-100% b) OD-0-1.99 (653 reads OD only) Accuracy:%T – ± 1% - OD – ± 0.01 Light source: LED of infinite life Detector: Photo to cell Warming time : 5 minutes Cuvette : Square curette 10 mm path length optiglass window, Body: ABS Weight | EVS | ATC | 9823.5 |  | Working | Research
Conductivity Meter | Conductivity Meter | EVS | Euiptronics | EQ-660B |  | DST | DST-FIST Program |  | Readout: 4 digit LED display, Unit of meas.: MHO (SIEMENS) Ranges: 01μΩ to 200 mΩ in 6 ranges Six ranges: 200 mΩ , 20mΩ , 2 mΩ , 200 μΩ , 20 μΩ , 2 μΩ, Accuracy: ± 1% ± last 2 digits, Power required: 230 V AC ± 10%, 50 Hz, 6 VA, Body: ABS, Dimension: 80 mm (H) x 235 mm (W) x 155 mm (L), Weight: 1kg (Approx.) Warming period: 5 minutes, Standard cond.: Conductance of 1.000 mΩ, Electrode: Cell K = 1 - PVC sleeved (EQ-708A). | EVS | ATC | 9277.75 |  | Working | Research
Energy Gap of Semiconductors | Energy Gap of Semiconductors | Physics | Siddhivinayak Technology | Basic |  | DST | DST-FIST Program |  | Voltmeter: 0-20V Resolution: 0.01V, Ammeter: 0-200mA Resolution: 0.1mA, Source: Built-in constant current source with variable output current setting, Power: AC 220V/50Hz or AC 110V/60Hz, Power Consumption: <40W, Cabinet: Acrylic body, aluminum bottom, Connectors: 2mm-2mm Brass moulded patch cords, b) Digital Thermometer Range: 300°C, Resolution: 0.1°C, c) Electric Kettle & Stand, Kettle Capacity: 0.5L Max Temp: 100°C, Stand: Height adjustable and holds test tube with sample and temperature probe | Physics | ATC | 61200 |  | Working | Research
Conductivity of Ionic Comp | Conductivity of Ionic Comp | Physics | Kamaljeeth Instruments | CIC-1419 |  | DST | DST-FIST Program |  | Readout: 4 digit LED display, Unit of meas.: MHO (SIEMENS), Ranges: .01μΩ to 200 mΩ in 6 ranges, Six ranges:200 mΩ , 20mΩ , 2 mΩ , 200 μΩ , 20 μΩ , 2 μΩ, Accuracy: ±1% ± last 2 digits, Power required: 230 V AC ± 10%, 50 Hz, 6 VA, Body: ABS, Dimension:80 mm (H) x 235 mm (W) x 155 mm (L), Weight:1kg (Approx.), Warming period: 5 minutes, Standard cond.: Conductance of 1.000 mΩ, Electrode: Cell K = 1 - PVC sleeved | Physics | ATC | 27400 |  | Working | Research
Optical Experiment Setup | Optical Experiment Setup | Physics | Siddhivinayak Technology | Basic |  | DST | DST-FIST Program |  | He-Ne Laser 01 mw red(optical 01 eachbench 01 m with Slide, He-Ne Laser 01 mw red multimeter, glass plate, sensor with mount, polarizer(2), glass tank, Diffraction grating(02), simple glass plate, lens, single slit, double slit, Translation stage, thin wire with mount, pin hole with mount, Acrylic colour filters set, screen(2) ,holder (02), stand, laser stand, plane I plate, wedge plate, fiber cable, cable mount, diff. refractive index glass plate with mount, Acrylic plate, holder, glass rod withmount, scale with motion mount, rotation stage | Physics | ATC | 62700 |  | Working | Research
Optical Experiment Set Without Laser | Optical Experiment Set Without Laser | Physics | Siddhivinayak Technology | Basic |  | DST | DST-FIST Program |  | He-Ne Laser 01 mw red(optical 01 eachbench 01 m with Slide, He-Ne Laser 01 mw red multimeter, glass plate, sensor with mount, polarizer(2), glass tank, Diffraction grating(02), simple glass plate, lens, single slit, double slit, Translation stage, thin wire with mount, pin hole with mount, Acrylic colour filters set, screen(2) ,holder (02), stand, laser stand, plane I plate, wedge plate, fiber cable, cable mount, diff. refractive index glass plate with mount, Acrylic plate, holder, glass rod withmount, scale with motion mount, rotation stage. | Physics | ATC | 41700 |  | Working | Research
Diode Laser Green 10 mW | Diode Laser Green 10 mW | Physics | Siddhivinayak Technology | Green 10 mW |  | DST | DST-FIST Program |  | Type: Semiconductor Diode Laser, Wavelength: 535nm (Green) for LAS-301/501G, Output Power: 5mW LAS-301/501G, Mount: Cast Iron Base with levelling screw, Also mountable on standard breadboard with 100mm pitch, Power Supply: Output: Suitable for 3mW & 5mW, Semiconductor Lasers Input: Mains operated 220V, 50Hz or 110V, 60Hz,Mains cord: 2 pin | Physics | ATC | 7600 |  | Working | Research
Digi Eye and Software | Digi Eye and Software | Physics | Siddhivinayak Technology | ZEE-1225 |  | DST | DST-FIST Program |  | For Arc Spectrum | Physics | ATC | 25000 |  | Working | Research
Double Refractive Prism QUARTZ | Double Refractive Prism QUARTZ | Physics | Siddhivinayak Technology | DR-Quartz |  | DST | DST-FIST Program |  | 25 x 25 mm | Physics | ATC | 25000 |  | Working | Research
Double Refractive Prism CALCITE | Double Refractive Prism CALCITE | Physics | Siddhivinayak Technology | DR-Calcite |  | DST | DST-FIST Program |  | 32 x 32 mm | Physics | ATC | 36600 |  | Working | Research
CRO 20 MHz | CRO 20 MHz | Electronics | HTC Instrument | OS-5020 |  | DST | DST-FIST Program |  | Input-220V ,50/60 Hz, Max 35VA | Electronics | ATC | 26730 |  | Working | Research
CRO 30 MHz | CRO 30 MHz | Electronics | HTC Instrument | OS-5030 |  | DST | DST-FIST Program |  | Input-220V ,50/60 Hz, Max 35VA | Electronics | ATC | 30240 |  | Working | Research
Digital Multimeter | Digital Multimeter | Electronics | HTC Instrument | HTC830L |  | DST | DST-FIST Program |  | Range: DC-Voltage : 0-200V, AC-Voltage : 0-600V, AC Current : 0-10A, Resistance : 0 Ω -2M Ω | Electronics | ATC | 912 |  | Working | Research
Monocular and Binocular Microscopes | Monocular and Binocular Microscopes |  | Lawrence & Mayo | LYNX/LM521710, LYNX/LM521603 |  | DST | DST-FIST Program |  | Sturdy stand with anti-rust material.Monocular viewing head, 45 deginclined, 360 deg rotatable. Wide field eye piece WF 10x, FDV 18mm and 5x Huygenian, Quadruple nose piece with 4x, 10x, 40x/45x and 100x (oil immersion). Graduated mechanical stage with cross travel 70mm(X) x 50mm (Y) with co-axial controls. Movable Abbe condenser, Separate corse and fine focusing mechanism, 6v-20w halogen bulb with intensity controller, Wooden box | Biotech | ATC | 52500 |  | Working | Research
Trinocular Stereo Zoom Microscope | Trinocular Stereo Zoom Microscope | Zoology | Carl Zeiss Microscopy, GmbH | Stemi 305doc |  | DST | DST-FIST Program |  | Stand: K-Edu + Ring Illuminator, 6 Megapixel HDMI Color Digital Camera with Image Analysis and Measurement Software | Zoology | ATC | 259875 |  | Working | Research
Vacuum Controller for Rotavapour | Rotavapour | Chemistry PG-2 | Heidolph Instruments GmbH & CO. KG | P/N: 591-00360-00HEI-VAC Control |  | DST | DST-FIST Program |  | Vacuum sensor Integrated, Upper measuring limit 1080/810 mbar/torr, Measurement principle. Ceramic diaphragm (alumina), capacitive, gas indep., absolute pressure, Accuracy of measurement < +- 1 mbar/hPa/torr / +- 1 digit (after adjustment, constant temp.), Ambient temperature range (operation)10 – 40 °C, Max. media temp. for continuous operation / short times 40/80 °C, Material of outer housing, Robust plastic housing with good chemical resistance, Protection class DIN EN 60529 IP 20, Protection class DIN EN 60529 - Residue pump, IP 42, Cable length of external power supply2 m, Dimensions (w/h/d)144 x 24 x 115 mm, Weight 0.44kg | Chemistry | ATC | 140000 |  | Working | Research
Chiller for Rotavapour | Chiller for Rotavapour | Chemistry PG-2 | BEING INSTRUMENTS, USA | BWR-03A |  | DST | DST-FIST Program |  | LCD Display, Temp range: -20 deg to +20 deg C. Reservoir capacity: 3 Litres, Cooling capacity at -20 deg C: 450 W, Cooling parts made by high purity copper nickel plating process with high heat exchange efficiency. Built-in stainless steel (SUS304) storage tank with optional configured 0-1200rpm magnetic stirring could achieve multi-purpose.PID microcomputer control strongly rule out the factors that affect the temperature adjustment accuracy and reduce the error. The instrument could use both laboratory pure water and ethanol solution as a circulating coolant. | Chemistry | ATC | 120000 |  | Working | Research
UPS Machine | UPS Machine | Chemistry PG-2 | A.R. Power Equipments Pvt. Ltd. | ARS310 |  | DST | DST-FIST Program |  | 20 KVA 360 vdc 3ph-1ph, 10 KVA 360 vdc 3ph-1ph, Microprocessor based, with inbuilt isolation transformer | Chemistry | ATC | 294000 |  | Working | Backup