## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Equipment Description | Department Name* | Facility Name | Basic Cost(Rs)* | Warranty End Date (Valid Till) | Category* | Alert to be sent (Email id)* | PRISM Service Category* | Year of Purchase* | Purpose / Application of Equipment | Operational Status* | AMC End Date (Valid Till) | Access Restrictions | Remarks | Pre-Experiment Support* | Post-Experiment Support* | Charges for Pre Experiment Support | Charges for Post Experiment Support
SLA 3D Printer | DESE-3DPF | EN-517, 5th floor, DESE Building, IITB. | Formlabs | Form 4 | NA | Internal Funding | DST and Institution | The SLA 3D Printer is a high-resolution stereolithography (SLA) based additive manufacturing system used for rapid prototyping, model development, and precision component fabrication. The machine offers a build volume of 20.0 × 12.5 × 21.0 cm with an XY resolution of 50 μm and layer thickness ranging from 25–200 μm, enabling the production of detailed and accurate parts. The facility is suitable for academic, research, and industrial applications involving prototype development, product design validation, and experimental model fabrication. It supports fabrication using resin-based materials and is utilized for student projects, laboratory activities, and research support work. | Energy Science and Engineering | DESE- 3D Printing Facility. | 660800 |  | Fabrication And Processing | swapnil.raut@iitb.ac.in | A | 2025 |  | Working |  |  |  | Yes | No
Laser Cutting Facility | DESE-LCF | EN-517, 5th floor, DESE Building, IITB. | Flux | Hexa | FHX1232080 | Internal Funding | DST and Institution | The Laser Cutting and Engraving Machine is a high-precision laser-based fabrication system used for cutting and engraving a variety of materials such as acrylic, wood, fabric, and leather. The machine is equipped with a 100 W CO₂ DC glass laser tube and provides a working area of 1200 mm × 1200 mm with a maximum repositioning accuracy of 0.1 mm. The facility includes a 3 KVA UPS, CO₂ focus lens, and support accessories for safe and efficient operation. It is suitable for rapid prototyping, model fabrication, engraving, and educational/research applications requiring precise and clean cutting operations. | Energy Science and Engineering | DESE - Laser Cutting Facility | 590000 |  | Fabrication And Processing | swapnil.raut@iitb.ac.in | A | 2024 |  | Working |  |  |  | Yes | No
Dual Pulse Laser Facility | DESE-DPLF | HS PIV lab, F3 Shed (CheD), Dept. of Energy Science and Engineering, IIT Bombay, Powai, Mumbai-400076. | Microvec | PIVotal-200 Nd: YAG | LH24010 | Internal Funding | DST and Institution | The Particle Image Velocimetry (PIV) facility is designed to capture and analyse fluid flow fields with high spatial and temporal resolution. It employs laser illumination and high-speed imaging to track seeding particles suspended in the flow. Modular components such as interchangeable optics, synchronizers, and scalable test sections allow for precise adaptation to a wide range of experimental setups. Specification:- Energy: 200 mJ/Pulse @15Hz Rep Rate: 15Hz(full energy/per pulse) | Energy Science and Engineering | DESE - Dual Pulse Laser Facility | 3060000 |  | Characterization | 30004149@iitb.ac.in | A | 2025 |  | Working |  |  |  | Yes | No

## Worksheet 1 (hidden)
NEHU Internal Funds
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Internal Resource Generation
SRIC Development Fund
Dept of Scientific and Industrial Research DSIR
Ministry of Earth Sciences
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Vinayaka Missions Research Foundation
NITTTR Bhopal
ICAR-CMFRI
Ministry of Textiles
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
DBT, Govt. of India
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
Minister of Labour and Employment
Central Water Commission CWC
National Mineral Exploration and Development Trust
Anusandhan National Research Foundation ANRF DST
Dept of Pharmaceuticals NIPER
Ministry of Higher Education
Ministry of New and Renewable Energy
Dept of Atomic Energy
Dept of Health Research Indian council of Medical
Dept of Chemicals and Petrochemicals
Dept of Agriculutre and Farmers Welfare
Dept of DARE DG ICAR
CSIR, Govt. of India
DST, Govt. of India
ICFRE