## Sheet1
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Fume Hood System | FHS | 303-A/Pre-Treatment Room | Akar Scientific Instrument | NA | NA | CPCB, Delhi | CPCB, Delhi | Own project | Fumigation Chamber | Regional Directorate,CPCB,Vadodara | Regional Laboratory, CPCB,Vadodara | 263844 | cpcb.nic.in | Working | Digestion & Extraction | 263844 | 263844 |  | M/s Akar Scientific Instrument Pvt. Ltd Plot No 443, GIDC Makarpura, Vadodara 10 | asipl@aakarscientific.com | M/s Akar Scientific Instrument Pvt. Ltd Plot No 443, GIDC Makarpura, Vadodara 10 | asipl@aakarscientific.com | bdpandey.cpcb@gov.in
P.M.2.5 Sampler | PM 2.5 Sampler | Stilt Room 2 Ground Floor | Thermo Environmental Instruments Inc. | PARASOL 2000I | 2000I202091205 | CPCB, Delhi | CPCB, Delhi | Own project | PM2.5 monitoring | Regional Directorate,CPCB,Vadodara | Regional Laboratory, CPCB,Vadodara | 590539 | cpcb.nic.in | Working | Monitoring Equipment | 590539 | 590539 |  | M/s Thermo Fisher Scientific,27,Forge Parkway Franklin MA | customerservice.aqc@thermofisher.cpm | M/s Thermo Fisher Scientific India Pvt, C-327,TTC Indusrial area ,Navi Mumbai | santanu.behera@thermofisher.com | bdpandey.cpcb@gov.in
Gas Chromatograph | GC | 302/Meteorological Station | Agilent Technologies, Singapore | G4514A | CN12111094 | CPCB, Delhi | CPCB, Delhi | Own project | Gas chromatography | Regional Directorate,CPCB,Vadodara | Regional Laboratory, CPCB,Vadodara | 2196215 | cpcb.nic.in | Working | Pesticides & Herbisides analysis | 2196215 | 2196215 |  | M/s Agilent Technologies, Singapore | ccc-smt@agilent.com | M/s Agilent Technologies,india pvt ltd, Plot no.08, G/F Eligance Tower,Jasola District centre,New delhi | customercare.india@agilent.com | manojsharma.cpcb@gov.in
Auto Clave-Size 750x550 mm | Auto Clave | 201/Microbiology Laboratory | Lab Services | NA | 1047 | CPCB, Delhi | CPCB, Delhi | Own project | Bacteriological analysis | Regional Directorate,CPCB,Vadodara | Regional Laboratory, CPCB,Vadodara | 116955 | cpcb.nic.in | Working | Microbial sterilisation | 116955 | 116955 |  | M/s Lab Services,198,GIDC-Makarpura,Baroda | sales@labserviceindia.com | M/s Lab Services,198,GIDC-Makarpura,Baroda | sales@labserviceindia.com | bdpandey.cpcb@gov.in
Acetylene gas,Nitrous oxide gas ,Argon gas with regulators | AAS | 302/AAS | Agilent Technologies | G8434A | MY14080002 | CPCB, Delhi | CPCB, Delhi | Own project | Atomic Absorption Spectrophotometer | Regional Directorate,CPCB,Vadodara | Regional Laboratory, CPCB,Vadodara | 2959462.79 | cpcb.nic.in | Working | Metals analysis | 2959462.79 | 2959462.79 |  | M/s Agilent Technologies,india pvt ltd,plot number-QA.QB,QC,QD,Doddanakundi industrial area .ITPL Road,bangalore,Karnataka | supportservices_india@agilent.com | M/s Agilent Technologies,india pvt ltd,plot number-QA.QB,QC,QD,Doddanakundi industrial area .ITPL Road,bangalore,Karnataka | supportservices_india@agilent.com | bdpandey.cpcb@gov.in
Hot Plate Thermostatic Round SS Top 12" | Hot Plate | 303-B/Heavy Metal Digestion | Durga Make | NA | NA | CPCB, Delhi | CPCB, Delhi | Own project | Heating Equipment | Regional Directorate,CPCB,Vadodara | Regional Laboratory, CPCB,Vadodara | 4637 | cpcb.nic.in | Working | Drying & Heating | 4637 | 4637 |  | M/s Durga scientific Ltd. Durga estate Octroi Naka Channi Road, Baroda | mail@durgascientific.com | M/s Durga scientific Ltd. Durga estate Octroi Naka Channi Road, Baroda | mail@durgascientific.com | bdpandey.cpcb@gov.in
Hot Plate Thermostatic Round SS Top 12" | Hot Plate | 303-B/Heavy Metal Digestion | Durga Make | NA | NA | CPCB, Delhi | CPCB, Delhi | Own project | Heating Equipment | Regional Directorate,CPCB,Vadodara | Regional Laboratory, CPCB,Vadodara | 4637 | cpcb.nic.in | Working | Drying & Heating | 4637 | 4637 |  | M/s Durga scientific Ltd. Durga estate Octroi Naka Channi Road, Baroda | mail@durgascientific.com | M/s Durga scientific Ltd. Durga estate Octroi Naka Channi Road, Baroda | mail@durgascientific.com | bdpandey.cpcb@gov.in
P.M.2.5 sampler with acessories | PM 2.5 Sampler | Stilt Room - 2 | BGI make | PQ200FRM | 2109 | CPCB, Delhi | CPCB, Delhi | Own project | PM2.5 sampler | Regional Directorate,CPCB,Vadodara | Regional Laboratory, CPCB,Vadodara | $13662.18175 | cpcb.nic.in | Working | Ambient Air monitoringequipment | $13662.18175 | $13662.18175 |  | M/s Mesa labs ,12100W 6 Th Avenue Lakewood,USA-80228 | csbutler@mesalabs.com | Marsbioanalyticals Pvt Ltd, Sarita Vihar, New Delhi | service@ marsbioanlyticals.com | bdpandey.cpcb@gov.in
P.M.2.5 sampler with acessories | PM 2.5 Sampler | Stilt Room - 2 | BGI make | PQ200FRM | 2112 | CPCB, Delhi | CPCB, Delhi | Own project | PM2.5 sampler | Regional Directorate,CPCB,Vadodara | Regional Laboratory, CPCB,Vadodara | $13662.18175 | cpcb.nic.in | Working | Ambient Air monitoringequipment | $13662.18175 | $13662.18175 |  | M/s Mesa labs ,12100W 6 Th Avenue Lakewood,USA-80228 | csbutler@mesalabs.com | Marsbioanalyticals Pvt Ltd, Sarita Vihar, New Delhi | service@ marsbioanlyticals.com | bdpandey.cpcb@gov.in
P.M.2.5 sampler with acessories | PM 2.5 Sampler | Stilt Room - 2 | BGI make | PQ200FRM | 2113 | CPCB, Delhi | CPCB, Delhi | Own project | PM2.5 sampler | Regional Directorate,CPCB,Vadodara | Regional Laboratory, CPCB,Vadodara | $13662.18175 | cpcb.nic.in | Working | Ambient Air monitoringequipment | $13662.18175 | $13662.18175 |  | M/s Mesa labs ,12100W 6 Th Avenue Lakewood,USA-80228 | csbutler@mesalabs.com | Marsbioanalyticals Pvt Ltd, Sarita Vihar, New Delhi | service@ marsbioanlyticals.com | bdpandey.cpcb@gov.in
P.M.2.5 sampler with acessories | PM 2.5 Sampler | Stilt Room - 2 | BGI make | PQ200FRM | 2214 | CPCB, Delhi | CPCB, Delhi | Own project | PM2.5 sampler | Regional Directorate,CPCB,Vadodara | Regional Laboratory, CPCB,Vadodara | $13662.18175 | cpcb.nic.in | Working | Ambient Air monitoringequipment | $13662.18175 | $13662.18175 |  | M/s Mesa labs ,12100W 6 Th Avenue Lakewood,USA-80228 | csbutler@mesalabs.com | Marsbioanalyticals Pvt Ltd, Sarita Vihar, New Delhi | service@ marsbioanlyticals.com | bdpandey.cpcb@gov.in
G.C-M.S with consumables | GCMS | 302/GCMS | Perkin Elmer | Clrus680+SQ&M | 680815074,648N5060202 | CPCB, Delhi | CPCB, Delhi | Own project | Gas chromatography-Mass Spectroscopy | Regional Directorate,CPCB,Vadodara | Regional Laboratory, CPCB,Vadodara | $63,945.00 | cpcb.nic.in | Working | Pesticides & Herbisides analysis | $63,945.00 | $63,945.00 |  | M/s Perkin Elmer singapore pvt ltd,28 ayer rajan crescent,08-01,singapore-139959 | sgsales@perkinelmer.com | Perkin Elmer(India) Pvt.Ltd,8th floor Ghodbandar Road, Kasarvadavali,Thane(West)-400615 | las-india.servicerequest@perkinnlmer.com | manojsharma.cpcb@gov.in
G.C-M.S with other PC(Dell),HP Laserjet printer,N2,H2 gas cylinders with regulators, CH4 gas cylinders with regulator for Cl mode, | GCMS | 302/GCMS |  |  |  | CPCB, Delhi | CPCB, Delhi | Own project |  | Regional Directorate,CPCB,Vadodara | Regional Laboratory, CPCB,Vadodara |  | cpcb.nic.in | Working |  |  |  |  | M/s Perkin Elmer singapore pvt ltd,28 ayer rajan crescent,08-01,singapore-139959 |  |  |  | manojsharma.cpcb@gov.in
He gas cylinders with regulator trap(02Nos.)for Cl mode, | GCMS | 302/GCMS | Perkin Elmer |  |  | CPCB, Delhi | CPCB, Delhi | Own project | 2016 | Regional Directorate,CPCB,Vadodara | Regional Laboratory, CPCB,Vadodara | 223112.67 | cpcb.nic.in | Working |  | 223112.67 | 223112.67 |  | M/s Perkin Elmer singapore pvt ltd,28 ayer rajan crescent,08-01,singapore-139959 |  |  |  | manojsharma.cpcb@gov.in
Gas purification panel for moisture& hydrocarbon traps,Gas cylinder Trolley | GCMS | 302/GCMS | Perkin Elmer |  |  | CPCB, Delhi | CPCB, Delhi | Own project |  | Regional Directorate,CPCB,Vadodara | Regional Laboratory, CPCB,Vadodara |  | cpcb.nic.in | Working |  |  |  |  | M/s Perkin Elmer singapore pvt ltd,28 ayer rajan crescent,08-01,singapore-139959 |  |  |  | manojsharma.cpcb@gov.in
Auto Ignition Flame Photometer with additional Calcium & Lithium Filters,Model No.1027(Sr No.26/10467) | FPM | 204/instrumentation lab | Systronics | 1027 | 26/10467 | CPCB, Delhi | CPCB, Delhi | Own project | Flame igition spectrohotometer | Regional Directorate,CPCB,Vadodara | Regional Laboratory, CPCB,Vadodara | 90860 | cpcb.nic.in | Working | Alkaline Earth metals analysis | 90860 | 90860 |  | M/S Systronics(india),89-92,Narmada industrial Area,Naroda,Ahmedabad | sales@systronicsindia.com | M/S Systronics(india),89-92,Narmada industrial Area,Naroda,Ahmedabad | service.ahd@systronicsindia.com | bdpandey.cpcb@gov.in
BOD Incubator-Model No.DS-BOD-336(Item Code-DS-BOD-336) | BOD Incubator | 203/HOT ROOM | Dinesh Scientific | DS-BOD-336 | DS-BOD-336 | CPCB, Delhi | CPCB, Delhi | Own project | BOD sample incubation | Regional Directorate,CPCB,Vadodara | Regional Laboratory, CPCB,Vadodara | 240869 | cpcb.nic.in | Working | BOD testing | 240869 | 240869 |  | M/S Innovative Engineers,1079,Bengali Mohalla,Ambala cant,Haryana-133001 | innovativeengineers17@gmail.com | M/S Innovative Engineers,1079,Bengali Mohalla,Ambala cant,Haryana-133001 | innovativeengineers17@gmail.com | bdpandey.cpcb@gov.in
Vertical Laboratory Refrigerator-350 to 450 liter capacity, Model No.DS-LR-420L | Refridgerator | 202/SAMPLE STORAGE ROOM | Dinesh Scientific | DS-LR-420L | DS/2022-23/01/793-R1 | CPCB, Delhi | CPCB, Delhi | Own project | cooling & preservation | Regional Directorate,CPCB,Vadodara | Regional Laboratory, CPCB,Vadodara | 157489 | cpcb.nic.in | Working | Preservation & storage of samples | 157489 | 157489 |  | M/S New india scientific ,25,Agragen nagar,near Ekta vihar,Ambala cant,Haryana-133001 | innovativeengineers17@gmail.com | M/S New india scientific ,25,Agragen nagar,near Ekta vihar,Ambala cant,Haryana-133001 | innovativeengineers17@gmail.com | bdpandey.cpcb@gov.in
Potable TOC/HC Analyser,Model-Polaris FID, TOC Smart SE | TOC/HC Analyzer | 303-A/Pre Treatment room | Pollution Analytical Italy | Polaris FID | PF918BH | CPCB, Delhi | CPCB, Delhi | Own project | TOC/Hcanalyser | Regional Directorate,CPCB,Vadodara | Regional Laboratory, CPCB,Vadodara | Euru-31504.00 | cpcb.nic.in | Working | TOC/HC analysis | Euru-31504.00 | Euru-31504.00 |  | M/s Pullution Analytical Equipment,Guitzzardi-53-40054,Buddio(B.O),Italy | www.pollution@pollution.it | Mars Bioanalyticals Pvt.Ltd, Sarita Vihar, New Delhi | service@ marsbioanlyticals.com | bdpandey.cpcb@gov.in
Water Purification System | WPS | 204/instrumentation lab | ELGA | Purelab Chorus II+With RO+EDI+UV10 | CRS00017996,Flex-2-FLA-00016533 | CPCB, Delhi | CPCB, Delhi | Own project | Water purifier | Regional Directorate,CPCB,Vadodara | Regional Laboratory, CPCB,Vadodara | 12943.00(USD) | cpcb.nic.in | Working | Nano pure water system | 12943.00(USD) | 12943.00(USD) |  | M/s Elga Lab Lane End Industrial Park High Wycombe,HP-143BY,UK | www.elgalabwater.com | Metrom Pvt Ltd, Siri tower,3&4 floors Fourts Avanue, Annal Indira Nagar,Okkayam, Thoraipakkam,Chennai-600097 | info@metrohm..in | bdpandey.cpcb@gov.in
pH Meter-Bench Type Water,Model No.Hanna HI-2002 | pH Meter | 204/instrumentation lab | Hanna | Hanna HI-2002 | NA | CPCB, Delhi | CPCB, Delhi | Own project | pH meter | Regional Directorate,CPCB,Vadodara | Regional Laboratory, CPCB,Vadodara | 55000 | cpcb.nic.in | Working | pH measurement | 55000 | 55000 |  | Arohi Enterprises,345/1B, Dadiyapura Shivajinagar,Jhansi-284001,Uttar Pradesh, 284001 | arohienterprises2019@gmail.com | Arohi Enterprises,345/1B, Dadiyapura Shivajinagar,Jhansi-284001,Uttar Pradesh, 284001 | arohienterprises2019@gmail.com | bdpandey.cpcb@gov.in
Bench Top pH Meter with ATC probe pH Meter | pH Meter | 204/instrumentation lab | Eutech | pH-700 | 3181814 | CPCB, Delhi | CPCB, Delhi | Own project | pH meter | Regional Directorate,CPCB,Vadodara | Regional Laboratory, CPCB,Vadodara | 49800 | cpcb.nic.in | Working | pH measurement | 49800 | 49800 |  | M/S Om Techno System ,Shyam Nagar,Chhatisgarh-4 | omtechnosystems@gmail.com | M/S Om Techno System ,Shyam Nagar,Chhatisgarh-4 | omtechnosystems@gmail.com | bdpandey.cpcb@gov.in
Top Loading Balance -Model No.CY2202C, Sr.No.23332315 | Top Loading Balance | 204/instrumentation lab | ACZET | CY2202C | 23332315 | CPCB, Delhi | CPCB, Delhi | Own project | Weighing balance | Regional Directorate,CPCB,Vadodara | Regional Laboratory, CPCB,Vadodara | 48888 | cpcb.nic.in | Working | Weighing | 48888 | 48888 |  | M/s Aczet pvt ltd,S.No.70,Hissa No.4,Mumbai,Ahmedabad Highway,Nalgao,Maharasta-401258 | support@aczet.com | M/s Aczet pvt ltd,S.No.70,Hissa No.4,Mumbai,Ahmedabad Highway,Nalgao,Maharasta-401258 | support@aczet.com | bdpandey.cpcb@gov.in
Ultrasonic Water Bath,Model:RDBUSB-20L | USB | 203/Wet Laboratory | Recombinant DNA Bioreferences | RDBUSB-20L | NA | CPCB, Delhi | CPCB, Delhi | Own project | Digestion equipment | Regional Directorate,CPCB,Vadodara | Regional Laboratory, CPCB,Vadodara | 79500 | cpcb.nic.in | Working | Digestion of samples | 79500 | 79500 |  | M/S Devine Enterprises,19,Karouli Chauraha,Lucknow Road,UP-225003 | divineenterprises.gst@gmail.com | M/S Devine Enterprises,19,Karouli Chauraha,Lucknow Road,UP-225003 | divineenterprises.gst@gmail.com | bdpandey.cpcb@gov.in
Digital Turbidity Meter | DBM | 204/instrumentation lab | Reliable Instruments | RLE | 880R | CPCB, Delhi | CPCB, Delhi | Own project | Turbidity Meter | Regional Directorate,CPCB,Vadodara | Regional Laboratory, CPCB,Vadodara | 49500 | cpcb.nic.in | Working | Turbidity measrement | 49500 | 49500 |  | Arohi Enterprises,345/1B, Dadiyapura Shivajinagar,Jhansi-284001,Uttar Pradesh, 284001 | arohienterprises2019@gmail.com | Arohi Enterprises,345/1B, Dadiyapura Shivajinagar,Jhansi-284001,Uttar Pradesh, 284001 | arohienterprises2019@gmail.com | bdpandey.cpcb@gov.in
bdpandey.cpcb@gov.in
bdpandey.cpcb@gov.in
bdpandey.cpcb@gov.in