## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Advanced 500 MHz NMR Spectrometer for Solids and Liquids | 500MHz NMR | Main building NMR facility | Bruker Biospin International AG Aegeristrasse 52 6301 Zug Swithzerland | Spectrometer NMR AVANCE III 500 MHz | 123456 | Internal Funding | IISER PUNE |  | AV500 AVANCE mIII 500 MHz FT NMR spectrometer High Performance Digital NMR Spectrometer equipped as follows standard RT Shim Systems | physics | NMR facility | 47002202 |  | Working | Characterization | Bruker Biospin International AG Aegeristrasse 52 6301 Zug Swithzerland |  |  |  | mahesh.ts@iiserpune.ac.in
400 MHZ NMR Spectrometer | 400MHz NMR | Main building NMR facility | Jeol Asia Pte Ltd 2 Corporation Road 01 12 Corporatin Place Singapore 618494 | JNM ECS 400 | JNM ECS | Internal Funding | IISER PUNE |  | 400 MHz FT NMR System Model JNM ECS 400 Constisting of following items | Physics | NMR facility | 12497360.004 |  | Working | Characterzation | Jeol Asia Pte Ltd 2 Corporation Road 01 12 Corporatin Place Singapore 618494 |  |  |  | mahesh.ts@iiserpune.ac.in
Spectrophotometer with Quartz Cell |  | Energy lab 301 G1block | Perkin Elmer | UV VIS NIR Spectrophotometer Lambda 950 | Lambda 950 UVVISNIR | Internal Funding | IISER PUNE |  | PART NO L602 0005 PERKIN ELMER Model Lambda 950 PERKIN ELMER UV Vis NIR Spectrometer with UV WinLab V5 Software,Computer Ready. High performances UV Vis NIR | Physics | UV spectrometer | 2515443.75 |  | not working | Characterization | Perkin Elmer Singapore Pte Ltd 28 Ayer Rajah Crescent 08-01 Singapore 139959 |  | Perkin Elmer |  | nileshdumbre@iiserpune.ac.in
Inverted Research Fluorescence Microscope for AFM attachment Model AXIO Observer D1 with phase DIC and Fluorescence | AFM Fluorescence Microscope | Lab 220 H cross | Carl zeiss | AXIO OBSERVER D1 | AXIO OBSERVER D1 | Internal Funding | IISER PUNE |  | INVERTED RESEARCH FLUORESCENCE MICROSCOPE for AFM Attachment MODEL AXIO OBSERVER D1 with Phase DIC & Fluorescence Accessories | physics | Inverted microscope | 2383358 |  |  | Characterization | Carl Zeiss Micro Imaging GmbH Koenigsallee 9 21 37081 Gottingen Germany |  |  |  | nileshdumbre@iiserpune.ac.in
Four Mirror Optical Floating Zone Furnace with Mass flow Controllers with halogen Lampe Quartz tubes O rings and seed holding jig and Feed holding hook | Furnace four mirror | Lab 210 H cross | moorefield associates | FZT10000 | FZT10000HHRIVPMPC | Internal Funding | IISER PUNE |  | Halogen Lamp 300 W 8 Pcs 2 sets 500 W 1000W 8 Pcs 2 sets 1500W 8 Pcs 2 setsQuartz Tube Normal pressure type 2 pcs | Physics | Furnace four mirror | 10962759.384 |  | working | Crystal growth | Crystal Systems Corporation 9633 1 Kobuchisawa Hokuto Yamanashi 408-0044 Japan |  |  |  | surjeet@iiserpune.ac.in
Minilab 080 Series Platform for Automated Multi Technique deposition system with SQC 310 Sequential process Controller suitable for Automated Multi layer Deposition | Sputter deposition system | Energy lab 301 G1block | Minilab | Minilab080 | Minilab080 | Internal Funding | IISER PUNE |  | MiniLab 080 series platform for Automated Multi technique deposition system with SQC310 sequential process controller suitable for Automated Multilayer Deposition Minilab 80 platform multi source source vacuum deposition system for the sequential deposition. | Physics | Deposition system | 8153187 |  | working | Thin film deposition | Moorfield Associates Moorfield House Plumley Moor Road Plumley Cheshire United Kingdom WA16 9RS |  |  |  | shouvik@iiserpune.ac.in
Bruker AXS High Resolution X Ray Diffract meter System D8 Advance basic hardware and software unit. Catalogue Number D8 A01 1 1 Warranty 24 months from the date of Installation & acceptance | Powder XRD | Energy lab 301 G1block | Bruker | D8 Advance | D8 Advance | Internal Funding | IISER PUNE |  | Bruker AXS High Resolution XRay Diffractometer D8 ADVANCE basic hardware and software unit consisting of D8A02L High Resolution Goniometer ThetaTheta long tracks vertical 435 mm extendable up to 600 mm measuring circle diameter. Sample stage is in horizontal position | physics | XRD analysis | 8903000 |  | working | Characterization | Bruker AXS GmbH Oestliche Rheinbrukerenstr 49 D 76187 Karlsruhe Germany |  |  |  | parveen@iiserpune.ac.in
Closed Cycle High Performance Cryostat for optical electrical and magnetic property testing for temperature 4K 500K | CCR system | Main building 1st floor | Advance research system | 204SDMX20 | 204S DMX 20 | Internal Funding | IISER PUNE |  | Closed Cycle High Performance Cryostat for optical electrical and magnetic property testing for temperature 4K 500K with upgrade to 204S DMX 20 system having vibrations as low as 3 5nm with 1 Nos of installation kits and manuals | Physics | Characterization | 2176850 |  | working | Characterization | Advanced Research Systems Inc 7476 Industrial Parkway Macungie PA 18062 USA |  |  |  | shouvik@iiserpune.ac.in
Closed Cycle High Performance Cryostat for optical electrical and magnetic property testing for temperature 4K 500K | CCR system | Main building 1st floor | Advance research system | 204SDMX20 | 204S DMX 20 2 | Internal Funding | IISER PUNE |  | Closed Cycle High Performance Cryostat for optical electrical and magnetic property testing for temperature 4K 500K | physics | Characterization | 2176850 |  | working | Analysis | Advanced Research Systems Inc7476 Industrial Parkway Macungie PA 18062 USA |  |  |  | shouvik@iiserpune.ac.in
LabRAM HR UV visible NIR Intergrated Laser Raman Instrument | Raman instrument | Main building | Horiba | UV visible NIR Intergrated Laser Raman Instrument | UV visible NIR Intergrated Laser Raman Instrument | Internal Funding | IISER PUNE |  | LabRAM HR UV visible NIR Intergrated Laser Raman Instrument | physics | charactarization | 13292719 |  | working | characterization | Horiba Jobin Yvon 91165 Longjumeau Cedex France |  |  |  | pavan@iiserpune.ac.in
Complete System TA PRO newly developed high power laser in Master Oscillator power amplifier design MOPA | Bose Einstein accessories | Lab 213 H cross | Troptica photonics | Systa TA pro | Systa TA pro | Internal Funding | IISER PUNE |  | Model No SYST TA PRO Complete system TA PRO 1 Nos 3058770EURO Newly developed high power laser in Master Oscillator power Amplifier design MOPA | physics |  | 2525272.0025 |  | working | Analysis | Toptica Photonics AG Lochhamer Schlag19 D 82166 Graefelfing Germany |  |  |  | umakant.rapol@iiserpune.ac.in
ULTRA 55 Field Emission Scanning Electron Microscope | FESEM EBL | Lab 212 | Zeiss | Ultra plus | 4095 | Others | DST and Institution | 30109009 DST Nano Unit | ULTRA 55 Field Emission Scanning Electron Microscope | physics |  | 18354827.5 |  | not working | characterization/fabrication | Carl Zeiss NTS GmbH Strasse 56 73447 Oberkochan Germany |  |  |  | shettianil@gmail.com
Laser Writer | photolithography | Lab 212 H cross | Microtech | LW405 | LW405 | Internal Funding | IISER PUNE |  | Laser Writer Model LW405B Standard Laser | physics |  | 12670541.002 |  | working | fabrication | Microtech s r l Corso Pisani 22 90129 Palermo Italy |  |  |  | shouvik@iiserpune.ac.in
LABMASTER SP GLOVE BOX WORK STATION AND GLOVE BOX LABMASTER DP 4 PORT | Glove box | Lab 210 H cross | Labmaster | Glove Box Workstation LABMASTER SP | Glove Box Workstation LABMASTER SP | Internal Funding | IISER PUNE |  | Item A Labmaster SP with Single Purifier Column Glove Box Work Station 01 Nos. Model Labmaster SP 1250 780 Code 1500011 | Physics |  | 10247253.9987 |  | working | Synthesis | Mbraun Inertgas Systeme GmbH Dieselstr 31 D85748 Garching Germany |  |  |  | surjeet@iiserpune.ac.in
Photonic Science Laue X ray Imaging camera system with Computer System and Software for Analysis and Goniometer including installation and training | Laue X ray | Lab 301 energy lab G1 | Photonic science | Laue X ray Imaging Camera System | Laue Xray Imaging Camera System | Internal Funding | IISER PUNE |  | Active input area of 143 52 h x 96 04 v mm approx imaged on the sensor Minimum input pixel size of 75 micro square. Gain range10 1 range. Exposure from 1ms to 20 minutes. Automatic background subtraction mode. | physics | characterization | 5362683.9957 |  | not working | Synthesis | Photonic Science Ltd Millham Mountfield Robertsbridge E Sussex TN32 5LA |  |  |  | surjeet@iiserpune.ac.in
ULTRA HIGH VACUUM LOW TEMPERATURE SCANNING TUNNELING MICROSCOPE | STM | Lab 214 H cross | Omicron | Microscope UHV LTSTM | Microscope UHV LT STM | Internal Funding | IISER PUNE |  | B002732 1 Nos MULTIPROBE LT S UHV system with LT STM and MATRIX SPM control system including | physics |  | 30672657.0026 |  | working | characterization | Omicron Nano Technology GmbH Limburger Str 75 65232 Taunusstein Deutschland |  |  |  | aparna.d@iiserpune.ac.in
X Ray Setup with Copper Target | x ray | Main building physics UG lab 3 | PHYWE | UG Lab Equipment X Ray Setup with Copper Target | UG Lab Equipment X Ray Setup with Copper Target | Internal Funding | IISER PUNE |  | Debye Scherrer diffraction patterns with a cubic powder sample | physics |  | 3162036.0033 |  | working | charaterization | PHYWE Systeme GmbH and Co KG Robert Bosch Breite 10 D 37079 Gottingen |  |  |  | s.patil@iiserpune.ac.in
DIELECTRIC SPECTROMETER | Spectrometer | Lab 211 H cross | Novocontrol | Novacontrol Alpha | Novacontrol Alpha | Internal Funding | IISER PUNE |  | Item Model Alpha AT High resolution high frequency base unit High performance Dielectric Spectrometer with Alpha ATanalyzer Frequency range Impedance | physics |  | 3332152.0013 |  | workning | characterization | NOVOCONTROL Technologies GmbH& Co KG Obererbacher Strasse 9 D 6414 Hundsangen Germany |  |  |  | sunil@iiserpune.ac.in
TABLE TOP ATOMIC FORCE MICROSCOPE AND SCANNING TUNNELLING MICROSCOPE | AFM STM | Lab 214 H cross | nanosurf | Microscope AFM STM Air | Microscope AFM STM Air | Internal Funding | IISER PUNE |  | Model BT02037 Nanosurf easyScan 2 Controller Controller Control software Cables | physics |  | 2561974 |  | working | characterization | Nanosurf AG Grambernstrasse 12 14 4410 Liestal Switzerland |  |  |  | aparna.d@iiserpune.ac.in
MAGNETIC PROPERTIES MEASUREMENT SYSTEM | MPMS | Lab 211 H cross | Quantum design | Magnetic Properties Measurement System MPMS XL7 AC | Magnetic Properties Measurement System MPMS XL7 AC | Internal Funding | IISER PUNE |  | Model MPMS XL7 AC MPMS XL 7T High Uniformity Magnet with Integrated AC Coil Includes M130 RSO Option M131 RSO Airlock Assembly M140 Continuous Low Temperature Control. | physics |  | 39579139.995 |  | not working | characterization | Quantum Design 6325 Lusk Boulevard San Diego CA 92121 3733 USA |  |  |  | sunil@iiserpune.ac.in
Atomic Force Microscope | AFM | Lab 220 H cross | JPK | Microscope AFM JPK Nanowizard II | Microscope AFM JPK Nanowizard II | Internal Funding | IISER PUNE |  | 01 Nos JPK Part No C 02 00 JPK SPM Control Station II | physics |  | 13085651.5 |  | working | characterization | JPK Instruments AG Bouchestrasse 12 12435 Berlin Germany |  |  |  | s.patil@iiserpune.ac.in
ELPHY Plus lithography system 6 MHz Advanced SEM FIB nanolithography system 1 Nos and Electronic Beam Blanker Unit: 1 Nos | FESEM accessories nanolithography | Lab 212 | Raith | Elphy | elphy plus | External Funding | DST and Institution | 30109009 DST Nano Unit | ELPHY Plus lithography system 6 MHz Advanced SEM FIB nanolithography system | physics |  | 5524533 |  | not working | fabrication | Raith Gmbh Hauert 18 Technologiepark 44227 Dortmund Germany |  |  |  | shettianil@iiserpune.ac.in
EDS INCA 250 with X Max 80 Silicon Drift EDS Detector | FESEM accessories EDS | Lab 212 | Oxford | 80mm2 | 80mm2 | Internal Funding | IISER PUNE |  | Following softwares are included Navigator Analyser Navigator Mapping Navigator Point and ID The Advisor Reporting Smart Map XPP Quantitative Algorithm Data Export Spectrum Examiner Pile Up Correction Cobolt standard on pin stub | physics |  | 2990535 |  | not working | EDS analysis | Oxford Instruments NanoAnalysis Halifax Road High Wycombe HP12 3SE England |  |  |  | shettianil@iiserpune.ac.in
Semi Conductor Characterization System and Accessories |  | H cross | Tektronics | Semi Conductor Characterization System 4200 PK1 | Semi Conductor Characterization System 4200 PK1 | Others | IISER PUNE-project | 30113132 | Cat No 4200 PK1 Semiconductor Characterization System | physics |  | 3400704.0038 |  | working | Analysis | TEKTRONIX ASIA LTD 14150 Karl Braun Drive M/S 50 485 Beaverton Oregon 97077 0001 USA |  |  |  | nileshdumbare@iiserpune.ac.in
Ti Sapphier Tunable Femtosecond LASER for Non linear Plasmonics Model Chameleon Ultra I System includes onbaord spectrometer chiller and Mini Recirculator Unit | Femtosecond Laser | Lab 223 H cross | Coherent Inc | Chameleon Ultra I | GDP1001H4368 | Others | IISER PUNE-Project | 30115178 | Ti Sapphier Tunable Femtosecond LASER for Non linear Plasmonics Model Chameleon Ultra I System includes onbaord spectrometer chiller and Mini Re-circulator Unit | physics |  | 7366605.6 |  | working | characterization | Coherent Inc 5100 Henry Patrick Drive SantaClara 95054 USA |  |  |  | pavan@iiserpune.ac.in
LASER SYSTEM YLR201064LPSF20 W Fiber laser Linealy Polarized 1 Nos | Laser | Lab 213 H cross | IPG Photonics | Laser System 20 W 1064nm | Laser System 20 W 1064nm | Internal Funding | IISER PUNE |  | LASER SYSTEM YLR-20-1064LPSF20 W Fiber laser Linealy Polarized 1 Nos, 38675.00 USD Isolator Sr No PL1417820 | physics |  | 2836343.9625 |  |  | Analysis | IPG Photonics Corporation 50 Old Webster Road Oxford MA 01540 USA |  |  |  | umakant.rapol@iiserpune.ac.in
CMS TIER 3 CLUSTER | Cluster | Main Building, A Wing Ground Floor Server Room | IBM system | CMSTIER3 cluster | CMSTIER3 cluster | Internal Funding | Institution |  | Master Node IBM System x3550 M5 01 Nos 5047.00 USD 06GRTHG | physics |  | 8942557 |  |  | Analysis | Avent Asia Pte Ltd 26 Loyang Drive Singapore 508970 Bidder Micropoint Computers Pvt Ltd |  |  |  | sdube@iiserpune.ac.in
GLOVE BOX WITH SPINCOATER | Glove box | Energy lab next to mendeleeve | Mbraun | Glove Box with Spincoater UNIlab Plus SP | Glove Box with Spincoater UNIlab Plus SP | Others | Institution-Project | 30116240 | Inner Box Dimensions 1200mm x 780mm x 920mm L x D x H | physics |  | 2472373.135 |  | working | synthesis | M.Braun Inertgas Systeme GmbH Dieselstr 31 D85748 Garching Germany |  |  |  | satishogale@iiserpune.ac.in
Master Node | cluster | Main Building A Wing Ground Floor | netweb | Cluster HPC SuperMicro | Cluster HPC SuperMicro | Others | Institution-project IISERPUNE | 30115214 | Master Node Qty 01 No. USD 6300 Model No SuperMicro 6028R | physics |  | 4734125.0025 |  |  | Analysis | Netweb Pte Ltd 1 Ubi Crescent 0603 No1 Building, Singapore 408 563 |  |  |  | pgosh@iiserpune.ac.in
UV KrF Excimer Laser Model CompexPro 201 | PLD source | Energy lab next to mendeleeve | Coherent Inc | CompexPro 201 | CompexPro 201 | Others | Institution-Project | 30116256 | UV KrF Excimer Laser Model CompexPro 201 | physics |  | 5333519.52 |  |  | Analysis | Coherent Deutschland GmbH DieselStrasse 5B, 64807 Dieburg Germany |  |  |  | satishogale@iiserpune.ac.in
Laser Flash Thermal Constant Analyzer | LFA | Energy lab 301 G1block | Linseis | LFA 1000 1250OC Laser Flash Thermal Constant Analyzer | LFA10001250OC Laser Flash Thermal Constant Analyzer | Others | Institution-Project | 30116256 | LFA 1250 Laser Flash Thermal conductivity analyser including vacuum pump closed loop water cooler 12.7 mm sample holder for liquid made of sapphire and manual gas control. 12.7mm SiC and 25.4mm Graphite sample holder. | physics |  | 5329260.6862 |  | not working | analysis | Linseis Messgeraete GmbH Germany |  |  |  | surjeet@iiserpune.ac.in
Diode pumped solid state continuous wave laser with output powers of up to 10W at 1064nm Details as per attached sheet. | Diode Pumped | Lab 215 H cross | Photonics | 10W 1064nm | 10W 1064nm | Internal Funding | IISER PUNE | 5121 | Diode-pumped solid-state continuous wave laser with output powers of up to 10W at 1064nm Details as per attached sheet. | physics |  | 2106699 |  |  | Analysis | Photonics Technologies Pte Ltd 1 Kaki Bukit Road 1 02-46 Enterprise One Singapore 415934 |  |  |  | vijayck@iiserpune.ac.in
Make HAAS USA CNC Vertical Machining center. | CNC milling | workshop front of h cross | HAAS | CNC Vertical Machining center | CNC Vertical Machining center | Internal Funding | IISER PUNE | 5110 | MINIMILL-EDU Vertical Machining Center for Education Automatic Tool Changer. EXPACK Export Packaging CUTTING TOOLS Carbide Cutting Tools | physics |  | 2498567.8062 |  | not working | fabrication | A Division of Phillips Corporation 7390 Coca cola Drive anover MD 21076 Maryland USA |  |  |  | bhas.bapat@iiserpune.ac.in
CNC Turning Machine with accessories | CNC turning | workshop-front of h cross | philips | Pinacho SE325 | SE325 | Internal Funding | IISER PUNE | 522 | MAKE Pinacho CNC Turning Machine Model SE325 X 1000 with accessories | physics |  | 2014048 |  | not working | fabrication | Phillips Machine Tools India Pvt. Ltd. W225 TTC Industrial AreaMIDC, Kopar Khairne Navi Mumbai 400 705 Maharashtra India |  |  |  | bhas.bapat@iiserpune.ac.in
High Resolution Transmission Electron Microscope | HRTEM | G1 block | Joel | Microscope HRTM | Microscope HRTM | Others | Institution project,IISER PUNE | 30116256 | High Resolution Transmission Electron Microscope | physics |  | 75535025 |  | working | Characterization | Joel asiaNo.2 Corporation Road 01 12 Corporation Place Singapore 618494 |  |  |  | shouvik@iiserpune.ac.in
OPTICAL AND OPTO MECHANICAL COMPONENTS | Optomechanic components | Lab 213 H cross | Thorlab | optics | optics | External Funding | Institution-project | 33718376 | OPTICAL AND OPTO MECHANICAL COMPONENTS | physics |  | 2178212 |  | working | Analysis | THORLAB USA |  |  |  | umakant.rapol@iiserpune.ac.in
HPC Cluster | cluster | Server room Chemistry Wing C201 1st Floor Main building | HPC | cluster | cluster | External Funding | DST, Govt. of India | 30116256 | 2 x Intel Xeon E5 2620v4 8c 2.1GH 64GB 2 x 1 TB SATA Intel RW RPS ILO Advanced | physics |  | 16147995 |  |  | Analysis | Redington Distribution Pte Limited singapore |  |  |  | satishogale@iiserpune.ac.in,mukul.kabir@iiserpune.ac.in
LASER SOURCE | LASER | Lab223 H cross | NKT photonics | LASER SOURCE | LASER SOURCE | Others | Institution | 31219431 | SUPER EXTREME HIGH POWER SUPERCONTINUUM FIBER LASER | physics |  | 4998940 |  |  | analysis | NKT photonic denmark |  |  |  | pavan@iiserpune.ac.in
WAVE 1064NM WAVELENGTH SOLID STATE LASER SYSTEM WITH ACCESSORIES | SOLID STATE LASER SYSTEM | Lab 213 H cross | Photonic spectra | ALS IR 1064 50 I CC SF | ALS-IR-1064-50-I-CC-SF | Internal Funding | IISER PUNE | 5110 | Wave 1064 nm wavelength solid state laser system with accessories MODEL NO ALS IR 1064 50 I CC SF HSN 9013200 SR NOSN00398 | physics |  | 4882693 |  |  | Analysis | NEW AGE INSTRUMENTS AND Mterials Pvt ltd Gurgaon Delhi |  |  |  | umakant.rapol@iiserpune.ac.in
Closed Cycle Optical Refrigerator HS code 90279090 | Closed Cycle Optical Refrigerato | Lab 222 H cross | CRYO USA | Closed Cycle Optical Refrigerator HS code 90279090 | Closed Cycle Optical Refrigerator HS code 90279090 | External Funding | Institution | 30117345 | CLOSEDCYCLE OPTICAL REFRIGERATOR HS CODE 90279090 | physics |  | 2651221.2375 |  |  | Analysis | CRYO I INDUSTRIES OF AMERICA INC |  |  |  | atikur@iiserpune.ac.in
W1345509 BLAH500 E 500 600MHZ AMPLIFIER WITH THE POWER SUPPLY | Power supply | MAIN BUILDING A WING GR FLOOR NMR LAB | Bruker | W1345509 BLAH500 E 500 600MHZ AMPLIFIER | W1345509 BLAH500 E 500-600MHZ AMPLIFIER | External Funding | DST, Govt. of India | DEPARTMENT OF SCIENCE AND TECHNOLOGY QUANTUM INFORMATION | W1345509 BLAH500 E 500 600MHZ AMPLIFIER WITH THE POWER SUPPLY | physics |  | 2347664 |  |  | Analysis | Bruker India Scientific Pvt. Ltd |  |  |  | mahesh.ts@iiserpune.ac.in
Closed Cycle Cryostat | CCR system | Lab 217 H cross | CRYO USA | Model CS202AEDMX 12AL | Model CS202AE DMX 12AL | Internal Funding | IISER PUNE | 5700 | Closed Cycle Cryostat Model CS202AEDMX12ALCryostat for Optical, Electrical and Magnetic property testing. System Incudes the components as per annexure A | physics |  | 2627784 |  |  | Analysis | ADVANCED RESEARCH SYSTEMS INC USA |  |  |  | ashna@iiserpune.ac.in
LASER SYSTEM 481.3 | LASER | Lab 213 H cross | photonics | LASER SYSTEM 481.3 | LASER SYSTEM 481.3 | External Funding | Institution-fund | 30119482 | Laser System 481.3 DLC DL pro with FP diode | physics |  | 2290217 |  |  | Analysis | Simco Global Technology & System Ltd. 14 Bhawani Kunj Behind Sector D Pocket II Vasant Kunj New Delhi 110070 |  |  |  | umakant.rapol@iiserpune.ac.in
LASER SYSTEM 689.4 | LASER | Lab 213 H cross | photonics | LASER SYSTEM 689.4 | LASER SYSTEM 689.4 | External Funding | Institution | 30119482 | Laser System 689.4 DLC DL pro with FP diode | physics |  | 2290217 |  |  | Analysis | Simco Global Technology & System Ltd. 14 Bhawani Kunj Behind Sector D Pocket II Vasant Kunj New Delhi 110070 |  |  |  | umakant.rapol@iiserpune.ac.in
LASER SYSTEM 698 | LASER | Lab 213 H cross | photonics | LASER SYSTEM 698 | LASER SYSTEM 698 | External Funding | Institution | 30119482 | Laser System 698 nm a) DLC DL pro with AR diode | physics |  | 2544744 |  |  | Analysis | Simco Global Technology & System Ltd. 14 Bhawani Kunj Behind SectorD PocketII Vasant Kunj New Delhi 110070 |  |  |  | umakant.rapol@iiserpune.ac.in
LASER SYSTEM 813 | LASER | Lab 213 H cross | photonics | LASER SYSTEM 813 | LASER SYSTEM 813 | External Funding | Institution | 30119482 | Laser System 813 nm DLC TA pro with TA 080 83000 3 | physics |  | 3933744 |  |  | Analysis | Simco Global Technology & System Ltd. 14 Bhawani Kunj Behind SectorD PocketII Vasant Kunj New Delhi 110070 |  |  |  | umakant.rapol@iiserpune.ac.in
RAMAN SPECTROMETER | RAMAN instrument | Lab 301 energy lab G1 | Technos | Indiram | CTR 300 | Internal Funding | IISER PUNE | 5122 | MICROSCOPE SR NO 2G50193.202207CTR300C Micro Raman Spectrometer System Consisting of 1.1 DL532 100mw Diode Laser | physics |  | 6348740 |  |  | characterization | TECHNOS INSTRUMENTS JAIPUR 302022 |  |  |  | shettianil@iiserpune.ac.in
ARBITRARY WAVE FORM GENERATOR | Wave form generator | NV CENTRE LAB NMR | TABOR | ARBITRARY WAVE FORM GENERATOR | ARBITRARY WAVE FORM GENERATOR | External Funding | Institution | 30119483 | ARBITRARY WAVE FORM GENERATOR | physics |  | 2735000 |  |  | Analysis | NAXGEN INSTRUMENTS PVT LTDHADAPSAR PUNE 412308 |  |  |  | mahesh.ts@iiserpune.ac.in
WIRE CUT EMD MACHINE | EMD machine | Workshop near sport complex | Philips | Model No ATI 98 00003 GE 43S | Model No ATI98 00003 GE43S | External Funding | Institution | 30119482 | ATI98 00003 GE 43S Accurex taiwan make Wire Cut EDM Machine Including 1 | physics |  | 4577575 |  |  | fabrication | Phillips Machine Tools India Pvt Ltd W225 TTC Ind ARea MIDC Navi Mumbai 400 705 |  |  |  | umakant.rapol@iiserpune.ac.in
FIB FE SEM | FIB | Main building Ground floor | Zeiss | Crossbeam 350 | Crossbeam 350 | External Funding | Institution | 30119482 | Dual beam System comprising of FIB FE SEM focused ion beam Field Emission Scanning Electron Microscope | physics | working | 40288188 |  |  | fabrication | Carl Zeiss Microscopy GmbH, Carl Zeiss Group Carl Zeiss Strasse 22 73447 Oberkochen Germany |  |  |  | shettianil@iiserpune.ac.in
CNC MACHINE | CNC | Workshop near sport complex | Werner | NX5TC | NX5TC | External Funding | Institution | 30119482 | 5 AXIS CNC MILLING MACHINE MODEL NX5TC WITH SIEMENS 840D SL CNC SYSTEM SR NO NX0008 AND ACCESSORIES | physics | working | 23166000 |  |  | fabrication | BHARAT FRITZ WERNER LTD OFF TUKARAM ROAD, BANGALORE |  |  |  | umakant.rapol@iiserpune.ac.in
Hp SPM Controller | Hp SPM Controller | Lab 220 H cross | Nanomagnets | SPM controllerHP | SPM controller HP | External Funding | Institution | 30122628 | SPM controller HP | physics |  | 2923200 |  |  | Analysis | Nanomagnetics Instruments suite 290 266 Banbury road UK |  |  |  | s.patil@iiserpune.ac.in
TESLA MAGNET SYSTEM | TESLA MAGNET SYSTEM | Lab 211 H cross | Cryogenic Limited-Tesla | CFMS 7T 50 H3 | CFMS 7T 50 H3 | External Funding | Institution | 30121544 | CFMS 7T 50 H3 7 TESLA cryogen free magnet system with 50mm VTI ans sample in vacuum including RNX -DC Resistivity and Hall Effect module | physics |  | 15135495 |  |  | characterization | Cryogenic Limited 6 ACton Park Industrial Estate The Vale London 7QE UK |  |  |  | sunil@iiserpune.ac.in
CRYOSTAT | CCR system | Lab 222 H cross | CRYOSTAT | C04-002-126 | C04-002-126 | Internal Funding | IISER PUNE | 5121 | C04 002 126 VARIABLE TEMPERATURE CONTINUOUS FLOW XEM MICROSCOPY CRYSTAT WITH NO MOVE SAMPLE AND THIN WINDOWA INCLUDING LAKESHORE MODEL 335 WITH SETUP | physics |  | 2376725 |  |  | characterization | CRYO INDUSTRIES OF AMERICA INC |  |  |  | atikur@iiserpune.ac.in
ELECTRON BEAM EVAPORATOR | thin film coating | Lab 301 energy lab G1 | HHV | Auto 500 | Auto 500 | Internal Funding | IISER PUNE | 5122 | ELECTRON BEAM EVAPORATOR SYSTEM | physics |  | 3300000 |  |  | Thin film deposition | HIGH HIND VACUUM CO PVT LTD NELAMANGALA TALUK |  |  |  | atikur@iiserpune.ac.in
SLM SYSTEM | SLM | Lab 215 H cross | sintech | HIGH SPEED PHASE 1024X1024 SLM SYSTEM | HIGH SPEED PHASE 1024X1024 SLM SYSTEM | Internal Funding | IISER PUNE | 5121 | HIGH SPEED PHASE 1024X1024 SLM SYSTEM WITH HIGH SPEED 8 BIT PCLE SANTOLLER | physics |  | 2705971 |  |  | Analysis | SINTEC OPTRONICS PTE LTD SINGAPORE 658079 |  |  |  | vijayck@iiserpune.ac.in
SLM SYSTEM | SLM | Lab 215 H cross | sintech | HIGH SPEED PHASE 1024X1024 SLM SYSTEM | HIGH SPEED PHASE 1024X1024 SLM SYSTEM | External Funding | Institution-project | 482 | HIGH SPEED PHASE 1024X1024 SLM SYSTEM WITH HIGH SPEED 8 BIT PCLE SANTOLLER | physics |  | 2705971 |  |  | Analysis | SINTEC OPTRONICS PTE LTD SINGAPORE 658079 |  |  |  | vijayck@iiserpune.ac.in
HIRES CRYOSTAT | CCR system | Lab 223 H cross | Atos | OXFORD HIRES | OXFORD HIRES | External Funding | Institution | 30122625 | MICROSTAT HIRES CRYOSTAT WITH ACCESSORIES | physics |  | 2234110 |  |  | Analysis | ATOS INSTRUMENTS MARKETING SERVICES RAINBOW DRIVE BENGALURUKARNATAKA 560035 |  |  |  | ashish.arora@iiserpune.ac.in
Nearfield Microscopy SNOM | SNOM microscopy | 5TH FLOOR MAIN BUILDING | witec | Alpha 300s | Alpha 300s | External Funding | Institution | 30119482 | WITec Alpha300S Scanning Nearfield Microscopy SNOM | physics |  | 15683053 |  |  | Analysis | WITECH GMBH GERMANY |  |  |  | umakant.rapol@iiserpune.ac.in
Electron Microscopy FESEM EBL | FESEM and electron Beam Lithography | H cross Lab 212 | zeiss | sigma | sigma | Internal Funding | IISER PUNE | 5120 | 3561019307000 Basic Unit Sigma 560 HV 9011.80.00 | physics |  | 48112616 |  |  | characterization | CARL ZEISS INDIA Bangalore Pvt. Ltd. India |  |  |  | shettianil@iiserpune.ac.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE