## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
USB Optical Power Meter |  | GITAM Bengaluru Campus, Department of Physics, VB-G05-Photonics Research Lab | Thorlabs | PM16-122 | 230323203 | Internal Funding | Institution Funding ( |  | This device can be used to measure light intensity. Application areas are Lasers and fiber optic sensing, 700-1800nm, 40mW max. | Physics | Photonics Research Lab | 153400 |  | Working |  |  |  |  | Eagle Photonics, | anupama@eaglephotonics.com | Srinivas Pai, | srinivas@eaglephotonics.com | jmathew@gitam.edu
SPIN COATER |  | Nagadenahalli, Doddaballapur Taluk | APEX | EZspinA1 | EZspinA1NA179 | Internal Funding |  |  | Automatic Spin Coating System, Advanced Vacuum Pump, Delrin Substrate Holder, Infra-red Chamber Heating Module | Physics |  | 244172 |  | Working |  |  |  |  | Apex | accounts@apexindia.com | Sudip Bhowmik | support@apexindia.com | pbanerje@gitam.edu
Halogen Light Source |  | Nagadenahalli, Doddaballapur Taluk | Ocean Insight | HL-2000-FHSA-LL | 30650899 | Internal Funding |  |  | Tungsten-Halogen Light Source Product: HL-2000-FHSA-LL Light Source Wavelength Range: 360nm - 2.4?m Source: Long Lifetime Tungsten Halogen Nominal Bulb Power: 4.75 W Typical Output Power: 4.5 mW Shutter: Yes Fiber Connector: SMA 905 | Physics | Photonics Research Lab | 190476 |  | Working |  |  |  |  | SINSIL INTERNATIONAL PVT LTD, | sinsilblr@gmail.com | Byle Gowda K R | gowda@sinsil.in | jmathew@gitam.edu
Arc Fusion Splicer for Optical fiber |  | Nagadenahalli, Doddaballapur Taluk | FIBERFOX | MINI6SI | SI03308006 | Internal Funding |  |  | This device can be used to make fiber joints permanantly. Suitable for Standard single mode fibers (SMF). Uses arc fusion splicing technology for melting and joining two fused silica fibers together. This device can also be used to give splice protection sleeve to the fiber. | Physics | Photonics Research Lab | 206500 |  | Working |  |  |  |  | Eagle Photonics, | anupama@eaglephotonics.com | Srinivas Pai, | srinivas@eaglephotonics.com | jmathew@gitam.edu
UV-Vis Spetrophotometer |  | Nagadenahalli, Doddaballapur Taluk | SHIMADZU | UV -2600i | A125960 | Internal Funding |  |  | Double beam system; single monochromator; wavelength range: 185-900 nm with wavelength accuracy ± 0.07 nm (656.1 nm ); 60 mm ISR 2600 | Central Research Facility |  | 1200000 |  | Working |  |  |  |  | Toshvin | krajasekhar@toshvin.com | Rajasekhar; | krajasekhar@toshvin.com | schiluko@gitam.edu
FTIR spectrometer |  | Nagadenahalli, Doddaballapur Taluk | BRUKER | ALPHA II | 211556 | Internal Funding |  |  | optics:Gold coated mirrors with high efficiency in the mid IR range; RockSolidTM interferometer; CenterGlowTM source;Diode laser ; spectral range 350 – 8,000 cm-1, with standard KBr beamsplitter; signal to noise ratio:Typically >55,000:1 | Central Research Facility |  | 1380600 |  | Working |  |  |  |  | Labindia | Sandip.Jagtap@labindia.com | Sandip | Sandip.Jagtap@labindia.com | schiluko@gitam.edu
Computer controlled Multichannel Electrochemical Workstation- Potentiostat /Galvanostat/FRA with EC lab software |  | Room no. 603A, VB building, GITAM School of Science, GITAM (Deemed to be University), Bengaluru campus, NH-207, Nagadenahalli, Bengaluru Rural District, Karnataka-562163. India | Bio-Logics Science Intruments, France | VSP | 1670 | SERB-DST, Govt. of India |  |  | The instrument can be used to perform electrochemical analysis in the field of nanomaterials, sensors, batteries and general electrochemical analysis | Chemistry | Electrochemical energy and sensors research lab | 3102000 |  | Not Working |  |  |  |  | Biologic Science Instruments Pvt. Ltd | sales@biologicasia'com | Abiramman Rajhendran | abiramman.rajhendran@biologic.net | mhanuman@gitam.edu
Rotary Evaporator |  | Visvesvaraya bhavan, Room-601, Gitam School of Sciences, Bengaluru campus | Evator | #8483-Eva | 8483-Eva.BJB.006408.AX | University of Grants Commission (UGC), Minor project |  |  | A device used in synthesis labs for the removal of solvents from organic reaction mixture by evaporation. | Chemistry |  | 84900 |  | Working |  |  |  |  | Incell technologies, Bengaluru | service@iconbiosytems.com | IconBiosystems | service@iconbiosytems.com | nkerru@gitam.edu
UV Cabinet |  | Visvesvaraya bhavan, Room-601, Gitam School of Sciences, Bengaluru campus | Bio Technics | BTI-49 | BTI-49 | University of Grants Commission (UGC), Minor project |  |  | It is used for inspecting thin-layer chromatograms or other objects under UV light in absence of ambient light | Chemistry |  | 7761 |  | Working |  |  |  |  | Bio Technics India | service@iconbiosytems.com | IconBiosystems | service@iconbiosytems.com | nkerru@gitam.edu
Ice Maker |  | Visvesvaraya bhavan, Room-601, Gitam School of Sciences, Bengaluru campus | Blue Star | ICM15 | ICM15 | University of Grants Commission (UGC), Minor project |  |  | Ice makers are used to produce ice from water or “dry ice” from liquid nitrogen. Since ice is used to keep samples and reagents cold during experiments or other lab work. | Chemistry |  | 30450 |  | Working |  |  |  |  | Shree Krishna Scientific Equipments Suppliers | info@shreekrishnalab.com | Shree Krishna Scientific | info@shreekrishnalab.com | nkerru@gitam.edu
Water Purification System |  | GITAM, BLR, VB 609 | Merck Millipore | Direct-Q® 5 UV Kit IN | F2PB89333D | Internal Funding |  |  | Daily Product Water Usage :60 L/Day, Feed Water Nature :Potable Tap Water, Product Water Particulates: < 1 unit/mL (particulates >0.22 ?m - with Millipak® or Biopak® point-of-use filters), Water Quality :Type 1 Type 3 | Food Science | Food Science | 726705 |  | Working |  |  |  |  | Merck Millipore | service.support@merckgroup.com | Sathish Kumar | service.support@merckgroup.com | ndhamoda@gitam.edu
Laminar air flow |  | GITAM, BLR, VB 607 | Biobee | BIOBEETM LM-H4 | 2223-359 | Internal Funding |  |  | 230V/50 Hz, 4/2/2ft Horizontal flow, work bench | Food Science | Food Science | 141600 |  | Working |  |  |  |  | United Biologicals | info@unitedbiologicals.com | G Venu | info@unitedbiologicals.com | ndhamoda@gitam.edu
Nanodrop |  | GITAM, BLR, VB 607 | Thermo Scientific | NDL-PLUS-GL | NLP2200481 | Internal Funding |  |  | Absorbance Accuracy :3% at 0.97 A, 302 nm, 23 ± 2°C Abs/mm at 25 °C, Absorbance Range :0.04 to 30 Abs (10 mm equivalent), Certifications/Compliance:UL/CSA and CE, Compatibility:Local Control Only, Concentration :1,500 ng/?L (1,200 ng/?L) dsDNA (RNA)45 mg/mL (21 mg/mL) BSA (lgG). | Biotechnology-GSS | Biotechnology, | 573771 |  | Working |  |  |  |  | United Biologicals | info@unitedbiologicals.com | G Venu | info@unitedbiologicals.com | rmahadev@gitam.edu
CO2 Incubator |  | GITAM, BLR, VB 607 | Eppendorf India | CELLXPERT C170 | 6734LP028958 | Internal Funding |  |  | Temperature accuracy : ±0.3 °C, Capacity : 170 L?(6.0 ft³), Display : softkey operated LCD display, Power supply:220?–?240 V, 50?–?60 Hz, Dimensions (W?×?D?×?H):71.8?× 71.5?× 90.0?cm?/ 28.3?× 28.1?× 35.4?in, Weight w/o accessories:113 kg?/?249 lb, High temperature disinfection (HTD):140?°C | Biotechnology-GSS | Biotechnology, | 601800 |  | Working |  |  |  |  | Eppendorf India Pvt Ltd | info@eppendorf.co.in | Madhaiyan.pk | Madhaiyan.pk@eppendorf.co.in | rmahadev@gitam.edu