## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Digital Power Meter (1 NO.) | DPM | Instrumentation Lab | HIOKI | PW3337 | 230804501 | Governemnt | Ministry of New and Renewable Energy ( R & D Division) Government of India | Performance and field evolution of hydro power plants | Measurement of electric parameter | Department of Hydro & Renewable Energy | Instrumentation Laboratory | - | - | Working | Testing equipment | - | 424800 | - | Aarav Enterprises, New Delhi | aaraventerprises.del@gmail.com | Aarav Enterprises, New Delhi | aaraventerprises.del@gmail.com | head@hre.iitr.ac.in
Vibration Tester (1 NO.) | VT | Instrumentation Lab | Fluke | 805 FC | 60320010 | Governemnt | Ministry of New and Renewable Energy ( R & D Division) Government of India | Performance and field evolution of hydro power plants | Measurement of vibration | Department of Hydro & Renewable Energy | Instrumentation Laboratory | - | - | Working | Testing equipment | - | 417646 | - | SPI Engineers Pvt. Ltd. , New Delhi | sales@spiengineers.com | SPI Engineers Pvt. Ltd. , New Delhi | sales@spiengineers.com | head@hre.iitr.ac.in
Sound level meter (2 NO.) |  | Instrumentation Lab | Uni-T | UT 352 | C173684948 &C173072368 | Governemnt | Ministry of New and Renewable Energy ( R & D Division) Government of India | Performance and field evolution of hydro power plants | Measurement of sound level | Department of Hydro & Renewable Energy | Instrumentation Laboratory | - | - | Working | Testing equipment | - | 48380 | - | Russel Technologies India Pvt. Ltd, Lucknow | info@russelltech-india.com | Russel Technologies India Pvt. Ltd, Lucknow | info@russelltech-india.com | head@hre.iitr.ac.in
Pressure Gauge (2 NO.) | PT | Instrumentation Lab | Endress+Hauser | CERABAR | VC003E21198 & VC003F2119 | Governemnt | Ministry of New and Renewable Energy ( R & D Division) Government of India | Performance and field evolution of hydro power plants | Measurement of absolute pressure | Department of Hydro & Renewable Energy | Instrumentation Laboratory | - | - | Working | Testing equipment | - | 353769 | - | Nandini Enterprises, Haridwar | nandinienterprises.live@gmail.com | Nandini Enterprises, Haridwar | nandinienterprises.live@gmail.com | head@hre.iitr.ac.in
Ultrasonic level sensors(2 NO.) | ULS | Instrumentation Lab | Endress+Hauser | FMU 44 | VC000221107 &VC000321107 | Governemnt | Ministry of New and Renewable Energy ( R & D Division) Government of India | Performance and field evolution of hydro power plants | Measurement of water level | Department of Hydro & Renewable Energy | Instrumentation Laboratory | - | - | Working | Testing equipment | - | 484272 | - | Nandini Enterprises, Haridwar | nandinienterprises.live@gmail.com | Nandini Enterprises, Haridwar | nandinienterprises.live@gmail.com | head@hre.iitr.ac.in
Ultrasonic level sensors(2 NO.) | ULS | Instrumentation Lab | Endress+Hauser | FMU 40 | VC00382109A & VC00392109A | Governemnt | Ministry of New and Renewable Energy ( R & D Division) Government of India | Performance and field evolution of hydro power plants | Measurement of water level | Department of Hydro & Renewable Energy | Instrumentation Laboratory | - | - | Working | Testing equipment | - | 401829 | - | Nandini Enterprises, Haridwar | nandinienterprises.live@gmail.com | Nandini Enterprises, Haridwar | nandinienterprises.live@gmail.com | head@hre.iitr.ac.in
Ultrasonic transit time flowmeter(1 NO.) | UTTF | Instrumentation Lab | Baker+Hughes GE | PT 900 | M04240025 | Governemnt | Ministry of New and Renewable Energy ( R & D Division) Government of India | Performance and field evolution of hydro power plants | Measurement of water discharge in pipe | Department of Hydro & Renewable Energy | Instrumentation Laboratory | - | - | Working | Testing equipment | - | 1809500 | - | ATC ngineering System Pvt. Ltd., Noida | ashoktaruchoudhuri@yahoo.co.in | ATC ngineering System Pvt. Ltd., Noida | ashoktaruchoudhuri@yahoo.co.in | head@hre.iitr.ac.in
Propeller current Meter (2 NO.) | PCM | Instrumentation Lab | SEBA | UF-1 |  | Governemnt | Ministry of New and Renewable Energy ( R & D Division) Government of India | Performance and field evolution of hydro power plants | Measurement of velocity at water channel | Department of Hydro & Renewable Energy | Instrumentation Laboratory | - | - | Working | Testing equipment | - | 592950 | - | Seba hydrometric GmbH & Co.Kg, Germany | Duester@seba.de | Seba hydrometric GmbH & Co.Kg, Germany | Duester@seba.de | head@hre.iitr.ac.in
Data logger(1 NO.) | DAQ | Instrumentation Lab | Campbell Sceintific | CR6 | 23174 | Governemnt | Ministry of New and Renewable Energy ( R & D Division) Government of India | Performance and field evolution of hydro power plants | Data acquiring from the instruments | Department of Hydro & Renewable Energy | Instrumentation Laboratory | - | - | Working | Testing equipment | - | 424027 | - | Campbell Scientific India Pvt. Ltd., New Delhi | asharma@campbellsci.in | Campbell Scientific India Pvt. Ltd., New Delhi | asharma@campbellsci.in | head@hre.iitr.ac.in
Butterfly valve (On/Off Type, 03 No.) | [7 empty] | Centre of Excellence in Ultra Low head and Hydro Kinetic Turbines | For pipeline of Ultralow head turbine test rig | Department of Hydro & Renewable Energy | Centre of Excellence for Ultra low head and hydro kinetic turbines | - | - | To be installed | Instrument is for ultra low head test rig | - | 616116 | - | M/s Cair Euromatic Automation Pvt. Ltd. | mkt2@cairindia.com | M/s Cair Euromatic Automation Pvt. Ltd. | mkt2@cairindia.com | head@hre.iitr.ac.in
Butterfly valve (modulating type 02 No.s) | [7 empty] | Centre of Excellence in Ultra Low head and Hydro Kinetic Turbines | For pipeline of Ultralow head turbine test rig | Department of Hydro & Renewable Energy | Centre of Excellence for Ultra low head and hydro kinetic turbines | - | - | To be installed | Instrument is for ultra low head test rig | - | 410743 | - | M/s Cair Euromatic Automation Pvt. Ltd. | mkt2@cairindia.com | M/s Cair Euromatic Automation Pvt. Ltd. | mkt2@cairindia.com | head@hre.iitr.ac.in
Electromagnetic Flowmeter of 350 mm Dia 01 No. | [7 empty] | Centre of Excellence in Ultra Low head and Hydro Kinetic Turbines | For measuring discharge in ultra low head turbine test rig | Department of Hydro & Renewable Energy | Centre of Excellence for Ultra low head and hydro kinetic turbines | - | - | To be installed | Instrument is for ultra low head test rig | - | 425191 | - | M/s Emerson Process Management (India) Pvt. Ltd. | prashant.jaiswal@emerson.com | M/s Emerson Process Management (India) Pvt. Ltd. | prashant.jaiswal@emerson.com | head@hre.iitr.ac.in
High Performance Computing (HPC) Server Cluster for use of ANSYS CFD Software | [7 empty] | Centre of Excellence in Ultra Low head and Hydro Kinetic Turbines | HPC installed at HTR&D laboratory IIT Roorkee | Department of Hydro & Renewable Energy | Centre of Excellence for Ultra low head and hydro kinetic turbines | - | - | Working | HPC | - | 14531601 | - | M/s Doon Business Machine Pvt Ltd | sales@doonbusinessmachine.com | M/s Doon Business Machine Pvt Ltd | sales@doonbusinessmachine.com | head@hre.iitr.ac.in
Temperature Sensor and transmitter ( 4 No.s) | [7 empty] | Centre of Excellence in Ultra Low head and Hydro Kinetic Turbines | For measuring temperature in ultra low head turbine test rig | Department of Hydro & Renewable Energy | Centre of Excellence for Ultra low head and hydro kinetic turbines | - | - | To be installed | Instrument is for ultra low head test rig | - | 257240 | - | M/s Emerson Process Management (India) Pvt. Ltd. | prashant.jaiswal@emerson.com | M/s Emerson Process Management (India) Pvt. Ltd. | prashant.jaiswal@emerson.com | head@hre.iitr.ac.in
Torquemeter 01 No. | [7 empty] | Centre of Excellence in Ultra Low head and Hydro Kinetic Turbines | For measuring torque in ultra low head turbine test rig | Department of Hydro & Renewable Energy | Centre of Excellence for Ultra low head and hydro kinetic turbines | - | - | To be installed | Instrument is for ultra low head test rig | - | 1009112 | - | M/S HBK GmbH | adesh.bhatt@hbkworld.com | M/S HBK GmbH | adesh.bhatt@hbkworld.com | head@hre.iitr.ac.in
Shaft Type Torque Transducer 01 No. | [7 empty] | Centre of Excellence in Ultra Low head and Hydro Kinetic Turbines | For measuring torque in ultra low head turbine test rig | Department of Hydro & Renewable Energy | Centre of Excellence for Ultra low head and hydro kinetic turbines | - | - | To be installed | Instrument is for ultra low head test rig | - | 323190 | - | M/s Sartech Inti | in.sartech@gmail.com | M/s Sartech Inti | in.sartech@gmail.com | head@hre.iitr.ac.in
Absolute pressure transmitter (02 No.) | [7 empty] | Centre of Excellence in Ultra Low head and Hydro Kinetic Turbines | For measuring absolute pressure in ultra low head turbine test rig | Department of Hydro & Renewable Energy | Centre of Excellence for Ultra low head and hydro kinetic turbines | - | - | To be installed | Instrument is for ultra low head test rig | - | 135334 | - | M/s Emerson Process Management (India) Pvt. Ltd. | prashant.jaiswal@emerson.com | M/s Emerson Process Management (India) Pvt. Ltd. | prashant.jaiswal@emerson.com | head@hre.iitr.ac.in
Differential pressure transmitter (02 No.) | [7 empty] | Centre of Excellence in Ultra Low head and Hydro Kinetic Turbines | For measuring differentialpressure in ultra low head turbine test rig | Department of Hydro & Renewable Energy | Centre of Excellence for Ultra low head and hydro kinetic turbines | - | - | To be installed | Instrument is for ultra low head test rig | - | 134390 | - | M/s Emerson Process Management (India) Pvt. Ltd. | prashant.jaiswal@emerson.com | M/s Emerson Process Management (India) Pvt. Ltd. | prashant.jaiswal@emerson.com | head@hre.iitr.ac.in