## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
X ray Diffractometer | XRD | Room 101, MSED, NITC | Malvern Panalytical | XPert Powder | DY 5621 | External | TEQIP III |  | An X-ray diffractometer (XRD) is an analytical instrument used to identify crystalline materials by measuring the diffraction patterns of X-rays interacting with a sample | Centre for Materials Characterization CMC |  | 1235116 |  | Working | Characterization |  |  |  | M/s SPECTRIS PTE LTD 31 kaki Bukit Road 3 No. 06-04/05 Techlink Singapore 417818 | info@spectris.com | M/s, Malvern Panalytical a division of Spectris Technologies Pvt. Ltd, 5th Floor, Arihant Nitco Park, No.90, Dr. Radhakrishnan Salai, Mylapore, Chennai -600 004. India | rajalakshmi.babu@malvernpanalytical.com | cmcadmin@nitc.ac.in
Confocal Raman Spectrometer | CRS | Room 204A, MSED, NITC | Horiba France SAS | LABRAM HR EVO | 1688 | External | TEQIP III |  | A confocal Raman microscope is an analytical instrument that uses Raman spectroscopy with spatial filtering to provide high-resolution chemical and structural analysis of materials at the microscopic level. | Centre for Materials Characterization CMC |  | 22581018 |  | Working | Characterization |  |  |  | M/S. Horiba France SAS 231,rue du Lille 59650 VilleneuVE di ASCQ France | ragav.rv@horiba.com | M/S.Laser Spectra Services India Pvt.Ltd. 80/10,Raj Towers, First Floor, M.S Ramaiah Main Road, Mathikere, Bangalore-560054 | knk@laser-spectra.com | cmcadmin@nitc.ac.in
Vector Network Analyzer | VNA | Room 204A, MSED, NITC | ROHDE&SCHWARZ | ZNB40 | 101820 | External | HEFA |  | Vector Network Analyzer (VNA) is an instrument used to measure the electrical network parameters of RF and microwave components, including magnitude and phase characteristics. | Centre for Materials Characterization CMC |  | 7846590 |  | Working | Analytical Measurement |  |  |  | M/s. Rohde & Schwarz GmbH & Co. KG Muehldorfstrasse 15 81671 Munich Germany | info@rohde-schwarz.com | M/s, Sinetec Automation Pvt Ltd, No: 19, First Floor, Chinna Subbanna St, Layout, Saibaba Colony, Coimbatore, Tamil Nadu 641011 | info@rohde-schwarz.com | cmcadmin@nitc.ac.in
Nuclear Magnetic Resonance Spectrometer | NMR | Room 103, Ground Floor Chemistry Department, NITC | JEOL | JNMECZ 500RS3 | NM1654000140014 | External | HEFA |  | Nuclear Magnetic Resonance (NMR) is a spectroscopic technique used to determine the molecular structure, composition, and dynamics of compounds by analyzing the interaction of atomic nuclei with a magnetic field | Centre for Materials Characterization CMC |  | 39097383 |  | Working | Characterization |  |  |  | M/s JEOL ASIA PTE.LTD, 2 Corporation Road, #01-12 Corporation Place, Singapore 618494 | info@jeolindia.com | M/s JEOL INDIA PVT LTD,Unit No 305, 3rd Floor, AWB Elegance Tower, Jasola District Centre, New Delhi-110025 | info@jeolindia.com | cmcadmin@nitc.ac.in
Liquid Nitrogen Plant | LN2 Plant | Ground Floor Chemistry Department, NITC | Nitrogenium Innovations & Filteration India PVT LTD. | LN40WC | W7398 | External | HEFA |  | A Liquid Nitrogen Plant is a facility that produces and stores liquid nitrogen through the process of air separation, typically using cryogenic distillation or pressure swing adsorption technology. | Centre for Materials Characterization CMC |  | 4000000 |  | Working | Cryogenic Equipment |  |  |  | M/s, Nitrogenium Innovations & Filteration India PVT LTD, 416, 1st floor, FIE, Industrial Area, Patparganj, Delhi-110092, INDIA | info@nitrogenium.co.in | M/s, Nitrogenium Innovations & Filteration India PVT LTD, 416, 1st floor, FIE, Industrial Area, Patparganj, Delhi-110092, INDIA | info@nitrogenium.co.in | cmcadmin@nitc.ac.in