## Sheet1
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Atomic Force Microscope | AFM | D-228 | Nanosurf AG | Core AFM | 79-23-165 | Institute & Fist Grant | Institute, DST FIST Grant | FIST Engineering Sciences Level B C or D-Project | Atomic Force Microscopy (AFM) is a high-resolution scanning probe technique used to visualize surfaces at the atomic scale. It works by detecting the interaction forces between a sharp probe tip and the sample surface. General Information: Make – Nanosurf (Switzerland), Model – CoreAFM, Year of Installation - 2024 Features: Maximum scan range XYZ up to 100 x 100 x 12 μm, Cameras for tip surface distance adjustment, Data acquisition and analysis software Imaging Modes: Static force, Dynamic force, Phase Contrast, Lateral force, Standard spectroscopy, Force Modulation, Standard lithography, Standard Conductive | Chemical Engineering |  |  | https://www.nanosurf.com/en/ | In Use | Research |  | 11676996 |  | inkarp | info@inkarp.co.in
Chemisorption With MS | TPDRO/ Chemisorption | D-228 | Altamira Instruments | AMI-300 | 503-240205003 | Institute & Fist Grant | Institute, DST FIST Grant | FIST Engineering Sciences Level B C or D-Project | Suitable for Temperature programmed reduction TPR/TPO/TPD measures surface area of active sites, pore volume, pore size, TCD Detector Mass Spectrometer(200 AMU) RT-1200 Celcius | Chemical Engineering |  |  | https://partech.in/catalyst-characterization/ | In Use | Research |  | 11740987 |  | partech | info@partech.in