## Sheet2
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Ultrapure water purification system Pure water (type II) system |  | Marine Microbiology lab | MilliQ Millipore, Ultrapure Water Purification System | A10TOC monitor Integral 10 | F3NA61290C | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Ultrapure water purification system Pure water (type II) system |  | Envirnomental Radiochemistry Lab | MilliQ Millipore, Ultrapure Water Purification System | A10TOC monitor Integral 11 | F3NA61290B | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Ultrapure water purification system Pure water (type II) system |  | Climate Change Research Facility | MilliQ Millipore, Ultrapure Water Purification System | A10TOC monitor Integral 12 | F3NA61290D | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Ultrapure water purification system Pure water (type II) system |  | Coastal Hydrogeochemistry Facility | MilliQ Millipore, Ultrapure Water Purification System | A10TOC monitor Integral 13 | F3PA26200E | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Hot Air Oven |  | Paleoclimate Reconstruction Lab | Rays Scientific Instruments- India | H07 | 3479 | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Hot Air Oven |  | Coastal Hydrogeochemistry Facility | Rays Scientific Instruments- India | H08 | 3473 | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Refrigerated Heating Water Bath |  | Coastal Hydrogeochemistry Facility | Poly Science- USA | PD45R-20-A12E | 1C13A1009 | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Bacteriological Incubator |  | Marine Microbiology lab | Rays Scientific Instruments- India | - | 3477 | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Refrigerated Micro Centrifuge (Table Top High Speed ) |  | Marine Biotechnology lab | LAB-KITS | SE-CF-TGL21M | RC20131202 | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Deep Freezer - 20 Deg C |  | Marine Microbiology lab | CRYO Scientific- India | _ | 055/2013-14 | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Deep Freezer - 80 Deg C |  | Marine Microbiology lab | New Brunswick- Eppendorf AG, Germany | U9280-0003 U700 Premium | F700BN800240 | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Autoclave vertical |  | Marine Microbiology lab | Panasonic- Japan-India | MLS-3781L | PS3X0008 | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Autoclave vertical |  | Marine Microbiology lab | Panasonic- Japan-India | MLS-3781L | PS3X0007 | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Refrigerator |  | Marine Biotechnology lab | Samsung- South Korean- India | 33FAR2ASP | 030J4PAF102424D | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Refrigerator |  | Coastal Hydrogeochemistry Facility | Samsung- South Korean- India | RT60KZRSV | 50954DVF199262W | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Refrigerator |  | Marine Microbiology lab | Samsung- South Korean- India | 33FAR2ASP | 030J4PAF102425F | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Refrigerator |  | Beach Monitoring Lab | Samsung- South Korean- India | 33FAR2ASP | 030J4PAF102417R | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Refrigerator |  | Climate Change Research Facility | Samsung- South Korean- India | 33FAR2ASP | 030J4PAF102413M | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Freeze dryer (lyophilizer) |  | Paleoclimate Reconstruction Lab | Lark Innovative Fine Teknowledge- India | Penguin classic plus | SJFD12N50TM131214-2 | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Mill- Sediment Grinder |  | Paleoclimate Reconstruction Lab | IKA India Private Limited- India | m20 | 10023203 | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Inverted Microscope with Accessories |  | Marine Plankton Imaging Lab | Leica- Germany | MC170HD | 394388 | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Upright Microscope with Accessories |  | Marine Plankton Imaging Lab | Leica- Germany | DM1000 | 377038 | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Ultrasonic Liquid Processor (Sonicator) |  | Marine Microbiology lab | Sonics & MA Terials, INC- USA | VC505 | 80704AG-06-14 | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Refrigerated Centrifuge |  | Coastal Biomonitoring Facility | Lark Innovative Fine Teknowledge- India | pro Research centrifuge | 215415-1 | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Digital Balance Capacity-15000g ( Model BX22KH ) |  | Paleoclimate Reconstruction Lab | SHIMADZU - Japan | BX22KH | D442001350 | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Centrifuge -5804 with accessories |  | Paleoclimate Reconstruction Lab | eppendorp | Centrifuge 5804 | 5804DH063492 | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
EM Sieve Shaker |  | Paleoclimate Reconstruction Lab | HAVER EML DIGITAL PLUS | HAVER BOECKER | 18162 | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Laser Particle Size Analyzer |  | Coastal Hydrogeochemistry Facility | Microtrac | M3551-1B-BUT0-00000-0004-000-95 | MW14081402-S6128 | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Ice Flaking Machine |  | Beach Monitoring Lab | Sctsman | MF36AS230/50/1 | EA-21817-12F | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Total Organic Carbon Analyzer |  | Climate Change Research Facility | Eppendorf AG, Germany | Vario TOC cube | 38142013 | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Stereozoom microscope Model SMZ 25 with Accessories (Plankton study) |  | Marine Plankton Imaging Lab | Nikan - Japan | SMZ25 | 2002196 | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Water Chiller part of wavelength Dispersive X-ray Furoscence Spectrometer (WD-XRFS) |  | Advanced Imaging & Analytical Facility | Thermo Scientific- USA | ARL PERFORM X | 2U1503251 | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Atomic Absorption Spectrophotometer (Sr.No: PTCS15010606) |  | Advanced Imaging & Analytical Facility | Perkinelmor- USA | pinAAcle 9001 | PTCS15010606 | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
FTIR SPECTROSCOPY with Accessories |  | Marine Litter Reasearch Lab | Perkinelmor - USA | frontier | LR 64912 C | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Flouresent Microscope with Accessories |  | Marine Plankton Imaging Lab | Leica - Germany | DM2500 | 429643 | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Solvent Extration System-ASE-350 with integrated solvent |  | Climate Change Research Facility | Thermo Scientific - USA | Dionex ASE 350 | 17090407 | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Laminal Airflow Cabinets (Vertical) |  | Marine Microbiology lab | DASIT group - Italy - India | Flow fast V18P | 163 | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Scanning Electron Microscope -TESCAN VEGA3 SBH (Sr.No: 117-0280) |  | Advanced Imaging & Analytical Facility | TESCAN- Brno, Czech Republic | Tescon VEGA3 | 117-0280 | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Gas Chromatograph with FID + ECD +High Resolution with mass spectrometer (GC- HRMS) |  | Climate Change Research Facility | Agilent - USA | 7697A head sampler 7890B GC systerm 7693 MSD | CN15173092 | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Flame Photometer (Sr.No: 4880) |  | Beach Monitoring Lab | SYSTRONNICS _ India | flame photometer 128 uc | 90275010 / 4880 | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Inverted Microscope DMI8 Microscope |  | Coastal Ecology Lab | Leica - Germany | DMC2900 | 499562 | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
DM2000 LED-Upright Microscope with Accessories |  | Coastal Tropical Ecology Lab | Leica - Germany | DM2000 | 500168 | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Centrifuge CH1GH RPM Cooling |  | Marine Biotechnology lab | Thermo Scientific - USA | Sorvall ST8R centrifuge | 42529783 | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in
Digital Dry bath 4 block |  | Persistent Organic Pollutant Research Lab | Thermo Scientific - USA | Drybothstrd 4blck200-240V | K2BT70006017 | Ministry of Environment, Forest and Climate Change (MoEF&CC), Government of India | MoEF&CC, India, under World Bank aided India-ICZM Project |  |  |  |  | 0 |  |  | 0 |  |  | NCSCM | techsupport@ncscm.res.in | techsupport@ncscm.res.in