## Sheet2
Equipment Name | Approved Abbreviation | Location | Make(Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Rate/Hr | Refernce Website | Equipment Status | Category
UV-Vis Spectrophotometer |  |  | UV-2550, Shimadzu and V-760, Jasco | UV-2550, Shimadzu and V-760, Jasco |  |  |  |  | UV-Vis Spectrophotometer | Chemistry |  |  |  | Working | Research Equipment
FTIR with spotlight 200 microscope |  |  | Perkin Elmer | Perkin Elmer |  |  |  |  | FTIR with spotlight 200 microscope | Chemistry |  |  |  | Working | Research Equipment
CHNS analyser |  |  | Elementar , Variomicro cube | Elementar , Variomicro cube |  |  |  |  | CHNS analyser | Chemistry |  |  |  | Working | Research Equipment
Picosecond Time-Resolved Confocal Microscope with Single Molecule Sensitivity |  |  | Becker Hickl | Becker Hickl |  |  |  |  | Picosecond Time-Resolved Confocal Microscope with Single Molecule Sensitivity | Chemistry |  |  |  | Working | Research Equipment
Vacuum FTIR |  |  | DCS-120 | DCS-120 |  |  |  |  | Vacuum FTIR | Chemistry |  |  |  | Working | Research Equipment
MALDI |  |  | Vertex 80v, Bruker | Vertex 80v, Bruker |  |  |  |  | MALDI | Chemistry |  |  |  | Working | Research Equipment
TGA |  |  | Under Process | Under Process |  |  |  |  | TGA | Chemistry |  |  |  | Working | Research Equipment
GCMS |  |  | Q600 SDT, TA | Q600 SDT, TA |  |  |  |  | GCMS | Chemistry |  |  |  | Working | Research Equipment
iTC200Microcalorimeter |  |  | Thermo Fisher | Thermo Fisher |  |  |  |  | iTC200Microcalorimeter | Chemistry |  |  |  | Working | Research Equipment
Surface area analyzer |  |  | GE-Healthcare | GE-Healthcare |  |  |  |  | Surface area analyzer | Chemistry |  |  |  | Working | Research Equipment
FTIR |  |  | QuantachromeAutosorb- iQ-C­XR | QuantachromeAutosorb- iQ-C­XR |  |  |  |  | FTIR | Chemistry |  |  |  | Working | Research Equipment
Furnace |  |  | IR Affinity -1, Shimadzu | IR Affinity -1, Shimadzu |  |  |  |  | Furnace | Chemistry |  |  |  | Working | Research Equipment
Microwave reactor |  |  | Nabertherm | Nabertherm |  |  |  |  | Microwave reactor | Chemistry |  |  |  | Working | Research Equipment
Particle size and zeta potential analyzer |  |  | Metrohm | Metrohm |  |  |  |  | Particle size and zeta potential analyzer | Chemistry |  |  |  | Working | Research Equipment
CD Polarimeter |  |  | Delsa Nano C, Beckman Coulter | Delsa Nano C, Beckman Coulter |  |  |  |  | CD Polarimeter | Chemistry |  |  |  | Working | Research Equipment
GPC System |  |  | Jasco, J-1500 | Jasco, J-1500 |  |  |  |  | GPC System | Chemistry |  |  |  | Working | Research Equipment
Spectrofluorometer |  |  | PL GPC 50,Agilent | PL GPC 50,Agilent |  |  |  |  | Spectrofluorometer | Chemistry |  |  |  | Working | Research Equipment
Fluorescence Life Time Spectrometer |  |  | Fluoromax-4, Horiba(2nos) | Fluoromax-4, Horiba(2nos) |  |  |  |  | Fluorescence Life Time Spectrometer | Chemistry |  |  |  | Working | Research Equipment
HPLC |  |  | Life Spec-II, Edinburgh | Life Spec-II, Edinburgh |  |  |  |  | HPLC | Chemistry |  |  |  | Working | Research Equipment
Glove box |  |  | Shimadzu | Shimadzu |  |  |  |  | Glove box | Chemistry |  |  |  | Working | Research Equipment
Ice machine |  |  | Jacomex | Jacomex |  |  |  |  | Ice machine | Chemistry |  |  |  | Working | Research Equipment
AFM |  |  | Simag, 2nos | Simag, 2nos |  |  |  |  | AFM | Chemistry |  |  |  | Working | Research Equipment
Polarimeter |  |  | Under process | Under process |  |  |  |  | Polarimeter | Chemistry |  |  |  | Working | Research Equipment
Photo Reactor |  |  | Jasco, P-2000 | Jasco, P-2000 |  |  |  |  | Photo Reactor | Chemistry |  |  |  | Working | Research Equipment
Cyclic Voltametry |  |  | lnkarp, LZC-4X | lnkarp, LZC-4X |  |  |  |  | Cyclic Voltametry | Chemistry |  |  |  | Working | Research Equipment
NMR |  |  | Metrohm, AUTOLAB 302N | Metrohm, AUTOLAB 302N |  |  |  |  | NMR | Chemistry |  |  |  | Working | Research Equipment
Goniometer |  |  | Bruker , AVHD 400 | Bruker , AVHD 400 |  |  |  |  | Goniometer | Chemistry |  |  |  | Working | Research Equipment
UV-Vis Spectrophotometer |  |  | Rame-Hart Instrument | Rame-Hart Instrument |  |  |  |  | UV-Vis Spectrophotometer | Chemistry |  |  |  | Working | Research Equipment
Double Beam UV-Visible spectrophotometer |  |  | Systronics, 2203 | Systronics, 2203 |  |  |  |  | Double Beam UV-Visible spectrophotometer | Chemistry |  |  |  | Working | Research Equipment
Ice machine |  |  | Motras Scientific Instruments Pvt. Ltd. | Motras Scientific Instruments Pvt. Ltd. |  |  |  |  | Ice machine | Chemistry |  |  |  | Working | Research Equipment
|  |  | UV plus | UV plus | [9 empty] | Working | Research Equipment
|  |  | Simag | Simag | [9 empty] | Working | Research Equipment
Modular Compact Rheometer (MCR 302) |  |  | Anton Paar | Anton Paar |  |  |  |  | Modular Compact Rheometer (MCR 302) | Metallurgical and Materials Engineering |  |  |  | Working | Research Equipment
FTIR (IRAffinity 1S) |  |  | Shimadzu | Shimadzu |  |  |  |  | FTIR (IRAffinity 1S) | Metallurgical and Materials Engineering |  |  |  | Working | Research Equipment
Magnetic Stirrer cum hot plate |  |  | Remi | Remi |  |  |  |  | Magnetic Stirrer cum hot plate | Metallurgical and Materials Engineering |  |  |  | Working | Research Equipment
Vacuum Oven |  |  | Jain Scientific Glass Works | Jain Scientific Glass Works |  |  |  |  | Vacuum Oven | Metallurgical and Materials Engineering |  |  |  | Working | Research Equipment
Hot Air Oven |  |  | Narang Scientific Works Pvt. Ltd. | Narang Scientific Works Pvt. Ltd. |  |  |  |  | Hot Air Oven | Metallurgical and Materials Engineering |  |  |  | Working | Research Equipment
Weighing Balance (0.1mg Precision) |  |  | Sartorius | Sartorius |  |  |  |  | Weighing Balance (0.1mg Precision) | Metallurgical and Materials Engineering |  |  |  | Working | Research Equipment
Ultrasonic Cleaner |  |  | Citizon & Aczel | Citizon & Aczel |  |  |  |  | Ultrasonic Cleaner | Metallurgical and Materials Engineering |  |  |  | Working | Research Equipment
AC conductivity measurement (LCR Meter) |  |  | Hioki | Hioki |  |  |  |  | AC conductivity measurement (LCR Meter) | Metallurgical and Materials Engineering |  |  |  | Working | Research Equipment
Nanovoltmeter |  |  | Keithleg | Keithleg |  |  |  |  | Nanovoltmeter | Metallurgical and Materials Engineering |  |  |  | Working | Research Equipment
Compression Molding Machine |  |  | Santec | Santec |  |  |  |  | Compression Molding Machine | Metallurgical and Materials Engineering |  |  |  | Working | Research Equipment
Two Roll Mixing Mill |  |  | Santec | Santec |  |  |  |  | Two Roll Mixing Mill | Metallurgical and Materials Engineering |  |  |  | Working | Research Equipment
Haake internal mixture |  |  | Thermofisher | Thermofisher |  |  |  |  | Haake internal mixture | Metallurgical and Materials Engineering |  |  |  | Working | Research Equipment
Injection Molding Machine |  |  | Thermofisher | Thermofisher |  |  |  |  | Injection Molding Machine | Metallurgical and Materials Engineering |  |  |  | Working | Research Equipment
Universal Testing Machine |  |  | Zwick Roell | Zwick Roell |  |  |  |  | Universal Testing Machine | Metallurgical and Materials Engineering |  |  |  | Working | Research Equipment
Dynamic Mechanical Analyzer |  |  | TA instruments | TA instruments |  |  |  |  | Dynamic Mechanical Analyzer | Metallurgical and Materials Engineering |  |  |  | Working | Research Equipment
Grinding/Polishing Machine |  |  | Bainpol | Bainpol |  |  |  |  | Grinding/Polishing Machine | Metallurgical and Materials Engineering |  |  |  | Working | Research Equipment
Spray Dryer (Spray Met) |  |  | Jay Instruments and Systems Ltd | Jay Instruments and Systems Ltd |  |  |  |  | Spray Dryer (Spray Met) | Metallurgical and Materials Engineering |  |  |  | Working | Research Equipment
Optical Microscope |  |  | Olympus | Olympus |  |  |  |  | Optical Microscope | Metallurgical and Materials Engineering |  |  |  | Working | Research Equipment
MiroHardness Tester |  |  | Microtest | Microtest |  |  |  |  | MiroHardness Tester | Metallurgical and Materials Engineering |  |  |  | Working | Research Equipment
Pin/Ball on disc Tester (Tribometer) |  |  | Ducom | Ducom |  |  |  |  | Pin/Ball on disc Tester (Tribometer) | Metallurgical and Materials Engineering |  |  |  | Working | Research Equipment
Automatic Density Analyzer |  |  | Quantachrome | Quantachrome |  |  |  |  | Automatic Density Analyzer | Metallurgical and Materials Engineering |  |  |  | Working | Research Equipment
High Speed Diamond Saw (Brilliant 220) |  |  | ATM, Germany | ATM, Germany |  |  |  |  | High Speed Diamond Saw (Brilliant 220) | Metallurgical and Materials Engineering |  |  |  | Working | Research Equipment
Automatic Adhesion Tester (Positest ATA) |  |  | DeFelsko | DeFelsko |  |  |  |  | Automatic Adhesion Tester (Positest ATA) | Metallurgical and Materials Engineering |  |  |  | Working | Research Equipment
Hall Flow meter |  |  | LPW | LPW |  |  |  |  | Hall Flow meter | Metallurgical and Materials Engineering |  |  |  | Working | Research Equipment
Planetary Ball Mill |  |  | Retsch | Retsch |  |  |  |  | Planetary Ball Mill | Metallurgical and Materials Engineering |  |  |  | Working | Research Equipment
Low Speed Saw |  |  | Buehler | Buehler |  |  |  |  | Low Speed Saw | Metallurgical and Materials Engineering |  |  |  | Working | Research Equipment
UV Spectrophotometer (UV 2600) |  |  | Shimadzu | Shimadzu |  |  |  |  | UV Spectrophotometer (UV 2600) | Metallurgical and Materials Engineering |  |  |  | Working | Research Equipment
Automated Chemisorption Analyzer TPR/TPD |  |  | Quantachrome | Quantachrome |  |  |  |  | Automated Chemisorption Analyzer TPR/TPD | Metallurgical and Materials Engineering |  |  |  | Working | Research Equipment
MilliQ |  |  | Merk Millipore | Merk Millipore |  |  |  |  | MilliQ | Metallurgical and Materials Engineering |  |  |  | Working | Research Equipment
Centrifuge |  |  | Eppendorf | Eppendorf |  |  |  |  | Centrifuge | Metallurgical and Materials Engineering |  |  |  | Working | Research Equipment
Spin Coating System |  |  | Spin NXG (P2) | Spin NXG (P2) |  |  |  |  | Spin Coating System | Metallurgical and Materials Engineering |  |  |  | Working | Research Equipment
Multivortex Shaker |  |  | Borosil | Borosil |  |  |  |  | Multivortex Shaker | Metallurgical and Materials Engineering |  |  |  | Working | Research Equipment
Plasma Spray Coating Lab |  |  | Oerlikon Metco | Oerlikon Metco |  |  |  |  | Plasma Spray Coating Lab | Metallurgical and Materials Engineering |  |  |  | Working | Research Equipment
GPU Server 1 |  |  | Supermicro | SYS-4028GRTR With 8 X NVIDIA 1080Ti | S188901X7835759 | R & D | Accenture, Elsevier | Elsevier center for excellence for natural language processing | GPU Server 1 | Computer Science |  |  |  | Working | Research Equipment
GPU Server 2 |  |  | Supermicro | SYS-4028GRTR With 8 X NVIDIA 1080Ti | S188901X8206850 | Internal |  |  | GPU Server 2 | Computer Science |  |  |  | Working | Research Equipment
HPC Server |  |  | DELL | PowerEdge M1000e | G4FCHJ2, G4GGHJ2 | Internal |  |  | HPC Server | Computer Science |  |  |  | Working | Research Equipment
Vmware Server |  |  | Supermicro | 827-16(SYS-6028R-TR) | S15189926943534 | Internal |  |  | Vmware Server | Computer Science |  |  |  | Working | Research Equipment
General Purpose Server |  |  | HP | ProLiant DL360 Gen9 | SGH746TNR4 | Internal |  |  | General Purpose Server | Computer Science |  |  |  | Working | Research Equipment
NAS Server |  |  | QSAN | TrioNAS U211 | QR2U-15110200302 | Internal |  |  | NAS Server | Computer Science |  |  |  | Working | Research Equipment
Single Crystal X-Ray Diffractometer (SC-XRD) |  |  | BRUKER, AXS D8 Quest System | BRUKER, AXS D8 Quest System |  |  |  |  | Single Crystal X-Ray Diffractometer (SC-XRD) | SAIF |  |  |  | Working | Research Equipment
High Resolution - Liquid Chromatography Mass Spectrometer |  |  | Bruker Impact HD UHR-TOF mass spectrometer coupled with ThermoScientific Dionex Ultimate 3000 Rapid Separation LC (RSLC) systems | Bruker Impact HD UHR-TOF mass spectrometer coupled with ThermoScientific Dionex Ultimate 3000 Rapid Separation LC (RSLC) systems |  |  |  |  | High Resolution - Liquid Chromatography Mass Spectrometer | SAIF |  |  |  | Working | Research Equipment
NI Wireless Test Bed System |  |  | - | - |  |  |  |  | NI Wireless Test Bed System | Mathematics |  |  |  | Working | Research Equipment
NI HDD 4 Drive Storage Module |  |  | - | - |  |  |  |  | NI HDD 4 Drive Storage Module | Mathematics |  |  |  | Working | Research Equipment
KeysightPXIe Wireless Test Bed |  |  | - | - |  |  |  |  | KeysightPXIe Wireless Test Bed | Mathematics |  |  |  | Working | Research Equipment
Keysight Microwave Amplifier |  |  | - | - |  |  |  |  | Keysight Microwave Amplifier | Mathematics |  |  |  | Working | Research Equipment
Scientific Standard 4.5 bench top digital multimeter |  |  | Scientific Mes Technik, Indore, India | Scientific Mes Technik, Indore, India |  |  |  |  | Scientific Standard 4.5 bench top digital multimeter | Physics |  |  |  | Working | Research Equipment
3MHz function generator | [8 empty] | 3MHz function generator | Physics |  |  |  | Working | Research Equipment
Laser diode module with power supply |  |  | Advanced Laser Systems, Haryana, India | Advanced Laser Systems, Haryana, India |  |  |  |  | Laser diode module with power supply | Physics |  |  |  | Working | Research Equipment
Hall effect Set up |  |  | Scientific Eqpt. | Scientific Eqpt. |  |  |  |  | Hall effect Set up | Physics |  |  |  | Working | Research Equipment
30 MHz Dual Trace Cathode Ray Oscilloscope |  |  | & Services, Roorke, India | & Services, Roorke, India |  |  |  |  | 30 MHz Dual Trace Cathode Ray Oscilloscope | Physics |  |  |  | Working | Research Equipment
Multi Output DC Power |  |  | Systronics | Systronics |  |  |  |  | Multi Output DC Power | Physics |  |  |  | Working | Research Equipment
Supply |  |  | Ambalal Sarabhai | Ambalal Sarabhai |  |  |  |  | Supply | Physics |  |  |  | Working | Research Equipment
Stefan's Constant set up |  |  | Enterprises Ltd., | Enterprises Ltd., |  |  |  |  | Stefan's Constant set up | Physics |  |  |  | Working | Research Equipment
Semimicro Balance |  |  | Ahmedabad, India | Ahmedabad, India |  |  |  |  | Semimicro Balance | Physics |  |  |  | Working | Research Equipment
Spatial Light Modulater |  |  | Aplab, Patna, India | Aplab, Patna, India |  |  |  |  | Spatial Light Modulater | Physics |  |  |  | Working | Research Equipment
Electrometer | [8 empty] | Electrometer | Physics |  |  |  | Working | Research Equipment
Tubular Furnace | [8 empty] | Tubular Furnace | Physics |  |  |  | Working | Research Equipment
Dual Phase Lockin | [8 empty] | Dual Phase Lockin | Physics |  |  |  | Working | Research Equipment
|  |  | Keithley | Keithley | [5 empty] | Physics |  |  |  | Working | Research Equipment
[10 empty] | Physics |  |  |  | Working | Research Equipment
RISHAB 3 3/4 digit Autoranging digital Multimeter |  |  | Standford Research System | Standford Research System |  |  |  |  | RISHAB 3 3/4 digit Autoranging digital Multimeter | Physics |  |  |  | Working | Research Equipment
High Temperature Tubular Furnace | [8 empty] | High Temperature Tubular Furnace | Physics |  |  |  | Working | Research Equipment
Variable Auto Transformer | [8 empty] | Variable Auto Transformer | Physics |  |  |  | Working | Research Equipment
Magnetic Stirrer |  |  | RISHAB | RISHAB |  |  |  |  | Magnetic Stirrer | Physics |  |  |  | Working | Research Equipment
KBr Press -MP-15 |  |  | Sonnu | Sonnu |  |  |  |  | KBr Press -MP-15 | Physics |  |  |  | Working | Research Equipment
Spin Coating Unit | [8 empty] | Spin Coating Unit | Physics |  |  |  | Working | Research Equipment
Picoameter | [8 empty] | Picoameter | Physics |  |  |  | Working | Research Equipment
Sourcemeter | [8 empty] | Sourcemeter | Physics |  |  |  | Working | Research Equipment
Electrometer |  |  | Holmarc | Holmarc |  |  |  |  | Electrometer | Physics |  |  |  | Working | Research Equipment
LCR Meter |  |  | Keithley | Keithley |  |  |  |  | LCR Meter | Physics |  |  |  | Working | Research Equipment
Travelling Microscope, TVM-03 |  |  | Keithley | Keithley |  |  |  |  | Travelling Microscope, TVM-03 | Physics |  |  |  | Working | Research Equipment
Precision Digital Multimeter 6 & Half Digit |  |  | Keithley | Keithley |  |  |  |  | Precision Digital Multimeter 6 & Half Digit | Physics |  |  |  | Working | Research Equipment
High Enegry Planetory Ball Mill |  |  | GWInster | GWInster |  |  |  |  | High Enegry Planetory Ball Mill | Physics |  |  |  | Working | Research Equipment
Vacuum Syatem with Rotary & Diffusion Pump | [8 empty] | Vacuum Syatem with Rotary & Diffusion Pump | Physics |  |  |  | Working | Research Equipment
Opto-mechanical Components, such as Magnetic Base, Mirror Mount, Post & Holders etc and various optical components | [8 empty] | Opto-mechanical Components, such as Magnetic Base, Mirror Mount, Post & Holders etc and various optical components | Physics |  |  |  | Working | Research Equipment
Rotary Vane Pump & Vacuum Unit |  |  | Insmart Syatem | Insmart Syatem |  |  |  |  | Rotary Vane Pump & Vacuum Unit | Physics |  |  |  | Working | Research Equipment
Frenal Biprism, |  |  | VT Vacuum Technology Pvt Ltd. | VT Vacuum Technology Pvt Ltd. |  |  |  |  | Frenal Biprism, | Physics |  |  |  | Working | Research Equipment
Photoconductivity Setup |  |  | - | - |  |  |  |  | Photoconductivity Setup | Physics |  |  |  | Working | Research Equipment
Dielectric Constant Kit |  |  | Vacuum Technologies Pvt. Ltd. | Vacuum Technologies Pvt. Ltd. |  |  |  |  | Dielectric Constant Kit | Physics |  |  |  | Working | Research Equipment
Biot Savert Law set up |  |  | Oswal Industrial Products Pvt Ltd | Oswal Industrial Products Pvt Ltd |  |  |  |  | Biot Savert Law set up | Physics |  |  |  | Working | Research Equipment
B-H Curve |  |  | Do | Do |  |  |  |  | B-H Curve | Physics |  |  |  | Working | Research Equipment
Milikan Oil Drop Experiment Item |  |  | Do | Do |  |  |  |  | Milikan Oil Drop Experiment Item | Physics |  |  |  | Working | Research Equipment
Balmer series of hydrogen |  |  | Do | Do |  |  |  |  | Balmer series of hydrogen | Physics |  |  |  | Working | Research Equipment
Law of Motion Kit |  |  | Do | Do |  |  |  |  | Law of Motion Kit | Physics |  |  |  | Working | Research Equipment
Viscosity of Glycerin |  |  | Do | Do |  |  |  |  | Viscosity of Glycerin | Physics |  |  |  | Working | Research Equipment
Surface Tension |  |  | Do | Do |  |  |  |  | Surface Tension | Physics |  |  |  | Working | Research Equipment
Four Probe Method |  |  | Do | Do |  |  |  |  | Four Probe Method | Physics |  |  |  | Working | Research Equipment
Research Grade Optical Table with acessaries |  |  | Do | Do |  |  |  |  | Research Grade Optical Table with acessaries | Physics |  |  |  | Working | Research Equipment
Power Detector |  |  | Do | Do |  |  |  |  | Power Detector | Physics |  |  |  | Working | Research Equipment
Green Laser, Diode, 532 nm, 150 mW with other acessories |  |  | Do | Do |  |  |  |  | Green Laser, Diode, 532 nm, 150 mW with other acessories | Physics |  |  |  | Working | Research Equipment
Up to 1000 Degree celcius |  |  | Newport Co-orporation | Newport Co-orporation |  |  |  |  | Up to 1000 Degree celcius | Physics |  |  |  | Working | Research Equipment
High Resolution CMOS Camera | [8 empty] | High Resolution CMOS Camera | Physics |  |  |  | Working | Research Equipment
200 mHz Dual Phase Digital Signal Processing Lock-in Amplifier |  |  | Cobolt AB | Cobolt AB |  |  |  |  | 200 mHz Dual Phase Digital Signal Processing Lock-in Amplifier | Physics |  |  |  | Working | Research Equipment
Nanovolt meter | [8 empty] | Nanovolt meter | Physics |  |  |  | Working | Research Equipment
Constant Current Source | [8 empty] | Constant Current Source | Physics |  |  |  | Working | Research Equipment
Digital Multimeter |  |  | Stanford Research System | Stanford Research System |  |  |  |  | Digital Multimeter | Physics |  |  |  | Working | Research Equipment
GESSE Fast Variable Angle Spectroscopic Ellipsometer with Photometery & Scatterometry |  |  | Keithley Instrments | Keithley Instrments |  |  |  |  | GESSE Fast Variable Angle Spectroscopic Ellipsometer with Photometery & Scatterometry | Physics |  |  |  | Working | Research Equipment
Phase Only Spatial Light Modulator |  |  | Keithley Instrments | Keithley Instrments |  |  |  |  | Phase Only Spatial Light Modulator | Physics |  |  |  | Working | Research Equipment
He exchange gas type Closed Cycle variable temperature Cryogenia syatem |  |  | Keithley Instrments | Keithley Instrments |  |  |  |  | He exchange gas type Closed Cycle variable temperature Cryogenia syatem | Physics |  |  |  | Working | Research Equipment
Servo Controlled Voltage Stablizer |  |  | Semila Co. Ltd. | Semila Co. Ltd. |  |  |  |  | Servo Controlled Voltage Stablizer | Physics |  |  |  | Working | Research Equipment
Closed Cycle Chilled Water Circulation System |  |  | Holoeye Photonics AG | Holoeye Photonics AG |  |  |  |  | Closed Cycle Chilled Water Circulation System | Physics |  |  |  | Working | Research Equipment
Ferroelectric Test System |  |  | Janis Research Company | Janis Research Company |  |  |  |  | Ferroelectric Test System | Physics |  |  |  | Working | Research Equipment
Impedance Analyzer/HF LCR meter | [8 empty] | Impedance Analyzer/HF LCR meter | Physics |  |  |  | Working | Research Equipment
Vector Network Analyzer |  |  | Indairco Kolkata | Indairco Kolkata |  |  |  |  | Vector Network Analyzer | Physics |  |  |  | Working | Research Equipment
Server & others |  |  | Radiant Technologies | Radiant Technologies |  |  |  |  | Server & others | Physics |  |  |  | Working | Research Equipment
Hitachi Cold Field SEM |  |  | Wyne Kerr | Wyne Kerr |  |  |  |  | Hitachi Cold Field SEM | Physics |  |  |  | Working | Research Equipment
Rigaku X-ray Diffractometer |  |  | Agilent | Agilent |  |  |  |  | Rigaku X-ray Diffractometer | Physics |  |  |  | Working | Research Equipment
Mini Arc Melting Furnace |  |  | IBM | IBM |  |  |  |  | Mini Arc Melting Furnace | Physics |  |  |  | Working | Research Equipment
Surface Area Analyzer |  |  | Hitachi High Technologies | Hitachi High Technologies |  |  |  |  | Surface Area Analyzer | Physics |  |  |  | Working | Research Equipment
Pycnometer SMART PYCNO 36 |  |  | Rigaku Corporation | Rigaku Corporation |  |  |  |  | Pycnometer SMART PYCNO 36 | Physics |  |  |  | Working | Research Equipment
2D Silicon device Simulator |  |  | Edmund Buehler GmbH | Edmund Buehler GmbH |  |  |  |  | 2D Silicon device Simulator | Physics |  |  |  | Working | Research Equipment
Langmuair Blodgett Film Deposition System |  |  | Smart Instruments | Smart Instruments |  |  |  |  | Langmuair Blodgett Film Deposition System | Physics |  |  |  | Working | Research Equipment
Electrochemical Analyzer |  |  | Smart Instruments | Smart Instruments |  |  |  |  | Electrochemical Analyzer | Physics |  |  |  | Working | Research Equipment
Spatial Light Modulator |  |  | Integrated Microsystems | Integrated Microsystems |  |  |  |  | Spatial Light Modulator | Physics |  |  |  | Working | Research Equipment
Perkin Elmer DSC-8000 |  |  | Apex Instruments Co. | Apex Instruments Co. |  |  |  |  | Perkin Elmer DSC-8000 | Physics |  |  |  | Working | Research Equipment
STA-6000 |  |  | C-H Instruments | C-H Instruments |  |  |  |  | STA-6000 | Physics |  |  |  | Working | Research Equipment
Micro Raman STR750 |  |  | Holoeye | Holoeye |  |  |  |  | Micro Raman STR750 | Physics |  |  |  | Working | Research Equipment
UHV Compatible PLD Chamber with accessories |  |  | Perkin Elmer | Perkin Elmer |  |  |  |  | UHV Compatible PLD Chamber with accessories | Physics |  |  |  | Working | Research Equipment
Nano-REV 5.0 AIR STM |  |  | Perkin Elmer | Perkin Elmer |  |  |  |  | Nano-REV 5.0 AIR STM | Physics |  |  |  | Working | Research Equipment
UV-VIS Spectroscopy |  |  | Seki Technotron | Seki Technotron |  |  |  |  | UV-VIS Spectroscopy | Physics |  |  |  | Working | Research Equipment
Photo Luminacence Spectroscopy |  |  | Excel Instruments | Excel Instruments |  |  |  |  | Photo Luminacence Spectroscopy | Physics |  |  |  | Working | Research Equipment
PPMS |  |  | Quazar Technologies Pvt. | Quazar Technologies Pvt. |  |  |  |  | PPMS | Physics |  |  |  | Working | Research Equipment
Eight Stage Programmable Tubular Furnance |  |  | Perkin Elmer | Perkin Elmer |  |  |  |  | Eight Stage Programmable Tubular Furnance | Physics |  |  |  | Working | Research Equipment
COMSOL | [8 empty] | COMSOL | Physics |  |  |  | Working | Research Equipment
Newton's Rings Experiment Kit |  |  | Quazar Technologies Pvt. | Quazar Technologies Pvt. |  |  |  |  | Newton's Rings Experiment Kit | Physics |  |  |  | Working | Research Equipment
Digital Gaussmeter |  |  | Metrex Scientific Instruments Pvt. Ltd. | Metrex Scientific Instruments Pvt. Ltd. |  |  |  |  | Digital Gaussmeter | Physics |  |  |  | Working | Research Equipment
25 mm Motorized Traslation Stage, M4 & M3 Traps with acessaries |  |  | COMSOL Multiphysics Pvt. Ltd. | COMSOL Multiphysics Pvt. Ltd. |  |  |  |  | 25 mm Motorized Traslation Stage, M4 & M3 Traps with acessaries | Physics |  |  |  | Working | Research Equipment
Hot Plate with Magnetic Stirrer & Temperature Control |  |  | Indosaw | Indosaw |  |  |  |  | Hot Plate with Magnetic Stirrer & Temperature Control | Physics |  |  |  | Working | Research Equipment
100 MHz Digital Storage Oscilloscope |  |  | SES Instruments Pvt. Ltd. | SES Instruments Pvt. Ltd. |  |  |  |  | 100 MHz Digital Storage Oscilloscope | Physics |  |  |  | Working | Research Equipment
Electronics Semi Micro Balance with Density Measurement Kit |  |  | MELS IMPEX AMERICA | MELS IMPEX AMERICA |  |  |  |  | Electronics Semi Micro Balance with Density Measurement Kit | Physics |  |  |  | Working | Research Equipment
T-Cube DC Servo Motor Controlled with 15V Power Supply Unit for T-Cube |  |  | IKA | IKA |  |  |  |  | T-Cube DC Servo Motor Controlled with 15V Power Supply Unit for T-Cube | Physics |  |  |  | Working | Research Equipment
Digital Storage Oscilloscope | [8 empty] | Digital Storage Oscilloscope | Physics |  |  |  | Working | Research Equipment
Tektronix 50 MHz 1GS9/C Single Channel Arbitrary Function Generator |  |  | Sartorious | Sartorious |  |  |  |  | Tektronix 50 MHz 1GS9/C Single Channel Arbitrary Function Generator | Physics |  |  |  | Working | Research Equipment
Precission Multiferroic Test System with other Acessories |  |  | Thorlabs | Thorlabs |  |  |  |  | Precission Multiferroic Test System with other Acessories | Physics |  |  |  | Working | Research Equipment
High Vacuum System wih Diffusion LN2 Trap Anolog GAVGE CEC-75 | [8 empty] | High Vacuum System wih Diffusion LN2 Trap Anolog GAVGE CEC-75 | Physics |  |  |  | Working | Research Equipment
Series 5500 Microscope | [8 empty] | Series 5500 Microscope | Physics |  |  |  | Working | Research Equipment
30 Watt CO2 Laser |  |  | Radiant Technology USA | Radiant Technology USA |  |  |  |  | 30 Watt CO2 Laser | Physics |  |  |  | Working | Research Equipment
Liquid Nitrogen Plant |  |  | VEC Solution Bangalore | VEC Solution Bangalore |  |  |  |  | Liquid Nitrogen Plant | Physics |  |  |  | Working | Research Equipment
Solar Simulator with IV Measurement Syatem |  |  | Agilent Technology | Agilent Technology |  |  |  |  | Solar Simulator with IV Measurement Syatem | Physics |  |  |  | Working | Research Equipment
Optical Bread Board |  |  | Synard | Synard |  |  |  |  | Optical Bread Board | Physics |  |  |  | Working | Research Equipment
Energy Meter & Sensor |  |  | MVS Engineering | MVS Engineering |  |  |  |  | Energy Meter & Sensor | Physics |  |  |  | Working | Research Equipment
780 nm D fB Laser & 1083 nm DfB Laser | [8 empty] | 780 nm D fB Laser & 1083 nm DfB Laser | Physics |  |  |  | Working | Research Equipment
Instruments Type Combination Laser Diode with other components & accessories |  |  | New Age Instruments & Materials Pvt. Ltd. | New Age Instruments & Materials Pvt. Ltd. |  |  |  |  | Instruments Type Combination Laser Diode with other components & accessories | Physics |  |  |  | Working | Research Equipment
Tunable Laser Kit , 770 nm & related components |  |  | Coherent Inc. 5100 | Coherent Inc. 5100 |  |  |  |  | Tunable Laser Kit , 770 nm & related components | Physics |  |  |  | Working | Research Equipment
Thermal Sensor Head | [8 empty] | Thermal Sensor Head | Physics |  |  |  | Working | Research Equipment
Function Generator | [8 empty] | Function Generator | Physics |  |  |  | Working | Research Equipment
High Precision Wavelength meter |  |  | Mels Impex America Inc. | Mels Impex America Inc. |  |  |  |  | High Precision Wavelength meter | Physics |  |  |  | Working | Research Equipment
Remi Centrifuse Capacity 4into 20 ml |  |  | New Age Instruments | New Age Instruments |  |  |  |  | Remi Centrifuse Capacity 4into 20 ml | Physics |  |  |  | Working | Research Equipment
PCB Design & Fabrication unit |  |  | Scientech Tech. Inc. | Scientech Tech. Inc. |  |  |  |  | PCB Design & Fabrication unit | Physics |  |  |  | Working | Research Equipment
2000 Series Optical Table Metric m6 Holes with components |  |  | High Finesse gmbh aut der morgen te | High Finesse gmbh aut der morgen te |  |  |  |  | 2000 Series Optical Table Metric m6 Holes with components | Physics |  |  |  | Working | Research Equipment
Travelling Microscope |  |  | Remi | Remi |  |  |  |  | Travelling Microscope | Physics |  |  |  | Working | Research Equipment
Vortex Mixer |  |  | Nuis Technologies Pvt Ltd. | Nuis Technologies Pvt Ltd. |  |  |  |  | Vortex Mixer | Physics |  |  |  | Working | Research Equipment
Hene Laser 632.8 nm, 21 mW polarized & related components |  |  | Advance Photonics | Advance Photonics |  |  |  |  | Hene Laser 632.8 nm, 21 mW polarized & related components | Physics |  |  |  | Working | Research Equipment
Laboratory Oven |  |  | Holmarc Optomechatronics Pvt Ltd | Holmarc Optomechatronics Pvt Ltd |  |  |  |  | Laboratory Oven | Physics |  |  |  | Working | Research Equipment
Virtual nanolab with Quantum wise toolkit | [8 empty] | Virtual nanolab with Quantum wise toolkit | Physics |  |  |  | Working | Research Equipment
Function Generator | [8 empty] | Function Generator | Physics |  |  |  | Working | Research Equipment
GW-Instek multimeter | [8 empty] | GW-Instek multimeter | Physics |  |  |  | Working | Research Equipment
E/M Experimental Model | [8 empty] | E/M Experimental Model | Physics |  |  |  | Working | Research Equipment
Planks Constant by Photo Electric Effect | [8 empty] | Planks Constant by Photo Electric Effect | Physics |  |  |  | Working | Research Equipment
Hall Effect Setup | [8 empty] | Hall Effect Setup | Physics |  |  |  | Working | Research Equipment
Traveling Microscope |  |  | SES Instrument Pvt Ltd | SES Instrument Pvt Ltd |  |  |  |  | Traveling Microscope | Physics |  |  |  | Working | Research Equipment
Electro Spining Unit |  |  | SES Instrument Pvt Ltd | SES Instrument Pvt Ltd |  |  |  |  | Electro Spining Unit | Physics |  |  |  | Working | Research Equipment
KSV NIMA Langmuri Blodgett Troughts ksv Nima Langmuri Blodgett macliam & accessories |  |  | SES Instrument Pvt Ltd | SES Instrument Pvt Ltd |  |  |  |  | KSV NIMA Langmuri Blodgett Troughts ksv Nima Langmuri Blodgett macliam & accessories | Physics |  |  |  | Working | Research Equipment
Zeeman Effect Experiment ZEX-01 |  |  | SES Instrument Pvt Ltd | SES Instrument Pvt Ltd |  |  |  |  | Zeeman Effect Experiment ZEX-01 | Physics |  |  |  | Working | Research Equipment
Keer Effect Setup |  |  | Espin Nanotech Pvt. Ltd. | Espin Nanotech Pvt. Ltd. |  |  |  |  | Keer Effect Setup | Physics |  |  |  | Working | Research Equipment
Electron Spin Resonance setup |  |  | Biolin Sientific AB | Biolin Sientific AB |  |  |  |  | Electron Spin Resonance setup | Physics |  |  |  | Working | Research Equipment
GW-Instek CRO |  |  | SES Instrument Pvt Ltd | SES Instrument Pvt Ltd |  |  |  |  | GW-Instek CRO | Physics |  |  |  | Working | Research Equipment
Susceptibility Measurement Setup for Paramagnetic Solutions by Quinck's Method |  |  | OSWAL | OSWAL |  |  |  |  | Susceptibility Measurement Setup for Paramagnetic Solutions by Quinck's Method | Physics |  |  |  | Working | Research Equipment
Study of Dielectric constant and curie temperature of Ferroelectric materials |  |  | OSWAL | OSWAL |  |  |  |  | Study of Dielectric constant and curie temperature of Ferroelectric materials | Physics |  |  |  | Working | Research Equipment
NMR Spectrometer |  |  | GW-INSTEK | GW-INSTEK |  |  |  |  | NMR Spectrometer | Physics |  |  |  | Working | Research Equipment
Magnetic Hysteresis Loop tracer |  |  | SES Instrument Pvt Ltd | SES Instrument Pvt Ltd |  |  |  |  | Magnetic Hysteresis Loop tracer | Physics |  |  |  | Working | Research Equipment
GW-INSTEK Two Channel Analog Oscilloscope |  |  | SES Instrument Pvt Ltd | SES Instrument Pvt Ltd |  |  |  |  | GW-INSTEK Two Channel Analog Oscilloscope | Physics |  |  |  | Working | Research Equipment
GW-INSTEK Dual Channel Arbitrary Function Generator |  |  | SES Instrument Pvt Ltd | SES Instrument Pvt Ltd |  |  |  |  | GW-INSTEK Dual Channel Arbitrary Function Generator | Physics |  |  |  | Working | Research Equipment
Spectrofluorometer Model Fluoro Max FM4‐C |  |  | SES Instrument Pvt Ltd | SES Instrument Pvt Ltd |  |  |  |  | Spectrofluorometer Model Fluoro Max FM4‐C | Physics |  |  |  | Working | Research Equipment
High Precision Bench Top L‐C‐R Meter |  |  | GW-INSTEK | GW-INSTEK |  |  |  |  | High Precision Bench Top L‐C‐R Meter | Physics |  |  |  | Working | Research Equipment
Magneto resistance measurement, Magneto Capacitance measurement with 1.4 Tesla Electromagnet |  |  | GW-INSTEK Horiba Aplab | GW-INSTEK Horiba Aplab |  |  |  |  | Magneto resistance measurement, Magneto Capacitance measurement with 1.4 Tesla Electromagnet | Physics |  |  |  | Working | Research Equipment
Fully Automatic Cyclic Triaxial Test Equipment for both static and dynamic loading. |  |  | HEICO | HS-28.610 |  |  |  |  | Fully Automatic Cyclic Triaxial Test Equipment for both static and dynamic loading. | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Static Triaxial Test Equipment. |  |  | HEICO | HS-26.635 |  |  |  |  | Static Triaxial Test Equipment. | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Direct Shear test Equipment. |  |  | AIMIL | AIM-105 |  |  |  |  | Direct Shear test Equipment. | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Oedometer or consoledometer. |  |  | HEICO | HS-18.535 |  |  |  |  | Oedometer or consoledometer. | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
California Bearing ratio (C.B.R.) Test Equipment. |  |  | HEICO | HS-22.10 |  |  |  |  | California Bearing ratio (C.B.R.) Test Equipment. | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Unconfined Compression Test Apparatus both in undisturbed and remolded state of the soil. |  |  | ENKAY | EKE-062-1 |  |  |  |  | Unconfined Compression Test Apparatus both in undisturbed and remolded state of the soil. | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
|  |  | - | - | [5 empty] | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Universal permeability apparatus (Constant and Falling). |  |  | HEICO | HS-12.05 |  |  |  |  | Universal permeability apparatus (Constant and Falling). | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
|  |  | - | - | [5 empty] | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
|  |  | - | - | [5 empty] | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Vane Shear Testing Equipment for cohesive soil. |  |  | AIR MASTER | 2006 |  |  |  |  | Vane Shear Testing Equipment for cohesive soil. | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
|  |  | - | - | [5 empty] | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
|  |  | - | - | [5 empty] | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Seismic Accelerometer and Data Acquisition System. |  |  | Bruel & Kjaer | 700 P |  |  |  |  | Seismic Accelerometer and Data Acquisition System. | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
|  |  | - | - | [5 empty] | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Multichannel Analysis of Surface Wave (MASW) Test Equipment. |  |  | Seismic Source co. | RS 232 |  |  |  |  | Multichannel Analysis of Surface Wave (MASW) Test Equipment. | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Static Cone Penetration Testing Equipment. |  |  | HEICO | HS-34-77 |  |  |  |  | Static Cone Penetration Testing Equipment. | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Pile Integrity Test Apparatus. |  |  | Testcunsult | TDR2-SN271 |  |  |  |  | Pile Integrity Test Apparatus. | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
WP4C –Dew Point Potentiometer |  |  | Digicon Divices (Meter Group.Inc) | C-2017 |  |  |  |  | WP4C –Dew Point Potentiometer | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Soil Water Characteristic cell (SWCC) Test apparatus. |  |  | GCTS | HTC-250-S |  |  |  |  | Soil Water Characteristic cell (SWCC) Test apparatus. | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Humidity and temperature apparatus. |  |  | G.P.System | SS16J |  |  |  |  | Humidity and temperature apparatus. | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Swelling Apparatus. |  |  | HEICO | Fabricated. |  |  |  |  | Swelling Apparatus. | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Cyclic Plate Load test Apparatus. |  |  | SPRANKTRONICS | 539011C |  |  |  |  | Cyclic Plate Load test Apparatus. | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Block Vibration Test Apparatus. |  |  | MICRON | MX20A |  |  |  |  | Block Vibration Test Apparatus. | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
200 kN Actuator Loading System |  |  | BISS | Specifically Designed |  |  |  |  | 200 kN Actuator Loading System | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Large scale Permeability Apparatus |  |  | AIMIL | Specifically Designed |  |  |  |  | Large scale Permeability Apparatus | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Large scale Direct shear test |  |  | HEICO | SPL-HS24.622 |  |  |  |  | Large scale Direct shear test | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Large scale Pull Out Test |  |  | HEICO | NA |  |  |  |  | Large scale Pull Out Test | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Marshall Stability Apparatus |  |  | HEICO | HE-SPL |  |  |  |  | Marshall Stability Apparatus | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Differential Global positioning System |  |  | LEICA | GS08 Plus |  |  |  |  | Differential Global positioning System | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Trazer Suite Apparatus |  |  | KRITICAL SOLUTION | Version 7 |  |  |  |  | Trazer Suite Apparatus | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
High Performance Computational Environment(HPCE) Containing Total 32 CPU |  |  | DELL | [5 empty] | High Performance Computational Environment(HPCE) Containing Total 32 CPU | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Universal Testing Machine (600 KN Capacity) |  |  | Tinius olsen | 120 Super "L" console 600 KN |  |  |  |  | Universal Testing Machine (600 KN Capacity) | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Compression Testing Machine |  |  | Ultra Technologies | UT2031 |  |  |  |  | Compression Testing Machine | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Ultrasonic Pulse Velocity Measuring Instrument |  |  | Proceq | Pundit Lab + Ultrasonic Concrete Testing Instrument (Shear Wave Transducers 250 kHz) |  |  |  |  | Ultrasonic Pulse Velocity Measuring Instrument | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Data Logger (GMS plus ) with Accelerometer & Velocity sensor |  |  | GeoSIG | GMSplus6-WIFI-P-FULL, AC-73 and VE-13 |  |  |  |  | Data Logger (GMS plus ) with Accelerometer & Velocity sensor | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Data Logger (United Electronic Industries) |  |  | United Electronic Industries | UEI 600 and 8340 |  |  |  |  | Data Logger (United Electronic Industries) | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Data Acquisition Hardware (Bruel & Kjaer) |  |  | Bruel & Kjaer | 12 inh Module LAN -XI 25.6 kHz (CCLD,V) |  |  |  |  | Data Acquisition Hardware (Bruel & Kjaer) | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Cyclic lateral load testing system (Strong reaction floor & frame with 250 KN servo hydraulic actuator) |  |  | MTS | 515.90S 1 MOD |  |  |  |  | Cyclic lateral load testing system (Strong reaction floor & frame with 250 KN servo hydraulic actuator) | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Data Acquisition Systems (National Instrument) |  |  | National Instrument | cDAQ - 9188XT |  |  |  |  | Data Acquisition Systems (National Instrument) | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Impact hammer (National Instrument) |  |  | National Instrument | 086C03 |  |  |  |  | Impact hammer (National Instrument) | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Load Cells |  |  | Honey Well | TH and 123 |  |  |  |  | Load Cells | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Accelerometer |  |  | Honey Well | MA331 |  |  |  |  | Accelerometer | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Linear Variable Displacement Transducers |  |  | Honey Well | JEC-AG DC-DC AY322 - HR and JEC-AG DC-DC AY322 - HQ |  |  |  |  | Linear Variable Displacement Transducers | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
|  |  |  | - | [5 empty] | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Arbitrary function generator |  |  | Keysight | E3632A and U8002A |  |  |  |  | Arbitrary function generator | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Small electro-dynamic shaker |  |  | Spektra | APS 400 |  |  |  |  | Small electro-dynamic shaker | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Flat-jack system |  |  | Controls | 58-D0567/C2 and 58-D0567/C20 |  |  |  |  | Flat-jack system | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Inductively coupled plasma mass spectrometry (ICP-MS) |  |  | Agilent | 7800 |  |  |  |  | Inductively coupled plasma mass spectrometry (ICP-MS) | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Atomic Absorption Spectroscopy (Flame, Furnace, Vapor) |  |  | Thermo Scientific | iCE-3500 |  |  |  |  | Atomic Absorption Spectroscopy (Flame, Furnace, Vapor) | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
CHN Analyser |  |  | Leco | TrueSpec Micro |  |  |  |  | CHN Analyser | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
TOC Analyser |  |  | O.I. Analytical Aurora | 1030W & 1030S |  |  |  |  | TOC Analyser | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Ion Chromatography |  |  | Metrohm | 882 Compact IC plus |  |  |  |  | Ion Chromatography | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Microwave Digester |  |  | Milestone s.r.l. | Ethos easy |  |  |  |  | Microwave Digester | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Refrigerated Centrifuge |  |  | Eppendorf | 5804-R |  |  |  |  | Refrigerated Centrifuge | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Shaker Incubator |  |  | Lab companion | ISS-4075R |  |  |  |  | Shaker Incubator | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Class II Biosafety Cabinet |  |  | ESCO | AS2-4S8 |  |  |  |  | Class II Biosafety Cabinet | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
UV Visible Spectrophotometer |  |  | Thermo Scientific | Evolution 220 |  |  |  |  | UV Visible Spectrophotometer | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Nano particle Tracking Analysis |  |  | Malvern | NS300 |  |  |  |  | Nano particle Tracking Analysis | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
Automated fraction Collector |  |  | Spectrum | CF-2 |  |  |  |  | Automated fraction Collector | Civil and Environmental Engineering |  |  |  | Working | Research Equipment
In-situ FTIR(Mid IR) |  |  | Thermo Scientific | Nicolet iS50 FT-IR |  |  |  |  | In-situ FTIR(Mid IR) | Chemical and Biochemical Engineering |  |  |  | Working | Research Equipment
Gas Chromatograph |  |  | Centurion Scientific | 5800 Gas Chromatograph |  |  |  |  | Gas Chromatograph | Chemical and Biochemical Engineering |  |  |  | Working | Research Equipment
LC-MS/MS |  |  | Agilent Technologies | G6545B Q-TOF LC/MS |  |  |  |  | LC-MS/MS | Chemical and Biochemical Engineering |  |  |  | Working | Research Equipment
UV -Visible Spectrophotometer |  |  | Shimadzu | UV-2600 |  |  |  |  | UV -Visible Spectrophotometer | Chemical and Biochemical Engineering |  |  |  | Working | Research Equipment
Microplate Reader |  |  | BioTek | Cytation/1 imaging reader |  |  |  |  | Microplate Reader | Chemical and Biochemical Engineering |  |  |  | Working | Research Equipment
Fluorescence Microscope |  |  | Nikon | Eclipse Ti2 |  |  |  |  | Fluorescence Microscope | Chemical and Biochemical Engineering |  |  |  | Working | Research Equipment
Biogas Analyzer |  |  | Nucon | 5765 NUCON |  |  |  |  | Biogas Analyzer | Chemical and Biochemical Engineering |  |  |  | Working | Research Equipment
Bench-top pH meter |  |  | MettlerToledo | FP20 |  |  |  |  | Bench-top pH meter | Chemical and Biochemical Engineering |  |  |  | Working | Research Equipment
Ammonia meter and probe |  |  | GenNEXT | GEN930 |  |  |  |  | Ammonia meter and probe | Chemical and Biochemical Engineering |  |  |  | Working | Research Equipment
Linux Cluster |  |  | Netweb | Supermicro 6018R-WTR, 7048R-TR |  |  |  |  | Linux Cluster | Chemical and Biochemical Engineering |  |  |  | Working | Research Equipment
Dielectric Property Measurement Unit- Vector Network Analyzer |  |  | KEYSIGHT | E5071C ENA SERIES |  |  |  |  | Dielectric Property Measurement Unit- Vector Network Analyzer | Chemical and Biochemical Engineering |  |  |  | Working | Research Equipment
Algal Growth Chamber |  |  | Scigenics | Orbiteck GC-350L |  |  |  |  | Algal Growth Chamber | Chemical and Biochemical Engineering |  |  |  | Working | Research Equipment
Autoclave |  |  | JeioTech | ST-85G |  |  |  |  | Autoclave | Chemical and Biochemical Engineering |  |  |  | Working | Research Equipment
Centrifuge |  |  | Eppendorf | Minispin plus |  |  |  |  | Centrifuge | Chemical and Biochemical Engineering |  |  |  | Working | Research Equipment
Circulating Water Bath |  |  | Cole-Parmar | POLYSTAT 2W24 |  |  |  |  | Circulating Water Bath | Chemical and Biochemical Engineering |  |  |  | Working | Research Equipment
Clean Bench |  |  | JEIO TECH | BC-11H |  |  |  |  | Clean Bench | Chemical and Biochemical Engineering |  |  |  | Working | Research Equipment
Digital Camera |  |  | Nikon | D7500 |  |  |  |  | Digital Camera | Chemical and Biochemical Engineering |  |  |  | Working | Research Equipment
Digital Reactor Block (dual) |  |  | Hach | DRB 200 |  |  |  |  | Digital Reactor Block (dual) | Chemical and Biochemical Engineering |  |  |  | Working | Research Equipment
Heating Mantle with Magnetic Stirrer |  |  | Glassco | 1500.EU.04 |  |  |  |  | Heating Mantle with Magnetic Stirrer | Chemical and Biochemical Engineering |  |  |  | Working | Research Equipment
Hot Air Oven |  |  | Thermo tech | PID-91S |  |  |  |  | Hot Air Oven | Chemical and Biochemical Engineering |  |  |  | Working | Research Equipment
Incubator |  |  | Scigenics | Orbiteck LETT-P |  |  |  |  | Incubator | Chemical and Biochemical Engineering |  |  |  | Working | Research Equipment
Magnetic Stirrer with Hot Plate |  |  | Glassco | 800.DG.01 |  |  |  |  | Magnetic Stirrer with Hot Plate | Chemical and Biochemical Engineering |  |  |  | Working | Research Equipment
Microwave Oven |  |  | LG | MC3286BLT |  |  |  |  | Microwave Oven | Chemical and Biochemical Engineering |  |  |  | Working | Research Equipment
Mini Centrifuge |  |  | Glassco | 5000.EU.01 |  |  |  |  | Mini Centrifuge | Chemical and Biochemical Engineering |  |  |  | Working | Research Equipment
Peristaltic Pump |  |  | Watson Marlow | IN PUMP-D |  |  |  |  | Peristaltic Pump | Chemical and Biochemical Engineering |  |  |  | Working | Research Equipment
Vacuum Pump |  |  | Scigenics Biotech | Orbitech L.Mini |  |  |  |  | Vacuum Pump | Chemical and Biochemical Engineering |  |  |  | Working | Research Equipment
Vortex |  |  | Antech | AN-MX-100 |  |  |  |  | Vortex | Chemical and Biochemical Engineering |  |  |  | Working | Research Equipment
Water Purification System |  |  | RIONS Lab Water System | Basic 360 Series |  |  |  |  | Water Purification System | Chemical and Biochemical Engineering |  |  |  | Working | Research Equipment
Ultrasonic Microwave Reaction System |  |  | Nanjing xianou | XO SM100 |  |  |  |  | Ultrasonic Microwave Reaction System | Chemical and Biochemical Engineering |  |  |  | Working | Research Equipment
Electronic Balance |  |  | WENSAR | MAB220 |  |  |  |  | Electronic Balance | Chemical and Biochemical Engineering |  |  |  | Working | Research Equipment
Furnace |  |  | Biobase | JKKZ-ME5-12GJ |  |  |  |  | Furnace | Chemical and Biochemical Engineering |  |  |  | Working | Research Equipment
Ultrasonic processor (Sonicator) |  |  | Electrosonic Industries | EI-500UP |  |  |  |  | Ultrasonic processor (Sonicator) | Chemical and Biochemical Engineering |  |  |  | Working | Research Equipment
Ball Mill |  |  | Retsch | PM100 |  |  |  |  | Ball Mill | Chemical and Biochemical Engineering |  |  |  | Working | Research Equipment
( TE74S) |  |  | - | - |  |  |  |  | ( TE74S) | Mechanical Engineering |  |  |  | Working | Research Equipment
Oscillatory and Fretting Tribometer with modules for pin on disc |  |  | OPTOMECH and Model no.-PP400TE | OPTOMECH and Model no.-PP400TE |  |  |  |  | Oscillatory and Fretting Tribometer with modules for pin on disc | Mechanical Engineering |  |  |  | Working | Research Equipment
Pin on Disc Tribometer |  |  | Zwick/Roell and Model no.-ZHµ/ST-2000 | Zwick/Roell and Model no.-ZHµ/ST-2000 |  |  |  |  | Pin on Disc Tribometer | Mechanical Engineering |  |  |  | Working | Research Equipment
Optical Profile Projector. OPTOMECH and Model no.-PP400TE |  |  | MettlerToledo and Model no.-XP26 | MettlerToledo and Model no.-XP26 |  |  |  |  | Optical Profile Projector. OPTOMECH and Model no.-PP400TE | Mechanical Engineering |  |  |  | Working | Research Equipment
Micro-hardness Testing machine. Zwick/Roell and Model no.-ZHµ/ST-2000 |  |  | Banbros engineering. | Banbros engineering. |  |  |  |  | Micro-hardness Testing machine. Zwick/Roell and Model no.-ZHµ/ST-2000 | Mechanical Engineering |  |  |  | Working | Research Equipment
Micro weight measuring machine. MettlerToledo and Model no.-XP26 |  |  | Olympus and Model no.-STM6 | Olympus and Model no.-STM6 |  |  |  |  | Micro weight measuring machine. MettlerToledo and Model no.-XP26 | Mechanical Engineering |  |  |  | Working | Research Equipment
Tool Maker microscope. Banbros engineering. |  |  | Leica DMILM | Leica DMILM |  |  |  |  | Tool Maker microscope. Banbros engineering. | Mechanical Engineering |  |  |  | Working | Research Equipment
Olympus Optical Measuring Microscope. Olympus and Model no.-STM6 |  |  | Leica and Model no.-Leica S6D | Leica and Model no.-Leica S6D |  |  |  |  | Olympus Optical Measuring Microscope. Olympus and Model no.-STM6 | Mechanical Engineering |  |  |  | Working | Research Equipment
Leica Metallographic Microscope. Leica and Model no.-Leica DMILM |  |  | Mitutoyo and Model no.-SJ 400 | Mitutoyo and Model no.-SJ 400 |  |  |  |  | Leica Metallographic Microscope. Leica and Model no.-Leica DMILM | Mechanical Engineering |  |  |  | Working | Research Equipment
Stereo Zoom Microscope. Leica and Model no.-Leica S6D |  |  | ZYGO and model no.-Zegage. | ZYGO and model no.-Zegage. |  |  |  |  | Stereo Zoom Microscope. Leica and Model no.-Leica S6D | Mechanical Engineering |  |  |  | Working | Research Equipment
Surface Roughness tester. Mitutoyo and Model no.-SJ 400 |  |  | GEOSYN | GEOSYN |  |  |  |  | Surface Roughness tester. Mitutoyo and Model no.-SJ 400 | Mechanical Engineering |  |  |  | Working | Research Equipment
Optical Profilometer. ZYGO and model no.-Zegage. |  |  | - | - |  |  |  |  | Optical Profilometer. ZYGO and model no.-Zegage. | Mechanical Engineering |  |  |  | Working | Research Equipment
Ultrasonic Cleaner/Variable speed polishing machine. |  |  | - | - |  |  |  |  | Ultrasonic Cleaner/Variable speed polishing machine. | Mechanical Engineering |  |  |  | Working | Research Equipment
GEOSYN |  |  | - | - |  |  |  |  | GEOSYN | Mechanical Engineering |  |  |  | Working | Research Equipment
Wired Electro-Discharge Machine. |  |  | - | - |  |  |  |  | Wired Electro-Discharge Machine. | Mechanical Engineering |  |  |  | Working | Research Equipment
U-Print Plus 3D Printer. |  |  | SIEMENS 802 D SL | SIEMENS 802 D SL |  |  |  |  | U-Print Plus 3D Printer. | Mechanical Engineering |  |  |  | Working | Research Equipment
Thermal imaging camera. |  |  | - | - |  |  |  |  | Thermal imaging camera. | Mechanical Engineering |  |  |  | Working | Research Equipment
CNC Trainer MILLING MTAB Flex- Mill with FANUC CNC System. |  |  | - | - |  |  |  |  | CNC Trainer MILLING MTAB Flex- Mill with FANUC CNC System. | Mechanical Engineering |  |  |  | Working | Research Equipment
CNC Trainer Lathe MTAB Flex- Turn with SIEMENS 802 D SL CNC System. |  |  | - | - |  |  |  |  | CNC Trainer Lathe MTAB Flex- Turn with SIEMENS 802 D SL CNC System. | Mechanical Engineering |  |  |  | Working | Research Equipment
DT-110 High Precision Multi-Process Machine Tool. |  |  | - | - |  |  |  |  | DT-110 High Precision Multi-Process Machine Tool. | Mechanical Engineering |  |  |  | Working | Research Equipment
NI-DAQ |  |  | - | - |  |  |  |  | NI-DAQ | Mechanical Engineering |  |  |  | Working | Research Equipment
LASI (Large area solar illuminator) |  |  | - | - |  |  |  |  | LASI (Large area solar illuminator) | Mechanical Engineering |  |  |  | Working | Research Equipment
Ultrasonic cleaner |  |  | - | - |  |  |  |  | Ultrasonic cleaner | Mechanical Engineering |  |  |  | Working | Research Equipment
Spin coater |  |  | - | - |  |  |  |  | Spin coater | Mechanical Engineering |  |  |  | Working | Research Equipment
Magnetic stirrer |  |  | - | - |  |  |  |  | Magnetic stirrer | Mechanical Engineering |  |  |  | Working | Research Equipment
Hot air oven |  |  | - | - |  |  |  |  | Hot air oven | Mechanical Engineering |  |  |  | Working | Research Equipment
High voltage amplifier |  |  | - | - |  |  |  |  | High voltage amplifier | Mechanical Engineering |  |  |  | Working | Research Equipment
DC power supply |  |  | - | - |  |  |  |  | DC power supply | Mechanical Engineering |  |  |  | Working | Research Equipment
Arbitrary function generator |  |  | - | - |  |  |  |  | Arbitrary function generator | Mechanical Engineering |  |  |  | Working | Research Equipment
Digital storage oscilloscope |  |  | - | - |  |  |  |  | Digital storage oscilloscope | Mechanical Engineering |  |  |  | Working | Research Equipment
Vacuum pump |  |  | - | - |  |  |  |  | Vacuum pump | Mechanical Engineering |  |  |  | Working | Research Equipment
Micro-PIV |  |  | - | - |  |  |  |  | Micro-PIV | Mechanical Engineering |  |  |  | Working | Research Equipment
Constant Temperature bath |  |  | - | - |  |  |  |  | Constant Temperature bath | Mechanical Engineering |  |  |  | Working | Research Equipment
Coriolis mass flow meter |  |  | - | - |  |  |  |  | Coriolis mass flow meter | Mechanical Engineering |  |  |  | Working | Research Equipment
IR Camera |  |  | - | - |  |  |  |  | IR Camera | Mechanical Engineering |  |  |  | Working | Research Equipment
Dry block thermocouple calibrator |  |  | - | - |  |  |  |  | Dry block thermocouple calibrator | Mechanical Engineering |  |  |  | Working | Research Equipment
High Resolution Microscopic Contact Angle Meter |  |  | - | - |  |  |  |  | High Resolution Microscopic Contact Angle Meter | Mechanical Engineering |  |  |  | Working | Research Equipment
High Speed Camera |  |  | - | - |  |  |  |  | High Speed Camera | Mechanical Engineering |  |  |  | Working | Research Equipment
Infrared Camera |  |  | - | - |  |  |  |  | Infrared Camera | Mechanical Engineering |  |  |  | Working | Research Equipment
Machine fault simulator (MFS magnum)- Spectraquest |  |  | - | - |  |  |  |  | Machine fault simulator (MFS magnum)- Spectraquest | Mechanical Engineering |  |  |  | Working | Research Equipment
Wind turbine drive train simulation (WTDS)- Spectraquest |  |  | - | - |  |  |  |  | Wind turbine drive train simulation (WTDS)- Spectraquest | Mechanical Engineering |  |  |  | Working | Research Equipment
Oros 4 channel FFT analyser |  |  | - | - |  |  |  |  | Oros 4 channel FFT analyser | Mechanical Engineering |  |  |  | Working | Research Equipment
Pulse analyser (B&K) - 4 channel and 12 channel |  |  | - | - |  |  |  |  | Pulse analyser (B&K) - 4 channel and 12 channel | Mechanical Engineering |  |  |  | Working | Research Equipment
Motor fault simulation and speed control |  |  | - | - |  |  |  |  | Motor fault simulation and speed control | Mechanical Engineering |  |  |  | Working | Research Equipment
keysight Digital storage oscilloscope - 100 Mhz |  |  | - | - |  |  |  |  | keysight Digital storage oscilloscope - 100 Mhz | Mechanical Engineering |  |  |  | Working | Research Equipment
PDV 100 laser vibrometer |  |  | - | - |  |  |  |  | PDV 100 laser vibrometer | Mechanical Engineering |  |  |  | Working | Research Equipment
Shaft Alignment kit |  |  | - | - |  |  |  |  | Shaft Alignment kit | Mechanical Engineering |  |  |  | Working | Research Equipment
Power amplifier (B&K) |  |  | - | - |  |  |  |  | Power amplifier (B&K) | Mechanical Engineering |  |  |  | Working | Research Equipment
Current clamp meters |  |  | - | - |  |  |  |  | Current clamp meters | Mechanical Engineering |  |  |  | Working | Research Equipment
BPL ECG machine |  |  | - | - |  |  |  |  | BPL ECG machine | Mechanical Engineering |  |  |  | Working | Research Equipment
Sound level Meter |  |  | - | - |  |  |  |  | Sound level Meter | Mechanical Engineering |  |  |  | Working | Research Equipment
RTE Digital Oscilloscope |  | , | RTE 1054,Rohde Schwarz | RTE 1054,Rohde Schwarz |  |  |  |  | RTE Digital Oscilloscope | Electrical Engineering |  |  |  | working | Research Equipment
BENIX |  |  | - | - |  |  |  |  | BENIX | Electrical Engineering |  |  |  | working | Research Equipment
DC -DC Boost Convertor |  |  | - | - |  |  |  |  | DC -DC Boost Convertor | Electrical Engineering |  |  |  | working | Research Equipment
E-Beam Thermal Evaporation System |  |  | - | - |  |  |  |  | E-Beam Thermal Evaporation System | Electrical Engineering |  |  |  | working | Research Equipment
Smart Agriculture IoT Vertical Kit |  |  | - | - |  |  |  |  | Smart Agriculture IoT Vertical Kit | Electrical Engineering |  |  |  | working | Research Equipment
2D and 3D Device & Process Simulator |  |  | - | - |  |  |  |  | 2D and 3D Device & Process Simulator | Electrical Engineering |  |  |  | working | Research Equipment
Power Analyser |  |  | - | - |  |  |  |  | Power Analyser | Electrical Engineering |  |  |  | working | Research Equipment
Manual Dynamometer Controller |  |  | - | - |  |  |  |  | Manual Dynamometer Controller | Electrical Engineering |  |  |  | working | Research Equipment
Probe Station for Gas Sensing |  |  | - | - |  |  |  |  | Probe Station for Gas Sensing | Electrical Engineering |  |  |  | working | Research Equipment
FPGA Driven IGBT Based Brush |  |  | - | - |  |  |  |  | FPGA Driven IGBT Based Brush | Electrical Engineering |  |  |  | working | Research Equipment
Protective Relaying Training System |  |  | - | - |  |  |  |  | Protective Relaying Training System | Electrical Engineering |  |  |  | working | Research Equipment
PCB Fabrication Machine Drilling & Milling unit |  |  | - | - |  |  |  |  | PCB Fabrication Machine , Drilling & Milling unit | Electrical Engineering |  |  |  | working | Research Equipment
AC-DC Electrical Machine Trainer |  |  | - | - |  |  |  |  | AC-DC Electrical Machine Trainer | Electrical Engineering |  |  |  | working | Research Equipment