## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Reference Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Sweep Frequency Response Analysis (SFRA) Test Set USA | SFRA | NIT Hamirpur | Doble , USA | M5500 | 671912230587 | TIFAC-CORE | TIFAC Delhi, HPSEBL Shimla | Power Transformer Diagnosticss | Use for field Testing of Power Transformer (all rating ) for Mechanical Integrity Test during and after transpotation | Electrical Engineering Department | TIFAC-CORE | 19,90,660/- | www.nith.ac.in | Working | Research and Testing |  |  |  | Doble USA |  |  | jarial@nith.ac.in | head.ee@nith.ac.in
DOMINO (Automatic Insulation Diagnostics Analyzer) test set USA | DOMINO | NIT Hamirpur | Doble , USA | USS-MIO | 92300504 | TIFAC-CORE | TIFAC Delhi, HPSEBL Shimla | Power Transformer Diagnostics | Use for field testing of Moisture Contents in insulation Oil of Power Transformer | Electrical Engineering Department | TIFAC-CORE | 9,72,320/- | www.nith.ac.in | Working | Research and Testing |  |  |  | Doble USA |  |  | jarial@nith.ac.in | head.ee@nith.ac.in
DIRANA (Automatic Insulation Diagnostics Analyzer Test Set | DIRANA | NIT Hamirpur | Omicron Austria | DIRANA | EC374W | TIFAC-CORE | TIFAC Delhi, HPSEBL Shimla | Power Transformer Diagnostics | Use for field testing of Oil field testing of any rating for assessing mouisture in paper under varying supply frequency | Electrical Engineering Department | TIFAC-CORE | 13,66,351/- | www.nith.ac.in | Working | Research and Testing |  |  |  | Omicron Austria |  |  | jarial@nith.ac.in | head.ee@nith.ac.in
Flash Point | Flash Point | NIT Hamirpur | G grabner Instruments | Flash Point | 23-425-2720 | TIFAC-CORE | TIFAC Delhi, HPSEBL Shimla | Power Transformer Diagnostics | Use for determining fire pointof insulation oil | Electrical Engineering Department | TIFAC-CORE | 9,32,257/- | www.nith.ac.in | Working | Research and Testing |  |  |  | G grabner Instruments |  |  | jarial@nith.ac.in | head.ee@nith.ac.in
BDV Oil Dielectric Strength Test Set | BDV | NIT Hamirpur | Rectifiers & Electroinics | RE | 6717/1049G)/05-06 | TIFAC-CORE | TIFAC Delhi, HPSEBL Shimla | Power Transformer Diagnostics | Used for breakdown Voltage for Insulation Oil | Electrical Engineering Department | TIFAC-CORE | 2,16,700/- | www.nith.ac.in | Working | Research and Testing |  |  |  | Rectifiers & Electroinics |  |  | jarial@nith.ac.in | head.ee@nith.ac.in
Dissolved Gas Analyzer | DGA | NIT Hamirpur | GE, USA | Transport-X make: |  | TIFAC-CORE | TIFAC Delhi, HPSEBL Shimla | Power Transformer Diagnostics | Used for finding incipient fault with in oil field power transformer of any rating | Electrical Engineering Department | TIFAC-CORE | 26,17,125/- | www.nith.ac.in | Working | Research and Testing |  |  |  | GE, USA |  |  | jarial@nith.ac.in | head.ee@nith.ac.in
UV/VIS Spectrometer | UV/VIS | NIT Hamirpur | PG Instruments Limited | T90+ | 17-1901-01-0038 | TIFAC-CORE | TIFAC Delhi, HPSEBL Shimla | Power Transformer Diagnostics | Use for degradation level of insulating oil | Electrical Engineering Department | TIFAC-CORE | 4,64,299/- | www.nith.ac.in | Working | Research and Testing |  |  |  | PG Instruments Limited |  |  | jarial@nith.ac.in | head.ee@nith.ac.in
Transducer training kit |  | Transducer and Signal Conditioning Lab,EED, NIT Hamirpur | 39308 |  |  | Public Funding | Institute grant, NIT Hamirpur |  |  | Electrical Engineering Department | Transducer and Signal Conditioning Lab,EED | 10384/-(USD) | www.nith.ac.in | Working | [8 empty] | head.ee@nith.ac.in
Level / flow process control trainer |  | Transducer and Signal Conditioning Lab,EED, NIT Hamirpur | 40389 |  |  | Public Funding | Institute grant, NIT Hamirpur |  |  | Electrical Engineering Department | Transducer and Signal Conditioning Lab,EED | 869969/- | www.nith.ac.in | Working |  |  |  |  | Ednex | info@ednex.in | Ednex | info@ednex.in | head.ee@nith.ac.in
NI education lab. virtual instrumentation suite |  | Transducer and Signal Conditioning Lab,EED, NIT Hamirpur | 40662 |  |  | Public Funding | Institute grant, NIT Hamirpur |  |  | Electrical Engineering Department | Transducer and Signal Conditioning Lab,EED | 320040/- | www.nith.ac.in | Working | [8 empty] | head.ee@nith.ac.in
NI dc motor stand |  | Transducer and Signal Conditioning Lab,EED, NIT Hamirpur | 40662 |  |  | Public Funding | Institute grant, NIT Hamirpur |  |  | Electrical Engineering Department | Transducer and Signal Conditioning Lab,EED | 146223/- | www.nith.ac.in | Working | [8 empty] | head.ee@nith.ac.in
Mechatronics sensor board |  | Transducer and Signal Conditioning Lab,EED, NIT Hamirpur | 40662 |  |  | Public Funding | Institute grant, NIT Hamirpur |  |  | Electrical Engineering Department | Transducer and Signal Conditioning Lab,EED | 335664/- | www.nith.ac.in | Working | [8 empty] | head.ee@nith.ac.in
Temperature sensing transducer trainer |  | Transducer and Signal Conditioning Lab,EED, NIT Hamirpur | 04-09-2013 & 08-11-2017 (Anshuman) | XPO-MIT 6 | 1306026 | Public Funding | Institute grant, NIT Hamirpur |  |  | Electrical Engineering Department | Transducer and Signal Conditioning Lab,EED | 62286/- | www.nith.ac.in | Working | [8 empty] | head.ee@nith.ac.in
Light sensing transd-ucer trainer |  | Transducer and Signal Conditioning Lab,EED, NIT Hamirpur | do | XPO-MIT 5 | 1708034 | Public Funding | Institute grant, NIT Hamirpur |  |  | Electrical Engineering Department | Transducer and Signal Conditioning Lab,EED | 62286/- | www.nith.ac.in | Working | [8 empty] | head.ee@nith.ac.in
Speed sensing transducer trainer |  | Transducer and Signal Conditioning Lab,EED, NIT Hamirpur | 04/09/13 & 08/11/17 (Anshuman) | XPO-MIT 3 | 1708032 | Public Funding | Institute grant, NIT Hamirpur |  |  | Electrical Engineering Department | Transducer and Signal Conditioning Lab,EED | 67112/- | www.nith.ac.in | Working | [8 empty] | head.ee@nith.ac.in
Displacement sensing transdu-cer trainer |  | Transducer and Signal Conditioning Lab,EED, NIT Hamirpur | do | XPO-MIT 2 | 1708033 | Public Funding | Institute grant, NIT Hamirpur |  |  | Electrical Engineering Department | Transducer and Signal Conditioning Lab,EED | 67112/- | www.nith.ac.in | Working | [8 empty] | head.ee@nith.ac.in
Strain gauge transdu-cer trainer |  | Transducer and Signal Conditioning Lab,EED, NIT Hamirpur | do | XPO-MIT 1 | 1708030 | Public Funding | Institute grant, NIT Hamirpur |  |  | Electrical Engineering Department | Transducer and Signal Conditioning Lab,EED | 56874/- | www.nith.ac.in | Working | [8 empty] | head.ee@nith.ac.in
Vibration cum air flow transducer trainer |  | Transducer and Signal Conditioning Lab,EED, NIT Hamirpur | do | XPO-MIT 7 | 1306030 | Public Funding | Institute grant, NIT Hamirpur |  |  | Electrical Engineering Department | Transducer and Signal Conditioning Lab,EED | 62563/- | www.nith.ac.in | Working | [8 empty] | head.ee@nith.ac.in
Proximity Trainer,Accelerometer Measurement Ultrasonic Distance Development Work Bench Trainer System |  | Transducer and Signal Conditioning Lab,EED, NIT Hamirpur | 44931 |  |  | Public Funding | Institute grant, NIT Hamirpur |  |  | Electrical Engineering Department | Transducer and Signal Conditioning Lab,EED | 2,08,388.00/- | www.nith.ac.in | Working | [8 empty] | head.ee@nith.ac.in
Pneumatics Control with S7-1200 PLC&TIA Portal Set-up |  | Transducer and Signal Conditioning Lab,EED, NIT Hamirpur | 07-02-2023 (DDR) |  |  | Public Funding | Institute grant, NIT Hamirpur |  |  | Electrical Engineering Department | Transducer and Signal Conditioning Lab,EED | 2,14,760/- | www.nith.ac.in | Working | [8 empty] | head.ee@nith.ac.in
Accelerometer Trainer |  | Transducer and Signal Conditioning Lab,EED, NIT Hamirpur | 10-03-2021 (VPL Infotech) |  |  | Public Funding | Institute grant, NIT Hamirpur |  |  | Electrical Engineering Department | Transducer and Signal Conditioning Lab,EED | 339840/ | www.nith.ac.in | Working | [8 empty] | head.ee@nith.ac.in
Pressure Measur-ement Trainer |  | Transducer and Signal Conditioning Lab,EED, NIT Hamirpur | 44265 |  |  | Public Funding | Institute grant, NIT Hamirpur |  |  | Electrical Engineering Department | Transducer and Signal Conditioning Lab,EED | 60180/- | www.nith.ac.in | Working | [8 empty] | head.ee@nith.ac.in
Instrumentation / Universal Sensor Trainer |  | Transducer and Signal Conditioning Lab,EED, NIT Hamirpur | 10-03-2021 (VPL Infotech) | VPL-TT-TT7 |  | Public Funding | Institute grant, NIT Hamirpur |  |  | Electrical Engineering Department | Transducer and Signal Conditioning Lab,EED | 233050/ | www.nith.ac.in | Working | [8 empty] | head.ee@nith.ac.in
Digital phosphor oscilloscope |  | Transducer and Signal Conditioning Lab,EED, NIT Hamirpur | 38559 |  |  | Public Funding | TEQIP |  |  | Electrical Engineering Department | Transducer and Signal Conditioning Lab,EED | 274400/- | www.nith.ac.in | Working | [8 empty] | head.ee@nith.ac.in
Digital storage oscilloscope |  | Transducer and Signal Conditioning Lab,EED, NIT Hamirpur | 02-02-2006 (Tektronix) | TDS 2002 | C041094 | Public Funding | TEQIP |  |  | Electrical Engineering Department | Transducer and Signal Conditioning Lab,EED | 128000/- | www.nith.ac.in | Working | [8 empty] | head.ee@nith.ac.in
X-Y recorder |  | Transducer and Signal Conditioning Lab,EED, NIT Hamirpur | 10-03-2006 (Yokogawa) | 302523-7 | T1EC17399 | Public Funding | TEQIP |  |  | Electrical Engineering Department | Transducer and Signal Conditioning Lab,EED | 612831/- | www.nith.ac.in | Working | [8 empty] | head.ee@nith.ac.in
Thermometer |  | Transducer and Signal Conditioning Lab,EED, NIT Hamirpur | 38786 |  |  | Public Funding | TEQIP |  |  | Electrical Engineering Department | Transducer and Signal Conditioning Lab,EED | 69638/- | www.nith.ac.in | Working | [8 empty] | head.ee@nith.ac.in
Function generator |  | Transducer and Signal Conditioning Lab,EED, NIT Hamirpur | 38786 |  |  | Public Funding | TEQIP |  |  | Electrical Engineering Department | Transducer and Signal Conditioning Lab,EED | 378880/- | www.nith.ac.in | Working | [8 empty] | head.ee@nith.ac.in
Real Time oscillo-scope |  | Transducer and Signal Conditioning Lab,EED, NIT Hamirpur | 03-04-2006 (Mars) | ME3060 |  | Public Funding | TEQIP |  |  | Electrical Engineering Department | Transducer and Signal Conditioning Lab,EED | 61600/- | www.nith.ac.in | Working | [8 empty] | head.ee@nith.ac.in
Instructional A.C./D.C. or Hybrid Servo Sys. In Modular Kit |  | Advance control Engineering lab,EED , NIT Hamirpur | 14/08/2007 (Feedback) | MS- 150-3 |  | Public Funding | Institute grant, NIT Hamirpur |  | Useful for Laboratory Experimentation and understanding control applications in various systems | Electrical Engineering Department | Advance Control Engineering Lab | USD $13,510.00 | www.nith.ac.in | Working |  |  |  |  | Ednex | info@ednex.in | Ednex | info@ednex.in | head.ee@nith.ac.in
Rotary servo plant based comprehensive control lab training system |  | Advance control Engineering lab,EED , NIT Hamirpur | 15/05/2008 (Quanser) |  |  | Public Funding | Institute grant, NIT Hamirpur |  | Useful for Laboratory Experimentation and understanding control applications in various systems | Electrical Engineering Department | Advance Control Engineering Lab | 19,73,879.00/- | www.nith.ac.in | Working | [8 empty] | head.ee@nith.ac.in
Magnetic Levitation Experimental Set-Up |  | Advance control Engineering lab,EED , NIT Hamirpur | 15/02/2011 (Feedback) |  | 33-210 | Public Funding | Institute grant, NIT Hamirpur |  | Useful for Laboratory Experimentation and understanding control applications in various systems | Electrical Engineering Department | Advance Control Engineering Lab | 3,38,941.00/- | www.nith.ac.in | Working |  |  |  |  | Ednex | info@ednex.in | Ednex | info@ednex.in | head.ee@nith.ac.in
Coupled tanks system set-up |  | Advance control Engineering lab,EED , NIT Hamirpur | 15/02/2011 (Feedback) |  | 33-230 | Public Funding | Institute grant, NIT Hamirpur |  | Useful for Laboratory Experimentation and understanding control applications in various systems | Electrical Engineering Department | Advance Control Engineering Lab | 6,75,906.00/- | www.nith.ac.in | Not Working |  |  |  |  | Ednex | info@ednex.in | Ednex | info@ednex.in | head.ee@nith.ac.in
Ball &Plate set-up |  | Advance control Engineering lab,EED , NIT Hamirpur | 12/02/2015 (Feedback) | 1107501 | 33-240 | Public Funding | Institute grant, NIT Hamirpur |  | Useful for Laboratory Experimentation and understanding control applications in various systems | Electrical Engineering Department | Advance Control Engineering Lab | 7,63,897.00/- | www.nith.ac.in | Not Working |  |  |  |  | edutech | infoindia@edutech.com | edutech | infoindia@edutech.com | head.ee@nith.ac.in
Digital pendulum set-up |  | Advance control Engineering lab,EED , NIT Hamirpur | 24/05/2014 (Feedback) | 1095297 | 33-200 | Public Funding | TEQIP |  | Useful for Laboratory Experimentation and understanding control applications in various systems | Electrical Engineering Department | Advance Control Engineering Lab | 7,41,891.00/- | www.nith.ac.in | Working |  |  |  |  | Ednex | info@ednex.in | Ednex | info@ednex.in | head.ee@nith.ac.in
Twin rotor system set-up |  | Advance control Engineering lab,EED , NIT Hamirpur | 24/05/2014 (Feedback) | 1095100 | 33-220 | Public Funding | TEQIP |  | Useful for Laboratory Experimentation and understanding control applications in various systems | Electrical Engineering Department | Advance Control Engineering Lab | 6,72,734.00/- | www.nith.ac.in | Working |  |  |  |  | Ednex | info@ednex.in | Ednex | info@ednex.in | head.ee@nith.ac.in