## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Vicon Vero v2.2 |  | KLEF | VICON | Vero V2.2 2.2MP optical cameras @ 330fps | ve22-s-0087 | DST | DST SEED TIDE | Visual Verbal Machine Interpreter Fostering Hearing Impaired and Elderly | 8 3D Motion cameras, 1 video camera, Software | ECE | Biomechanics and Vision Computing Research Center | 5000000 |  | Working | Human Action Characerization | 4400000 | 600000 | 0 | VICON | info@vicon.com | Graphic Devices, Mumbai | graphicdevices@vsnl.com | deanrnd@kluniversity.in
Visible-NIR spectrophorometer | PL | KLEF | Princeton Instruments, USA | ACTON5300 |  | Government of India | DST-SERB | Preparation and Characterization of Rare Earth ions doped Oxide, Fluoride and Oxy-fluoride Glasses/Glassy Ceramics for Fiber Lasers and Optical Fiber Amplifiers | Emission can be recorded in visible and NIR regions under 410 and 980 nm excitation wavelengths | Physics | AMRL Lab | 2868000 |  | Working |  |  |  |  | VS Enterprises, New Delhi | ivsenterprises@gmail.com |  |  | deanrnd@kluniversity.in
IR Camera |  | KLEF | FLIR | FLIR A655 SC |  | GOVT | DST-SERB | Depth resolution and sizing studies in thermalwave detection and ranging | Infrared imaging camera and setup for thermographic non destructive testing application | ECE | Infrared imaging center | 2500000 |  | Working | [8 empty] | deanrnd@kluniversity.in
Powder X-Ray Diffratometer | Powder XRD | KLEF | Malvern Panalytical, | Eymperean | 810-00486898 | DST-FIST | Department of Science and Technology, Govt. Of India, New Delhi | Emerging Materials Research Lab | Powder X-RAY Diffraction is an essential analytical technique for material characterization providing detailed information about the internal lattice of crystalline substances. | Physics |  | 8500000 | https://www.malvernpanalytical.com/en | Working |  |  |  |  | Malvern Panalytical, | rajalakshmi.babu@panalytical.com | Malvern Panalytical, | rajalakshmi.babu@panalytical.com | deanrnd@kluniversity.in
High Performance Liquid Chromatography | HPLC | KLEF | Agilent | 1260 Infinity LC with ELSD, DAD and FLD | DEAB600986, DEABW06707, DEAAX08594, G816030007 | Government | DST FIST | DST FIST program, Department of Biotechnology, Koneru Lakshmaiah Education foundation | Liquid chromatography system with ELSD,DAD and FL detectors | Biotecnology | DST FIST laboratory | 3620000 | https://www.agilent.com/en/product/liquid-chromatography/hplc-systems/preparative-hplc-systems/1260-infinity-ii-bio-inert-analytical-scale-lc-purification-system | Working | FIST Program | NIL | NIL | NIL | Agilent | transactional_india@agilent.com | Agilent technogies | dinesh_g@non.agilent.com | deanrnd@kluniversity.in
Fourier Transform Infrared Spectrometer | FT-IR | KLEF | Anateck services Pvt.Ltd. | JASCO-FTIR 4700 | D053761788 | DST-FIST | Department of Science and Technology, Govt. Of India, New Delhi | Emerging Materials Research Lab | FTIR is an effective analytical instrument for detecting functional groups and characterizing covalent bonding information. | Physics |  | 1400000 | https://anatekservices.com/ | Working |  |  |  |  | Anateck services Pvt.Ltd. | vishnu@anatekservices.com | Anateck services Pvt.Ltd. | vishnu@anatekservices.com | deanrnd@kluniversity.in
Real time PCR | RT PCR | KLEF | Thermofisher Scientific | QuantStudio 3 | A28567 | Government | DST FIST | DST FIST program, Department of Biotechnology, Koneru Lakshmaiah Education foundation | Real time PCR System | Biotechnology | DST FIST laboratory | 1350800 | https://www.thermofisher.com/order/catalog/product/A28567 | Working | FIST Program | NIL | NIL | NIL | Life Technologies holdings pte ltd | prathap.naidu@thermofisher.com | Life Technologies holdings pte ltd | prathap.naidu@thermofisher.com | deanrnd@kluniversity.in
Prototype Machine |  | KLEF Instrumentation Center | Scientech 71 | NVIS 26 | 170419003013 | SERB | ECR Project | Development of Conformal Liquid Crystal Polymer based Reconfigurable Antenna for Vehicular Band Applications | Prototyping the PCB's | ECE | Fabrication of Antennas, Microwaves | 447000
Combinational Anlyzer |  | KLEF Instrumentation Center | Aniritsu | MS2037C |  | SERB | ECR Project | Development of Conformal Liquid Crystal Polymer based Reconfigurable Antenna for Vehicular Band Applications | VNA+SA Measurements | ECE | S-Parameter Measurement | 14, 00,000