## Sheet2
Equipment Name | Approved Abbreviation | Location | Make (Manufacturer) | Model | Serial No | Funding Agency Type | Funding Agency Details (Use Comma if multiple) | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs) | Refernce Website | Equipment Status | Category | FOV Cost(Rs) | CIF Cost(Rs) | Any Other Cost(Rs) | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent ( Email id )
Kata Thermometer | KT | CHEMICAL ENGINEERING LABORATORY=-2 | M/s. Vijay Scientific Supplies,12, Tilak Nagar, Near Sawarkar Chowk Aurangabad-431005 |  |  | Government (External) | AICTE, New Delhi. | MODROB | Kata Thermometer (Temperature 51.5 C - 54.5 C) Indian Make | Chemical Engineering | K K Wagh, Polytechnic,Nashik. | 3575 | http://www.vijayscientific.in/ | Working | Measuring device |  |  |  | M/s. Vijay Scientific Supplies,C.Sambhaji nagar, Mahraashtra | vijayscintific@gmail.com | M/s. Vijay Scientific Supplies, | vijayscintific@gmail.com | pmpathak@kkwagh.edu.in
Globe Thermometer | GT | CHEMICAL ENGINEERING LABORATORY=-2 | M/s. Vijay Scientific Supplies,12, Tilak Nagar, Near Sawarkar Chowk Aurangabad-431005 |  |  | Government (External) | AICTE, New Delhi. | MODROB | Globe Thermometer (Temp 0-50 C) Indian Make | Chemical Engineering | K K Wagh, Polytechnic,Nashik. | 5858 | http://www.vijayscientific.in/ | Working | Measuring device |  |  |  | M/s. Vijay Scientific Supplies,C.Sambhaji nagar, Mahraashtra | vijayscintific@gmail.com | M/s. Vijay Scientific Supplies, | vijayscintific@gmail.com | pmpathak@kkwagh.edu.in
Aspirator Hygrometer | AH | CHEMICAL ENGINEERING LABORATORY=-2 | M/s. Vijay Scientific Supplies,12, Tilak Nagar, Near Sawarkar Chowk Aurangabad-431005 |  |  | Government (External) | AICTE, New Delhi. | MODROB | Aspirator Hygrometer Wall Hanging type Analogue Indian Make | Chemical Engineering | K K Wagh, Polytechnic,Nashik. | 4860 | http://www.vijayscientific.in/ | Working | Measuring device |  |  |  | M/s. Vijay Scientific Supplies,C.Sambhaji nagar, Mahraashtra | vijayscintific@gmail.com | M/s. Vijay Scientific Supplies, | vijayscintific@gmail.com | pmpathak@kkwagh.edu.in
Multi Gas Analyser | MGA | CHEMICAL ENGINEERING LABORATORY=-2 | NETEL(India ltd. Navi Mumbai),NETEL India ltd. W-408 MIDC Rabale, Navi Mumbai. | MGA-2 STM 32 | 539 | Government (External) | AICTE, New Delhi. | MODROB | To analyse the exaust gases of vehicle. | Chemical Engineering | K K Wagh, Polytechnic,Nashik. | 178000 | Leading Gas Analyzer Manufacturers in India ¦ Biogas & Flue Gas Analyzers (netel-india.com) | Working | Analytical |  |  |  | NETEL(India ltd. Navi Mumbai) | sels@netel-india.com | NETEL(India ltd. Navi Mumbai) | sels@netel-india.com | pmpathak@kkwagh.edu.in
Personal Noise Dosimeter | PND | CHEMICAL ENGINEERING LABORATORY=-2 | Svan Analytical Instruments pvt ltd.,308 jay estate MIDC Phase-1Dombiwali | SL-400 | 9031 | Government (External) | AICTE, New Delhi. | MODROB | To measure the noise level at personal level for 8 hours. | Chemical Engineering | K K Wagh, Polytechnic,Nashik. | 105000 | www.svan.in | Working | Analytical |  |  |  | Svan Analytical Instruments pvt ltd. | accounts@svan.in | Svan Analytical Instruments pvt ltd. | accounts@svan.in | pmpathak@kkwagh.edu.in
Spirometer | Spiro | CHEMICAL ENGINEERING LABORATORY=-2 | Recorders & Medicare Systems Pvt. Ltd. Plot No. 11, HSIIDC IT Park, Sector 22 Panchkula-134114, Haryana, INDIA | RMS HELIOS 401 |  | Government (External) | AICTE, New Delhi. | MODROB | It is computerized software based PFT Machine | Chemical Engineering | K K Wagh, Polytechnic,Nashik. | 35714 | Spirometer ¦ Spirometer Manufacturers ¦ Spirometry Machine ¦ PC based Spirometer ¦ Pulmonology ¦ PFT Machine (rmsindia.com) | Working | Analytical |  |  |  | Shiva Health Care.Nashik | shivahealthcare@hotmail.com | Shiva Health Care. | shivahealthcare@hotmail.com | pmpathak@kkwagh.edu.in
Audiometry sound proof room | ASPR | CHEMICAL ENGINEERING LABORATORY-1 | Recorders & Medicare Systems Pvt. Ltd. Plot No. 11, HSIIDC IT Park, Sector 22 Panchkula-134114, Haryana, INDIA |  |  | Government (External) | AICTE, New Delhi. | MODROB | Soundproof Room - Size 1400*1400*2200mm | Chemical Engineering | K K Wagh, Polytechnic,Nashik. | 202000 |  | Working | Analytical |  |  |  | Shiva Health Care.Nashik | shivahealthcare@hotmail.com | Shiva Health Care. | shivahealthcare@hotmail.com | pmpathak@kkwagh.edu.in
Digital Audiometer | DA | CHEMICAL ENGINEERING LABORATORY=-2 | Recorders & Medicare Systems Pvt. Ltd. Plot No. 11, HSIIDC IT Park, Sector 22 Panchkula-134114, Haryana, INDIA | RMS HERMES D |  | Government (External) | AICTE, New Delhi. | MODROB | PC Connectivity function with software. | Chemical Engineering | K K Wagh, Polytechnic,Nashik. | 85000 | Audiometer ¦ PC Based Audiometer ¦ Audiology Machine ¦ ENT Equipment (rmsindia.com) | Working | Analytical |  |  |  | Shiva Health Care.Nashik | shivahealthcare@hotmail.com | Shiva Health Care. | shivahealthcare@hotmail.com | pmpathak@kkwagh.edu.in
COD Digestion Apparatus Model | CODD | CHEMICAL ENGINEERING LABORATORY-3 | Spectra Lab Instruments pvt ltd.W-446, Rabale MIDC, Navi Mumbai. | CR 25 | SIPL/103 | Government (External) | AICTE, New Delhi. | MODROB | Standard Temperature controller along with standard supplies set of 25 Vials with 1 Vial stand and with operating Manual. | Chemical Engineering | K K Wagh, Polytechnic,Nashik. | 66600 | Titrators, Potentiometric Titrators, Karl Fischer Titrator, Analytical / Laboratory Instruments, BOD Monitor, Thane, India (spectralabinstruments.com) | Working | Analytical |  |  |  | Spectra Lab Instruments pvt ltd. | sels@spectralab.diz | Spectra Lab Instruments pvt ltd. | sels@spectralab.diz | pmpathak@kkwagh.edu.in
COD Analyzer | CODA | CHEMICAL ENGINEERING LABORATORY-3 | Spectra Lab Instruments pvt ltd.W-446, Rabale MIDC, Navi Mumbai. | G 1 |  | Government (External) | AICTE, New Delhi. | MODROB | Along with Standard supplies-12volt, 2ampere adapter, mouse with operating manual. | Chemical Engineering | K K Wagh, Polytechnic,Nashik. | 101000 | Titrators, Potentiometric Titrators, Karl Fischer Titrator, Analytical / Laboratory Instruments, BOD Monitor, Thane, India (spectralabinstruments.com) | Working | Analytical |  |  |  | Spectra Lab Instruments pvt ltd. | sels@spectralab.diz | Spectra Lab Instruments pvt ltd. | sels@spectralab.diz | pmpathak@kkwagh.edu.in
Fine Particulate Sampler | FPS | CHEMICAL ENGINEERING LABORATORY-3 | Envirotech instruments pvt ltd.A-271, Phase 1 New Delhi. | Envirotech model APM 550 MFC |  | Government (External) | AICTE, New Delhi. | MODROB | Based on Bins impactor design, standardise by US-EPA and AMP, Fitted with mass flow controller as per CPCB specifications. | Chemical Engineering | K K Wagh, Polytechnic,Nashik. | 160700 | Envirotechindia | Working | Analytical |  |  |  | Envirotech instruments pvt ltd. | sels.envirotech@gmail.com | Envirotech instruments pvt ltd. | sels.envirotech@gmail.com | pmpathak@kkwagh.edu.in
Personal sampler with cyclone | PSWC | CHEMICAL ENGINEERING LABORATORY=-2 | Envirotech instruments pvt ltd.A-271, Phase 1 New Delhi. | APM 801 |  | Government | AICTE, New Delhi. | MODROB | Capable of sampelling Respirable dust (Cutoff size 5 micron) and metal fumes to acess personal exposure | Chemical Engineering | K K Wagh, Polytechnic,Nashik. | 21660 | Envirotechindia | Working | Analytical |  |  |  | Envirotech instruments pvt ltd. | sels.envirotech@gmail.com | Envirotech instruments pvt ltd. | sels.envirotech@gmail.com | pmpathak@kkwagh.edu.in