## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Thermal Conductivity Analyzer | TCA | ADMIN BLOCK-MEASUREMENT LAB | KANTHT | KANTHT | KANTHT | Internal Funding |  |  |  | Mechanical Engineering | MEASUREMENT LAB | 6500000 | https://sites.google.com/view/nitpymedlabs/home | WORKING | UG/RESEARCH | KANTHT |  |  |  | hod-mechdept@nitpy.ac.in,dean-rc@nitpy.ac.in,ad-research@nitpy.ac.in
Particle Size Analyzer | PSA | ADMIN BLOCK-MATERIAL CHARACTERIZATION LAB | PSA | PSA | PSA | Internal Funding |  |  |  | Mechanical Engineering | MATERIAL CHARECTERIZATION LAB | 4231815 | https://sites.google.com/view/nitpymedlabs/home | WORKING | UG/RESEARCH | PSA |  |  |  | hod-mechdept@nitpy.ac.in,dean-rc@nitpy.ac.in,ad-research@nitpy.ac.in
Pin-On-Disc Tribometer | POD | ADMIN BLOCK-MATERIAL CHARACTERIZATION LAB | DUCOM | DUCOM | DUCOM | Internal Funding |  |  |  | Mechanical Engineering | MATERIAL CHARECTERIZATION LAB | 3076048 | https://sites.google.com/view/nitpymedlabs/home | WORKING | UG | DUCOM |  |  |  | hod-mechdept@nitpy.ac.in,dean-rc@nitpy.ac.in,ad-research@nitpy.ac.in
Energy Auditing Equipment | EA | LAB BLOCK-THERMAL LAB | ELMACK | ELMACK | ELMACK | Internal Funding |  |  |  | Mechanical Engineering | ENERGY LAB | 2933913 | https://sites.google.com/view/nitpymedlabs/home | WORKING | UG/RESEARCH | ELMACK |  |  |  | hod-mechdept@nitpy.ac.in,dean-rc@nitpy.ac.in,ad-research@nitpy.ac.in
Thermal Imaging Camera | TIC | ADMIN BLOCK-MEASUREMENT LAB | TIC | TIC | TIC | Internal Funding |  |  |  | Mechanical Engineering | MEASUREMENT LAB | 2875005 | https://sites.google.com/view/nitpymedlabs/home | WORKING | RESEARCH | TIC |  |  |  | hod-mechdept@nitpy.ac.in,dean-rc@nitpy.ac.in,ad-research@nitpy.ac.in
Air Conditioning Test Rig- Vapour Compression | ACVCRS | LAB BLOCK - THERMAL LAB | AIMIL | EDIBON | TACC | Internal Funding |  |  |  | Mechanical Engineering | HEAT TRANSFER AND REFRIGERATION AND AIR CONDITIONING | 2378124 | https://sites.google.com/view/nitpymedlabs/home | WORKING | UG | AIMIL |  |  |  | hod-mechdept@nitpy.ac.in,dean-rc@nitpy.ac.in,ad-research@nitpy.ac.in
Micro Hardness Tester | MHT | ADMIN BLOCK-MATERIAL CHARACTERIZATION LAB | DURAMIN | DURAMIN | DURAMIN | Internal Funding |  |  |  | Mechanical Engineering | MATERIAL CHARECTERIZATION LAB | 2145990 | https://sites.google.com/view/nitpymedlabs/home | WORKING | UG | DURAMIN |  |  |  | hod-mechdept@nitpy.ac.in,dean-rc@nitpy.ac.in,ad-research@nitpy.ac.in
Optical Microscope | OM | ADMIN BLOCK-MATERIAL CHARACTERIZATION LAB | CARL ZEISS | CARL ZEISS | CARL ZEISS | Internal Funding |  |  |  | Mechanical Engineering | MATERIAL CHARECTERIZATION LAB | 2108401 | https://sites.google.com/view/nitpymedlabs/home | WORKING | UG | CARL ZEISS |  |  |  | hod-mechdept@nitpy.ac.in,dean-rc@nitpy.ac.in,ad-research@nitpy.ac.in
Bomb Calorimeter | BC | LAB BLOCK - THERMAL LAB | AIMIL | EDIBON | TBCF | Internal Funding |  |  |  | Mechanical Engineering | THERMAL LAB | 2010876 | https://sites.google.com/view/nitpymedlabs/home | WORKING | UG | AIMIL |  |  |  | hod-mechdept@nitpy.ac.in,dean-rc@nitpy.ac.in,ad-research@nitpy.ac.in
All Geared Lathe | AGL | MERU BLOCK | AGL | AGL | AGL | Internal Funding |  |  |  | Mechanical Engineering | MANUFACTURING PROCESSES LAB | 1793600 | https://sites.google.com/view/nitpymedlabs/home | WORKING | UG | AGL |  |  |  | hod-mechdept@nitpy.ac.in,dean-rc@nitpy.ac.in,ad-research@nitpy.ac.in
Shell and Tube Heat Exchanger | STHE | LAB BLOCK - THERMAL LAB | GUNT | GUNT | GUNT | Internal Funding |  |  |  | Mechanical Engineering | HEAT TRANSFER AND REFRIGERATION AND AIR CONDITIONING | 1681623.3 | https://sites.google.com/view/nitpymedlabs/home | WORKING | UG | GUNT |  |  |  | hod-mechdept@nitpy.ac.in,dean-rc@nitpy.ac.in,ad-research@nitpy.ac.in
CNC Wire EDM | EDM | LAB BLOCK-MANUFACTURING LAB | EDM | EDM | EDM | Internal Funding |  |  |  | Mechanical Engineering | CNC LAB | 1593000 | https://sites.google.com/view/nitpymedlabs/home | WORKING | UG/RESEARCH | EDM |  |  |  | hod-mechdept@nitpy.ac.in,dean-rc@nitpy.ac.in,ad-research@nitpy.ac.in
Multi Cylinder Four Stroke Diesel Engine Set Up with Open Ecu | MCFSDE | LAB BLOCK - THERMAL LAB | MEDHAAVI | SUPRO BS VI | SUPRO BS VI | Internal Funding |  |  |  | Mechanical Engineering | THERMAL LAB | 1503147.6 | https://sites.google.com/view/nitpymedlabs/home | WORKING | UG | MEDHAAVI |  |  |  | hod-mechdept@nitpy.ac.in,dean-rc@nitpy.ac.in,ad-research@nitpy.ac.in
Free and Forced Convection | FFC | LAB BLOCK - THERMAL LAB | GUNT | GUNT | GUNT | Internal Funding |  |  |  | Mechanical Engineering | HEAT TRANSFER AND REFRIGERATION AND AIR CONDITIONING | 1295857 | https://sites.google.com/view/nitpymedlabs/home | WORKING | UG | GUNT |  |  |  | hod-mechdept@nitpy.ac.in,dean-rc@nitpy.ac.in,ad-research@nitpy.ac.in
Series/Parallel Pump Demonstrator | S&PPD | LAB BLOCK - THERMAL LAB | GUNT | GUNT | GUNT | Internal Funding |  |  |  | Mechanical Engineering | FLUID MECHANICS AND MACHINERY LAB | 1268373.75 | https://sites.google.com/view/nitpymedlabs/home | WORKING | UG | GUNT |  |  |  | hod-mechdept@nitpy.ac.in,dean-rc@nitpy.ac.in,ad-research@nitpy.ac.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE