## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Modern Carburator Solex Carburator |  |  | Ambassador Car | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  |  | Mechanical Engineering | Automobile Laboratory | 8000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Fuel Injection system of a diesel engine |  |  | Technical Teaching Equipment | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  |  | Mechanical Engineering | Automobile Laboratory | 8200 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Steam Power Plant |  |  | EEE,Coimbator | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  |  | Mechanical Engineering | Automobile Laboratory | 846500 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Reciprocating air compressor |  |  | EEE,Coimbator | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | No. of cycles & stages-2 cyl.2 stage, displacement-300LPM, working pressure-12kg/cm2, Air receiver capacity-160lts, Bore7 stroke length-LP 70x85mm HP50x85mm | Mechanical Engineering | Automobile Laboratory | 90300 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Gear oil Pump |  |  | Technical Teaching Equipment | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | 5hp/1500 rpm/water cooled/bore:80mm/stroke:110mm/Orifice dia.:20mm/crank start. | Mechanical Engineering | Automobile Laboratory | 40500 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Automobile Power Transmission |  |  | Old Model Mahindra Jeep | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | 2.28kw,3600rpm,, Bore:56.7, Stroke: 56.7, Orifice Dia: 20mm, Spark Ignition,Air cooled, Crank Start. | Mechanical Engineering | Automobile Laboratory | 35000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
4 stroke single cylinder CI engine |  |  | Kirloskar | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | 10 hp, Stroke:88mm,Bore:84,Orifice dia:20mm, 1500 rpm, water cooled | Mechanical Engineering | I.C. ENGINE LABORATORY | 70000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
4 stroke single cylinder SI engine |  |  | Honda | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | 2.5 hp,2800 rpm, Bore:56.7, Stroke: 56.7, orifice dia: 21mm, Brake drum dia: 210mm, Kick Starter | Mechanical Engineering | I.C. ENGINE LABORATORY | 40000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
4 cylinder SI engine |  |  | Hindustan Motors | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  |  | Mechanical Engineering | I.C. ENGINE LABORATORY | 150000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
2-stroke single cylinder SI engine |  |  | Bajaj Scooter | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  |  | Mechanical Engineering | I.C. ENGINE LABORATORY | 40000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Cut section of 2 stroke SI engine Model |  |  | VaishnavEngg. Model of Equipment | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  |  | Mechanical Engineering | I.C. ENGINE LABORATORY | 3000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Cut section of 4 stroke SI engine Model |  |  | VaishnavEngg. Model of Equipment | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  |  | Mechanical Engineering | I.C. ENGINE LABORATORY | 13000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Cut section of 2 stroke CI engine Model |  |  | VaishnavEngg. Model of Equipment | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  |  | Mechanical Engineering | I.C. ENGINE LABORATORY | 3000.00 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Cut section of 4stroke CI engine Model |  |  | VaishnavEngg. Model of Equipment | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  |  | Mechanical Engineering | I.C. ENGINE LABORATORY | 13000.00 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
VCR- Single cylinder SI Engine |  |  | Tech-Ed, Bangalore | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  |  | Mechanical Engineering | I.C. ENGINE LABORATORY | 197715 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Metacentric Height |  |  | VaishnavEngg. Model of Equipment | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | hp-0.5kw, 2.8amp,pump-self priming CroumptonGreeves | Mechanical Engineering | Fluid Mechanics Laboratory | 10300 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Cv and Cd of Orifices |  |  | VaishnavEngg. Model of Equipment | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | hp-0.5kw, 2.8amp,pump-self priming CroumptonGreeves | Mechanical Engineering | Fluid Mechanics Laboratory | 26000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Bourden Tube Pressure Gauge |  |  | VaishnavEngg. Model of Equipment | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  |  | Mechanical Engineering | Fluid Mechanics Laboratory | 21000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Verification of Bernoulis Theorem |  |  | VaishnavEngg. Model of Equipment | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  |  | Mechanical Engineering | Fluid Mechanics Laboratory | 26000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
IMPACT OF JET |  |  | EEE,Coimbator | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | hp-0.5kw, volt-240 | Mechanical Engineering | Hydraulic Machine Laboratory | 56600 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
RECIPROCATING PUMP |  |  | EEE,Coimbator | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | hp-0.75kw, volt-240 | Mechanical Engineering | Hydraulic Machine Laboratory | 56400 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
CENTRIFUGAL PUMP |  |  | EEE,Coimbator | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | hp-0.75kw, volt-240 | Mechanical Engineering | Hydraulic Machine Laboratory | 57300 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
PELTON TURBINE |  |  | EEE,Coimbator | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | Supply head-43m, Discharge-630LPM, Speed-1000RPM, Power O/p- 3.75Kw, Brake drum dia-300 mm, Rope dia-16mm | Mechanical Engineering | Hydraulic Machine Laboratory | 225000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
FRANCIS TURBINE |  |  | EEE,Coimbator | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | Supply head-13m, Discharge-2000LPM, Speed-1250,RPM, Power O/p- 3.75Kw, Brake drum dia-300 mm, Rope dia-16mm, no of guide vanes-10 | Mechanical Engineering | Hydraulic Machine Laboratory | 267900 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Different types of Impellers and turbine runners models |  |  | Technical Teaching Equipment, Bangalore | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  |  | Mechanical Engineering | Hydraulic Machine Laboratory | 38000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
AC TESTING RIG DUCT TYPE |  |  | Tech-Ed, Bangalore | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | Capcity-1ton, Aircooled condenser rotameter shut off valve-3/8", Solenoid valve-3/8", refrigerant-R 22, Density of R 22 = 1172.48 at liquid state | Mechanical Engineering | REFRIGERATION & A.C LABORATORY | 82000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
ICE PLANT TUTER |  |  | Tech-Ed, Bangalore | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | Capacity-50kg,ICE in-24 hrs, Compressor-3/4 hp, Condenser-14"X14"X4, Rotameter-0.6 to 621ph, Solenoid Valve-3/8" flare, Refrigerant-R-134a, Brine tank-MS, ICE cans-Galvanized iron, Brine solution-Calcium chloride-50 kg | Mechanical Engineering | REFRIGERATION & A.C LABORATORY | 80000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
VAPOUR COMPRESSION SYSTEM |  |  | Tech-Ed, Bangalore | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | Compressor-1/3 HP CAD, Condensor-1/3 HP 12"x 13", Fan -1/83 HP, Rotameter-0.4, Energy meter- 2.5-5 amp, solenoid valve, thermostat, Refrigerant-R-134a, Density of Refrigerant-1374 kg/m3 | Mechanical Engineering | REFRIGERATION & A.C LABORATORY | 82500 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Composite Slab |  |  | Tech-Ed, Bangalore | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | Heater-300watt, Dimmer stat-230, enclouser size-600X360x370mm, thick of aluminium-12mm, thick of bakelite-12mm, thickness of wood-12mm, total thickness of slab-36mm | Mechanical Engineering | HEAT TRANSFER LABORATORY | 24500 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Natural Forced Convection System |  |  | Tech-Ed, Bangalore | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | Copper tube size-0.25mmX300mm, heater -Nicrome wire band heater, amp-0-20amp, volt-0-300volt, heating coil-0-230v, Thermocouple used-7nos, centrifugal blower-1300RPM,manometer-u tube type, orifice dia-20mm, G.I. pipe dia-40mm | Mechanical Engineering | HEAT TRANSFER LABORATORY | 26000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Surface Emissivity system |  |  | Tech-Ed, Bangalore | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | Mat.- Brass, 0-300 volt, 0-300amps, temp-0-300ᵒC,thermocouple used-7 nos heater-Nicrome wire band heater,DPDT selector switch-6amp | Mechanical Engineering | HEAT TRANSFER LABORATORY | 24000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Parallel and Counter flow Heat Exchanger |  |  | Tech-Ed, Bangalore | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | Specimen Mat.-Copper tube, size of Specimen-ɸ 12.5mm1500mm,Outer shell mat.-G.1,Size of the outer Shell-ɸ40mm, Geyser capacity1lts, 3kw. | Mechanical Engineering | HEAT TRANSFER LABORATORY | 23000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Stefen Boltzman Apparatus |  |  | Technical Teaching Equipment | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  |  | Mechanical Engineering | HEAT TRANSFER LABORATORY | 25440 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Pin fin Apparatus |  |  | Technical Teaching Equipment | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  |  | Mechanical Engineering | HEAT TRANSFER LABORATORY | 30460 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Testing of Moulding Sand Equipment |  |  | Technical Teaching Equipment | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  |  | Mechanical Engineering | PRODUCTION ENGG LABORATORY | 195000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Lathe Tool Dynamometer |  |  | Tech-Ed, Bangalore | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  |  | Mechanical Engineering | PRODUCTION ENGG LABORATORY | 31300 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Drill Tool Dynamometer |  |  | Tech-Ed, Bangalore | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  |  | Mechanical Engineering | PRODUCTION ENGG LABORATORY | 31300 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Sine Bar |  |  | Tech-Ed, Bangalore | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  |  | Mechanical Engineering | PRODUCTION ENGG LABORATORY | 5300 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Auto Calimeter |  |  | Tech-Ed, Bangalore | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | Lens-26mm, Focal-300mm, Eye piece-14X, Telescope-16X, Range-30min, field view-60min, micrometer drum-60, Direct reading-3 Sec, Accuracy-6 sec,Power supply-220volts, 50-60Hz | Mechanical Engineering | PRODUCTION ENGG LABORATORY | 78400 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
CNC Mill Trainer |  |  | Hytech Educational Equipment, Pune | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | Model No: NMT 225, Manual tool changer, feed rate 0-1200mm/min, Axes travel: X-225mm, Y-175mm, Z-200mm | Mechanical Engineering | PRODUCTION ENGG LABORATORY | 403750 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Band Brake Dynamometer |  |  | Tech-Ed, Bangalore | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | 3-phase Induction Motor, 1hp, 1390 rpm | Mechanical Engineering | M/C DYNAMICS LABORATORY | 60000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Epicyclic Gear Train |  |  | EEE,Coimbator | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | D.C. Motor-0.5 hp, Gear system-ARM-A, GEAR-B, GEAR-C, GEAR-D and GEAR-E, Rope brake dynamometer with two spring balance arrangement. | Mechanical Engineering | M/C DYNAMICS LABORATORY | 24450 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Gyroscopic Test Rig |  |  | Tech-Ed, Bangalore | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | Wt. of Rotor-7.75kg, Rotor dia.-300mm, Rotor thickness-13mm, Motor-ac/dc H.p phase-6000RPM | Mechanical Engineering | M/C DYNAMICS LABORATORY | 20800 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Spring Loaded Governor |  |  | Tech-Ed, Bangalore | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  |  | Mechanical Engineering | M/C DYNAMICS LABORATORY | 25000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Whiling of shaft test rig |  |  | Tech-Ed, Bangalore | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | Motor-Golden Electrical product, 8000 RPM, 1.5 amp,220-230 volts, 1 shaft-3/16"(0.47cm), 2nd Shaft-1/4"(0.64cm), 3rd shaft-5/16"(0.79cm) | Mechanical Engineering | M/C DYNAMICS LABORATORY | 26000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Static and Dynamic balancing apparatus |  |  | Geo-Tech | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | 8000RPM, 220-230 Volt 50 Watt. | Mechanical Engineering | M/C DYNAMICS LABORATORY | 24000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Journal Bearing Apparatus |  |  | Technical Teaching Equipment | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | OILS Motor, Model No:OMP 1818181, 180volt, 180 watt, RM-1800,M/c No: 312152 | Mechanical Engineering | M/C DYNAMICS LABORATORY | 32710 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Undercutting of Gear |  |  | Technical Teaching Equipment | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | Motor-Sasisuguna,3.5amp,240volt,single phase, size-25x25mm | Mechanical Engineering | M/C DYNAMICS LABORATORY | 9415 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Rotameter for Fluid Flow Measurement |  |  | Ureka Ind. Eqp.Pvt. Ltd, Pune | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | SSC-AC/DC, 230/250 volt, 1000Watt. | Mechanical Engineering | MECHAICAL MESUREMENT LABORATORY | 40000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Thermo Couple |  |  | Ureka Ind. Eqp.Pvt. Ltd, Pune | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | hp-0.5kw, 2.8amp,pump-self priming CroumptonGreeves | Mechanical Engineering | MECHAICAL MESUREMENT LABORATORY | 30000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Bourden Tube Pressure Gauge |  |  | VaishnavEngg. Model of Equipment | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | Cycle-3nos, Single acting Cyl-1no, 5 port double valve-2nos, 5 port single valve-1no, | Mechanical Engineering | MECHAICAL MESUREMENT LABORATORY | 21000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Pneumatic Trainer |  |  | Tech-Ed, Bangalore | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | Motor-Kirloskar, 415 volt 405 RPM,0.25 HP, 3 phase | Mechanical Engineering | MECHAICAL MESUREMENT LABORATORY | 65300 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Hydraulic Trainer |  |  | Tech-Ed, Bangalore | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | Capacity- 1kg, strain gauge-foil type, gauge factor-2, Wt-100gm, nos-10, beam width-40mm accuracy-1%, Resolution-1Ms, Display-3(1/2) digit LED display | Mechanical Engineering | MECHAICAL MESUREMENT LABORATORY | 55500 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Digital Strain indicator and strain gauge |  |  | Technical Teaching Equipment | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  |  | Mechanical Engineering | MECHAICAL MESUREMENT LABORATORY | 25500 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
LVDT Apparatus |  |  | Technical Teaching Equipment | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  |  | Mechanical Engineering | MECHAICAL MESUREMENT LABORATORY | 20000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Parallelogram Apparatus |  |  | VaishnavEngg. Model of Equipment (2 nos) | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  |  | Mechanical Engineering | MECHAICAL MESUREMENT LABORATORY | 6000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Flywheel |  |  | VaishnavEngg. Model of Equipment (2 nos) | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  |  | Mechanical Engineering | MECHAICAL MESUREMENT LABORATORY | 7000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
IMPACT STRENGTH Machine |  |  | Geo-Tech | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | Izode-(0-164)J, Impact-(0-300)J, Capacity-300J | Mechanical Engineering | MATERIAL TESTING LABORATORY | 58000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
BRINEL HARDNESS TESTING Machine |  |  | Geo-Tech | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | 0-300Kgf, 415volt, ac supply- 3 phase, 50 Hz | Mechanical Engineering | MATERIAL TESTING LABORATORY | 54000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Torsion Testing Machine |  |  | Geo-Tech | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | Motor-REMI, Kw-0.37,amp-1.19,RPM-40, hp-50 | Mechanical Engineering | MATERIAL TESTING LABORATORY | 125000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Universal Testing M/c |  |  | Vaishnav Engg. Model of Equipment | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  |  | Mechanical Engineering | MATERIAL TESTING LABORATORY | 255000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Fatigue Strength Testing M/c |  |  | Geo-Tech | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | 400-440 volt, ac supply-3 phase, 50 Hz, counter wt-500lbs | Mechanical Engineering | MATERIAL TESTING LABORATORY | 52000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Resistance Strain Gauge |  |  |  | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | Capacity- 1kg, strain gauge-foil type, gauge factor-2, Wt-100gm, nos-10, beam width-40mm accuracy-1% | Mechanical Engineering | MATERIAL TESTING LABORATORY | 25300 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Metallurgical Microscope |  |  | Technical Teaching Equipment | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  |  | Mechanical Engineering | MATERIAL TESTING LABORATORY | 28750 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Digital Fatigue Testing Machine |  |  | Konark Instruments | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | Maximum bending moment- 200kg-cm, gripping dia-12mm, testing dia of specimen-8mm,RPM- 4200,overall size(mm)-1000Lx500Wx600H | Mechanical Engineering | MATERIAL TESTING LABORATORY | 175000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Desktop Computer Assembly 24 Nos |  |  | Dell | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | Processor: Intel(R) Core(TM) i3-2100 CPU@ 3.10GHz, RAM: 4.00 GB | Mechanical Engineering | Solid Modeling & Simulation Lab | 840000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Auto CAD 20 Users |  |  | Auto Desk | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | Version 15 (Educational) | Mechanical Engineering | Solid Modeling & Simulation Lab | 180000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
CATIA Software 20 Users |  |  | Dasult Systems | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | Version 15 (Educational) | Mechanical Engineering | Solid Modeling & Simulation Lab | 350000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in
Ansys 10 USERS |  |  | Ansys, Inc. | NA | NA | Internal Funding | GITA Autonomous College Bhubaneswar |  | Version 12 | Mechanical Engineering | Solid Modeling & Simulation Lab | 450000 |  | Active | Experimental |  |  |  |  | hodme@gita.edu.in

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
GIA
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
DME Government of Karnataka
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE
Ministry of Textiles
SRIC Development Fund