## Worksheet
Equipment Name* | Approved Abbreviation | Location | Make (Manufacturer)* | Model* | Serial No* | Funding Agency Type* | Funding Agency Details (Use Comma if multiple)* | Project Title | Equipment Description | Department Name | Facility Name | Basic Cost(Rs)* | Reference Website | Equipment Status | Category* | Supplier | Supplier Email Id | Service Provider | Service Provider Email Id | Alert to be sent (Email id)*
Fibre coupled diode Laser and its Accessories Ms Scantech Laser Pvt Ltd Model No LDF600040 |  | Steel Technology Centre IIT Kharagpur Kharagpur 721302 West Bengal India | Laserline Germany GmbH FraunhoferStrasse 5 56218 MuelheimKaerlich Germany and KUKA KR 303 HA | LDF 600040 Make Laserline Germany GmbH with 6axis controlled KUKA robot KUKA KR 303 HA Make KUKA | 84191278 | External Funding | DST, Govt. of India | Development of Microstructurally Compositionally and Functionally Graded Components by Laser Assisted Materials Processing | 66kW continuous wave high power diode laser LDF 600040 Laserline GmbH Germany with a 6axis controlled KUKA robot KUKA KRC4 delivery system | Metallurgical and Materials Engineering MME | NA | 33000900 | https://www.jduttamajumdar.in/laboratory/laser-lab | UP | Materials processing | Scantech Laser Pvt Ltd A517 TTC Industrial Area MIDC Mahape Ghansoli Navi Mumbai 400710 | info@scantechlaser.com | Prof Indranil Manna Prof Gour Gopal Roy and Prof Jyotsna Dutta Majumdar | jyotsna@metal.iitkgp.ac.in | jyotsna@metal.iitkgp.ac.in, laserlab.lamp@gmail.com
Carl Zeiss Model EVO Scanning Electron Microscope and Accessories Ms Carl Zeiss Microscopy Ltd Model No EVO18 |  | Steel Technology Centre IIT Kharagpur Kharagpur 721302 West Bengal India | Carl Zeiss Microscopy GmbH 511 Coldhams Lane Cambridge CBI 3JS UK | EVO18 | RTEC2659 | External Funding | DST, Govt. of India | Development of Microstructurally Compositionally and Functionally Graded Components by Laser Assisted Materials Processing | EVO 18 can handle specimens of up to 250 mm in diameter and 145 mm in height EDS using EDAX database is attached with this SEM | Metallurgical and Materials Engineering MME | NA | 8213776 | https://www.jduttamajumdar.in/laboratory/sem-lab | UP | Characterization | Carl Zeiss Microscopy GmbH 511 Coldhams Lane Cambridge CBI 3JS UK Local supplier Carl Zeiss India Bangalore Pvt Ltd Victoria Park Plot 372 Block GN 2nd Floor Sector V Salt Lake Kolkata 700091 | microscopy@zeiss.com | Prof Indranil Manna Prof Gour Gopal Roy and Prof Jyotsna Dutta Majumdar | jyotsna@metal.iitkgp.ac.in | jyotsna@metal.iitkgp.ac.in, laserlab.lamp@gmail.com
Profilometer cum Tribometer Ms RTEC Instruments Inc Model No MFT5000 |  | Steel Technology Centre IIT Kharagpur Kharagpur 721302 West Bengal India | Rtec Instruments Inc 1810 Oakland Road B San Jose CA 95131 USA | MFT5000 | EVO188005012457 | External Funding | DST, Govt. of India | Development of Microstructurally Compositionally and Functionally Graded Components by Laser Assisted Materials Processing | Tribometer with 5000 N maximum load Reciprocating wear mode and attached with a profilometer which has an objective lens of 10x magnification | Metallurgical and Materials Engineering MME | Tribometer | 6017383 | https://www.jduttamajumdar.in/laboratory/wear-testing-unit | UP | Testing and Evaluation | Rtec Instruments Inc 1810 Oakland Road B San Jose CA 95131 USA Local supplier RtecInstruments India Pvt Ltd D40 SECTOR 2 Noida Pin201301 | info@rtec-instruments.com | Prof Indranil Manna Prof Gour Gopal Roy and Prof Jyotsna Dutta Majumdar | jyotsna@metal.iitkgp.ac.in | jyotsna@metal.iitkgp.ac.in, laserlab.lamp@gmail.com
Tribocorrosion testing unit |  | Department of Metallurgical and Materials Engineerinng IIT Kharagpur Kharagpur 721302 West Bengal India | DUCOM Instruments Pvt Ltd 477A 4th Phase Peenya Industrial Area Bangalore560058 | POD40 | 1218 | External Funding | DST, Govt. of India | Establishment of UltraShort Pulsed Laser Processing Regime for Surface Treatment of Titanium based Implant for the Tailored MechanoChemical Property in Simulated Environment | The instrument is a modular tribometer which can facilitate linear reciprocating sliding The instrument is a standalone table top model with in built controller unit It is designed to facilitate friction and wear characteristic study of materials in bidirectional sliding contact under varying conditions of load and frequency The working principle is to apply a predetermined load on stationary upper specimens either pinball over a bottom specimen the online friction and wear generated between these two materials are used to evaluate the characteristics of the material | Metallurgical and Materials Engineering MME | Fretting Wear Tribometer | 1904762 | https://www.jduttamajumdar.in/laboratory/corrosion-lab | UP | Testing and Evaluation | DUCOM Instruments Pvt Ltd 477A 4th Phase Peenya Industrial Area Bangalore560058 | info@ducom.com | Prof Indranil Manna Prof Gour Gopal Roy and Prof Jyotsna Dutta Majumdar | jyotsna@metal.iitkgp.ac.in | jyotsna@metal.iitkgp.ac.in, laserlab.lamp@gmail.com

## Worksheet 1 (hidden)
CSIR, Govt. of India
DST, Govt. of India
NPMASS, ADA, Govt. of Inda
DRDO, Govt of India
ISRO, Govt. of India
NEHU Internal Funds
Institution
MoEFCC, Govt. of India
MoFPI, Govt. of India
DST and Institution
Ministry of Education
DAE, Govt. of India
Test Funding Agency
TCS Funding
SERB, DST, Govt. of India
Central Power Research Institute
MeitY, Govt. of India
DBT, Govt. of India
BRNS, Govt. of India
VGST, Govt. of Karnataka
AICTE, Govt. of India
INODE FAG
Instituion Grant, IIT Madras
ERC Project
NFSG Project
ARDB, Govt. of India
NIT Rourkela
Inode FA Internal
Biotechnology Industry Research Assistance Council
NCBS - TIFR Core Grant
inStem Core Grant
Internal Resource Generation
NATIONAL ALUMINIUM COMPANY LTD
IISER PUNE
Ministry of Petroleum & Natural Gas, Govt of India
Institution Funding (Self Supported)
NITTTR Bhopal
Office of the Principal Scientific Adviser
Ministry of Defence
Ministry of Road Transport and Highways
Ministry of Health and Family Welfare
Ministry of MSME, Govt. of India
ICAR-CMFRI
Testing Funding Agency
GIA
TestName12
NCCS Instramural core fund
National Institute of Immunology
NCCS Fund
DOT, Govt. of India
CDOT, New Delhi
National Security Council Secretariat
NDMA Govt of India
Vinayaka Missions Research Foundation
TestFundingAgencySS
DME Government of Karnataka
I-STEM Funding at IISc
RUSA, Govt. of India
Government of Kerala
KSCSTE Government of Kerala
ICFRE